| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13031 | Report Date: 31-01-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: MALLON PLUS | Serial Number: 0591 |
| Lamp Type: T9 |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 244.4 | Current (mA)= 147 |
| Power (Watts)= 34.94 | Power factor= 0.9744 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 03-01-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: 0591 MALLON PLUS |  |  |
| Instrument Used: Labsphere model CSLMS LED 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 838.6 |  | Bare lamp flux (lumens): 2450 |
| CIE 1931 Chromaticity Cx: 0.4574 |  | CIE 1931 Chromaticity Cy: 0.4189 |
| CRI (%):83.47 |  | CCT (K): 2797 |
| LOR(%): 34.22 |  |  |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 03-01-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0591 MALLON PLUS |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1423F-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 2 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):75 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):838.6 | Peak Intensity (3° Spot, candelas): 289.9 |  | Efficacy (lumens/Watt): 24.51 |
| Beam Angle (50% of max intensity C0-180, degrees): 112.5 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0591 MALLON PLUS |  |  |  |
| IES File – Absolute or Relative Format? Relative |  |  |  |
| Photometric Filename (EULUMDAT): 0591 MALLON PLUS |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Relative |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 |
| 3 | 291.4 | 293.7 | 294.6 | 294.9 | 294.9 | 293.2 | 290.7 | 289.5 | 288.6 | 289.6 | 291.9 | 292.4 | 292.6 | 293.1 | 292.3 | 289.7 | 289.1 | 288.1 | 287.6 |
| 6 | 289.4 | 292.0 | 291.3 | 287.2 | 285.3 | 283.7 | 284.2 | 286.2 | 289.5 | 291.8 | 295.0 | 295.2 | 290.8 | 288.0 | 290.9 | 293.0 | 288.8 | 285.7 | 290.7 |
| 9 | 290.2 | 288.2 | 281.9 | 288.3 | 288.0 | 286.3 | 291.1 | 291.4 | 290.1 | 288.5 | 284.5 | 285.2 | 285.8 | 287.9 | 287.8 | 285.1 | 287.7 | 286.4 | 288.1 |
| 12 | 283.5 | 282.3 | 283.2 | 287.0 | 282.5 | 277.4 | 285.0 | 284.6 | 288.4 | 276.5 | 280.7 | 281.7 | 281.4 | 281.0 | 284.6 | 289.8 | 291.6 | 284.0 | 286.8 |
| 15 | 280.9 | 284.8 | 275.6 | 278.6 | 278.9 | 281.1 | 280.0 | 281.4 | 277.2 | 281.6 | 278.2 | 278.7 | 286.3 | 277.8 | 282.1 | 282.7 | 275.5 | 285.0 | 276.9 |
| 18 | 272.4 | 277.8 | 272.8 | 276.2 | 272.5 | 276.7 | 273.9 | 277.2 | 273.0 | 278.4 | 280.1 | 273.1 | 272.7 | 276.3 | 268.9 | 270.8 | 269.8 | 279.1 | 271.3 |
| 21 | 265.5 | 262.9 | 267.9 | 267.4 | 272.9 | 272.7 | 270.5 | 274.4 | 267.7 | 264.6 | 272.3 | 267.5 | 277.9 | 271.8 | 273.7 | 269.5 | 268.3 | 268.3 | 270.8 |
| 24 | 258.2 | 262.8 | 261.1 | 263.0 | 260.6 | 261.3 | 266.3 | 265.6 | 262.3 | 265.7 | 259.2 | 268.5 | 258.3 | 263.5 | 268.0 | 259.3 | 262.6 | 264.1 | 262.9 |
| 27 | 253.8 | 256.5 | 249.5 | 257.1 | 256.4 | 254.5 | 258.4 | 260.1 | 257.9 | 253.2 | 258.5 | 258.7 | 251.7 | 259.5 | 253.2 | 251.8 | 256.8 | 254.1 | 253.4 |
| 30 | 240.0 | 250.4 | 252.9 | 251.2 | 243.4 | 249.5 | 250.3 | 251.4 | 248.3 | 256.8 | 247.9 | 246.9 | 250.7 | 250.4 | 249.9 | 243.6 | 248.4 | 244.0 | 238.8 |
| 33 | 238.3 | 234.4 | 236.4 | 235.7 | 242.9 | 242.1 | 241.6 | 240.8 | 238.6 | 236.9 | 237.3 | 238.4 | 241.0 | 241.2 | 237.7 | 238.1 | 236.4 | 240.6 | 229.2 |
| 36 | 229.0 | 231.1 | 222.3 | 226.7 | 234.4 | 230.4 | 230.6 | 227.4 | 230.6 | 226.2 | 233.1 | 232.7 | 231.1 | 228.7 | 227.5 | 226.3 | 230.1 | 225.3 | 224.8 |
| 39 | 220.8 | 215.7 | 224.3 | 220.1 | 219.2 | 216.3 | 219.0 | 217.8 | 223.0 | 218.0 | 221.1 | 224.6 | 222.8 | 214.9 | 225.2 | 216.7 | 214.9 | 216.5 | 216.5 |
| 42 | 208.0 | 213.4 | 210.5 | 206.1 | 208.7 | 205.9 | 208.1 | 212.5 | 207.8 | 207.8 | 211.8 | 210.0 | 206.6 | 202.2 | 206.2 | 213.4 | 203.6 | 204.2 | 203.9 |
| 45 | 193.6 | 193.9 | 197.3 | 197.0 | 198.0 | 198.0 | 196.4 | 203.6 | 199.6 | 196.9 | 204.1 | 199.8 | 197.2 | 198.4 | 195.0 | 195.6 | 195.0 | 196.1 | 192.9 |
| 48 | 184.8 | 182.5 | 184.9 | 179.6 | 187.6 | 186.3 | 188.6 | 187.5 | 189.4 | 188.0 | 182.6 | 187.9 | 186.6 | 186.9 | 187.7 | 186.1 | 183.6 | 182.9 | 181.4 |
| 51 | 167.1 | 170.5 | 170.0 | 170.6 | 172.7 | 174.0 | 174.6 | 172.7 | 170.9 | 167.4 | 170.1 | 173.8 | 175.8 | 174.3 | 171.0 | 173.5 | 170.8 | 168.5 | 170.0 |
| 54 | 152.4 | 157.3 | 155.8 | 159.2 | 161.6 | 166.8 | 164.1 | 157.9 | 162.6 | 162.0 | 157.1 | 159.0 | 162.1 | 159.7 | 162.0 | 159.2 | 156.9 | 152.8 | 159.0 |
| 57 | 143.9 | 146.3 | 141.8 | 146.9 | 144.2 | 145.2 | 148.8 | 151.2 | 150.0 | 145.6 | 147.2 | 148.2 | 146.9 | 142.7 | 146.2 | 143.1 | 142.9 | 140.6 | 144.3 |
| 60 | 132.3 | 135.5 | 135.7 | 134.3 | 134.3 | 132.6 | 138.0 | 130.9 | 136.0 | 133.3 | 136.5 | 138.3 | 135.6 | 128.9 | 130.9 | 132.7 | 133.6 | 130.3 | 131.6 |
| 63 | 117.5 | 119.4 | 117.6 | 119.5 | 121.8 | 118.8 | 119.2 | 122.0 | 124.8 | 119.4 | 120.7 | 122.0 | 122.0 | 118.1 | 122.5 | 114.1 | 114.7 | 117.8 | 115.5 |
| 66 | 101.7 | 106.6 | 106.2 | 104.2 | 108.0 | 111.7 | 108.6 | 107.1 | 112.1 | 110.5 | 108.8 | 112.8 | 109.3 | 105.9 | 108.1 | 103.4 | 104.9 | 104.9 | 104.0 |
| 69 | 88.4 | 92.7 | 90.5 | 93.4 | 91.4 | 95.4 | 93.6 | 94.0 | 90.3 | 94.5 | 96.7 | 94.0 | 93.5 | 97.7 | 91.8 | 89.7 | 84.7 | 94.8 | 90.0 |
| 72 | 78.4 | 80.6 | 78.9 | 82.4 | 78.7 | 79.5 | 84.5 | 80.6 | 81.8 | 80.8 | 83.2 | 84.6 | 81.8 | 80.8 | 77.1 | 77.9 | 78.9 | 75.4 | 74.1 |
| 75 | 64.4 | 64.4 | 63.6 | 68.3 | 70.0 | 69.4 | 65.2 | 67.0 | 67.5 | 66.9 | 68.4 | 69.9 | 70.0 | 61.4 | 61.6 | 65.4 | 64.5 | 64.3 | 63.7 |
| 78 | 48.6 | 51.1 | 47.7 | 50.2 | 53.3 | 51.3 | 52.4 | 54.7 | 52.4 | 52.5 | 53.1 | 56.5 | 53.7 | 50.4 | 54.1 | 50.3 | 48.2 | 49.1 | 51.5 |
| 81 | 36.7 | 38.1 | 37.7 | 40.2 | 38.2 | 41.9 | 41.1 | 44.0 | 40.4 | 40.4 | 39.0 | 42.6 | 39.7 | 41.6 | 37.2 | 37.3 | 35.7 | 38.0 | 35.1 |
| 84 | 23.5 | 23.3 | 26.5 | 27.2 | 27.8 | 27.6 | 28.5 | 27.9 | 29.8 | 29.0 | 29.1 | 25.1 | 28.1 | 26.2 | 27.5 | 26.5 | 23.7 | 23.8 | 24.9 |
| 87 | 11.3 | 9.8 | 10.5 | 12.4 | 14.6 | 14.3 | 14.2 | 15.5 | 15.3 | 15.0 | 15.5 | 16.5 | 14.0 | 14.0 | 13.1 | 10.5 | 9.3 | 9.7 | 10.6 |
| 90 | 0.8 | 0.0 | 0.0 | 2.2 | 3.5 | 3.0 | 3.2 | 2.4 | 4.0 | 3.6 | 3.4 | 0.0 | 0.0 | 2.3 | 1.7 | 0.0 | 1.0 | 0.0 | 0.0 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 | 289.9 |
| 3 | 288.0 | 288.9 | 290.3 | 290.2 | 290.6 | 290.9 | 290.3 | 290.2 | 289.2 | 290.5 | 291.6 | 292.2 | 291.9 | 289.3 | 287.2 | 286.7 | 288.4 |
| 6 | 294.3 | 291.5 | 282.8 | 282.4 | 285.9 | 286.9 | 287.6 | 290.0 | 290.4 | 288.2 | 288.3 | 289.8 | 291.3 | 287.3 | 282.2 | 283.6 | 287.1 |
| 9 | 282.9 | 277.6 | 278.8 | 280.1 | 282.6 | 281.9 | 282.4 | 284.1 | 284.7 | 287.5 | 281.4 | 286.2 | 286.1 | 284.4 | 289.5 | 286.8 | 286.8 |
| 12 | 280.1 | 283.3 | 282.1 | 279.5 | 282.3 | 275.9 | 276.1 | 283.5 | 282.9 | 281.6 | 282.6 | 284.2 | 281.9 | 280.7 | 282.1 | 286.5 | 281.7 |
| 15 | 280.1 | 283.2 | 278.1 | 284.5 | 276.7 | 274.1 | 277.5 | 277.3 | 274.7 | 275.7 | 277.9 | 274.6 | 276.3 | 277.2 | 278.5 | 273.7 | 280.6 |
| 18 | 272.5 | 271.8 | 269.7 | 272.6 | 274.9 | 272.7 | 269.0 | 269.6 | 268.7 | 274.2 | 272.8 | 270.5 | 272.8 | 270.2 | 273.0 | 270.4 | 272.4 |
| 21 | 272.3 | 272.3 | 268.0 | 269.0 | 264.9 | 258.5 | 268.9 | 270.0 | 270.5 | 267.3 | 272.8 | 259.9 | 264.6 | 265.0 | 267.6 | 263.8 | 260.7 |
| 24 | 265.5 | 258.7 | 257.5 | 259.2 | 259.4 | 260.2 | 255.1 | 258.3 | 248.3 | 258.8 | 254.1 | 256.4 | 258.8 | 260.3 | 258.8 | 255.1 | 262.2 |
| 27 | 253.7 | 252.8 | 252.4 | 252.0 | 246.3 | 254.6 | 252.8 | 247.4 | 250.1 | 252.4 | 250.1 | 252.8 | 251.9 | 251.0 | 249.5 | 246.6 | 249.5 |
| 30 | 249.4 | 246.5 | 247.1 | 239.8 | 244.9 | 243.2 | 241.7 | 243.9 | 245.6 | 241.1 | 241.7 | 243.9 | 242.8 | 243.5 | 242.5 | 241.2 | 247.8 |
| 33 | 234.0 | 237.2 | 238.7 | 236.3 | 236.7 | 239.7 | 228.6 | 232.5 | 238.4 | 232.9 | 234.0 | 235.0 | 236.8 | 232.6 | 234.7 | 232.4 | 235.4 |
| 36 | 227.6 | 222.9 | 224.9 | 218.7 | 223.1 | 223.2 | 219.9 | 226.5 | 220.8 | 222.1 | 222.8 | 222.6 | 222.9 | 220.7 | 223.0 | 220.8 | 227.3 |
| 39 | 220.8 | 213.5 | 215.7 | 214.9 | 212.2 | 215.7 | 215.1 | 213.0 | 211.3 | 210.9 | 214.2 | 211.5 | 214.2 | 210.3 | 213.9 | 214.9 | 213.6 |
| 42 | 207.5 | 207.1 | 209.7 | 200.3 | 198.1 | 201.7 | 202.2 | 206.3 | 199.4 | 197.1 | 199.7 | 203.2 | 202.9 | 203.6 | 199.8 | 203.5 | 208.5 |
| 45 | 195.1 | 195.9 | 191.3 | 190.5 | 195.6 | 193.6 | 190.6 | 190.6 | 187.2 | 185.2 | 185.5 | 185.3 | 186.5 | 193.1 | 196.0 | 197.3 | 193.2 |
| 48 | 182.5 | 182.5 | 179.0 | 177.8 | 179.5 | 174.2 | 179.4 | 178.3 | 180.2 | 178.4 | 178.9 | 177.2 | 177.5 | 178.5 | 186.0 | 183.2 | 178.1 |
| 51 | 172.6 | 171.4 | 163.4 | 167.5 | 169.4 | 169.2 | 167.1 | 169.4 | 168.2 | 162.0 | 164.1 | 165.4 | 163.5 | 159.8 | 168.2 | 166.4 | 170.0 |
| 54 | 158.7 | 160.1 | 155.3 | 154.4 | 157.6 | 154.4 | 152.7 | 156.6 | 151.3 | 150.4 | 152.5 | 147.1 | 156.3 | 156.0 | 157.0 | 157.5 | 154.9 |
| 57 | 144.9 | 140.6 | 142.1 | 141.4 | 143.3 | 137.4 | 142.3 | 137.6 | 139.4 | 137.2 | 140.0 | 140.7 | 142.5 | 136.1 | 141.6 | 143.6 | 140.9 |
| 60 | 134.0 | 134.3 | 132.9 | 130.4 | 130.2 | 128.6 | 126.1 | 127.9 | 125.4 | 126.2 | 125.1 | 126.1 | 125.1 | 130.2 | 130.4 | 128.8 | 129.7 |
| 63 | 115.4 | 117.5 | 115.7 | 116.4 | 111.1 | 111.7 | 116.3 | 111.1 | 112.3 | 112.9 | 107.5 | 110.1 | 114.4 | 115.1 | 114.1 | 114.7 | 113.8 |
| 66 | 99.6 | 98.3 | 99.1 | 101.9 | 102.6 | 99.7 | 98.3 | 99.0 | 95.5 | 97.8 | 100.5 | 95.2 | 96.0 | 100.6 | 98.9 | 103.5 | 105.3 |
| 69 | 89.2 | 86.4 | 87.7 | 88.0 | 83.0 | 85.7 | 84.2 | 83.1 | 84.9 | 80.6 | 83.5 | 81.2 | 86.5 | 84.9 | 90.3 | 88.6 | 87.3 |
| 72 | 82.0 | 69.9 | 70.8 | 72.6 | 70.8 | 72.5 | 72.4 | 73.1 | 66.9 | 71.6 | 69.1 | 69.7 | 68.3 | 71.0 | 75.1 | 74.0 | 78.7 |
| 75 | 66.7 | 59.8 | 58.2 | 58.9 | 59.4 | 56.1 | 57.1 | 56.9 | 54.3 | 57.0 | 57.9 | 55.3 | 56.1 | 58.8 | 61.5 | 64.4 | 63.5 |
| 78 | 48.8 | 51.0 | 45.8 | 44.1 | 45.2 | 44.5 | 41.1 | 45.0 | 42.4 | 40.4 | 43.4 | 42.6 | 45.2 | 44.6 | 47.3 | 48.2 | 50.3 |
| 81 | 35.1 | 36.6 | 34.0 | 32.8 | 31.3 | 30.0 | 28.5 | 30.4 | 30.5 | 31.4 | 28.2 | 31.3 | 30.5 | 32.5 | 34.0 | 35.3 | 32.9 |
| 84 | 23.0 | 21.8 | 20.5 | 19.0 | 19.8 | 16.7 | 15.7 | 17.2 | 16.6 | 18.1 | 17.7 | 19.6 | 16.8 | 19.7 | 21.7 | 23.0 | 23.4 |
| 87 | 10.3 | 8.2 | 7.8 | 7.2 | 6.6 | 6.2 | 6.7 | 4.5 | 6.7 | 5.7 | 5.7 | 7.3 | 5.7 | 6.1 | 8.5 | 9.4 | 11.3 |
| 90 | 1.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.8 | 0.0 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

31-01-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP