| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13116 | Report Date: 25-03-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: KYOTO 260 | Serial Number: 0386 |
| Lamp Type: 1548 (CFL) |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 239.1 | Current (mA)= 87 |
| Power (Watts)= 11.66 | Power factor= 0.5596 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 25-03-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: 0386 KYOTO 260 |  |  |
| Instrument Used: Labsphere model CSLMS HALOGEN 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 598.2 |  | Rated lamp flux (lumens): 900 |
| CIE 1931 Chromaticity Cx: 0.4674 |  | CIE 1931 Chromaticity Cy: 0.4279 |
| CRI (%):81.5 |  | CCT (K): 2726 |
| LOR (%): 66.47 |  |  |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0386 KYOTO 260 |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1200N-1 Imaging Photometer |  |  |  |
| Photometer Working Distance:1.5 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):24 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):598.2 | Peak Intensity (3° Spot, candelas): |  | Efficacy (lumens/Watt): 51.35 |
| Beam Angle (50% of max intensity C0-180, degrees): 116.7 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0386 KYOTO 260 |  |  |  |
| IES File – Absolute or Relative Format? Relative |  |  |  |
| Photometric Filename (EULUMDAT): 0386 KYOTO 260 |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Relative |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 |
| 3 | 71.8 | 71.7 | 71.2 | 70.6 | 70.1 | 70.4 | 71.1 | 71.6 | 71.9 | 72.0 | 71.8 | 71.5 | 71.4 | 71.7 | 72.2 | 72.3 | 72.5 | 72.7 | 72.9 |
| 6 | 70.1 | 71.2 | 72.2 | 72.9 | 72.9 | 72.4 | 72.2 | 72.4 | 72.7 | 71.3 | 69.9 | 70.3 | 71.0 | 72.1 | 72.6 | 72.4 | 72.1 | 73.4 | 74.1 |
| 9 | 71.2 | 71.7 | 71.5 | 72.0 | 71.3 | 71.1 | 71.8 | 71.4 | 70.3 | 71.9 | 71.1 | 70.2 | 70.2 | 71.7 | 73.3 | 70.7 | 70.1 | 73.6 | 71.3 |
| 12 | 71.6 | 70.4 | 70.6 | 71.2 | 71.3 | 71.9 | 71.5 | 70.5 | 71.6 | 72.0 | 71.3 | 71.9 | 72.8 | 72.9 | 72.4 | 73.4 | 73.7 | 73.7 | 73.1 |
| 15 | 71.5 | 70.4 | 71.6 | 71.6 | 71.6 | 68.6 | 69.5 | 72.5 | 69.7 | 70.2 | 72.1 | 70.7 | 72.4 | 72.6 | 76.1 | 72.7 | 72.8 | 73.6 | 73.0 |
| 18 | 69.1 | 71.8 | 69.5 | 72.2 | 68.9 | 71.4 | 68.6 | 70.8 | 69.8 | 69.2 | 69.5 | 71.6 | 72.1 | 72.7 | 74.0 | 72.6 | 74.1 | 72.7 | 74.2 |
| 21 | 73.5 | 71.8 | 73.3 | 70.5 | 71.9 | 67.8 | 71.6 | 68.9 | 69.6 | 67.3 | 69.3 | 69.7 | 71.5 | 70.7 | 73.6 | 72.6 | 73.8 | 72.9 | 73.3 |
| 24 | 72.8 | 71.8 | 73.7 | 73.8 | 71.3 | 70.1 | 68.2 | 69.5 | 67.8 | 70.6 | 68.8 | 68.7 | 69.3 | 71.4 | 72.3 | 73.1 | 74.2 | 71.5 | 74.3 |
| 27 | 71.3 | 74.3 | 73.9 | 71.2 | 73.1 | 68.4 | 71.9 | 66.7 | 66.5 | 67.9 | 68.2 | 68.0 | 66.6 | 69.3 | 70.7 | 72.4 | 74.1 | 72.1 | 74.5 |
| 30 | 72.1 | 72.6 | 71.0 | 73.8 | 70.5 | 70.4 | 67.1 | 66.8 | 67.8 | 64.3 | 65.1 | 66.7 | 66.1 | 68.8 | 69.3 | 72.0 | 72.5 | 71.6 | 74.5 |
| 33 | 72.1 | 72.8 | 74.6 | 72.4 | 70.0 | 68.0 | 64.3 | 67.7 | 64.8 | 62.9 | 65.2 | 62.5 | 65.8 | 67.9 | 68.2 | 70.9 | 70.6 | 70.7 | 74.3 |
| 36 | 69.6 | 72.1 | 73.7 | 69.6 | 70.3 | 66.1 | 64.7 | 64.0 | 60.0 | 60.7 | 61.5 | 58.6 | 64.6 | 65.1 | 65.4 | 71.1 | 71.6 | 71.7 | 74.3 |
| 39 | 71.9 | 72.1 | 72.4 | 71.4 | 68.2 | 62.6 | 63.4 | 61.7 | 58.3 | 61.0 | 59.3 | 58.4 | 62.3 | 64.5 | 67.2 | 70.8 | 70.7 | 70.9 | 73.5 |
| 42 | 71.6 | 72.9 | 72.9 | 70.6 | 64.1 | 63.8 | 60.8 | 56.0 | 56.2 | 56.6 | 54.1 | 59.8 | 60.7 | 62.4 | 66.3 | 70.0 | 71.1 | 71.2 | 74.5 |
| 45 | 72.5 | 73.6 | 70.8 | 67.7 | 65.5 | 63.5 | 58.7 | 56.0 | 55.4 | 51.4 | 54.1 | 54.8 | 59.5 | 60.8 | 65.4 | 70.4 | 70.5 | 71.8 | 73.3 |
| 48 | 73.7 | 71.2 | 68.7 | 68.1 | 65.1 | 60.1 | 57.3 | 54.6 | 51.2 | 50.0 | 51.5 | 55.0 | 54.7 | 59.2 | 67.7 | 69.5 | 69.0 | 73.6 | 75.1 |
| 51 | 75.8 | 72.9 | 70.5 | 69.7 | 63.7 | 59.8 | 54.9 | 52.3 | 47.2 | 46.2 | 49.1 | 51.9 | 54.2 | 60.6 | 64.8 | 69.1 | 70.7 | 72.2 | 75.2 |
| 54 | 71.0 | 70.5 | 72.9 | 66.4 | 61.6 | 57.0 | 54.4 | 50.5 | 44.7 | 44.0 | 47.3 | 48.3 | 51.3 | 59.6 | 64.0 | 67.1 | 71.6 | 74.7 | 75.1 |
| 57 | 73.3 | 72.9 | 72.3 | 66.3 | 61.4 | 59.6 | 53.4 | 46.2 | 41.5 | 42.1 | 44.2 | 45.8 | 50.6 | 55.3 | 63.3 | 66.5 | 70.7 | 75.7 | 78.1 |
| 60 | 73.3 | 73.3 | 69.5 | 65.8 | 63.8 | 57.7 | 51.0 | 43.2 | 39.6 | 39.6 | 40.0 | 44.5 | 48.7 | 54.7 | 61.2 | 65.0 | 68.7 | 73.0 | 75.7 |
| 63 | 73.3 | 71.6 | 68.6 | 67.4 | 62.8 | 58.2 | 48.4 | 43.4 | 38.2 | 35.9 | 37.6 | 42.2 | 47.3 | 54.9 | 60.4 | 65.6 | 69.2 | 74.1 | 76.5 |
| 66 | 71.1 | 72.9 | 71.1 | 67.0 | 62.6 | 54.6 | 49.0 | 41.7 | 35.7 | 33.4 | 33.9 | 39.0 | 45.7 | 51.6 | 59.9 | 62.6 | 69.6 | 74.3 | 74.3 |
| 69 | 72.2 | 70.6 | 71.2 | 67.1 | 62.1 | 54.3 | 46.3 | 40.3 | 33.9 | 30.1 | 29.4 | 36.2 | 43.5 | 51.3 | 57.1 | 64.1 | 70.6 | 72.7 | 74.2 |
| 72 | 70.7 | 70.1 | 70.9 | 68.6 | 60.6 | 54.2 | 46.0 | 36.7 | 31.2 | 28.0 | 28.1 | 33.2 | 42.1 | 51.4 | 55.6 | 63.7 | 70.6 | 73.4 | 75.0 |
| 75 | 73.4 | 70.8 | 66.2 | 65.1 | 59.6 | 53.1 | 46.3 | 35.1 | 29.2 | 23.5 | 26.6 | 34.1 | 40.1 | 48.1 | 55.3 | 64.0 | 71.2 | 74.1 | 75.5 |
| 78 | 72.5 | 70.1 | 68.1 | 64.0 | 57.8 | 50.7 | 44.5 | 34.2 | 27.2 | 20.3 | 24.1 | 30.8 | 38.7 | 48.9 | 54.8 | 63.2 | 70.8 | 71.6 | 73.4 |
| 81 | 71.5 | 69.1 | 66.9 | 61.6 | 56.6 | 51.6 | 43.6 | 33.8 | 24.8 | 17.7 | 20.6 | 29.1 | 37.6 | 47.8 | 54.5 | 61.5 | 68.9 | 70.8 | 72.7 |
| 84 | 71.0 | 66.8 | 65.8 | 62.6 | 56.6 | 49.7 | 42.1 | 30.6 | 22.3 | 16.0 | 17.4 | 26.4 | 36.3 | 43.5 | 55.0 | 61.7 | 69.3 | 73.1 | 71.6 |
| 87 | 67.4 | 67.6 | 63.9 | 59.4 | 54.7 | 49.2 | 41.6 | 29.5 | 21.3 | 13.4 | 15.7 | 24.4 | 34.8 | 44.0 | 53.3 | 61.6 | 67.8 | 69.9 | 70.5 |
| 90 | 65.6 | 64.7 | 60.1 | 56.3 | 53.6 | 47.6 | 39.1 | 29.4 | 19.5 | 12.3 | 14.0 | 23.8 | 32.8 | 42.3 | 50.1 | 58.2 | 64.6 | 66.4 | 66.5 |
| 93 | 67.4 | 64.4 | 58.5 | 52.0 | 44.8 | 36.5 | 25.8 | 15.2 | 5.2 | 6.5 | 12.2 | 21.6 | 31.7 | 41.8 | 48.7 | 55.3 | 59.5 | 65.0 | 67.5 |
| 96 | 65.1 | 61.7 | 58.1 | 50.9 | 44.3 | 34.9 | 24.9 | 14.0 | 5.3 | 6.7 | 12.1 | 20.8 | 32.3 | 41.6 | 48.8 | 54.6 | 60.8 | 63.5 | 65.0 |
| 99 | 64.9 | 61.0 | 56.6 | 50.7 | 42.3 | 33.6 | 24.0 | 14.6 | 5.2 | 7.0 | 11.6 | 20.9 | 31.2 | 40.5 | 47.5 | 52.7 | 59.4 | 64.4 | 64.4 |
| 102 | 63.7 | 61.2 | 55.2 | 49.6 | 41.4 | 32.7 | 23.1 | 14.0 | 5.5 | 7.7 | 11.9 | 20.2 | 30.3 | 38.8 | 48.0 | 52.3 | 58.7 | 61.6 | 62.9 |
| 105 | 60.5 | 59.1 | 54.1 | 47.5 | 39.6 | 32.0 | 23.1 | 13.6 | 6.1 | 8.1 | 11.7 | 19.9 | 29.3 | 38.3 | 45.6 | 51.5 | 57.9 | 59.8 | 61.4 |
| 108 | 59.6 | 56.9 | 52.6 | 48.0 | 39.3 | 31.5 | 23.1 | 14.3 | 7.7 | 8.0 | 11.7 | 19.9 | 28.9 | 37.3 | 44.4 | 50.7 | 56.2 | 59.7 | 60.6 |
| 111 | 56.6 | 54.9 | 52.9 | 45.2 | 39.0 | 30.7 | 22.1 | 14.1 | 8.7 | 8.3 | 12.0 | 18.9 | 28.3 | 36.1 | 42.6 | 48.6 | 54.8 | 57.0 | 58.1 |
| 114 | 56.9 | 53.1 | 50.1 | 43.5 | 37.9 | 27.7 | 20.9 | 14.1 | 8.7 | 8.6 | 12.5 | 18.8 | 28.9 | 35.8 | 42.6 | 47.4 | 51.7 | 55.1 | 56.4 |
| 117 | 54.7 | 52.4 | 47.7 | 43.7 | 35.4 | 28.7 | 20.9 | 15.1 | 9.9 | 9.3 | 13.0 | 18.5 | 27.4 | 34.6 | 42.2 | 46.3 | 50.6 | 53.7 | 55.4 |
| 120 | 52.4 | 51.4 | 45.6 | 40.8 | 35.5 | 29.2 | 20.6 | 14.3 | 11.3 | 9.8 | 13.6 | 18.6 | 26.4 | 33.7 | 39.9 | 44.5 | 48.9 | 51.2 | 53.4 |
| 123 | 51.5 | 49.3 | 44.6 | 39.4 | 33.8 | 27.1 | 20.4 | 14.9 | 11.5 | 11.0 | 13.9 | 19.1 | 24.6 | 32.2 | 38.9 | 43.0 | 46.5 | 48.0 | 52.2 |
| 126 | 47.9 | 46.4 | 43.2 | 39.0 | 32.6 | 26.1 | 21.4 | 14.8 | 12.5 | 12.3 | 14.9 | 19.6 | 25.2 | 31.4 | 38.2 | 42.0 | 43.8 | 48.4 | 49.6 |
| 129 | 47.4 | 44.1 | 42.0 | 37.2 | 31.8 | 26.3 | 20.8 | 15.6 | 11.2 | 13.3 | 15.3 | 19.4 | 24.1 | 30.6 | 36.4 | 39.5 | 42.9 | 45.9 | 47.8 |
| 132 | 45.2 | 43.1 | 39.4 | 36.5 | 31.8 | 25.4 | 19.9 | 16.3 | 12.6 | 14.7 | 16.0 | 20.0 | 24.5 | 28.6 | 35.7 | 38.7 | 41.2 | 44.1 | 45.8 |
| 135 | 43.7 | 40.2 | 38.5 | 34.9 | 30.8 | 24.8 | 20.8 | 16.3 | 13.3 | 15.1 | 16.0 | 20.3 | 23.9 | 28.7 | 33.9 | 38.4 | 41.2 | 41.7 | 43.5 |
| 138 | 39.8 | 37.8 | 37.0 | 32.8 | 28.4 | 25.3 | 20.3 | 16.1 | 15.5 | 14.8 | 16.6 | 20.3 | 24.6 | 28.5 | 32.9 | 36.7 | 39.6 | 40.9 | 42.3 |
| 141 | 40.0 | 36.4 | 34.4 | 32.1 | 27.7 | 23.7 | 20.7 | 16.8 | 15.8 | 15.2 | 17.3 | 19.8 | 24.9 | 28.2 | 31.8 | 35.3 | 37.6 | 39.3 | 40.7 |
| 144 | 37.1 | 35.7 | 33.4 | 29.8 | 28.0 | 23.3 | 19.8 | 17.2 | 16.6 | 17.1 | 18.9 | 20.5 | 24.0 | 28.3 | 30.2 | 34.2 | 35.8 | 36.5 | 38.7 |
| 147 | 34.8 | 32.8 | 31.9 | 28.3 | 26.7 | 23.3 | 20.1 | 18.7 | 15.6 | 17.5 | 18.7 | 21.3 | 24.0 | 27.2 | 29.2 | 33.0 | 34.5 | 34.9 | 36.4 |
| 150 | 32.9 | 31.2 | 29.9 | 27.7 | 25.2 | 23.3 | 19.8 | 18.6 | 17.4 | 18.2 | 19.1 | 21.3 | 24.0 | 27.3 | 28.5 | 30.8 | 32.8 | 33.1 | 34.7 |
| 153 | 30.7 | 30.1 | 28.0 | 26.6 | 24.5 | 22.0 | 20.2 | 18.0 | 18.9 | 18.9 | 20.3 | 21.6 | 23.2 | 26.1 | 28.1 | 29.5 | 30.7 | 31.2 | 32.6 |
| 156 | 29.2 | 28.4 | 27.2 | 25.6 | 24.2 | 21.5 | 20.5 | 18.4 | 18.3 | 20.0 | 20.3 | 21.4 | 23.7 | 25.3 | 27.1 | 28.7 | 29.7 | 30.5 | 30.5 |
| 159 | 28.8 | 26.1 | 26.9 | 24.3 | 24.2 | 21.6 | 20.6 | 19.4 | 18.7 | 19.9 | 20.6 | 21.7 | 23.7 | 24.7 | 26.1 | 26.6 | 29.4 | 28.7 | 29.8 |
| 162 | 26.0 | 25.8 | 24.1 | 23.7 | 22.0 | 21.4 | 21.4 | 19.3 | 20.5 | 20.4 | 21.2 | 21.5 | 23.0 | 24.1 | 25.5 | 26.8 | 27.6 | 28.5 | 29.0 |
| 165 | 24.5 | 24.5 | 24.5 | 23.0 | 21.7 | 21.4 | 20.2 | 20.7 | 21.6 | 20.8 | 21.4 | 22.4 | 22.6 | 24.0 | 24.3 | 25.9 | 27.4 | 26.5 | 27.3 |
| 168 | 23.4 | 23.0 | 22.9 | 22.1 | 20.6 | 20.4 | 20.8 | 20.6 | 20.8 | 21.5 | 21.2 | 21.4 | 22.6 | 23.6 | 23.5 | 25.2 | 25.1 | 25.9 | 25.9 |
| 171 | 21.7 | 21.4 | 21.6 | 20.5 | 21.6 | 21.2 | 21.2 | 21.7 | 22.2 | 21.9 | 21.9 | 23.0 | 23.4 | 23.1 | 22.4 | 23.4 | 24.0 | 24.9 | 25.2 |
| 174 | 21.5 | 21.0 | 21.4 | 21.4 | 21.0 | 21.2 | 21.4 | 21.3 | 21.6 | 22.1 | 22.2 | 22.1 | 22.2 | 22.6 | 22.6 | 23.0 | 23.2 | 23.1 | 23.5 |
| 177 | 21.6 | 21.8 | 21.9 | 21.9 | 21.9 | 21.8 | 21.7 | 21.6 | 21.6 | 21.8 | 22.1 | 22.4 | 22.4 | 22.4 | 22.5 | 22.6 | 22.5 | 22.4 | 22.4 |
| 180 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 | 71.7 |
| 3 | 72.9 | 72.4 | 71.4 | 70.9 | 70.9 | 70.7 | 70.2 | 69.6 | 69.9 | 70.7 | 71.4 | 71.5 | 71.5 | 71.6 | 71.7 | 71.7 | 71.7 |
| 6 | 73.3 | 72.6 | 73.2 | 73.1 | 72.4 | 72.0 | 72.5 | 71.6 | 70.1 | 71.8 | 73.9 | 72.8 | 69.7 | 69.4 | 70.6 | 72.0 | 71.2 |
| 9 | 73.2 | 74.1 | 72.0 | 69.7 | 72.0 | 71.9 | 71.3 | 71.2 | 71.1 | 70.9 | 70.0 | 72.2 | 70.6 | 70.4 | 70.1 | 70.4 | 70.8 |
| 12 | 74.5 | 72.0 | 70.8 | 71.8 | 73.8 | 70.3 | 72.1 | 71.2 | 71.2 | 71.4 | 71.6 | 70.3 | 72.2 | 71.0 | 70.5 | 72.6 | 72.8 |
| 15 | 72.1 | 71.4 | 71.4 | 71.5 | 69.6 | 69.5 | 70.3 | 69.3 | 71.2 | 70.3 | 70.6 | 71.6 | 70.2 | 71.3 | 71.2 | 70.3 | 70.7 |
| 18 | 70.8 | 74.3 | 70.3 | 71.3 | 69.2 | 69.3 | 67.8 | 69.0 | 69.8 | 69.4 | 70.7 | 68.9 | 72.0 | 69.3 | 73.0 | 68.6 | 71.8 |
| 21 | 72.5 | 71.5 | 69.2 | 69.4 | 67.8 | 69.3 | 66.7 | 70.3 | 64.8 | 69.2 | 65.9 | 71.3 | 67.8 | 72.6 | 69.6 | 70.6 | 68.9 |
| 24 | 70.9 | 73.7 | 70.2 | 69.8 | 69.3 | 66.5 | 66.5 | 65.9 | 66.3 | 65.9 | 68.0 | 65.6 | 68.3 | 67.5 | 70.3 | 71.9 | 69.8 |
| 27 | 70.3 | 73.4 | 69.6 | 68.6 | 69.6 | 65.9 | 65.0 | 62.5 | 64.5 | 62.2 | 63.4 | 68.0 | 65.0 | 70.0 | 67.1 | 69.4 | 70.1 |
| 30 | 71.9 | 69.8 | 69.8 | 66.6 | 69.1 | 64.2 | 63.9 | 63.3 | 58.8 | 62.8 | 60.9 | 64.0 | 66.6 | 65.6 | 70.9 | 67.9 | 71.1 |
| 33 | 71.9 | 72.3 | 70.2 | 66.2 | 68.8 | 65.4 | 61.8 | 61.1 | 58.9 | 58.9 | 61.6 | 60.1 | 63.1 | 68.5 | 67.2 | 70.1 | 71.1 |
| 36 | 72.5 | 71.5 | 72.2 | 65.7 | 65.2 | 63.1 | 59.1 | 59.6 | 57.5 | 54.9 | 58.6 | 58.0 | 62.3 | 65.4 | 64.3 | 69.6 | 71.1 |
| 39 | 70.5 | 70.2 | 67.7 | 64.9 | 63.1 | 61.6 | 56.6 | 56.8 | 55.9 | 51.6 | 55.8 | 57.9 | 59.7 | 64.7 | 67.7 | 68.1 | 71.0 |
| 42 | 72.5 | 70.2 | 70.3 | 65.9 | 61.9 | 60.5 | 55.3 | 52.3 | 52.4 | 52.3 | 52.6 | 57.8 | 59.5 | 63.9 | 65.7 | 68.7 | 69.9 |
| 45 | 71.1 | 69.6 | 69.1 | 65.1 | 55.7 | 58.2 | 54.7 | 50.4 | 49.1 | 50.4 | 51.7 | 52.7 | 58.7 | 62.4 | 66.7 | 69.1 | 70.7 |
| 48 | 70.3 | 67.3 | 68.6 | 64.1 | 58.6 | 54.3 | 52.4 | 48.1 | 44.4 | 45.6 | 48.9 | 52.2 | 55.9 | 61.2 | 65.6 | 68.1 | 71.0 |
| 51 | 72.4 | 68.1 | 67.6 | 63.9 | 57.4 | 52.0 | 49.2 | 44.5 | 42.8 | 43.4 | 45.8 | 49.2 | 54.3 | 61.4 | 64.4 | 70.4 | 71.9 |
| 54 | 73.6 | 69.0 | 68.2 | 63.5 | 56.4 | 49.0 | 45.7 | 41.6 | 41.6 | 41.1 | 43.5 | 49.6 | 53.0 | 57.8 | 64.6 | 69.8 | 69.3 |
| 57 | 74.2 | 68.5 | 65.6 | 63.9 | 55.9 | 49.1 | 44.2 | 39.8 | 35.8 | 38.0 | 39.9 | 47.2 | 51.4 | 58.0 | 63.0 | 67.6 | 71.9 |
| 60 | 74.3 | 70.2 | 65.8 | 61.9 | 55.7 | 47.0 | 40.1 | 34.5 | 34.8 | 35.2 | 38.3 | 43.5 | 50.1 | 59.2 | 60.9 | 67.4 | 71.9 |
| 63 | 73.5 | 68.6 | 64.5 | 61.1 | 53.7 | 45.5 | 37.6 | 33.0 | 31.7 | 32.1 | 35.9 | 41.3 | 48.7 | 56.8 | 64.4 | 66.2 | 70.4 |
| 66 | 73.6 | 69.5 | 64.1 | 59.7 | 54.6 | 45.3 | 36.1 | 30.5 | 28.0 | 29.0 | 32.5 | 38.9 | 46.7 | 53.3 | 61.4 | 66.9 | 70.9 |
| 69 | 75.3 | 68.6 | 66.1 | 60.1 | 51.8 | 44.0 | 33.4 | 27.1 | 23.8 | 25.5 | 30.5 | 35.7 | 43.8 | 53.3 | 60.0 | 66.6 | 69.9 |
| 72 | 73.3 | 70.1 | 62.8 | 58.0 | 51.5 | 41.7 | 31.7 | 25.4 | 22.4 | 23.1 | 27.3 | 35.7 | 44.6 | 52.1 | 61.3 | 66.6 | 71.3 |
| 75 | 73.7 | 70.7 | 64.0 | 58.7 | 51.7 | 40.4 | 29.2 | 22.4 | 19.0 | 19.2 | 24.7 | 34.0 | 44.1 | 52.5 | 58.3 | 66.2 | 71.3 |
| 78 | 75.0 | 67.7 | 63.1 | 55.8 | 49.0 | 38.2 | 29.4 | 20.8 | 15.7 | 15.8 | 23.0 | 32.8 | 41.2 | 49.0 | 57.0 | 63.8 | 69.2 |
| 81 | 71.4 | 69.1 | 59.8 | 55.2 | 48.4 | 37.9 | 28.1 | 17.9 | 13.4 | 13.0 | 21.2 | 31.4 | 41.3 | 49.7 | 56.1 | 62.0 | 68.0 |
| 84 | 69.4 | 64.9 | 58.7 | 54.5 | 45.4 | 37.0 | 25.3 | 16.1 | 11.9 | 10.4 | 19.3 | 29.8 | 39.9 | 48.0 | 54.7 | 60.8 | 69.0 |
| 87 | 69.1 | 61.5 | 59.2 | 52.4 | 45.1 | 35.9 | 24.6 | 14.8 | 9.6 | 7.6 | 16.8 | 27.0 | 37.9 | 46.2 | 53.1 | 59.2 | 65.3 |
| 90 | 63.9 | 63.8 | 52.8 | 50.6 | 42.7 | 32.0 | 22.6 | 12.8 | 7.2 | 6.5 | 16.2 | 25.3 | 36.7 | 45.4 | 49.3 | 59.4 | 59.6 |
| 93 | 65.1 | 64.5 | 56.5 | 49.9 | 41.8 | 31.7 | 22.8 | 13.6 | 13.0 | 20.6 | 30.8 | 40.4 | 48.8 | 55.3 | 60.2 | 63.9 | 67.5 |
| 96 | 65.0 | 62.7 | 54.7 | 48.4 | 39.8 | 32.0 | 22.4 | 15.0 | 13.5 | 20.5 | 29.1 | 40.4 | 49.5 | 54.3 | 58.5 | 64.5 | 66.1 |
| 99 | 63.7 | 60.0 | 53.5 | 48.0 | 38.8 | 30.7 | 22.7 | 15.0 | 13.9 | 20.6 | 28.9 | 39.8 | 46.9 | 52.2 | 57.2 | 62.7 | 64.8 |
| 102 | 62.1 | 60.0 | 52.8 | 45.0 | 38.8 | 30.5 | 22.9 | 16.0 | 14.1 | 20.0 | 27.8 | 37.7 | 46.5 | 51.8 | 55.5 | 60.6 | 61.7 |
| 105 | 59.6 | 57.0 | 51.3 | 45.5 | 38.0 | 29.6 | 23.7 | 16.7 | 14.5 | 20.1 | 26.7 | 36.4 | 43.8 | 49.9 | 55.8 | 57.3 | 62.7 |
| 108 | 58.1 | 55.4 | 50.5 | 43.9 | 37.8 | 29.5 | 22.7 | 17.1 | 15.7 | 20.3 | 28.1 | 35.5 | 43.9 | 49.4 | 55.1 | 58.9 | 58.5 |
| 111 | 56.0 | 53.8 | 49.5 | 43.4 | 36.9 | 29.4 | 22.6 | 16.9 | 16.9 | 20.3 | 26.6 | 35.2 | 42.2 | 48.2 | 52.6 | 56.0 | 57.1 |
| 114 | 54.6 | 52.4 | 46.2 | 41.8 | 37.0 | 31.0 | 23.5 | 18.0 | 18.3 | 21.5 | 27.1 | 33.8 | 40.7 | 47.9 | 50.6 | 55.4 | 56.4 |
| 117 | 53.2 | 50.8 | 48.0 | 42.2 | 36.2 | 29.0 | 24.4 | 18.6 | 17.6 | 20.6 | 27.2 | 32.0 | 40.6 | 46.7 | 49.9 | 52.4 | 55.4 |
| 120 | 52.3 | 48.6 | 44.0 | 39.9 | 35.2 | 28.9 | 24.2 | 19.7 | 19.0 | 20.5 | 24.8 | 32.4 | 38.5 | 44.3 | 46.6 | 50.1 | 51.6 |
| 123 | 50.6 | 47.7 | 44.5 | 40.2 | 33.9 | 28.8 | 23.2 | 19.9 | 20.3 | 20.2 | 25.2 | 32.4 | 38.2 | 42.7 | 47.1 | 49.7 | 52.4 |
| 126 | 48.2 | 45.4 | 42.8 | 39.9 | 34.2 | 28.3 | 23.6 | 22.1 | 20.3 | 20.7 | 26.1 | 31.6 | 36.0 | 40.5 | 44.9 | 48.0 | 47.8 |
| 129 | 45.8 | 44.3 | 41.0 | 38.4 | 34.3 | 28.9 | 24.3 | 20.9 | 20.5 | 21.5 | 26.4 | 31.1 | 33.9 | 39.8 | 43.1 | 47.0 | 46.5 |
| 132 | 44.9 | 42.3 | 39.4 | 38.0 | 32.1 | 28.1 | 24.4 | 21.5 | 20.9 | 22.7 | 25.5 | 29.3 | 33.7 | 38.3 | 41.5 | 43.3 | 44.3 |
| 135 | 43.1 | 41.0 | 38.5 | 37.2 | 32.8 | 28.9 | 24.8 | 21.4 | 21.0 | 23.1 | 25.8 | 29.0 | 33.9 | 36.6 | 40.9 | 42.2 | 44.2 |
| 138 | 40.9 | 40.7 | 37.4 | 36.0 | 30.6 | 27.6 | 25.0 | 22.6 | 22.2 | 22.5 | 24.4 | 29.2 | 32.7 | 35.2 | 37.8 | 39.2 | 41.6 |
| 141 | 39.4 | 37.8 | 36.1 | 34.2 | 30.5 | 27.9 | 25.2 | 22.8 | 22.3 | 23.2 | 24.5 | 27.8 | 30.0 | 33.6 | 35.7 | 37.6 | 38.3 |
| 144 | 37.0 | 36.8 | 34.8 | 31.6 | 29.7 | 27.7 | 24.8 | 23.7 | 22.6 | 22.4 | 24.9 | 26.9 | 29.7 | 33.1 | 33.5 | 35.4 | 37.4 |
| 147 | 35.4 | 35.2 | 33.7 | 32.4 | 29.5 | 27.9 | 24.3 | 23.0 | 23.4 | 23.3 | 25.4 | 26.3 | 29.6 | 30.3 | 33.2 | 35.3 | 35.2 |
| 150 | 34.8 | 32.9 | 32.3 | 30.6 | 29.5 | 26.8 | 25.2 | 24.2 | 23.2 | 22.8 | 24.4 | 26.6 | 29.4 | 29.6 | 31.1 | 32.8 | 33.0 |
| 153 | 32.7 | 32.3 | 31.5 | 30.1 | 28.6 | 26.2 | 24.8 | 23.8 | 22.7 | 24.3 | 23.4 | 26.5 | 27.1 | 28.9 | 30.1 | 30.8 | 31.6 |
| 156 | 32.2 | 31.1 | 29.6 | 28.6 | 27.6 | 26.0 | 24.7 | 23.3 | 22.9 | 22.5 | 24.6 | 24.9 | 26.9 | 27.6 | 29.1 | 29.5 | 30.0 |
| 159 | 29.8 | 30.2 | 28.3 | 28.3 | 26.6 | 25.4 | 24.5 | 23.5 | 24.3 | 22.7 | 22.9 | 24.4 | 24.9 | 26.3 | 27.0 | 28.0 | 28.3 |
| 162 | 28.7 | 28.3 | 28.0 | 26.6 | 26.0 | 25.2 | 23.9 | 23.3 | 22.2 | 22.7 | 22.3 | 23.6 | 24.3 | 25.3 | 26.0 | 26.2 | 26.4 |
| 165 | 27.9 | 27.5 | 27.3 | 26.3 | 24.3 | 23.9 | 24.2 | 22.9 | 22.9 | 22.7 | 23.5 | 23.0 | 23.4 | 23.4 | 24.7 | 25.0 | 25.1 |
| 168 | 26.1 | 26.9 | 25.6 | 24.2 | 25.2 | 24.0 | 23.5 | 23.1 | 23.3 | 23.3 | 23.1 | 23.1 | 22.2 | 22.6 | 23.7 | 23.4 | 23.7 |
| 171 | 25.1 | 24.1 | 24.4 | 25.0 | 23.5 | 23.2 | 23.9 | 22.6 | 22.1 | 22.7 | 22.2 | 21.3 | 21.5 | 23.1 | 21.8 | 22.2 | 22.1 |
| 174 | 23.4 | 22.7 | 22.8 | 23.2 | 23.4 | 22.7 | 22.0 | 22.5 | 22.8 | 22.1 | 22.0 | 22.3 | 22.2 | 21.7 | 21.7 | 21.9 | 21.9 |
| 177 | 22.6 | 22.8 | 23.2 | 23.3 | 23.1 | 22.7 | 22.2 | 21.9 | 21.7 | 21.6 | 21.5 | 21.5 | 21.5 | 21.4 | 21.4 | 21.2 | 21.4 |
| 180 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 | 22.3 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP