| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ12076 | Report Date: 18-12-2012 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic wall light |
| Model: KYOTO 365 | Serial Number: 0573 |
| Lamp Type: CFL |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 238.5 | Current (mA)= 97 |
| Power (Watts)= 12.4 | Power factor= 0.536 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 6-12-2012 |  | Ambient Temperature:25°C |
| Measurement Filename: 0573 KYOTO 365 |  |  |
| Instrument Used: Labsphere model CSLMS LED 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 762.0 |  | Bare Lamp flux (lumens): 950.5 |
| CIE 1931 Chromaticity Cx: 0.4586 |  | CIE 1931 Chromaticity Cy: 0.4278 |
| CRI (%): 85.01 |  | CCT (K): 2853 |
| LOR(%)= 80.0 |  |  |

Figure 1: Spectral Irradiance at 2 metres

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 6-12-2012 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0573 KYOTO 365 |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1423F-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 2m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):31 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens): 762.0 | Peak Intensity (3° Spot, candelas): 170.0 |  | Efficacy (lumens/Watt): 61.45 |
| Beam Angle (50% of max intensity C0-180, degrees): 70.0 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0573 KYOTO 365 |  |  |  |
| IES File – Absolute or Relative Format? Relative |  |  |  |
| Photometric Filename (EULUMDAT): 0573 KYOTO 365 |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Relative |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 |
| 3 | 77.0 | 76.2 | 75.8 | 76.3 | 77.1 | 78.0 | 78.0 | 77.5 | 76.8 | 76.5 | 75.9 | 74.8 | 73.9 | 73.9 | 75.1 | 75.8 | 77.2 | 77.9 | 77.7 |
| 6 | 75.6 | 75.4 | 75.2 | 74.5 | 73.7 | 75.2 | 76.7 | 75.4 | 74.9 | 74.0 | 74.4 | 76.3 | 78.2 | 78.5 | 79.1 | 78.0 | 75.3 | 75.7 | 76.5 |
| 9 | 74.7 | 74.3 | 75.7 | 77.6 | 74.3 | 74.9 | 75.7 | 75.7 | 75.2 | 75.3 | 74.3 | 76.8 | 74.9 | 77.0 | 79.4 | 76.5 | 76.6 | 75.3 | 77.6 |
| 12 | 75.6 | 76.5 | 73.4 | 76.7 | 76.3 | 74.4 | 75.2 | 73.9 | 74.2 | 76.2 | 76.7 | 75.7 | 77.5 | 73.7 | 78.0 | 77.7 | 75.3 | 76.2 | 80.4 |
| 15 | 77.0 | 75.8 | 79.0 | 74.4 | 76.3 | 76.7 | 72.9 | 76.7 | 77.1 | 72.6 | 75.9 | 74.9 | 74.2 | 76.3 | 78.0 | 78.0 | 79.0 | 76.8 | 78.6 |
| 18 | 74.7 | 78.7 | 73.9 | 76.8 | 72.5 | 78.7 | 74.3 | 77.3 | 71.9 | 77.1 | 71.6 | 76.6 | 77.9 | 75.2 | 75.1 | 78.5 | 75.9 | 77.1 | 80.1 |
| 21 | 76.8 | 76.2 | 75.7 | 75.7 | 74.7 | 74.5 | 73.2 | 73.9 | 73.5 | 76.8 | 71.1 | 75.3 | 73.3 | 74.9 | 79.2 | 78.9 | 78.1 | 78.2 | 79.2 |
| 24 | 76.1 | 73.4 | 79.5 | 74.3 | 71.6 | 75.2 | 72.5 | 72.4 | 71.4 | 75.1 | 71.8 | 72.9 | 72.5 | 74.0 | 77.0 | 80.5 | 80.6 | 81.4 | 79.6 |
| 27 | 74.8 | 74.7 | 75.7 | 75.2 | 74.8 | 71.6 | 73.8 | 72.6 | 68.8 | 69.9 | 71.2 | 70.7 | 79.1 | 73.8 | 78.9 | 77.1 | 80.8 | 82.8 | 79.8 |
| 30 | 76.3 | 76.1 | 76.1 | 77.3 | 69.2 | 76.6 | 74.9 | 67.7 | 69.0 | 71.5 | 68.2 | 70.7 | 74.5 | 72.8 | 76.5 | 77.2 | 79.9 | 80.9 | 82.0 |
| 33 | 74.7 | 74.9 | 76.1 | 76.2 | 74.9 | 76.2 | 67.8 | 70.1 | 70.6 | 69.1 | 64.8 | 72.1 | 71.0 | 71.6 | 73.8 | 80.0 | 81.4 | 84.3 | 82.3 |
| 36 | 74.2 | 73.8 | 73.9 | 73.9 | 76.2 | 67.8 | 67.7 | 71.2 | 68.2 | 65.3 | 65.8 | 67.9 | 68.1 | 68.8 | 74.5 | 77.7 | 78.5 | 82.4 | 83.8 |
| 39 | 75.2 | 75.9 | 77.7 | 73.3 | 72.5 | 71.2 | 69.6 | 65.4 | 64.6 | 62.0 | 68.2 | 68.5 | 66.2 | 70.1 | 72.9 | 79.4 | 80.4 | 85.0 | 85.2 |
| 42 | 73.7 | 76.7 | 73.4 | 75.2 | 74.8 | 71.5 | 67.2 | 65.7 | 61.1 | 64.5 | 64.1 | 64.8 | 64.4 | 67.2 | 74.5 | 81.9 | 83.4 | 85.5 | 84.5 |
| 45 | 76.8 | 74.7 | 75.2 | 74.8 | 74.3 | 67.6 | 66.4 | 65.2 | 64.1 | 61.1 | 57.5 | 59.1 | 59.9 | 67.4 | 73.5 | 78.9 | 83.2 | 87.9 | 88.1 |
| 48 | 68.7 | 75.8 | 76.3 | 73.4 | 69.5 | 66.7 | 64.5 | 63.4 | 60.7 | 56.3 | 55.9 | 60.3 | 62.2 | 69.5 | 73.5 | 78.7 | 83.8 | 88.1 | 87.5 |
| 51 | 73.9 | 76.1 | 78.2 | 72.0 | 68.1 | 67.4 | 63.8 | 61.2 | 57.5 | 52.5 | 53.3 | 54.6 | 62.5 | 65.9 | 74.5 | 80.5 | 85.6 | 87.6 | 88.6 |
| 54 | 74.0 | 69.5 | 71.8 | 72.5 | 74.4 | 69.3 | 64.6 | 57.2 | 50.2 | 47.5 | 52.3 | 54.1 | 58.3 | 68.5 | 77.5 | 81.4 | 85.6 | 89.0 | 91.1 |
| 57 | 70.7 | 72.0 | 71.4 | 73.9 | 70.6 | 69.2 | 60.7 | 54.1 | 49.1 | 47.8 | 48.3 | 51.2 | 59.1 | 66.7 | 70.5 | 79.5 | 86.2 | 90.4 | 90.7 |
| 60 | 68.5 | 72.6 | 74.3 | 70.4 | 69.1 | 66.2 | 57.3 | 51.3 | 47.8 | 45.7 | 46.4 | 47.8 | 55.2 | 61.8 | 72.0 | 78.9 | 86.0 | 91.7 | 94.7 |
| 63 | 71.0 | 72.6 | 76.1 | 71.5 | 68.1 | 63.5 | 55.0 | 50.4 | 45.6 | 45.1 | 44.5 | 47.2 | 52.5 | 57.0 | 70.6 | 82.3 | 87.2 | 90.0 | 93.9 |
| 66 | 69.0 | 70.7 | 69.0 | 69.0 | 66.9 | 64.5 | 58.7 | 50.4 | 43.2 | 42.7 | 41.7 | 42.9 | 49.3 | 59.9 | 68.2 | 81.0 | 87.0 | 91.7 | 95.1 |
| 69 | 69.0 | 67.8 | 71.0 | 68.5 | 66.0 | 63.8 | 55.0 | 50.3 | 40.9 | 37.8 | 36.3 | 38.4 | 46.7 | 55.6 | 68.2 | 77.6 | 86.0 | 97.8 | 100.3 |
| 72 | 68.5 | 73.0 | 74.3 | 73.3 | 71.4 | 62.6 | 56.5 | 51.2 | 42.2 | 32.1 | 31.4 | 34.4 | 45.7 | 55.4 | 69.7 | 80.3 | 89.4 | 102.2 | 105.0 |
| 75 | 67.7 | 72.8 | 72.5 | 71.0 | 69.3 | 60.8 | 51.3 | 44.8 | 33.7 | 29.1 | 25.0 | 32.1 | 38.7 | 51.2 | 64.3 | 77.3 | 93.3 | 106.7 | 106.2 |
| 78 | 66.9 | 72.3 | 71.1 | 71.0 | 67.1 | 60.6 | 52.6 | 41.5 | 32.8 | 27.2 | 23.1 | 27.7 | 39.0 | 54.2 | 65.9 | 81.8 | 92.5 | 107.2 | 116.5 |
| 81 | 65.3 | 70.0 | 71.4 | 69.6 | 67.2 | 66.7 | 54.7 | 43.7 | 32.3 | 22.0 | 17.9 | 25.0 | 38.0 | 51.7 | 65.7 | 78.2 | 96.0 | 112.9 | 128.0 |
| 84 | 62.7 | 65.7 | 68.5 | 73.3 | 68.7 | 59.8 | 52.7 | 41.7 | 29.5 | 18.3 | 14.0 | 22.7 | 36.3 | 52.5 | 64.1 | 82.4 | 97.4 | 115.2 | 139.7 |
| 87 | 61.6 | 59.8 | 72.6 | 70.5 | 66.5 | 60.3 | 52.7 | 43.2 | 29.5 | 17.3 | 10.8 | 21.7 | 36.4 | 50.9 | 65.0 | 85.2 | 95.4 | 125.1 | 158.0 |
| 90 | 55.4 | 65.7 | 67.4 | 68.7 | 68.3 | 57.9 | 53.6 | 38.9 | 25.1 | 15.1 | 10.7 | 17.8 | 30.2 | 49.8 | 64.1 | 76.5 | 93.2 | 116.6 | 159.1 |
| 93 | 55.9 | 69.9 | 76.6 | 75.6 | 72.9 | 63.8 | 55.8 | 45.5 | 29.5 | 15.4 | 11.6 | 20.6 | 36.3 | 51.8 | 63.9 | 80.1 | 94.2 | 106.6 | 169.7 |
| 96 | 51.4 | 82.9 | 85.6 | 82.7 | 74.0 | 68.3 | 56.0 | 44.6 | 30.6 | 16.5 | 11.3 | 21.1 | 36.8 | 50.7 | 64.9 | 79.8 | 90.4 | 98.8 | 153.4 |
| 99 | 37.0 | 71.5 | 78.4 | 80.5 | 70.7 | 64.4 | 55.5 | 43.3 | 29.3 | 16.9 | 12.6 | 23.1 | 36.6 | 54.0 | 67.1 | 76.7 | 92.3 | 100.6 | 159.6 |
| 102 | 29.7 | 61.0 | 71.0 | 73.8 | 71.6 | 65.4 | 57.0 | 47.0 | 31.8 | 17.3 | 15.9 | 25.4 | 43.3 | 61.1 | 74.3 | 89.9 | 97.2 | 116.0 | 147.1 |
| 105 | 70.7 | 80.8 | 81.0 | 78.0 | 73.3 | 66.2 | 58.2 | 47.2 | 30.1 | 19.1 | 18.7 | 31.8 | 49.4 | 67.6 | 85.9 | 100.5 | 105.3 | 115.3 | 129.9 |
| 108 | 81.0 | 82.9 | 86.0 | 81.3 | 72.0 | 66.4 | 57.7 | 44.6 | 31.2 | 20.3 | 20.4 | 32.1 | 49.9 | 63.9 | 81.0 | 95.8 | 98.9 | 103.5 | 89.7 |
| 111 | 81.5 | 85.9 | 83.6 | 78.7 | 71.6 | 67.2 | 58.5 | 47.6 | 30.0 | 19.1 | 20.6 | 33.7 | 49.9 | 64.8 | 82.3 | 96.9 | 98.4 | 99.3 | 75.7 |
| 114 | 79.5 | 88.4 | 83.8 | 78.2 | 72.1 | 66.7 | 57.4 | 46.1 | 30.7 | 20.6 | 23.2 | 34.0 | 51.7 | 65.2 | 81.7 | 98.6 | 96.5 | 96.6 | 70.2 |
| 117 | 81.8 | 88.3 | 84.3 | 76.7 | 71.6 | 68.5 | 57.8 | 47.6 | 31.5 | 22.6 | 24.4 | 34.8 | 49.8 | 65.7 | 84.7 | 97.9 | 96.3 | 97.8 | 66.5 |
| 120 | 80.1 | 87.5 | 85.9 | 79.8 | 72.4 | 66.7 | 56.8 | 47.5 | 33.8 | 25.1 | 25.5 | 36.4 | 53.5 | 64.0 | 81.8 | 97.8 | 97.7 | 92.2 | 61.0 |
| 123 | 79.0 | 90.0 | 84.7 | 77.0 | 69.0 | 67.6 | 57.5 | 48.0 | 33.1 | 24.1 | 26.5 | 36.7 | 51.4 | 64.5 | 84.2 | 100.5 | 93.1 | 92.3 | 55.4 |
| 126 | 80.3 | 90.9 | 85.0 | 78.9 | 72.4 | 64.9 | 57.8 | 48.8 | 32.9 | 26.3 | 28.7 | 37.0 | 53.8 | 64.3 | 81.8 | 100.1 | 94.1 | 87.9 | 52.6 |
| 129 | 76.8 | 91.6 | 86.1 | 77.2 | 71.8 | 67.8 | 56.0 | 49.8 | 33.5 | 25.5 | 29.2 | 38.0 | 52.7 | 66.0 | 83.4 | 98.9 | 94.5 | 87.4 | 47.2 |
| 132 | 81.3 | 93.7 | 85.7 | 76.7 | 71.4 | 67.8 | 58.3 | 49.7 | 35.7 | 29.0 | 30.5 | 38.7 | 53.5 | 64.0 | 84.1 | 103.5 | 91.9 | 86.5 | 41.3 |
| 135 | 77.6 | 95.8 | 85.2 | 77.9 | 68.2 | 67.1 | 59.2 | 50.8 | 35.1 | 28.7 | 32.1 | 38.7 | 52.8 | 64.3 | 84.1 | 97.0 | 91.2 | 84.8 | 35.9 |
| 138 | 80.4 | 95.5 | 82.9 | 75.3 | 68.6 | 63.9 | 57.3 | 49.5 | 36.3 | 29.5 | 32.6 | 39.1 | 54.2 | 63.5 | 83.3 | 101.0 | 90.2 | 80.5 | 31.9 |
| 141 | 76.8 | 95.4 | 87.1 | 78.6 | 70.0 | 65.9 | 57.0 | 50.9 | 35.7 | 30.7 | 36.1 | 41.1 | 55.0 | 64.0 | 85.0 | 103.1 | 89.3 | 80.0 | 28.7 |
| 144 | 76.5 | 97.2 | 84.2 | 76.3 | 67.3 | 64.9 | 57.2 | 50.7 | 37.2 | 31.9 | 36.4 | 42.9 | 56.1 | 63.4 | 84.2 | 101.5 | 86.5 | 78.1 | 22.7 |
| 147 | 74.5 | 95.4 | 84.6 | 77.1 | 66.8 | 67.6 | 58.5 | 51.8 | 36.2 | 32.5 | 37.6 | 42.7 | 55.2 | 61.6 | 84.6 | 101.5 | 89.3 | 72.6 | 18.9 |
| 150 | 75.7 | 97.7 | 87.4 | 74.9 | 68.8 | 64.1 | 57.8 | 51.6 | 37.6 | 34.2 | 37.8 | 44.5 | 56.1 | 63.5 | 83.2 | 103.0 | 86.5 | 70.6 | 14.0 |
| 153 | 74.7 | 98.9 | 88.6 | 75.8 | 68.2 | 65.8 | 59.8 | 53.2 | 40.5 | 32.3 | 40.0 | 43.9 | 56.0 | 62.9 | 82.2 | 100.2 | 84.7 | 66.0 | 13.2 |
| 156 | 75.9 | 99.2 | 89.7 | 73.0 | 67.1 | 63.8 | 59.4 | 53.3 | 40.3 | 34.2 | 40.1 | 43.1 | 55.8 | 63.0 | 81.8 | 100.2 | 83.6 | 60.7 | 10.9 |
| 159 | 72.5 | 97.4 | 91.7 | 76.6 | 67.6 | 62.5 | 60.5 | 53.6 | 41.7 | 36.7 | 41.9 | 46.2 | 55.6 | 60.7 | 83.7 | 99.8 | 81.5 | 55.4 | 17.5 |
| 162 | 70.5 | 98.4 | 90.0 | 76.6 | 67.6 | 63.2 | 60.2 | 53.1 | 41.9 | 36.8 | 43.1 | 46.5 | 56.9 | 61.7 | 81.0 | 100.5 | 82.9 | 52.5 | 19.7 |
| 165 | 69.5 | 95.8 | 92.1 | 74.7 | 68.5 | 62.7 | 58.7 | 53.7 | 46.9 | 36.2 | 42.3 | 48.1 | 56.8 | 62.0 | 81.9 | 100.7 | 80.4 | 42.9 | 19.7 |
| 168 | 66.8 | 93.5 | 95.6 | 77.0 | 67.8 | 62.2 | 60.8 | 53.8 | 45.7 | 40.1 | 42.8 | 47.9 | 53.7 | 62.4 | 80.1 | 97.7 | 77.2 | 38.9 | 25.3 |
| 171 | 63.4 | 89.5 | 95.4 | 83.4 | 68.5 | 63.1 | 58.8 | 56.0 | 49.5 | 43.2 | 43.6 | 48.0 | 52.5 | 62.4 | 80.0 | 93.6 | 75.1 | 34.4 | 33.0 |
| 174 | 60.2 | 80.9 | 89.8 | 83.2 | 74.3 | 67.2 | 60.8 | 56.8 | 51.8 | 47.5 | 47.5 | 49.7 | 53.2 | 61.3 | 74.4 | 83.7 | 65.3 | 40.0 | 44.7 |
| 177 | 59.1 | 66.4 | 74.3 | 77.0 | 77.1 | 72.3 | 66.7 | 62.5 | 59.6 | 58.0 | 56.4 | 56.0 | 57.2 | 61.0 | 65.5 | 64.8 | 60.2 | 54.9 | 52.1 |
| 180 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 | 77.1 |
| 3 | 77.1 | 75.9 | 75.4 | 74.9 | 74.9 | 74.5 | 74.2 | 74.5 | 75.7 | 76.7 | 77.2 | 77.5 | 77.2 | 76.8 | 77.2 | 77.1 | 77.5 |
| 6 | 76.3 | 76.8 | 77.5 | 78.0 | 79.0 | 78.7 | 75.9 | 75.2 | 76.6 | 75.9 | 75.1 | 74.2 | 75.6 | 77.5 | 78.4 | 78.2 | 76.5 |
| 9 | 79.1 | 78.4 | 78.9 | 75.2 | 77.9 | 77.7 | 77.6 | 77.0 | 75.6 | 76.7 | 73.9 | 74.2 | 74.4 | 72.4 | 75.6 | 76.6 | 78.0 |
| 12 | 78.6 | 78.7 | 75.2 | 74.8 | 77.1 | 75.1 | 76.2 | 75.9 | 76.5 | 73.5 | 73.7 | 76.5 | 75.7 | 74.3 | 75.6 | 74.2 | 75.9 |
| 15 | 77.0 | 76.2 | 77.6 | 77.0 | 77.5 | 75.6 | 73.4 | 75.2 | 71.8 | 75.4 | 73.0 | 74.5 | 74.2 | 74.0 | 74.8 | 75.2 | 75.1 |
| 18 | 78.4 | 81.5 | 78.2 | 78.4 | 75.7 | 75.1 | 73.7 | 73.5 | 73.4 | 74.0 | 72.1 | 71.4 | 71.5 | 74.2 | 73.5 | 77.2 | 73.7 |
| 21 | 79.9 | 76.2 | 79.8 | 75.2 | 74.8 | 74.8 | 71.4 | 72.6 | 72.3 | 67.1 | 70.6 | 73.9 | 69.6 | 71.9 | 76.8 | 74.7 | 75.6 |
| 24 | 80.0 | 79.8 | 77.7 | 75.2 | 73.7 | 75.2 | 71.2 | 68.5 | 71.2 | 72.1 | 67.2 | 68.1 | 72.3 | 69.5 | 72.3 | 72.5 | 74.7 |
| 27 | 83.2 | 76.8 | 76.2 | 75.1 | 73.4 | 70.4 | 71.4 | 69.1 | 67.4 | 67.1 | 68.1 | 67.9 | 68.3 | 69.6 | 73.7 | 74.9 | 77.2 |
| 30 | 81.3 | 79.1 | 78.2 | 74.4 | 75.3 | 71.2 | 67.8 | 66.8 | 65.4 | 64.5 | 64.0 | 67.6 | 70.1 | 70.4 | 70.2 | 70.7 | 73.8 |
| 33 | 81.4 | 80.3 | 79.9 | 74.5 | 71.4 | 68.6 | 63.5 | 65.7 | 63.1 | 62.5 | 60.7 | 63.2 | 65.5 | 69.6 | 73.5 | 72.4 | 75.1 |
| 36 | 85.5 | 80.4 | 78.9 | 74.8 | 71.5 | 65.8 | 65.3 | 60.5 | 60.8 | 61.8 | 62.4 | 63.8 | 66.5 | 66.5 | 70.0 | 74.9 | 72.1 |
| 39 | 83.9 | 81.3 | 78.7 | 75.8 | 71.8 | 66.4 | 62.5 | 60.1 | 55.4 | 58.5 | 59.4 | 61.6 | 64.4 | 67.2 | 70.0 | 70.7 | 73.0 |
| 42 | 87.9 | 84.1 | 77.9 | 73.2 | 68.7 | 64.9 | 59.6 | 54.9 | 53.0 | 56.1 | 57.2 | 59.8 | 64.1 | 63.6 | 67.9 | 72.6 | 72.5 |
| 45 | 83.8 | 83.1 | 79.2 | 77.1 | 71.4 | 63.8 | 61.8 | 52.5 | 52.3 | 52.7 | 55.6 | 58.7 | 59.7 | 63.9 | 68.1 | 68.2 | 70.9 |
| 48 | 88.5 | 83.6 | 82.2 | 75.8 | 68.1 | 63.1 | 53.1 | 52.3 | 48.1 | 48.1 | 53.5 | 56.3 | 58.7 | 62.4 | 66.4 | 72.1 | 72.6 |
| 51 | 89.9 | 83.9 | 78.5 | 74.3 | 66.2 | 59.7 | 48.1 | 48.1 | 46.2 | 46.9 | 50.5 | 53.3 | 58.7 | 60.8 | 65.8 | 69.1 | 73.0 |
| 54 | 92.6 | 89.2 | 80.3 | 76.7 | 65.3 | 58.0 | 50.8 | 43.1 | 41.1 | 45.1 | 48.9 | 52.1 | 58.0 | 59.1 | 65.5 | 67.8 | 73.3 |
| 57 | 92.7 | 88.3 | 81.8 | 75.8 | 67.2 | 55.6 | 49.5 | 41.5 | 41.7 | 43.4 | 44.7 | 49.1 | 55.1 | 58.8 | 64.8 | 69.5 | 73.0 |
| 60 | 91.8 | 90.9 | 84.5 | 74.5 | 64.4 | 58.0 | 47.0 | 38.6 | 34.4 | 35.7 | 41.7 | 48.5 | 55.4 | 58.9 | 62.6 | 67.3 | 65.8 |
| 63 | 91.9 | 89.4 | 84.2 | 72.4 | 60.7 | 55.8 | 43.7 | 36.2 | 33.3 | 37.8 | 39.8 | 44.8 | 53.0 | 58.9 | 62.4 | 64.8 | 67.1 |
| 66 | 97.7 | 93.2 | 83.8 | 70.9 | 59.9 | 51.7 | 41.8 | 33.7 | 28.2 | 29.7 | 35.4 | 43.4 | 50.3 | 57.8 | 62.2 | 67.8 | 69.6 |
| 69 | 99.9 | 93.5 | 82.3 | 76.1 | 61.0 | 48.5 | 37.8 | 28.2 | 25.9 | 29.2 | 33.8 | 41.9 | 49.7 | 55.5 | 61.3 | 66.7 | 66.5 |
| 72 | 99.9 | 96.0 | 81.8 | 74.0 | 61.6 | 47.4 | 35.4 | 24.8 | 22.1 | 24.8 | 33.5 | 41.9 | 50.8 | 59.9 | 64.5 | 66.9 | 63.6 |
| 75 | 101.7 | 96.6 | 88.4 | 75.6 | 58.3 | 45.1 | 34.5 | 21.3 | 17.8 | 21.3 | 31.5 | 40.0 | 49.3 | 58.3 | 63.0 | 67.2 | 57.3 |
| 78 | 112.8 | 98.9 | 92.3 | 72.5 | 59.9 | 43.6 | 32.3 | 19.8 | 13.7 | 19.2 | 28.3 | 37.5 | 48.0 | 58.2 | 62.6 | 64.4 | 55.2 |
| 81 | 119.3 | 103.8 | 90.4 | 72.8 | 58.0 | 45.1 | 29.8 | 15.9 | 10.3 | 16.1 | 27.1 | 39.4 | 45.1 | 58.9 | 64.0 | 62.7 | 49.9 |
| 84 | 120.7 | 103.0 | 92.6 | 74.3 | 57.9 | 43.6 | 27.1 | 14.7 | 7.1 | 13.2 | 27.8 | 36.8 | 48.4 | 56.8 | 61.1 | 62.6 | 45.0 |
| 87 | 133.0 | 106.9 | 95.0 | 76.5 | 59.3 | 43.8 | 27.9 | 12.7 | 4.3 | 12.3 | 25.4 | 36.4 | 46.1 | 57.0 | 57.9 | 57.7 | 41.3 |
| 90 | 138.9 | 103.0 | 91.6 | 71.4 | 60.2 | 44.8 | 27.6 | 12.6 | 2.9 | 10.0 | 23.5 | 34.3 | 47.8 | 54.5 | 63.0 | 66.2 | 40.1 |
| 93 | 139.4 | 98.3 | 89.9 | 75.6 | 59.3 | 42.9 | 27.6 | 12.7 | 2.9 | 10.4 | 24.9 | 37.8 | 48.3 | 59.6 | 64.9 | 72.0 | 44.6 |
| 96 | 112.4 | 85.9 | 80.1 | 67.4 | 54.1 | 40.5 | 25.4 | 12.2 | 3.4 | 11.7 | 23.5 | 37.8 | 50.3 | 61.0 | 71.5 | 76.8 | 44.5 |
| 99 | 120.3 | 88.5 | 83.1 | 69.5 | 58.0 | 45.0 | 27.9 | 12.6 | 4.3 | 10.7 | 25.5 | 35.4 | 50.8 | 58.0 | 65.7 | 63.1 | 38.7 |
| 102 | 124.3 | 95.3 | 88.4 | 72.0 | 62.2 | 42.3 | 27.3 | 13.0 | 3.8 | 8.1 | 21.1 | 34.4 | 46.0 | 56.3 | 59.1 | 58.4 | 34.0 |
| 105 | 123.6 | 95.6 | 86.4 | 70.6 | 60.8 | 42.8 | 27.6 | 12.8 | 4.4 | 5.8 | 15.6 | 26.8 | 38.6 | 48.5 | 55.8 | 61.5 | 64.6 |
| 108 | 97.3 | 89.9 | 80.1 | 69.0 | 59.1 | 44.7 | 28.1 | 15.1 | 4.4 | 7.5 | 16.6 | 28.1 | 41.1 | 50.9 | 58.2 | 66.4 | 70.6 |
| 111 | 92.8 | 89.3 | 81.5 | 66.8 | 58.5 | 44.2 | 27.8 | 15.1 | 5.2 | 7.5 | 16.9 | 28.4 | 39.5 | 52.2 | 58.0 | 66.4 | 68.3 |
| 114 | 95.6 | 84.8 | 79.9 | 68.6 | 60.6 | 43.6 | 30.7 | 15.4 | 5.6 | 6.9 | 15.4 | 29.1 | 42.2 | 51.6 | 58.3 | 64.6 | 67.3 |
| 117 | 92.7 | 86.9 | 79.9 | 66.4 | 60.1 | 44.8 | 29.2 | 16.1 | 7.0 | 7.9 | 17.8 | 29.0 | 43.6 | 53.8 | 57.7 | 65.8 | 67.9 |
| 120 | 90.0 | 85.7 | 81.7 | 67.4 | 63.2 | 42.5 | 28.4 | 16.9 | 7.0 | 7.9 | 17.0 | 28.7 | 42.4 | 52.7 | 56.6 | 63.5 | 64.6 |
| 123 | 91.2 | 82.6 | 78.9 | 65.5 | 59.7 | 43.8 | 31.6 | 17.8 | 7.7 | 9.0 | 17.1 | 28.3 | 42.9 | 52.8 | 58.4 | 64.0 | 63.1 |
| 126 | 90.7 | 84.2 | 80.0 | 69.9 | 64.1 | 45.0 | 29.1 | 18.3 | 8.0 | 9.4 | 17.1 | 29.1 | 44.8 | 53.7 | 58.2 | 63.0 | 62.1 |
| 129 | 87.2 | 80.6 | 79.0 | 64.6 | 65.3 | 44.8 | 31.6 | 18.2 | 8.5 | 9.5 | 18.0 | 27.9 | 45.0 | 54.1 | 58.2 | 62.9 | 60.7 |
| 132 | 86.0 | 81.0 | 79.1 | 65.5 | 64.0 | 44.2 | 31.0 | 18.4 | 9.3 | 9.7 | 18.0 | 28.4 | 45.6 | 55.0 | 56.4 | 62.0 | 60.6 |
| 135 | 87.1 | 77.7 | 78.4 | 65.7 | 64.3 | 45.8 | 30.7 | 20.2 | 10.7 | 11.2 | 19.1 | 29.7 | 47.1 | 57.8 | 57.8 | 63.8 | 58.4 |
| 138 | 85.9 | 79.6 | 75.1 | 63.5 | 64.8 | 45.2 | 31.2 | 19.8 | 11.3 | 11.7 | 17.4 | 29.5 | 46.6 | 56.1 | 56.5 | 62.4 | 58.2 |
| 141 | 82.8 | 78.1 | 77.7 | 65.4 | 65.9 | 46.7 | 32.1 | 21.1 | 11.2 | 11.8 | 19.1 | 30.7 | 47.8 | 55.6 | 58.3 | 61.8 | 56.6 |
| 144 | 82.9 | 77.7 | 73.5 | 64.5 | 66.9 | 46.4 | 33.3 | 20.8 | 12.3 | 12.3 | 18.8 | 29.8 | 47.4 | 57.3 | 57.5 | 59.7 | 54.5 |
| 147 | 82.3 | 76.7 | 73.0 | 64.6 | 66.2 | 46.2 | 33.9 | 20.6 | 12.8 | 12.2 | 19.6 | 29.2 | 49.8 | 59.3 | 57.0 | 61.3 | 54.0 |
| 150 | 80.8 | 77.3 | 74.5 | 65.0 | 66.3 | 45.5 | 34.2 | 20.4 | 13.6 | 13.1 | 18.9 | 29.5 | 49.5 | 59.1 | 55.8 | 60.1 | 51.7 |
| 153 | 77.6 | 75.4 | 72.0 | 67.7 | 64.8 | 46.5 | 32.8 | 21.8 | 14.5 | 13.8 | 19.3 | 31.9 | 50.9 | 57.7 | 57.7 | 57.5 | 50.7 |
| 156 | 77.1 | 74.3 | 72.3 | 65.0 | 64.5 | 45.1 | 32.6 | 22.6 | 14.6 | 14.4 | 19.8 | 30.9 | 50.8 | 59.4 | 55.0 | 59.1 | 49.3 |
| 159 | 73.5 | 72.5 | 69.5 | 65.7 | 65.7 | 46.6 | 33.1 | 23.1 | 15.7 | 14.5 | 19.4 | 32.1 | 50.4 | 60.8 | 56.4 | 57.5 | 48.5 |
| 162 | 71.4 | 72.3 | 68.2 | 65.5 | 63.4 | 46.2 | 33.4 | 21.5 | 15.7 | 15.5 | 21.5 | 33.5 | 52.3 | 59.4 | 55.1 | 56.1 | 47.6 |
| 165 | 69.2 | 70.1 | 67.1 | 65.7 | 59.6 | 44.2 | 32.8 | 22.7 | 16.8 | 16.1 | 21.1 | 33.7 | 52.6 | 60.7 | 56.5 | 56.0 | 46.7 |
| 168 | 64.8 | 69.5 | 66.7 | 68.8 | 58.8 | 42.4 | 32.0 | 22.6 | 16.9 | 17.3 | 21.2 | 36.7 | 53.7 | 59.6 | 55.9 | 56.4 | 47.5 |
| 171 | 63.5 | 68.5 | 66.4 | 61.3 | 55.9 | 41.3 | 29.5 | 21.2 | 18.3 | 17.3 | 22.6 | 37.6 | 55.0 | 60.3 | 56.4 | 52.2 | 46.0 |
| 174 | 61.5 | 66.5 | 62.1 | 56.3 | 47.9 | 35.6 | 27.3 | 23.2 | 20.4 | 21.8 | 28.6 | 42.0 | 54.1 | 58.3 | 56.6 | 52.8 | 49.3 |
| 177 | 51.7 | 51.9 | 46.0 | 43.7 | 37.3 | 31.4 | 27.3 | 25.5 | 26.9 | 30.7 | 37.8 | 46.4 | 53.5 | 56.5 | 55.8 | 54.0 | 54.7 |
| 180 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 | 52.8 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

19-12-2012

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP