| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13003 | Report Date: 04-01-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: MASHIKO 500 | Serial Number: 0583 |
| Lamp Type: CFL |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 241.8 | Current (mA)= 138 |
| Power (Watts)= 32.7 | Power factor= 0.974 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 7-12-2012 |  | Ambient Temperature:25°C |
| Measurement Filename: 0583 MASHIKO 500 |  |  |
| Instrument Used: Labsphere model CSLMS LED 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 1462 |  | Bare Lamp flux (lumens): 2750 |
| CIE 1931 Chromaticity Cx: 0.4204 |  | CIE 1931 Chromaticity Cy: 0.4276 |
| CRI (%): 82.09 |  | CCT (K): 2691 |
| LOR(%)= 53 |  |  |

Figure 1: Spectral Irradiance at 2 metres

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 6-12-2012 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0583 MASHIKO 500 |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1423F-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 2m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):26 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):1462 | Peak Intensity (3° Spot, candelas): 145.1 |  | Efficacy (lumens/Watt): 36.33 |
| Beam Angle (50% of max intensity C0-180, degrees): 145.1 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0583 MASHIKO 500 |  |  |  |
| IES File – Absolute or Relative Format? Relative |  |  |  |
| Photometric Filename (EULUMDAT): 0583 MASHIKO 500 |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Relative |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 |
| 3 | 176.7 | 177.2 | 176.3 | 175.2 | 175.0 | 176.6 | 177.7 | 177.3 | 175.7 | 174.5 | 174.2 | 174.5 | 174.6 | 174.2 | 174.3 | 175.3 | 175.9 | 174.9 | 176.7 |
| 6 | 177.2 | 175.1 | 171.2 | 172.5 | 176.3 | 175.0 | 172.2 | 173.5 | 176.0 | 178.1 | 176.0 | 174.1 | 178.0 | 180.1 | 176.4 | 172.2 | 174.1 | 174.7 | 177.2 |
| 9 | 175.8 | 172.3 | 170.8 | 177.0 | 173.4 | 175.4 | 178.0 | 178.9 | 179.0 | 180.4 | 178.7 | 177.8 | 183.9 | 179.3 | 171.6 | 169.0 | 173.5 | 175.0 | 175.8 |
| 12 | 174.9 | 163.2 | 169.5 | 173.0 | 177.3 | 179.2 | 183.4 | 178.5 | 180.1 | 180.1 | 181.4 | 179.6 | 176.0 | 175.1 | 174.9 | 169.5 | 172.1 | 167.2 | 174.9 |
| 15 | 175.2 | 161.5 | 175.0 | 169.8 | 174.3 | 183.3 | 183.4 | 184.0 | 187.1 | 184.0 | 184.1 | 183.9 | 180.4 | 175.2 | 173.0 | 169.9 | 163.9 | 171.7 | 175.2 |
| 18 | 172.5 | 159.8 | 170.8 | 171.9 | 179.3 | 176.1 | 184.1 | 181.4 | 188.5 | 185.9 | 187.4 | 186.3 | 180.3 | 174.7 | 173.8 | 168.3 | 161.7 | 173.8 | 172.5 |
| 21 | 165.7 | 156.3 | 165.7 | 172.9 | 173.6 | 177.8 | 184.6 | 179.7 | 193.4 | 186.5 | 186.2 | 184.4 | 181.7 | 180.5 | 170.6 | 171.2 | 155.3 | 169.0 | 165.7 |
| 24 | 164.4 | 155.3 | 164.3 | 167.3 | 181.0 | 175.4 | 184.2 | 185.9 | 185.7 | 188.5 | 186.1 | 188.7 | 181.7 | 179.8 | 171.8 | 172.6 | 155.4 | 163.4 | 164.4 |
| 27 | 159.2 | 156.9 | 167.8 | 167.9 | 170.0 | 183.1 | 184.8 | 188.0 | 187.0 | 189.9 | 192.0 | 182.6 | 182.1 | 177.5 | 170.0 | 170.0 | 149.4 | 165.1 | 159.2 |
| 30 | 150.3 | 154.5 | 157.5 | 171.1 | 176.1 | 172.8 | 183.2 | 183.4 | 186.4 | 187.4 | 192.4 | 184.4 | 184.7 | 177.5 | 168.3 | 158.3 | 149.4 | 160.5 | 150.3 |
| 33 | 148.4 | 147.9 | 156.0 | 159.9 | 177.8 | 186.7 | 181.4 | 191.5 | 192.0 | 192.5 | 186.4 | 187.6 | 185.1 | 173.9 | 169.8 | 160.2 | 148.9 | 156.5 | 148.4 |
| 36 | 137.3 | 147.4 | 151.4 | 165.5 | 168.3 | 169.6 | 184.1 | 185.0 | 189.2 | 192.1 | 190.0 | 185.5 | 179.6 | 170.9 | 168.1 | 154.0 | 150.8 | 151.0 | 137.3 |
| 39 | 136.4 | 139.5 | 150.5 | 156.0 | 165.2 | 176.2 | 179.9 | 182.1 | 184.7 | 192.7 | 187.9 | 185.2 | 172.9 | 173.2 | 161.3 | 148.8 | 148.0 | 144.5 | 136.4 |
| 42 | 127.3 | 144.7 | 141.7 | 157.6 | 164.6 | 167.2 | 178.4 | 186.9 | 191.3 | 184.8 | 187.5 | 178.4 | 173.6 | 166.8 | 156.7 | 144.2 | 144.2 | 142.7 | 127.3 |
| 45 | 120.9 | 131.0 | 140.4 | 154.2 | 163.2 | 174.6 | 171.6 | 177.6 | 184.2 | 188.0 | 183.2 | 170.9 | 176.6 | 165.9 | 154.2 | 143.1 | 144.1 | 137.3 | 120.9 |
| 48 | 119.8 | 124.8 | 134.6 | 154.1 | 158.8 | 167.0 | 169.7 | 177.5 | 182.8 | 178.2 | 180.6 | 172.5 | 172.6 | 159.3 | 150.9 | 142.8 | 137.3 | 130.6 | 119.8 |
| 51 | 108.1 | 124.5 | 137.2 | 138.0 | 149.2 | 164.1 | 172.4 | 177.4 | 178.0 | 174.8 | 170.0 | 171.0 | 168.8 | 157.8 | 145.9 | 137.7 | 132.8 | 126.5 | 108.1 |
| 54 | 97.9 | 117.5 | 130.7 | 141.9 | 152.6 | 157.9 | 166.7 | 167.4 | 173.7 | 171.6 | 167.0 | 166.4 | 167.1 | 152.3 | 140.2 | 131.9 | 125.0 | 111.8 | 97.9 |
| 57 | 95.1 | 106.2 | 121.0 | 129.5 | 143.2 | 157.0 | 159.9 | 167.6 | 168.5 | 168.3 | 167.1 | 167.7 | 158.5 | 146.1 | 135.8 | 130.1 | 117.6 | 104.6 | 95.1 |
| 60 | 85.9 | 92.3 | 103.8 | 123.7 | 139.2 | 144.8 | 158.2 | 155.2 | 162.6 | 168.1 | 170.3 | 160.5 | 154.9 | 138.2 | 135.0 | 123.8 | 109.3 | 98.2 | 85.9 |
| 63 | 82.0 | 88.2 | 107.5 | 115.3 | 129.3 | 139.7 | 150.6 | 154.5 | 162.0 | 164.7 | 164.2 | 151.8 | 147.9 | 135.2 | 120.5 | 117.4 | 104.7 | 88.0 | 82.0 |
| 66 | 65.8 | 81.0 | 102.5 | 112.8 | 126.7 | 131.6 | 140.3 | 150.4 | 157.6 | 157.0 | 154.0 | 146.9 | 139.6 | 123.1 | 118.5 | 109.2 | 94.4 | 76.7 | 65.8 |
| 69 | 61.0 | 74.0 | 88.7 | 103.9 | 115.1 | 128.2 | 140.6 | 149.5 | 150.5 | 151.7 | 148.7 | 143.5 | 131.6 | 124.8 | 113.8 | 103.7 | 87.1 | 73.0 | 61.0 |
| 72 | 49.0 | 58.3 | 78.1 | 92.2 | 107.1 | 125.3 | 135.4 | 139.6 | 140.2 | 143.9 | 143.5 | 135.6 | 125.4 | 120.7 | 108.0 | 92.5 | 78.0 | 64.5 | 49.0 |
| 75 | 42.1 | 50.1 | 69.8 | 87.5 | 102.9 | 113.3 | 127.7 | 132.4 | 136.9 | 136.1 | 134.9 | 126.4 | 116.5 | 115.6 | 99.1 | 83.7 | 67.1 | 54.3 | 42.1 |
| 78 | 32.1 | 40.1 | 61.9 | 80.7 | 95.5 | 110.5 | 115.6 | 123.9 | 130.0 | 127.6 | 127.8 | 122.9 | 112.5 | 105.1 | 91.3 | 79.2 | 59.5 | 43.2 | 32.1 |
| 81 | 24.4 | 32.1 | 53.0 | 74.2 | 90.9 | 100.8 | 112.8 | 115.6 | 121.3 | 122.2 | 116.4 | 115.0 | 110.5 | 97.5 | 85.9 | 70.8 | 52.6 | 32.4 | 24.4 |
| 84 | 14.6 | 25.3 | 45.3 | 64.1 | 86.3 | 95.0 | 105.1 | 111.0 | 111.3 | 114.0 | 112.1 | 107.9 | 102.9 | 93.4 | 80.0 | 64.2 | 43.2 | 24.1 | 14.6 |
| 87 | 7.6 | 18.2 | 38.3 | 60.7 | 75.6 | 89.7 | 100.0 | 106.5 | 109.1 | 110.5 | 104.8 | 98.1 | 93.3 | 85.6 | 72.2 | 52.9 | 36.0 | 17.0 | 7.6 |
| 90 | 2.7 | 11.9 | 32.7 | 55.1 | 68.1 | 86.6 | 88.4 | 102.2 | 97.7 | 111.6 | 105.0 | 97.4 | 86.1 | 82.0 | 69.0 | 51.3 | 33.9 | 14.3 | 2.7 |
| 93 | 4.0 | 8.8 | 22.8 | 36.2 | 45.5 | 61.0 | 69.0 | 78.1 | 86.4 | 85.7 | 90.2 | 79.7 | 72.4 | 61.0 | 46.9 | 31.5 | 19.6 | 10.3 | 4.0 |
| 96 | 3.7 | 8.8 | 21.0 | 33.7 | 45.4 | 58.9 | 71.3 | 78.1 | 88.3 | 87.7 | 91.4 | 80.0 | 72.7 | 60.9 | 46.7 | 32.2 | 20.0 | 10.0 | 3.7 |
| 99 | 3.1 | 8.0 | 19.0 | 33.1 | 44.3 | 59.1 | 69.8 | 78.0 | 87.6 | 86.3 | 91.4 | 80.4 | 72.6 | 62.6 | 46.9 | 33.7 | 20.3 | 9.8 | 3.1 |
| 102 | 3.4 | 7.8 | 17.7 | 32.6 | 44.2 | 57.4 | 68.3 | 76.9 | 86.3 | 86.6 | 90.4 | 79.9 | 72.0 | 61.8 | 47.4 | 33.6 | 19.8 | 10.0 | 3.4 |
| 105 | 3.3 | 8.0 | 17.8 | 31.2 | 44.6 | 57.2 | 67.3 | 76.4 | 84.8 | 85.2 | 88.8 | 80.8 | 72.5 | 61.0 | 47.7 | 33.6 | 19.9 | 10.1 | 3.3 |
| 108 | 3.4 | 8.0 | 18.2 | 32.0 | 43.7 | 57.1 | 67.4 | 76.9 | 83.6 | 85.0 | 88.0 | 80.5 | 72.8 | 61.4 | 47.2 | 33.0 | 19.4 | 10.2 | 3.4 |
| 111 | 4.3 | 7.7 | 18.3 | 31.3 | 44.0 | 55.8 | 68.2 | 74.7 | 81.8 | 84.1 | 85.2 | 80.2 | 70.8 | 61.3 | 47.2 | 32.4 | 20.4 | 10.9 | 4.3 |
| 114 | 4.7 | 7.4 | 19.2 | 31.2 | 43.6 | 54.4 | 68.2 | 72.2 | 80.4 | 83.1 | 82.7 | 80.4 | 69.2 | 62.3 | 46.8 | 34.3 | 21.1 | 11.3 | 4.7 |
| 117 | 5.2 | 7.9 | 19.5 | 32.0 | 43.9 | 54.1 | 66.0 | 71.7 | 78.5 | 81.8 | 80.5 | 78.8 | 68.6 | 61.5 | 47.0 | 32.8 | 20.7 | 11.4 | 5.2 |
| 120 | 5.5 | 8.9 | 18.8 | 31.4 | 44.1 | 53.1 | 65.7 | 70.9 | 76.2 | 78.7 | 78.4 | 76.6 | 66.7 | 60.0 | 45.9 | 32.7 | 20.3 | 11.2 | 5.5 |
| 123 | 5.4 | 9.0 | 20.1 | 30.3 | 42.4 | 52.0 | 61.7 | 69.7 | 74.0 | 77.6 | 76.0 | 72.7 | 64.0 | 57.0 | 44.6 | 32.4 | 19.6 | 11.6 | 5.4 |
| 126 | 6.0 | 8.7 | 20.6 | 30.4 | 42.2 | 52.2 | 61.3 | 67.6 | 72.0 | 74.7 | 73.7 | 69.0 | 62.8 | 54.8 | 44.5 | 31.4 | 20.0 | 12.0 | 6.0 |
| 129 | 6.3 | 9.0 | 19.5 | 31.1 | 40.5 | 51.9 | 59.1 | 65.9 | 69.0 | 70.6 | 70.3 | 66.2 | 61.0 | 51.4 | 43.7 | 30.3 | 20.1 | 11.7 | 6.3 |
| 132 | 7.2 | 9.6 | 18.8 | 30.7 | 38.9 | 50.7 | 55.6 | 62.6 | 66.5 | 68.0 | 67.5 | 64.2 | 58.6 | 49.1 | 41.4 | 30.1 | 19.3 | 11.4 | 7.2 |
| 135 | 7.2 | 10.0 | 17.5 | 29.6 | 36.7 | 47.5 | 53.3 | 61.0 | 63.0 | 65.4 | 63.8 | 61.3 | 56.1 | 47.3 | 40.1 | 28.7 | 18.8 | 11.3 | 7.2 |
| 138 | 7.2 | 10.0 | 17.6 | 28.5 | 36.6 | 44.9 | 52.4 | 56.8 | 60.6 | 60.7 | 61.3 | 58.4 | 53.1 | 44.7 | 38.2 | 27.6 | 18.1 | 11.5 | 7.2 |
| 141 | 7.5 | 9.2 | 18.3 | 25.7 | 35.2 | 41.5 | 49.9 | 52.7 | 57.2 | 56.9 | 58.4 | 54.2 | 50.7 | 42.7 | 35.7 | 26.5 | 17.5 | 11.1 | 7.5 |
| 144 | 8.0 | 9.7 | 17.7 | 25.0 | 33.0 | 40.1 | 46.3 | 50.6 | 54.0 | 53.8 | 53.9 | 50.9 | 45.9 | 39.8 | 32.8 | 24.6 | 17.1 | 11.6 | 8.0 |
| 147 | 8.3 | 9.4 | 15.3 | 24.2 | 30.2 | 37.9 | 43.6 | 46.4 | 49.4 | 50.3 | 49.2 | 47.7 | 42.5 | 37.2 | 30.6 | 23.2 | 16.3 | 10.3 | 8.3 |
| 150 | 8.7 | 9.7 | 14.8 | 22.2 | 29.1 | 34.2 | 41.0 | 43.1 | 44.7 | 45.7 | 45.3 | 44.0 | 38.8 | 34.3 | 28.2 | 21.2 | 16.1 | 10.2 | 8.7 |
| 153 | 8.2 | 10.1 | 14.4 | 20.0 | 26.2 | 31.1 | 35.6 | 39.6 | 41.1 | 41.3 | 41.2 | 38.8 | 35.1 | 30.4 | 25.5 | 18.7 | 14.6 | 10.2 | 8.2 |
| 156 | 8.3 | 9.3 | 13.3 | 18.1 | 23.4 | 28.6 | 31.8 | 34.8 | 36.7 | 36.4 | 36.4 | 34.7 | 31.1 | 27.3 | 22.3 | 17.8 | 13.7 | 9.6 | 8.3 |
| 159 | 8.5 | 9.5 | 12.4 | 17.7 | 21.0 | 24.8 | 28.9 | 30.9 | 32.3 | 32.6 | 31.8 | 29.9 | 27.4 | 24.3 | 20.1 | 15.4 | 12.8 | 9.8 | 8.5 |
| 162 | 8.5 | 9.7 | 11.8 | 15.2 | 19.3 | 21.8 | 24.7 | 26.6 | 27.8 | 27.1 | 27.2 | 26.0 | 23.5 | 21.1 | 17.0 | 14.3 | 11.7 | 9.4 | 8.5 |
| 165 | 8.5 | 9.4 | 10.9 | 13.2 | 16.5 | 19.3 | 20.9 | 22.2 | 23.7 | 23.9 | 23.3 | 21.8 | 19.6 | 17.9 | 15.3 | 13.0 | 10.8 | 9.1 | 8.5 |
| 168 | 8.8 | 9.0 | 10.1 | 11.4 | 13.4 | 15.7 | 17.3 | 18.3 | 19.3 | 19.3 | 18.7 | 18.0 | 16.3 | 14.7 | 13.0 | 11.5 | 10.3 | 9.7 | 8.8 |
| 171 | 8.5 | 8.6 | 9.4 | 10.4 | 11.7 | 12.9 | 14.0 | 14.7 | 15.0 | 15.0 | 14.7 | 14.2 | 13.3 | 12.5 | 11.6 | 10.4 | 9.5 | 8.9 | 8.5 |
| 174 | 8.5 | 8.5 | 8.7 | 9.1 | 9.7 | 10.5 | 11.1 | 11.3 | 11.2 | 11.2 | 11.2 | 11.2 | 11.0 | 10.7 | 10.0 | 9.1 | 8.3 | 8.0 | 8.5 |
| 177 | 8.4 | 8.3 | 8.4 | 8.4 | 8.5 | 8.7 | 8.9 | 9.1 | 9.3 | 9.3 | 9.4 | 9.3 | 9.1 | 9.0 | 8.7 | 8.6 | 8.4 | 8.4 | 8.4 |
| 180 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 | 177.7 |
| 3 | 171.2 | 171.2 | 173.2 | 175.0 | 176.3 | 177.3 | 177.7 | 177.7 | 177.0 | 176.3 | 175.9 | 175.2 | 174.0 | 172.7 | 172.7 | 174.4 | 175.6 |
| 6 | 170.2 | 177.6 | 176.1 | 170.8 | 172.4 | 173.5 | 173.7 | 176.7 | 178.4 | 181.1 | 181.0 | 179.5 | 178.5 | 177.1 | 177.5 | 179.7 | 178.1 |
| 9 | 176.8 | 178.7 | 170.4 | 169.2 | 177.9 | 179.5 | 178.1 | 181.3 | 180.1 | 178.6 | 181.2 | 175.8 | 174.1 | 175.8 | 176.1 | 169.2 | 171.4 |
| 12 | 176.2 | 167.6 | 169.3 | 174.9 | 173.4 | 180.7 | 179.0 | 183.6 | 182.5 | 182.1 | 179.8 | 181.6 | 181.0 | 170.6 | 177.6 | 172.8 | 162.0 |
| 15 | 175.8 | 160.5 | 177.4 | 171.4 | 177.6 | 183.2 | 178.1 | 185.2 | 183.4 | 178.8 | 180.7 | 179.6 | 177.7 | 178.6 | 169.1 | 180.8 | 161.2 |
| 18 | 168.9 | 154.3 | 172.6 | 169.9 | 177.0 | 176.5 | 187.7 | 183.8 | 187.9 | 185.9 | 180.1 | 187.9 | 178.5 | 179.3 | 175.9 | 169.3 | 163.3 |
| 21 | 165.4 | 160.8 | 161.5 | 171.1 | 177.3 | 176.2 | 183.4 | 188.9 | 190.5 | 182.2 | 188.9 | 182.4 | 180.1 | 169.1 | 176.9 | 164.8 | 162.2 |
| 24 | 157.9 | 165.7 | 160.0 | 170.0 | 176.2 | 174.1 | 184.0 | 188.9 | 187.2 | 188.7 | 185.8 | 181.8 | 176.0 | 179.0 | 164.2 | 160.5 | 161.0 |
| 27 | 151.7 | 164.8 | 152.4 | 168.1 | 170.0 | 176.3 | 186.1 | 189.8 | 187.7 | 187.2 | 191.5 | 184.7 | 183.5 | 164.6 | 173.2 | 157.3 | 156.4 |
| 30 | 142.0 | 162.5 | 153.7 | 168.7 | 173.5 | 173.6 | 184.7 | 186.4 | 188.1 | 187.1 | 180.8 | 187.9 | 176.9 | 178.9 | 164.0 | 158.5 | 154.8 |
| 33 | 135.2 | 158.4 | 156.9 | 157.6 | 170.8 | 174.2 | 180.6 | 184.5 | 188.7 | 188.2 | 189.4 | 180.7 | 175.2 | 167.3 | 167.2 | 155.6 | 152.9 |
| 36 | 129.5 | 150.6 | 154.1 | 158.3 | 169.8 | 175.4 | 179.0 | 183.2 | 185.3 | 185.8 | 189.9 | 180.7 | 169.7 | 171.3 | 161.8 | 152.9 | 147.1 |
| 39 | 123.6 | 146.4 | 156.5 | 156.0 | 165.7 | 174.2 | 181.7 | 185.0 | 187.3 | 182.6 | 182.1 | 177.5 | 173.4 | 165.1 | 155.5 | 149.6 | 147.6 |
| 42 | 115.5 | 141.0 | 152.0 | 154.6 | 160.2 | 169.6 | 178.5 | 182.4 | 184.8 | 181.8 | 180.3 | 172.3 | 168.6 | 161.6 | 155.9 | 145.3 | 135.1 |
| 45 | 110.0 | 128.0 | 143.5 | 157.2 | 156.8 | 163.4 | 172.2 | 174.5 | 182.8 | 178.3 | 176.5 | 172.6 | 164.7 | 156.3 | 150.9 | 141.6 | 133.8 |
| 48 | 107.8 | 120.6 | 139.2 | 148.1 | 154.8 | 162.3 | 167.0 | 175.2 | 177.3 | 179.3 | 171.3 | 168.6 | 161.4 | 158.6 | 143.9 | 136.4 | 132.0 |
| 51 | 105.3 | 115.8 | 132.9 | 143.6 | 159.2 | 158.3 | 162.9 | 169.4 | 177.6 | 172.9 | 168.8 | 167.0 | 158.8 | 151.1 | 142.7 | 129.7 | 117.7 |
| 54 | 97.8 | 107.2 | 124.0 | 136.0 | 147.9 | 153.0 | 158.9 | 170.5 | 165.3 | 172.6 | 163.8 | 162.0 | 162.8 | 153.2 | 138.0 | 120.9 | 107.8 |
| 57 | 87.3 | 103.0 | 119.6 | 132.1 | 142.0 | 150.1 | 156.4 | 159.2 | 159.9 | 166.6 | 156.8 | 156.5 | 147.6 | 138.8 | 123.8 | 115.7 | 102.8 |
| 60 | 82.4 | 91.7 | 109.3 | 125.0 | 135.7 | 148.0 | 147.2 | 155.4 | 156.4 | 158.5 | 148.5 | 146.6 | 137.6 | 132.8 | 124.0 | 109.3 | 97.5 |
| 63 | 76.2 | 84.5 | 106.2 | 117.4 | 129.7 | 136.6 | 147.4 | 150.5 | 146.5 | 154.2 | 146.3 | 143.1 | 138.4 | 128.2 | 118.3 | 107.7 | 89.9 |
| 66 | 69.5 | 79.5 | 95.0 | 105.9 | 119.9 | 128.2 | 135.5 | 141.7 | 145.2 | 142.1 | 147.4 | 139.4 | 128.7 | 116.4 | 105.2 | 91.0 | 78.6 |
| 69 | 61.6 | 72.2 | 84.4 | 100.5 | 114.0 | 128.2 | 132.1 | 131.3 | 141.7 | 140.2 | 136.6 | 128.0 | 123.8 | 109.2 | 98.8 | 85.2 | 66.7 |
| 72 | 53.0 | 62.0 | 78.3 | 90.8 | 103.1 | 115.3 | 123.2 | 134.0 | 131.5 | 134.1 | 127.3 | 125.4 | 116.5 | 102.0 | 91.5 | 77.5 | 57.2 |
| 75 | 43.3 | 53.5 | 70.7 | 86.2 | 97.8 | 105.5 | 116.3 | 118.6 | 124.5 | 126.5 | 120.8 | 115.8 | 100.3 | 94.2 | 83.4 | 67.7 | 52.0 |
| 78 | 34.3 | 47.2 | 62.8 | 76.8 | 87.5 | 96.9 | 107.0 | 115.3 | 113.2 | 117.1 | 113.6 | 100.7 | 95.4 | 84.4 | 70.4 | 54.2 | 37.8 |
| 81 | 24.7 | 39.0 | 53.5 | 67.2 | 80.9 | 94.4 | 99.7 | 106.0 | 110.0 | 105.3 | 103.7 | 93.7 | 88.2 | 75.8 | 63.1 | 49.9 | 30.3 |
| 84 | 17.8 | 29.8 | 46.9 | 60.2 | 72.1 | 87.1 | 96.9 | 100.6 | 107.4 | 103.9 | 98.5 | 91.5 | 80.4 | 69.1 | 55.4 | 36.7 | 24.5 |
| 87 | 11.9 | 24.2 | 40.9 | 52.1 | 66.4 | 80.9 | 87.1 | 92.7 | 97.1 | 96.9 | 92.6 | 84.7 | 71.5 | 60.2 | 45.2 | 32.1 | 16.7 |
| 90 | 9.9 | 23.5 | 37.4 | 49.2 | 61.3 | 76.6 | 83.2 | 86.5 | 87.7 | 92.1 | 87.4 | 76.0 | 65.7 | 56.8 | 43.8 | 29.0 | 13.0 |
| 93 | 16.3 | 27.7 | 45.5 | 64.6 | 76.7 | 95.3 | 103.2 | 110.4 | 109.7 | 107.9 | 95.0 | 86.1 | 72.3 | 56.0 | 41.6 | 24.4 | 14.4 |
| 96 | 15.5 | 26.7 | 44.3 | 58.6 | 73.5 | 89.4 | 100.1 | 107.2 | 106.9 | 106.0 | 90.4 | 85.2 | 68.6 | 55.0 | 39.3 | 23.6 | 12.3 |
| 99 | 15.8 | 26.9 | 45.0 | 55.2 | 72.7 | 85.7 | 101.2 | 107.3 | 107.0 | 106.2 | 88.4 | 84.6 | 67.3 | 52.2 | 40.9 | 22.1 | 11.4 |
| 102 | 16.0 | 28.0 | 45.7 | 60.0 | 72.3 | 90.8 | 98.2 | 106.5 | 104.2 | 103.7 | 88.7 | 84.1 | 67.2 | 54.3 | 41.2 | 22.3 | 11.0 |
| 105 | 16.7 | 28.8 | 46.8 | 61.5 | 74.0 | 91.3 | 97.4 | 106.3 | 106.0 | 103.9 | 89.1 | 85.7 | 67.5 | 55.8 | 41.3 | 23.1 | 11.1 |
| 108 | 17.4 | 28.7 | 47.3 | 63.5 | 75.2 | 90.0 | 96.9 | 103.9 | 104.3 | 102.4 | 89.5 | 83.0 | 67.8 | 57.2 | 43.2 | 23.9 | 12.2 |
| 111 | 17.0 | 29.2 | 48.1 | 63.5 | 74.8 | 90.6 | 97.2 | 102.2 | 101.5 | 101.7 | 87.8 | 83.5 | 68.4 | 56.6 | 44.0 | 25.3 | 11.9 |
| 114 | 17.5 | 30.1 | 49.4 | 61.2 | 75.8 | 88.7 | 94.0 | 101.2 | 101.1 | 98.0 | 90.7 | 79.8 | 66.7 | 58.7 | 41.0 | 27.4 | 11.3 |
| 117 | 16.7 | 29.6 | 47.7 | 60.7 | 74.8 | 85.1 | 91.1 | 97.3 | 96.6 | 95.1 | 86.5 | 79.6 | 65.6 | 56.5 | 39.1 | 26.8 | 10.9 |
| 120 | 17.5 | 30.3 | 48.0 | 59.7 | 74.2 | 84.5 | 89.7 | 94.9 | 94.8 | 92.3 | 86.3 | 78.4 | 64.2 | 54.5 | 37.1 | 27.3 | 11.4 |
| 123 | 17.5 | 29.9 | 46.3 | 56.4 | 69.9 | 80.8 | 86.3 | 91.7 | 91.8 | 92.3 | 81.7 | 78.8 | 62.5 | 54.1 | 38.8 | 25.6 | 12.2 |
| 126 | 17.9 | 29.4 | 45.8 | 55.6 | 70.3 | 77.7 | 84.6 | 89.1 | 90.3 | 87.2 | 83.4 | 72.6 | 65.3 | 49.3 | 39.7 | 23.2 | 13.2 |
| 129 | 17.1 | 28.6 | 44.3 | 54.7 | 68.0 | 74.0 | 81.2 | 85.5 | 86.7 | 82.4 | 80.2 | 69.5 | 62.2 | 49.9 | 36.8 | 23.7 | 12.1 |
| 132 | 16.1 | 27.8 | 41.3 | 52.0 | 65.2 | 71.3 | 78.5 | 80.8 | 83.3 | 79.7 | 73.3 | 69.1 | 57.1 | 48.3 | 34.6 | 23.8 | 11.5 |
| 135 | 16.2 | 26.5 | 39.4 | 48.8 | 60.6 | 67.6 | 74.4 | 77.5 | 77.6 | 75.5 | 71.0 | 64.2 | 54.1 | 44.5 | 32.4 | 23.3 | 11.6 |
| 138 | 15.6 | 25.1 | 37.2 | 46.7 | 58.1 | 64.3 | 71.6 | 71.8 | 74.4 | 70.9 | 68.5 | 61.0 | 52.0 | 42.3 | 32.2 | 21.6 | 11.8 |
| 141 | 15.3 | 24.1 | 35.7 | 43.8 | 54.5 | 61.0 | 66.1 | 69.1 | 68.8 | 66.9 | 64.2 | 55.9 | 49.7 | 39.4 | 30.1 | 19.9 | 12.5 |
| 144 | 14.7 | 22.7 | 32.9 | 41.4 | 50.1 | 55.8 | 61.0 | 63.8 | 62.7 | 64.9 | 57.5 | 55.8 | 44.4 | 39.6 | 27.8 | 19.6 | 12.2 |
| 147 | 13.7 | 21.1 | 31.8 | 37.6 | 46.1 | 51.8 | 56.5 | 60.0 | 59.4 | 58.8 | 53.1 | 51.1 | 42.5 | 35.5 | 25.9 | 19.1 | 11.5 |
| 150 | 13.5 | 19.8 | 28.9 | 34.8 | 41.7 | 47.8 | 51.8 | 53.8 | 53.4 | 53.3 | 48.8 | 44.0 | 39.6 | 31.0 | 25.8 | 18.5 | 11.0 |
| 153 | 12.4 | 17.7 | 25.9 | 31.8 | 37.1 | 43.6 | 47.0 | 47.4 | 49.2 | 47.8 | 43.4 | 40.3 | 35.1 | 27.7 | 23.2 | 16.6 | 11.1 |
| 156 | 12.0 | 16.7 | 23.3 | 28.8 | 33.7 | 38.3 | 40.7 | 42.0 | 43.2 | 41.8 | 38.9 | 37.2 | 30.3 | 25.9 | 21.2 | 14.6 | 11.1 |
| 159 | 12.0 | 15.6 | 20.7 | 25.4 | 29.1 | 32.6 | 34.7 | 37.5 | 38.2 | 36.8 | 34.2 | 30.9 | 27.2 | 23.6 | 18.0 | 14.1 | 10.4 |
| 162 | 11.3 | 14.2 | 18.1 | 22.6 | 25.3 | 28.6 | 30.6 | 31.9 | 31.9 | 31.2 | 29.6 | 26.8 | 24.5 | 19.9 | 16.1 | 13.1 | 9.9 |
| 165 | 10.5 | 12.6 | 16.1 | 19.3 | 21.5 | 23.4 | 25.5 | 26.5 | 26.7 | 26.1 | 24.3 | 22.5 | 20.4 | 17.1 | 14.8 | 12.2 | 9.6 |
| 168 | 10.3 | 11.5 | 13.9 | 15.6 | 17.5 | 19.6 | 21.5 | 22.2 | 22.1 | 21.8 | 21.0 | 18.8 | 16.7 | 14.9 | 13.3 | 10.5 | 9.1 |
| 171 | 9.3 | 10.2 | 11.4 | 13.1 | 14.7 | 15.8 | 16.5 | 16.7 | 16.8 | 16.6 | 16.2 | 15.1 | 13.7 | 12.8 | 11.5 | 10.1 | 9.0 |
| 174 | 8.6 | 9.2 | 9.9 | 10.7 | 11.5 | 12.2 | 12.9 | 13.4 | 13.7 | 13.5 | 12.9 | 12.2 | 11.6 | 10.9 | 10.0 | 9.2 | 8.7 |
| 177 | 8.6 | 8.8 | 9.0 | 9.2 | 9.5 | 9.7 | 10.0 | 10.1 | 10.1 | 10.1 | 9.8 | 9.5 | 9.2 | 8.9 | 8.7 | 8.6 | 8.4 |
| 180 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

04-01-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP