| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13098 | Report Date: 14-03-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: TALLIN 600 | Serial Number: 0661 |
| Lamp Type: 1556 (CFL) |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 239.2 | Current (mA)= 160 |
| Power (Watts)= 22.15 | Power factor= 0.5800 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 11-03-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: 0661 TALLIN 600 |  |  |
| Instrument Used: Labsphere model CSLMS HALOGEN 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 727.7 |  | Rated lamp flux (lumens): 1675 |
| CIE 1931 Chromaticity Cx: 0.4466 |  | CIE 1931 Chromaticity Cy: 0.4127 |
| CRI (%):81.41 |  | CCT (K): 2913 |
| LOR (%): 43.45 |  |  |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 14-03-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0661 TALLIN 600 |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1200N-1 Imaging Photometer |  |  |  |
| Photometer Working Distance:1.5 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):37 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):727.7 | Peak Intensity (3° Spot, candelas): 140.3 |  | Efficacy (lumens/Watt): 32.8 |
| Beam Angle (50% of max intensity C0-180, degrees): 108.6 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0661 TALLIN 600 |  |  |  |
| IES File – Absolute or Relative Format? Relative |  |  |  |
| Photometric Filename (EULUMDAT): 0661 TALLIN 600 |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Relative |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 |
| 3 | 127.6 | 127.8 | 128.1 | 128.6 | 128.3 | 128.6 | 129.3 | 129.5 | 129.8 | 129.8 | 130.1 | 130.1 | 129.8 | 129.0 | 127.8 | 127.3 | 127.3 | 126.6 | 126.3 |
| 6 | 127.8 | 126.6 | 127.6 | 128.8 | 128.6 | 127.8 | 127.8 | 125.8 | 124.9 | 126.8 | 129.5 | 130.3 | 128.6 | 127.3 | 125.6 | 125.6 | 129.3 | 130.6 | 128.6 |
| 9 | 128.1 | 126.3 | 128.8 | 127.8 | 127.1 | 127.8 | 128.1 | 126.6 | 126.8 | 126.3 | 126.3 | 126.6 | 128.1 | 127.8 | 127.3 | 127.3 | 126.6 | 129.8 | 127.1 |
| 12 | 125.1 | 127.1 | 125.3 | 125.3 | 124.9 | 126.3 | 126.3 | 125.6 | 125.8 | 127.1 | 126.8 | 124.9 | 125.3 | 126.8 | 124.6 | 126.6 | 125.8 | 125.3 | 125.8 |
| 15 | 122.3 | 123.8 | 121.1 | 125.1 | 122.8 | 123.0 | 124.1 | 124.6 | 122.1 | 125.6 | 122.5 | 121.8 | 125.1 | 123.0 | 122.8 | 120.3 | 122.8 | 119.5 | 122.8 |
| 18 | 120.6 | 122.5 | 119.1 | 122.8 | 120.6 | 124.6 | 120.1 | 122.8 | 123.0 | 122.3 | 123.8 | 121.1 | 121.8 | 119.3 | 121.1 | 120.1 | 120.1 | 118.8 | 120.6 |
| 21 | 118.8 | 117.6 | 118.8 | 116.8 | 120.8 | 118.1 | 120.6 | 117.8 | 120.6 | 118.8 | 116.3 | 119.8 | 118.6 | 115.4 | 119.1 | 116.3 | 120.6 | 112.6 | 118.1 |
| 24 | 113.8 | 116.6 | 115.6 | 117.3 | 114.3 | 113.8 | 114.9 | 117.6 | 114.6 | 115.4 | 114.6 | 116.8 | 114.6 | 114.3 | 113.8 | 110.8 | 114.3 | 112.1 | 115.4 |
| 27 | 111.1 | 115.8 | 110.6 | 110.8 | 116.3 | 111.9 | 112.1 | 114.6 | 110.3 | 111.4 | 111.9 | 110.6 | 109.1 | 111.6 | 111.1 | 112.6 | 112.6 | 108.4 | 112.1 |
| 30 | 107.6 | 109.8 | 109.8 | 108.9 | 106.6 | 111.1 | 109.8 | 107.1 | 108.9 | 108.1 | 107.1 | 108.9 | 107.3 | 106.6 | 107.3 | 106.8 | 106.8 | 105.1 | 108.1 |
| 33 | 104.9 | 105.4 | 103.1 | 105.1 | 106.1 | 104.9 | 101.9 | 103.8 | 104.1 | 104.1 | 103.1 | 103.6 | 102.4 | 102.6 | 103.3 | 104.1 | 100.3 | 97.6 | 107.3 |
| 36 | 101.4 | 101.4 | 100.8 | 103.6 | 99.1 | 101.1 | 100.8 | 100.6 | 99.6 | 98.9 | 98.6 | 98.4 | 98.4 | 96.1 | 100.3 | 101.1 | 97.3 | 95.4 | 99.1 |
| 39 | 95.4 | 97.1 | 97.9 | 94.6 | 94.9 | 96.6 | 95.6 | 93.1 | 96.1 | 95.4 | 96.8 | 93.6 | 93.1 | 94.6 | 95.6 | 94.1 | 90.6 | 92.4 | 96.3 |
| 42 | 89.6 | 90.9 | 89.9 | 91.9 | 92.4 | 90.3 | 90.1 | 88.6 | 90.3 | 88.9 | 89.4 | 89.4 | 88.1 | 90.1 | 88.1 | 87.6 | 85.7 | 86.1 | 90.9 |
| 45 | 84.9 | 85.1 | 86.4 | 83.4 | 85.7 | 85.7 | 85.4 | 85.1 | 83.1 | 86.6 | 83.9 | 82.7 | 83.6 | 83.6 | 84.6 | 81.4 | 79.9 | 82.4 | 85.9 |
| 48 | 81.6 | 79.2 | 81.4 | 80.9 | 79.6 | 79.4 | 80.4 | 80.4 | 78.9 | 77.6 | 76.4 | 80.9 | 81.1 | 80.1 | 75.7 | 77.4 | 75.9 | 77.4 | 80.4 |
| 51 | 75.9 | 74.6 | 71.9 | 75.1 | 71.9 | 73.2 | 73.6 | 74.4 | 74.4 | 74.9 | 75.1 | 74.1 | 74.6 | 74.1 | 71.4 | 69.2 | 69.4 | 71.6 | 74.9 |
| 54 | 67.4 | 67.4 | 68.7 | 68.7 | 67.4 | 68.9 | 68.9 | 69.2 | 67.1 | 67.1 | 67.4 | 67.4 | 67.4 | 64.1 | 65.9 | 62.9 | 64.9 | 66.4 | 67.6 |
| 57 | 61.4 | 61.4 | 60.2 | 63.6 | 63.6 | 63.4 | 60.6 | 63.4 | 61.4 | 61.4 | 61.1 | 61.7 | 60.9 | 61.1 | 57.9 | 56.7 | 57.9 | 59.9 | 59.4 |
| 60 | 55.7 | 54.9 | 54.9 | 56.2 | 57.2 | 54.9 | 54.1 | 54.6 | 56.2 | 54.9 | 53.4 | 55.2 | 53.7 | 51.7 | 52.4 | 50.9 | 51.9 | 54.1 | 54.4 |
| 63 | 49.7 | 50.7 | 50.2 | 50.0 | 46.7 | 48.4 | 49.7 | 48.2 | 48.9 | 48.7 | 50.4 | 50.0 | 47.6 | 46.2 | 47.2 | 47.4 | 48.7 | 47.2 | 47.4 |
| 66 | 42.2 | 43.2 | 41.9 | 43.5 | 40.9 | 42.4 | 42.2 | 42.7 | 43.7 | 43.9 | 41.9 | 42.2 | 40.2 | 38.9 | 40.2 | 41.2 | 41.2 | 40.2 | 42.2 |
| 69 | 34.7 | 34.4 | 34.2 | 35.4 | 34.9 | 36.0 | 37.2 | 36.0 | 36.0 | 34.4 | 34.7 | 35.2 | 34.2 | 34.7 | 34.9 | 33.2 | 33.7 | 34.9 | 35.4 |
| 72 | 28.9 | 29.5 | 29.2 | 29.7 | 28.4 | 28.2 | 29.2 | 28.4 | 30.5 | 28.9 | 29.5 | 29.5 | 28.7 | 28.9 | 28.4 | 27.2 | 28.7 | 28.7 | 28.9 |
| 75 | 23.2 | 21.9 | 23.2 | 22.5 | 21.4 | 23.0 | 22.7 | 24.0 | 23.0 | 23.2 | 23.0 | 23.0 | 23.2 | 22.7 | 21.9 | 21.0 | 21.7 | 21.9 | 21.7 |
| 78 | 16.5 | 15.7 | 15.7 | 17.3 | 16.0 | 16.5 | 16.5 | 17.0 | 17.0 | 17.5 | 16.7 | 16.5 | 16.5 | 15.7 | 16.7 | 16.5 | 15.2 | 15.2 | 16.2 |
| 81 | 10.2 | 9.7 | 11.0 | 11.0 | 10.5 | 10.5 | 10.5 | 11.7 | 10.5 | 10.8 | 11.7 | 11.0 | 11.7 | 11.0 | 11.5 | 11.0 | 11.0 | 10.5 | 10.5 |
| 84 | 5.2 | 5.2 | 5.2 | 6.0 | 6.0 | 6.0 | 6.2 | 6.0 | 5.7 | 5.2 | 6.5 | 6.0 | 5.7 | 6.0 | 5.5 | 6.2 | 5.2 | 5.0 | 5.5 |
| 87 | 1.5 | 1.7 | 2.2 | 2.5 | 2.2 | 2.2 | 3.0 | 1.7 | 2.2 | 2.7 | 2.2 | 2.2 | 1.7 | 2.0 | 2.2 | 2.0 | 1.7 | 2.2 | 2.0 |
| 90 | 0.0 | 0.0 | 0.0 | 0.0 | 0.8 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.8 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 93 | 2.0 | 2.5 | 2.5 | 2.2 | 2.2 | 2.0 | 2.2 | 2.7 | 2.7 | 2.5 | 2.7 | 3.0 | 2.7 | 2.5 | 2.0 | 2.0 | 1.5 | 2.0 | 1.5 |
| 96 | 5.5 | 6.0 | 5.0 | 6.0 | 6.0 | 6.2 | 6.2 | 6.7 | 7.5 | 7.3 | 7.3 | 7.0 | 6.2 | 6.7 | 5.2 | 6.2 | 5.2 | 5.0 | 5.5 |
| 99 | 11.0 | 10.0 | 11.2 | 10.8 | 10.5 | 11.7 | 11.5 | 11.7 | 12.7 | 12.2 | 11.5 | 12.7 | 12.2 | 11.5 | 12.0 | 11.2 | 11.0 | 9.5 | 9.7 |
| 102 | 16.0 | 16.5 | 17.3 | 16.5 | 17.3 | 17.5 | 17.7 | 18.2 | 17.7 | 18.4 | 18.2 | 18.4 | 17.3 | 17.0 | 17.3 | 17.3 | 15.7 | 14.5 | 15.5 |
| 105 | 23.2 | 21.9 | 22.7 | 23.5 | 23.2 | 24.0 | 24.7 | 25.2 | 24.7 | 24.9 | 24.0 | 24.9 | 24.7 | 25.4 | 23.0 | 23.2 | 21.7 | 21.7 | 21.4 |
| 108 | 29.5 | 28.7 | 29.5 | 30.2 | 28.4 | 31.9 | 30.5 | 31.0 | 31.2 | 31.2 | 32.4 | 33.2 | 31.9 | 31.4 | 30.0 | 29.7 | 28.2 | 29.2 | 27.0 |
| 111 | 37.4 | 36.5 | 36.7 | 34.2 | 35.7 | 37.9 | 36.5 | 37.7 | 37.4 | 38.7 | 38.9 | 38.4 | 39.7 | 38.4 | 36.2 | 36.5 | 34.2 | 34.4 | 34.9 |
| 114 | 42.7 | 42.7 | 42.2 | 41.9 | 43.2 | 42.2 | 44.9 | 44.7 | 44.4 | 45.4 | 44.9 | 44.2 | 45.2 | 43.2 | 41.2 | 42.7 | 42.7 | 41.4 | 41.4 |
| 117 | 48.9 | 47.9 | 49.2 | 48.2 | 50.0 | 49.2 | 50.4 | 51.1 | 51.1 | 53.4 | 52.7 | 52.9 | 52.4 | 50.2 | 50.9 | 51.9 | 49.4 | 49.7 | 47.4 |
| 120 | 55.9 | 56.7 | 57.6 | 54.4 | 55.4 | 56.4 | 58.7 | 58.9 | 60.4 | 59.7 | 58.7 | 57.9 | 59.7 | 59.7 | 58.9 | 56.9 | 56.7 | 53.9 | 53.7 |
| 123 | 62.4 | 61.9 | 61.4 | 60.2 | 61.1 | 63.6 | 63.2 | 66.4 | 65.9 | 65.2 | 65.9 | 64.1 | 65.4 | 66.7 | 65.2 | 64.4 | 64.6 | 62.4 | 59.4 |
| 126 | 69.2 | 67.1 | 68.4 | 66.4 | 68.4 | 70.6 | 70.6 | 70.9 | 73.6 | 73.4 | 70.1 | 73.2 | 72.2 | 70.9 | 70.1 | 70.9 | 71.9 | 69.4 | 68.9 |
| 129 | 76.6 | 74.9 | 74.1 | 74.4 | 74.4 | 76.4 | 79.2 | 79.4 | 80.9 | 77.9 | 77.4 | 80.1 | 78.6 | 79.6 | 77.1 | 77.4 | 74.1 | 77.6 | 77.9 |
| 132 | 83.9 | 79.6 | 77.1 | 79.6 | 80.6 | 83.9 | 83.9 | 84.6 | 87.1 | 84.9 | 83.6 | 85.4 | 82.4 | 85.9 | 84.6 | 83.4 | 85.1 | 81.9 | 82.9 |
| 135 | 91.4 | 85.4 | 82.9 | 85.4 | 87.6 | 91.1 | 91.1 | 89.2 | 91.4 | 91.4 | 91.6 | 91.1 | 91.4 | 89.6 | 90.1 | 88.1 | 89.4 | 88.1 | 88.6 |
| 138 | 96.8 | 91.1 | 89.2 | 92.6 | 95.6 | 94.4 | 94.4 | 95.9 | 96.1 | 93.8 | 95.9 | 96.3 | 98.4 | 96.1 | 94.4 | 94.6 | 94.9 | 94.1 | 95.9 |
| 141 | 100.1 | 95.1 | 94.9 | 100.3 | 100.6 | 97.6 | 97.3 | 101.4 | 102.6 | 103.6 | 102.8 | 102.6 | 99.8 | 101.4 | 100.6 | 98.6 | 101.4 | 101.1 | 99.8 |
| 144 | 108.9 | 103.1 | 99.6 | 107.9 | 105.6 | 101.6 | 104.4 | 106.6 | 106.1 | 108.1 | 106.8 | 106.3 | 107.6 | 105.4 | 105.4 | 105.9 | 104.4 | 104.9 | 105.9 |
| 147 | 110.3 | 104.9 | 107.1 | 109.3 | 110.8 | 107.1 | 109.3 | 111.4 | 109.1 | 112.8 | 111.6 | 111.4 | 111.4 | 109.3 | 110.1 | 109.6 | 109.8 | 110.1 | 104.9 |
| 150 | 117.1 | 108.4 | 113.6 | 118.4 | 111.9 | 113.3 | 117.1 | 113.8 | 118.1 | 115.8 | 117.3 | 116.1 | 114.6 | 114.9 | 112.1 | 112.3 | 112.8 | 112.6 | 114.9 |
| 153 | 117.3 | 115.8 | 119.8 | 119.8 | 114.3 | 120.3 | 118.6 | 120.1 | 120.8 | 119.5 | 121.6 | 119.5 | 120.6 | 117.8 | 119.1 | 117.3 | 113.1 | 117.1 | 114.1 |
| 156 | 124.3 | 115.4 | 124.1 | 119.3 | 122.1 | 124.1 | 123.0 | 122.5 | 123.6 | 123.6 | 123.0 | 123.0 | 125.1 | 120.1 | 121.3 | 121.1 | 119.5 | 122.5 | 119.8 |
| 159 | 125.1 | 125.3 | 127.3 | 121.3 | 124.3 | 128.1 | 126.0 | 127.1 | 127.1 | 124.6 | 125.8 | 128.1 | 126.6 | 126.8 | 125.8 | 123.3 | 123.6 | 123.3 | 123.3 |
| 162 | 129.8 | 126.8 | 128.3 | 124.1 | 130.8 | 128.3 | 128.6 | 129.8 | 129.5 | 130.6 | 128.8 | 130.1 | 128.8 | 130.3 | 128.3 | 129.5 | 125.8 | 127.8 | 125.3 |
| 165 | 130.6 | 128.3 | 131.6 | 130.1 | 132.5 | 131.3 | 132.3 | 133.6 | 132.5 | 131.6 | 131.3 | 133.6 | 132.8 | 133.6 | 132.8 | 129.3 | 129.0 | 129.5 | 125.3 |
| 168 | 133.3 | 133.0 | 131.8 | 134.1 | 132.5 | 133.8 | 131.3 | 134.3 | 134.8 | 133.3 | 133.8 | 134.6 | 133.8 | 133.8 | 134.6 | 134.8 | 131.8 | 132.3 | 131.8 |
| 171 | 133.6 | 134.8 | 133.3 | 136.5 | 135.3 | 136.3 | 136.8 | 135.3 | 134.1 | 135.1 | 134.8 | 134.8 | 134.3 | 137.6 | 136.3 | 134.1 | 134.1 | 133.0 | 135.5 |
| 174 | 137.3 | 136.5 | 133.8 | 134.1 | 136.3 | 137.1 | 136.8 | 138.3 | 137.8 | 136.3 | 135.3 | 136.0 | 136.3 | 135.8 | 134.8 | 135.8 | 136.3 | 135.1 | 133.6 |
| 177 | 136.3 | 136.0 | 136.0 | 136.8 | 136.8 | 137.3 | 138.3 | 139.3 | 140.0 | 140.3 | 140.0 | 139.8 | 139.5 | 139.0 | 138.3 | 137.6 | 136.8 | 136.0 | 135.8 |
| 180 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 | 126.6 |
| 3 | 126.6 | 127.8 | 129.0 | 129.8 | 130.6 | 130.3 | 129.8 | 129.3 | 129.3 | 129.0 | 129.0 | 129.0 | 129.8 | 130.3 | 130.1 | 128.6 | 127.8 |
| 6 | 127.8 | 128.8 | 127.6 | 126.6 | 126.8 | 128.6 | 129.0 | 128.1 | 126.3 | 124.3 | 125.1 | 127.8 | 127.8 | 126.8 | 126.0 | 128.1 | 129.3 |
| 9 | 126.0 | 127.8 | 128.1 | 128.3 | 127.3 | 125.8 | 125.1 | 127.1 | 127.6 | 125.3 | 126.8 | 127.6 | 126.8 | 126.6 | 127.1 | 126.6 | 127.3 |
| 12 | 123.0 | 123.8 | 121.8 | 126.6 | 123.6 | 123.6 | 126.6 | 125.6 | 125.6 | 125.3 | 123.6 | 126.6 | 123.6 | 123.6 | 127.1 | 123.6 | 127.6 |
| 15 | 123.0 | 122.8 | 119.1 | 121.8 | 123.3 | 121.1 | 121.6 | 119.8 | 121.1 | 123.3 | 123.6 | 121.1 | 121.3 | 123.0 | 123.3 | 121.6 | 122.3 |
| 18 | 119.5 | 119.1 | 120.3 | 115.6 | 119.8 | 117.3 | 120.6 | 120.8 | 121.1 | 118.1 | 119.1 | 120.6 | 121.3 | 120.6 | 116.6 | 122.8 | 120.8 |
| 21 | 117.6 | 115.6 | 117.8 | 115.1 | 116.6 | 114.1 | 117.6 | 113.8 | 118.1 | 115.4 | 118.1 | 117.1 | 117.6 | 115.6 | 117.8 | 117.1 | 114.1 |
| 24 | 112.3 | 109.6 | 115.4 | 108.6 | 113.3 | 110.3 | 112.6 | 112.3 | 112.6 | 111.9 | 113.1 | 114.9 | 111.1 | 114.9 | 113.3 | 114.3 | 115.1 |
| 27 | 110.3 | 107.1 | 112.1 | 109.6 | 107.6 | 110.8 | 108.4 | 107.6 | 108.4 | 110.6 | 108.9 | 108.4 | 112.1 | 107.1 | 109.6 | 111.6 | 111.1 |
| 30 | 108.1 | 103.6 | 107.3 | 107.3 | 101.1 | 104.9 | 107.6 | 104.4 | 104.9 | 105.4 | 105.6 | 104.9 | 102.6 | 109.1 | 108.4 | 105.1 | 105.1 |
| 33 | 105.6 | 100.8 | 102.4 | 103.8 | 99.6 | 98.4 | 101.1 | 101.1 | 100.3 | 98.1 | 100.3 | 100.1 | 103.3 | 102.4 | 99.6 | 102.6 | 104.1 |
| 36 | 101.6 | 95.4 | 96.6 | 98.9 | 99.1 | 94.1 | 96.8 | 99.1 | 96.3 | 96.6 | 95.4 | 95.6 | 95.4 | 99.4 | 98.9 | 97.6 | 101.4 |
| 39 | 97.3 | 92.6 | 90.1 | 92.9 | 91.6 | 90.3 | 87.9 | 91.6 | 92.4 | 90.6 | 92.9 | 93.8 | 91.9 | 89.4 | 94.4 | 95.6 | 95.9 |
| 42 | 90.9 | 89.2 | 85.4 | 84.9 | 89.4 | 88.9 | 84.4 | 86.1 | 85.9 | 88.4 | 88.6 | 85.9 | 87.6 | 87.9 | 89.2 | 87.9 | 90.9 |
| 45 | 86.4 | 86.4 | 81.6 | 79.9 | 81.6 | 82.2 | 78.9 | 80.4 | 81.1 | 80.9 | 80.9 | 79.9 | 81.6 | 82.4 | 86.1 | 84.4 | 85.1 |
| 48 | 82.7 | 77.9 | 75.9 | 74.9 | 75.7 | 76.6 | 76.9 | 75.4 | 75.4 | 74.4 | 76.4 | 77.6 | 75.1 | 78.4 | 77.9 | 78.4 | 80.4 |
| 51 | 75.7 | 72.4 | 70.9 | 69.4 | 70.4 | 70.6 | 69.2 | 71.1 | 69.4 | 71.1 | 69.7 | 70.9 | 68.9 | 70.6 | 71.6 | 72.2 | 76.2 |
| 54 | 68.4 | 69.4 | 64.4 | 63.9 | 62.9 | 63.9 | 65.4 | 64.4 | 66.4 | 65.7 | 65.2 | 63.9 | 65.9 | 65.7 | 64.6 | 68.1 | 68.9 |
| 57 | 60.4 | 64.1 | 59.7 | 59.2 | 57.4 | 57.2 | 57.6 | 58.9 | 58.9 | 59.2 | 60.4 | 61.7 | 60.2 | 60.9 | 59.4 | 61.4 | 61.1 |
| 60 | 55.4 | 54.9 | 52.4 | 53.2 | 51.9 | 50.4 | 52.7 | 51.9 | 53.4 | 53.9 | 53.9 | 50.9 | 52.2 | 55.9 | 52.4 | 52.9 | 53.9 |
| 63 | 47.9 | 49.7 | 47.2 | 46.5 | 45.7 | 43.5 | 46.7 | 46.5 | 45.9 | 46.2 | 46.2 | 46.7 | 47.6 | 46.5 | 47.2 | 50.2 | 48.9 |
| 66 | 41.4 | 40.2 | 40.9 | 41.4 | 41.2 | 40.0 | 40.9 | 40.9 | 40.0 | 40.9 | 40.5 | 40.5 | 40.0 | 40.5 | 43.0 | 40.9 | 42.7 |
| 69 | 36.0 | 33.7 | 33.5 | 34.9 | 34.7 | 32.4 | 34.7 | 34.4 | 34.0 | 33.5 | 34.2 | 35.2 | 33.7 | 33.5 | 33.2 | 33.5 | 34.7 |
| 72 | 30.0 | 28.4 | 28.2 | 29.7 | 28.4 | 28.4 | 27.0 | 28.7 | 26.5 | 27.5 | 27.7 | 28.9 | 27.7 | 27.7 | 28.4 | 27.9 | 28.2 |
| 75 | 22.2 | 21.9 | 21.9 | 23.2 | 21.4 | 22.7 | 21.2 | 21.2 | 21.7 | 22.2 | 21.4 | 22.2 | 22.7 | 22.5 | 21.9 | 22.5 | 21.9 |
| 78 | 15.7 | 15.7 | 16.2 | 16.0 | 17.0 | 15.7 | 15.5 | 15.5 | 15.5 | 15.2 | 15.0 | 15.2 | 15.5 | 16.0 | 15.2 | 16.5 | 16.0 |
| 81 | 10.2 | 11.0 | 10.8 | 10.2 | 10.8 | 10.8 | 11.0 | 10.0 | 11.0 | 10.2 | 9.7 | 9.5 | 10.2 | 10.0 | 9.7 | 10.5 | 9.7 |
| 84 | 5.7 | 6.0 | 6.2 | 5.2 | 6.0 | 6.0 | 6.0 | 5.7 | 5.7 | 6.2 | 5.2 | 6.0 | 5.0 | 4.8 | 5.2 | 5.0 | 5.2 |
| 87 | 2.5 | 2.0 | 2.0 | 2.5 | 3.0 | 2.5 | 2.5 | 3.0 | 3.0 | 3.0 | 2.5 | 2.2 | 2.2 | 2.0 | 1.7 | 1.7 | 2.2 |
| 90 | 0.0 | 0.8 | 0.0 | 1.5 | 2.0 | 1.7 | 2.2 | 2.0 | 2.2 | 2.2 | 2.0 | 1.7 | 1.3 | 1.0 | 0.0 | 0.0 | 0.8 |
| 93 | 2.2 | 2.5 | 2.2 | 2.2 | 2.5 | 3.0 | 2.5 | 3.0 | 2.7 | 2.5 | 2.5 | 2.2 | 1.7 | 1.7 | 2.2 | 1.7 | 2.5 |
| 96 | 5.2 | 5.2 | 6.0 | 6.0 | 6.0 | 5.5 | 5.2 | 6.0 | 5.7 | 5.7 | 5.5 | 5.0 | 5.0 | 5.0 | 5.0 | 5.0 | 6.2 |
| 99 | 10.0 | 10.5 | 11.2 | 11.5 | 10.8 | 10.0 | 11.0 | 10.8 | 10.0 | 9.7 | 10.0 | 10.5 | 10.5 | 10.0 | 10.2 | 10.0 | 10.0 |
| 102 | 15.5 | 16.0 | 16.5 | 16.7 | 16.7 | 16.5 | 16.0 | 16.2 | 16.5 | 15.5 | 14.5 | 15.0 | 15.0 | 16.2 | 15.2 | 15.2 | 16.0 |
| 105 | 20.5 | 21.4 | 21.7 | 22.2 | 22.7 | 20.5 | 22.7 | 22.7 | 23.0 | 21.9 | 21.2 | 20.8 | 21.9 | 21.2 | 21.2 | 20.8 | 22.5 |
| 108 | 27.9 | 27.0 | 28.2 | 28.4 | 27.5 | 28.2 | 27.5 | 28.2 | 27.5 | 26.7 | 27.0 | 27.2 | 29.5 | 28.2 | 27.0 | 27.5 | 29.2 |
| 111 | 33.0 | 34.2 | 34.9 | 35.7 | 33.7 | 34.4 | 33.7 | 33.2 | 35.2 | 35.4 | 33.0 | 33.7 | 34.4 | 34.4 | 34.0 | 33.7 | 35.2 |
| 114 | 43.2 | 41.9 | 43.7 | 42.4 | 41.2 | 40.9 | 42.2 | 41.9 | 40.0 | 39.2 | 40.2 | 40.0 | 40.5 | 40.9 | 42.2 | 42.2 | 43.0 |
| 117 | 48.4 | 49.2 | 49.7 | 49.7 | 50.7 | 47.9 | 47.4 | 48.9 | 46.7 | 46.7 | 46.2 | 47.2 | 47.0 | 48.4 | 48.4 | 50.7 | 47.9 |
| 120 | 53.4 | 54.4 | 57.2 | 56.4 | 54.6 | 55.2 | 56.7 | 55.9 | 54.9 | 53.9 | 53.4 | 53.4 | 53.2 | 53.9 | 54.9 | 57.4 | 55.7 |
| 123 | 60.9 | 62.4 | 61.1 | 63.4 | 62.9 | 61.4 | 61.9 | 61.7 | 62.4 | 59.7 | 58.9 | 60.4 | 60.2 | 61.7 | 60.6 | 64.9 | 62.2 |
| 126 | 71.6 | 71.6 | 67.6 | 67.9 | 67.9 | 66.2 | 68.7 | 66.9 | 68.4 | 67.1 | 65.7 | 64.1 | 65.9 | 65.9 | 68.1 | 71.1 | 69.7 |
| 129 | 79.6 | 75.9 | 74.9 | 73.9 | 73.4 | 70.9 | 71.4 | 74.4 | 74.9 | 75.1 | 73.4 | 71.1 | 73.4 | 74.4 | 75.1 | 78.1 | 77.6 |
| 132 | 83.6 | 83.1 | 81.6 | 81.1 | 77.4 | 79.2 | 81.9 | 81.4 | 80.4 | 79.6 | 80.1 | 77.9 | 77.9 | 78.9 | 82.2 | 85.4 | 86.1 |
| 135 | 88.6 | 89.2 | 90.6 | 86.6 | 83.6 | 83.4 | 83.6 | 84.1 | 86.8 | 84.6 | 83.9 | 85.7 | 87.1 | 86.1 | 84.9 | 85.9 | 91.4 |
| 138 | 96.3 | 92.9 | 91.1 | 91.1 | 89.4 | 88.1 | 90.9 | 92.6 | 92.1 | 90.1 | 88.4 | 89.4 | 91.6 | 90.6 | 87.4 | 93.3 | 97.3 |
| 141 | 100.6 | 99.8 | 96.6 | 93.6 | 94.4 | 96.1 | 98.4 | 97.6 | 98.9 | 95.9 | 94.4 | 96.3 | 97.6 | 98.1 | 94.1 | 96.3 | 99.4 |
| 144 | 103.6 | 101.9 | 104.4 | 102.1 | 101.4 | 99.1 | 101.9 | 101.6 | 102.4 | 103.8 | 100.6 | 101.1 | 102.8 | 104.9 | 102.4 | 99.4 | 106.6 |
| 147 | 107.9 | 107.9 | 103.8 | 104.1 | 108.1 | 106.1 | 108.4 | 107.6 | 106.6 | 106.3 | 106.6 | 104.1 | 105.6 | 110.1 | 106.6 | 103.8 | 111.6 |
| 150 | 110.8 | 108.1 | 110.6 | 112.6 | 108.4 | 110.8 | 113.1 | 113.1 | 112.1 | 110.3 | 114.1 | 108.9 | 108.1 | 114.3 | 113.1 | 109.3 | 116.8 |
| 153 | 115.4 | 118.4 | 112.8 | 113.6 | 115.6 | 113.8 | 116.6 | 117.8 | 113.3 | 120.1 | 114.9 | 118.1 | 113.3 | 111.9 | 117.6 | 114.9 | 116.8 |
| 156 | 118.6 | 117.6 | 115.6 | 119.8 | 117.1 | 118.4 | 120.6 | 118.8 | 121.1 | 120.3 | 120.6 | 119.1 | 118.8 | 118.6 | 123.8 | 117.1 | 119.8 |
| 159 | 124.3 | 120.3 | 120.3 | 121.6 | 122.1 | 121.6 | 125.8 | 126.3 | 124.1 | 122.1 | 124.3 | 121.8 | 124.3 | 122.3 | 122.1 | 123.0 | 121.3 |
| 162 | 124.9 | 125.3 | 123.0 | 126.3 | 127.1 | 125.6 | 127.1 | 126.0 | 126.3 | 127.6 | 129.0 | 124.9 | 126.0 | 126.6 | 127.8 | 127.8 | 128.1 |
| 165 | 128.8 | 129.0 | 128.6 | 129.8 | 126.6 | 130.1 | 128.1 | 127.8 | 129.3 | 131.1 | 129.8 | 127.8 | 128.3 | 128.6 | 128.1 | 127.3 | 128.3 |
| 168 | 132.5 | 130.1 | 134.8 | 133.0 | 132.8 | 132.3 | 130.3 | 130.8 | 133.3 | 132.1 | 132.8 | 130.8 | 133.0 | 132.5 | 129.5 | 133.3 | 130.8 |
| 171 | 135.8 | 131.6 | 131.6 | 132.3 | 130.8 | 134.6 | 133.8 | 133.6 | 136.3 | 135.1 | 131.8 | 133.8 | 133.0 | 131.8 | 133.0 | 135.5 | 133.8 |
| 174 | 133.8 | 135.5 | 136.5 | 136.5 | 135.5 | 134.3 | 134.3 | 133.8 | 134.1 | 134.8 | 134.1 | 135.8 | 137.3 | 136.3 | 135.3 | 133.8 | 134.6 |
| 177 | 135.5 | 135.3 | 134.1 | 134.1 | 135.1 | 136.0 | 136.5 | 136.3 | 135.5 | 135.1 | 135.5 | 136.5 | 137.3 | 137.6 | 137.8 | 137.1 | 136.5 |
| 180 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 | 137.8 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

______________14-03-2013___________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP