| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13026 | Report Date: 29-01-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: TALLIN 900 | Serial Number: 0693 |
| Lamp Type: CFL |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 244.7 | Current (mA)= 155 |
| Power (Watts)= 37.4 | Power factor= 0.9852 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 19-12-2012 |  | Ambient Temperature:25°C |
| Measurement Filename: 0693 TALLIN 900 |  |  |
| Instrument Used: Labsphere model CSLMS LED 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 1041.6 |  | Bare Lamp flux (lumens): 3200 |
| CIE 1931 Chromaticity Cx: 0.3129 |  | CIE 1931 Chromaticity Cy: 0.4164 |
| CRI (%):79.35 |  | CCT (K): 3129 |
| LOR(%)= 32.55 |  |  |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 19-12-2012 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0693 TALLIN 900 |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1423F-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 2m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):35 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):1041.6 | Peak Intensity (3° Spot, candelas): 200.8 |  | Efficacy (lumens/Watt): 27.83 |
| Beam Angle (50% of max intensity C0-180, degrees): 108.6 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0693 TALLIN 900 |  |  |  |
| IES File – Absolute or Relative Format? Relative |  |  |  |
| Photometric Filename (EULUMDAT): 0693 TALLIN 900 |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Relative |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 |
| 3 | 182.6 | 182.9 | 183.3 | 184.0 | 183.7 | 184.0 | 185.1 | 185.4 | 185.8 | 185.8 | 186.2 | 186.2 | 185.8 | 184.7 | 182.9 | 182.2 | 182.2 | 181.2 | 180.8 |
| 6 | 182.9 | 181.2 | 182.6 | 184.4 | 184.0 | 182.9 | 182.9 | 180.1 | 178.7 | 181.5 | 185.4 | 186.5 | 184.0 | 182.2 | 179.7 | 179.7 | 185.1 | 186.9 | 184.0 |
| 9 | 183.3 | 180.8 | 184.4 | 182.9 | 181.9 | 182.9 | 183.3 | 181.2 | 181.5 | 180.8 | 180.8 | 181.2 | 183.3 | 182.9 | 182.2 | 182.2 | 181.2 | 185.8 | 181.9 |
| 12 | 179.0 | 181.9 | 179.4 | 179.4 | 178.7 | 180.8 | 180.8 | 179.7 | 180.1 | 181.9 | 181.5 | 178.7 | 179.4 | 181.5 | 178.3 | 181.2 | 180.1 | 179.4 | 180.1 |
| 15 | 175.1 | 177.2 | 173.3 | 179.0 | 175.8 | 176.1 | 177.6 | 178.3 | 174.7 | 179.7 | 175.4 | 174.4 | 179.0 | 176.1 | 175.8 | 172.2 | 175.8 | 171.1 | 175.8 |
| 18 | 172.6 | 175.4 | 170.4 | 175.8 | 172.6 | 178.3 | 171.9 | 175.8 | 176.1 | 175.1 | 177.2 | 173.3 | 174.4 | 170.8 | 173.3 | 171.9 | 171.9 | 170.1 | 172.6 |
| 21 | 170.1 | 168.3 | 170.1 | 167.2 | 172.9 | 169.0 | 172.6 | 168.6 | 172.6 | 170.1 | 166.5 | 171.5 | 169.7 | 165.1 | 170.4 | 166.5 | 172.6 | 161.1 | 169.0 |
| 24 | 162.9 | 166.9 | 165.4 | 167.9 | 163.6 | 162.9 | 164.4 | 168.3 | 164.0 | 165.1 | 164.0 | 167.2 | 164.0 | 163.6 | 162.9 | 158.6 | 163.6 | 160.4 | 165.1 |
| 27 | 159.0 | 165.8 | 158.3 | 158.6 | 166.5 | 160.1 | 160.4 | 164.0 | 157.9 | 159.4 | 160.1 | 158.3 | 156.1 | 159.7 | 159.0 | 161.1 | 161.1 | 155.1 | 160.4 |
| 30 | 154.0 | 157.2 | 157.2 | 155.8 | 152.6 | 159.0 | 157.2 | 153.3 | 155.8 | 154.7 | 153.3 | 155.8 | 153.6 | 152.6 | 153.6 | 152.9 | 152.9 | 150.4 | 154.7 |
| 33 | 150.1 | 150.8 | 147.6 | 150.4 | 151.9 | 150.1 | 145.8 | 148.6 | 149.0 | 149.0 | 147.6 | 148.3 | 146.5 | 146.9 | 147.9 | 149.0 | 143.6 | 139.7 | 153.6 |
| 36 | 145.1 | 145.1 | 144.3 | 148.3 | 141.8 | 144.7 | 144.3 | 144.0 | 142.6 | 141.5 | 141.1 | 140.8 | 140.8 | 137.6 | 143.6 | 144.7 | 139.3 | 136.5 | 141.8 |
| 39 | 136.5 | 139.0 | 140.1 | 135.4 | 135.8 | 138.3 | 136.8 | 133.3 | 137.6 | 136.5 | 138.6 | 134.0 | 133.3 | 135.4 | 136.8 | 134.7 | 129.7 | 132.2 | 137.9 |
| 42 | 128.3 | 130.1 | 128.6 | 131.5 | 132.2 | 129.3 | 129.0 | 126.8 | 129.3 | 127.2 | 127.9 | 127.9 | 126.1 | 129.0 | 126.1 | 125.4 | 122.6 | 123.3 | 130.1 |
| 45 | 121.5 | 121.8 | 123.6 | 119.3 | 122.6 | 122.6 | 122.2 | 121.8 | 119.0 | 124.0 | 120.1 | 118.3 | 119.7 | 119.7 | 121.1 | 116.5 | 114.3 | 117.9 | 122.9 |
| 48 | 116.8 | 113.3 | 116.5 | 115.8 | 114.0 | 113.6 | 115.1 | 115.1 | 112.9 | 111.1 | 109.3 | 115.8 | 116.1 | 114.7 | 108.3 | 110.8 | 108.6 | 110.8 | 115.1 |
| 51 | 108.6 | 106.8 | 102.9 | 107.5 | 102.9 | 104.7 | 105.4 | 106.5 | 106.5 | 107.2 | 107.5 | 106.1 | 106.8 | 106.1 | 102.2 | 99.0 | 99.3 | 102.5 | 107.2 |
| 54 | 96.5 | 96.5 | 98.3 | 98.3 | 96.5 | 98.6 | 98.6 | 99.0 | 96.1 | 96.1 | 96.5 | 96.5 | 96.5 | 91.8 | 94.3 | 90.0 | 92.9 | 95.0 | 96.8 |
| 57 | 87.9 | 87.9 | 86.1 | 91.1 | 91.1 | 90.8 | 86.8 | 90.8 | 87.9 | 87.9 | 87.5 | 88.3 | 87.2 | 87.5 | 82.9 | 81.1 | 82.9 | 85.8 | 85.0 |
| 60 | 79.7 | 78.6 | 78.6 | 80.4 | 81.8 | 78.6 | 77.5 | 78.2 | 80.4 | 78.6 | 76.5 | 79.0 | 76.8 | 74.0 | 75.0 | 72.9 | 74.3 | 77.5 | 77.9 |
| 63 | 71.1 | 72.5 | 71.8 | 71.5 | 66.8 | 69.3 | 71.1 | 69.0 | 70.0 | 69.7 | 72.2 | 71.5 | 68.2 | 66.1 | 67.5 | 67.9 | 69.7 | 67.5 | 67.9 |
| 66 | 60.4 | 61.8 | 60.0 | 62.2 | 58.6 | 60.7 | 60.4 | 61.1 | 62.5 | 62.9 | 60.0 | 60.4 | 57.5 | 55.7 | 57.5 | 59.0 | 59.0 | 57.5 | 60.4 |
| 69 | 49.7 | 49.3 | 49.0 | 50.7 | 50.0 | 51.5 | 53.2 | 51.5 | 51.5 | 49.3 | 49.7 | 50.4 | 49.0 | 49.7 | 50.0 | 47.5 | 48.2 | 50.0 | 50.7 |
| 72 | 41.4 | 42.2 | 41.8 | 42.5 | 40.7 | 40.4 | 41.8 | 40.7 | 43.6 | 41.4 | 42.2 | 42.2 | 41.1 | 41.4 | 40.7 | 38.9 | 41.1 | 41.1 | 41.4 |
| 75 | 33.2 | 31.4 | 33.2 | 32.2 | 30.7 | 32.9 | 32.5 | 34.3 | 32.9 | 33.2 | 32.9 | 32.9 | 33.2 | 32.5 | 31.4 | 30.0 | 31.1 | 31.4 | 31.1 |
| 78 | 23.6 | 22.5 | 22.5 | 24.7 | 22.9 | 23.6 | 23.6 | 24.3 | 24.3 | 25.0 | 23.9 | 23.6 | 23.6 | 22.5 | 23.9 | 23.6 | 21.8 | 21.8 | 23.2 |
| 81 | 14.6 | 13.9 | 15.7 | 15.7 | 15.0 | 15.0 | 15.0 | 16.8 | 15.0 | 15.4 | 16.8 | 15.7 | 16.8 | 15.7 | 16.4 | 15.7 | 15.7 | 15.0 | 15.0 |
| 84 | 7.5 | 7.5 | 7.5 | 8.6 | 8.6 | 8.6 | 8.9 | 8.6 | 8.2 | 7.5 | 9.3 | 8.6 | 8.2 | 8.6 | 7.9 | 8.9 | 7.5 | 7.1 | 7.9 |
| 87 | 2.1 | 2.5 | 3.2 | 3.6 | 3.2 | 3.2 | 4.3 | 2.5 | 3.2 | 3.9 | 3.2 | 3.2 | 2.5 | 2.9 | 3.2 | 2.9 | 2.5 | 3.2 | 2.9 |
| 90 | 0.0 | 0.0 | 0.0 | 0.0 | 1.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 1.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 93 | 2.9 | 3.6 | 3.6 | 3.2 | 3.2 | 2.9 | 3.2 | 3.9 | 3.9 | 3.6 | 3.9 | 4.3 | 3.9 | 3.6 | 2.9 | 2.9 | 2.1 | 2.9 | 2.1 |
| 96 | 7.9 | 8.6 | 7.1 | 8.6 | 8.6 | 8.9 | 8.9 | 9.6 | 10.7 | 10.4 | 10.4 | 10.0 | 8.9 | 9.6 | 7.5 | 8.9 | 7.5 | 7.1 | 7.9 |
| 99 | 15.7 | 14.3 | 16.1 | 15.4 | 15.0 | 16.8 | 16.4 | 16.8 | 18.2 | 17.5 | 16.4 | 18.2 | 17.5 | 16.4 | 17.2 | 16.1 | 15.7 | 13.6 | 13.9 |
| 102 | 22.9 | 23.6 | 24.7 | 23.6 | 24.7 | 25.0 | 25.4 | 26.1 | 25.4 | 26.4 | 26.1 | 26.4 | 24.7 | 24.3 | 24.7 | 24.7 | 22.5 | 20.7 | 22.2 |
| 105 | 33.2 | 31.4 | 32.5 | 33.6 | 33.2 | 34.3 | 35.4 | 36.1 | 35.4 | 35.7 | 34.3 | 35.7 | 35.4 | 36.4 | 32.9 | 33.2 | 31.1 | 31.1 | 30.7 |
| 108 | 42.2 | 41.1 | 42.2 | 43.2 | 40.7 | 45.7 | 43.6 | 44.3 | 44.7 | 44.7 | 46.4 | 47.5 | 45.7 | 45.0 | 42.9 | 42.5 | 40.4 | 41.8 | 38.6 |
| 111 | 53.6 | 52.2 | 52.5 | 49.0 | 51.1 | 54.3 | 52.2 | 54.0 | 53.6 | 55.4 | 55.7 | 55.0 | 56.8 | 55.0 | 51.8 | 52.2 | 49.0 | 49.3 | 50.0 |
| 114 | 61.1 | 61.1 | 60.4 | 60.0 | 61.8 | 60.4 | 64.3 | 64.0 | 63.6 | 65.0 | 64.3 | 63.2 | 64.7 | 61.8 | 59.0 | 61.1 | 61.1 | 59.3 | 59.3 |
| 117 | 70.0 | 68.6 | 70.4 | 69.0 | 71.5 | 70.4 | 72.2 | 73.2 | 73.2 | 76.5 | 75.4 | 75.7 | 75.0 | 71.8 | 72.9 | 74.3 | 70.7 | 71.1 | 67.9 |
| 120 | 80.0 | 81.1 | 82.5 | 77.9 | 79.3 | 80.7 | 84.0 | 84.3 | 86.5 | 85.4 | 84.0 | 82.9 | 85.4 | 85.4 | 84.3 | 81.5 | 81.1 | 77.2 | 76.8 |
| 123 | 89.3 | 88.6 | 87.9 | 86.1 | 87.5 | 91.1 | 90.4 | 95.0 | 94.3 | 93.3 | 94.3 | 91.8 | 93.6 | 95.4 | 93.3 | 92.2 | 92.5 | 89.3 | 85.0 |
| 126 | 99.0 | 96.1 | 97.9 | 95.0 | 97.9 | 101.1 | 101.1 | 101.5 | 105.4 | 105.0 | 100.4 | 104.7 | 103.3 | 101.5 | 100.4 | 101.5 | 102.9 | 99.3 | 98.6 |
| 129 | 109.7 | 107.2 | 106.1 | 106.5 | 106.5 | 109.3 | 113.3 | 113.6 | 115.8 | 111.5 | 110.8 | 114.7 | 112.5 | 114.0 | 110.4 | 110.8 | 106.1 | 111.1 | 111.5 |
| 132 | 120.1 | 114.0 | 110.4 | 114.0 | 115.4 | 120.1 | 120.1 | 121.1 | 124.7 | 121.5 | 119.7 | 122.2 | 117.9 | 122.9 | 121.1 | 119.3 | 121.8 | 117.2 | 118.6 |
| 135 | 130.8 | 122.2 | 118.6 | 122.2 | 125.4 | 130.4 | 130.4 | 127.6 | 130.8 | 130.8 | 131.1 | 130.4 | 130.8 | 128.3 | 129.0 | 126.1 | 127.9 | 126.1 | 126.8 |
| 138 | 138.6 | 130.4 | 127.6 | 132.6 | 136.8 | 135.1 | 135.1 | 137.2 | 137.6 | 134.3 | 137.2 | 137.9 | 140.8 | 137.6 | 135.1 | 135.4 | 135.8 | 134.7 | 137.2 |
| 141 | 143.3 | 136.1 | 135.8 | 143.6 | 144.0 | 139.7 | 139.3 | 145.1 | 146.9 | 148.3 | 147.2 | 146.9 | 142.9 | 145.1 | 144.0 | 141.1 | 145.1 | 144.7 | 142.9 |
| 144 | 155.8 | 147.6 | 142.6 | 154.4 | 151.1 | 145.4 | 149.4 | 152.6 | 151.9 | 154.7 | 152.9 | 152.2 | 154.0 | 150.8 | 150.8 | 151.5 | 149.4 | 150.1 | 151.5 |
| 147 | 157.9 | 150.1 | 153.3 | 156.5 | 158.6 | 153.3 | 156.5 | 159.4 | 156.1 | 161.5 | 159.7 | 159.4 | 159.4 | 156.5 | 157.6 | 156.9 | 157.2 | 157.6 | 150.1 |
| 150 | 167.6 | 155.1 | 162.6 | 169.4 | 160.1 | 162.2 | 167.6 | 162.9 | 169.0 | 165.8 | 167.9 | 166.1 | 164.0 | 164.4 | 160.4 | 160.8 | 161.5 | 161.1 | 164.4 |
| 153 | 167.9 | 165.8 | 171.5 | 171.5 | 163.6 | 172.2 | 169.7 | 171.9 | 172.9 | 171.1 | 174.0 | 171.1 | 172.6 | 168.6 | 170.4 | 167.9 | 161.9 | 167.6 | 163.3 |
| 156 | 177.9 | 165.1 | 177.6 | 170.8 | 174.7 | 177.6 | 176.1 | 175.4 | 176.9 | 176.9 | 176.1 | 176.1 | 179.0 | 171.9 | 173.6 | 173.3 | 171.1 | 175.4 | 171.5 |
| 159 | 179.0 | 179.4 | 182.2 | 173.6 | 177.9 | 183.3 | 180.4 | 181.9 | 181.9 | 178.3 | 180.1 | 183.3 | 181.2 | 181.5 | 180.1 | 176.5 | 176.9 | 176.5 | 176.5 |
| 162 | 185.8 | 181.5 | 183.7 | 177.6 | 187.2 | 183.7 | 184.0 | 185.8 | 185.4 | 186.9 | 184.4 | 186.2 | 184.4 | 186.5 | 183.7 | 185.4 | 180.1 | 182.9 | 179.4 |
| 165 | 186.9 | 183.7 | 188.3 | 186.2 | 189.7 | 187.9 | 189.4 | 191.2 | 189.7 | 188.3 | 187.9 | 191.2 | 190.1 | 191.2 | 190.1 | 185.1 | 184.7 | 185.4 | 179.4 |
| 168 | 190.8 | 190.4 | 188.7 | 191.9 | 189.7 | 191.5 | 187.9 | 192.2 | 192.9 | 190.8 | 191.5 | 192.6 | 191.5 | 191.5 | 192.6 | 192.9 | 188.7 | 189.4 | 188.7 |
| 171 | 191.2 | 192.9 | 190.8 | 195.4 | 193.7 | 195.1 | 195.8 | 193.7 | 191.9 | 193.3 | 192.9 | 192.9 | 192.2 | 196.9 | 195.1 | 191.9 | 191.9 | 190.4 | 194.0 |
| 174 | 196.5 | 195.4 | 191.5 | 191.9 | 195.1 | 196.2 | 195.8 | 197.9 | 197.2 | 195.1 | 193.7 | 194.7 | 195.1 | 194.4 | 192.9 | 194.4 | 195.1 | 193.3 | 191.2 |
| 177 | 195.1 | 194.7 | 194.7 | 195.8 | 195.8 | 196.5 | 197.9 | 199.4 | 200.4 | 200.8 | 200.4 | 200.1 | 199.7 | 199.0 | 197.9 | 196.9 | 195.8 | 194.7 | 194.4 |
| 180 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 | 181.2 |
| 3 | 181.2 | 182.9 | 184.7 | 185.8 | 186.9 | 186.5 | 185.8 | 185.1 | 185.1 | 184.7 | 184.7 | 184.7 | 185.8 | 186.5 | 186.2 | 184.0 | 182.9 |
| 6 | 182.9 | 184.4 | 182.6 | 181.2 | 181.5 | 184.0 | 184.7 | 183.3 | 180.8 | 177.9 | 179.0 | 182.9 | 182.9 | 181.5 | 180.4 | 183.3 | 185.1 |
| 9 | 180.4 | 182.9 | 183.3 | 183.7 | 182.2 | 180.1 | 179.0 | 181.9 | 182.6 | 179.4 | 181.5 | 182.6 | 181.5 | 181.2 | 181.9 | 181.2 | 182.2 |
| 12 | 176.1 | 177.2 | 174.4 | 181.2 | 176.9 | 176.9 | 181.2 | 179.7 | 179.7 | 179.4 | 176.9 | 181.2 | 176.9 | 176.9 | 181.9 | 176.9 | 182.6 |
| 15 | 176.1 | 175.8 | 170.4 | 174.4 | 176.5 | 173.3 | 174.0 | 171.5 | 173.3 | 176.5 | 176.9 | 173.3 | 173.6 | 176.1 | 176.5 | 174.0 | 175.1 |
| 18 | 171.1 | 170.4 | 172.2 | 165.4 | 171.5 | 167.9 | 172.6 | 172.9 | 173.3 | 169.0 | 170.4 | 172.6 | 173.6 | 172.6 | 166.9 | 175.8 | 172.9 |
| 21 | 168.3 | 165.4 | 168.6 | 164.7 | 166.9 | 163.3 | 168.3 | 162.9 | 169.0 | 165.1 | 169.0 | 167.6 | 168.3 | 165.4 | 168.6 | 167.6 | 163.3 |
| 24 | 160.8 | 156.9 | 165.1 | 155.4 | 162.2 | 157.9 | 161.1 | 160.8 | 161.1 | 160.1 | 161.9 | 164.4 | 159.0 | 164.4 | 162.2 | 163.6 | 164.7 |
| 27 | 157.9 | 153.3 | 160.4 | 156.9 | 154.0 | 158.6 | 155.1 | 154.0 | 155.1 | 158.3 | 155.8 | 155.1 | 160.4 | 153.3 | 156.9 | 159.7 | 159.0 |
| 30 | 154.7 | 148.3 | 153.6 | 153.6 | 144.7 | 150.1 | 154.0 | 149.4 | 150.1 | 150.8 | 151.1 | 150.1 | 146.9 | 156.1 | 155.1 | 150.4 | 150.4 |
| 33 | 151.1 | 144.3 | 146.5 | 148.6 | 142.6 | 140.8 | 144.7 | 144.7 | 143.6 | 140.4 | 143.6 | 143.3 | 147.9 | 146.5 | 142.6 | 146.9 | 149.0 |
| 36 | 145.4 | 136.5 | 138.3 | 141.5 | 141.8 | 134.7 | 138.6 | 141.8 | 137.9 | 138.3 | 136.5 | 136.8 | 136.5 | 142.2 | 141.5 | 139.7 | 145.1 |
| 39 | 139.3 | 132.6 | 129.0 | 132.9 | 131.1 | 129.3 | 125.8 | 131.1 | 132.2 | 129.7 | 132.9 | 134.3 | 131.5 | 127.9 | 135.1 | 136.8 | 137.2 |
| 42 | 130.1 | 127.6 | 122.2 | 121.5 | 127.9 | 127.2 | 120.8 | 123.3 | 122.9 | 126.5 | 126.8 | 122.9 | 125.4 | 125.8 | 127.6 | 125.8 | 130.1 |
| 45 | 123.6 | 123.6 | 116.8 | 114.3 | 116.8 | 117.6 | 112.9 | 115.1 | 116.1 | 115.8 | 115.8 | 114.3 | 116.8 | 117.9 | 123.3 | 120.8 | 121.8 |
| 48 | 118.3 | 111.5 | 108.6 | 107.2 | 108.3 | 109.7 | 110.0 | 107.9 | 107.9 | 106.5 | 109.3 | 111.1 | 107.5 | 112.2 | 111.5 | 112.2 | 115.1 |
| 51 | 108.3 | 103.6 | 101.5 | 99.3 | 100.8 | 101.1 | 99.0 | 101.8 | 99.3 | 101.8 | 99.7 | 101.5 | 98.6 | 101.1 | 102.5 | 103.3 | 109.0 |
| 54 | 97.9 | 99.3 | 92.2 | 91.5 | 90.0 | 91.5 | 93.6 | 92.2 | 95.0 | 94.0 | 93.3 | 91.5 | 94.3 | 94.0 | 92.5 | 97.5 | 98.6 |
| 57 | 86.5 | 91.8 | 85.4 | 84.7 | 82.2 | 81.8 | 82.5 | 84.3 | 84.3 | 84.7 | 86.5 | 88.3 | 86.1 | 87.2 | 85.0 | 87.9 | 87.5 |
| 60 | 79.3 | 78.6 | 75.0 | 76.1 | 74.3 | 72.2 | 75.4 | 74.3 | 76.5 | 77.2 | 77.2 | 72.9 | 74.7 | 80.0 | 75.0 | 75.7 | 77.2 |
| 63 | 68.6 | 71.1 | 67.5 | 66.5 | 65.4 | 62.2 | 66.8 | 66.5 | 65.7 | 66.1 | 66.1 | 66.8 | 68.2 | 66.5 | 67.5 | 71.8 | 70.0 |
| 66 | 59.3 | 57.5 | 58.6 | 59.3 | 59.0 | 57.2 | 58.6 | 58.6 | 57.2 | 58.6 | 57.9 | 57.9 | 57.2 | 57.9 | 61.5 | 58.6 | 61.1 |
| 69 | 51.5 | 48.2 | 47.9 | 50.0 | 49.7 | 46.4 | 49.7 | 49.3 | 48.6 | 47.9 | 49.0 | 50.4 | 48.2 | 47.9 | 47.5 | 47.9 | 49.7 |
| 72 | 42.9 | 40.7 | 40.4 | 42.5 | 40.7 | 40.7 | 38.6 | 41.1 | 37.9 | 39.3 | 39.7 | 41.4 | 39.7 | 39.7 | 40.7 | 40.0 | 40.4 |
| 75 | 31.8 | 31.4 | 31.4 | 33.2 | 30.7 | 32.5 | 30.4 | 30.4 | 31.1 | 31.8 | 30.7 | 31.8 | 32.5 | 32.2 | 31.4 | 32.2 | 31.4 |
| 78 | 22.5 | 22.5 | 23.2 | 22.9 | 24.3 | 22.5 | 22.2 | 22.2 | 22.2 | 21.8 | 21.4 | 21.8 | 22.2 | 22.9 | 21.8 | 23.6 | 22.9 |
| 81 | 14.6 | 15.7 | 15.4 | 14.6 | 15.4 | 15.4 | 15.7 | 14.3 | 15.7 | 14.6 | 13.9 | 13.6 | 14.6 | 14.3 | 13.9 | 15.0 | 13.9 |
| 84 | 8.2 | 8.6 | 8.9 | 7.5 | 8.6 | 8.6 | 8.6 | 8.2 | 8.2 | 8.9 | 7.5 | 8.6 | 7.1 | 6.8 | 7.5 | 7.1 | 7.5 |
| 87 | 3.6 | 2.9 | 2.9 | 3.6 | 4.3 | 3.6 | 3.6 | 4.3 | 4.3 | 4.3 | 3.6 | 3.2 | 3.2 | 2.9 | 2.5 | 2.5 | 3.2 |
| 90 | 0.0 | 1.1 | 0.0 | 2.1 | 2.9 | 2.5 | 3.2 | 2.9 | 3.2 | 3.2 | 2.9 | 2.5 | 1.8 | 1.4 | 0.0 | 0.0 | 1.1 |
| 93 | 3.2 | 3.6 | 3.2 | 3.2 | 3.6 | 4.3 | 3.6 | 4.3 | 3.9 | 3.6 | 3.6 | 3.2 | 2.5 | 2.5 | 3.2 | 2.5 | 3.6 |
| 96 | 7.5 | 7.5 | 8.6 | 8.6 | 8.6 | 7.9 | 7.5 | 8.6 | 8.2 | 8.2 | 7.9 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1 | 8.9 |
| 99 | 14.3 | 15.0 | 16.1 | 16.4 | 15.4 | 14.3 | 15.7 | 15.4 | 14.3 | 13.9 | 14.3 | 15.0 | 15.0 | 14.3 | 14.6 | 14.3 | 14.3 |
| 102 | 22.2 | 22.9 | 23.6 | 23.9 | 23.9 | 23.6 | 22.9 | 23.2 | 23.6 | 22.2 | 20.7 | 21.4 | 21.4 | 23.2 | 21.8 | 21.8 | 22.9 |
| 105 | 29.3 | 30.7 | 31.1 | 31.8 | 32.5 | 29.3 | 32.5 | 32.5 | 32.9 | 31.4 | 30.4 | 29.7 | 31.4 | 30.4 | 30.4 | 29.7 | 32.2 |
| 108 | 40.0 | 38.6 | 40.4 | 40.7 | 39.3 | 40.4 | 39.3 | 40.4 | 39.3 | 38.2 | 38.6 | 38.9 | 42.2 | 40.4 | 38.6 | 39.3 | 41.8 |
| 111 | 47.2 | 49.0 | 50.0 | 51.1 | 48.2 | 49.3 | 48.2 | 47.5 | 50.4 | 50.7 | 47.2 | 48.2 | 49.3 | 49.3 | 48.6 | 48.2 | 50.4 |
| 114 | 61.8 | 60.0 | 62.5 | 60.7 | 59.0 | 58.6 | 60.4 | 60.0 | 57.2 | 56.1 | 57.5 | 57.2 | 57.9 | 58.6 | 60.4 | 60.4 | 61.5 |
| 117 | 69.3 | 70.4 | 71.1 | 71.1 | 72.5 | 68.6 | 67.9 | 70.0 | 66.8 | 66.8 | 66.1 | 67.5 | 67.2 | 69.3 | 69.3 | 72.5 | 68.6 |
| 120 | 76.5 | 77.9 | 81.8 | 80.7 | 78.2 | 79.0 | 81.1 | 80.0 | 78.6 | 77.2 | 76.5 | 76.5 | 76.1 | 77.2 | 78.6 | 82.2 | 79.7 |
| 123 | 87.2 | 89.3 | 87.5 | 90.8 | 90.0 | 87.9 | 88.6 | 88.3 | 89.3 | 85.4 | 84.3 | 86.5 | 86.1 | 88.3 | 86.8 | 92.9 | 89.0 |
| 126 | 102.5 | 102.5 | 96.8 | 97.2 | 97.2 | 94.7 | 98.3 | 95.8 | 97.9 | 96.1 | 94.0 | 91.8 | 94.3 | 94.3 | 97.5 | 101.8 | 99.7 |
| 129 | 114.0 | 108.6 | 107.2 | 105.8 | 105.0 | 101.5 | 102.2 | 106.5 | 107.2 | 107.5 | 105.0 | 101.8 | 105.0 | 106.5 | 107.5 | 111.8 | 111.1 |
| 132 | 119.7 | 119.0 | 116.8 | 116.1 | 110.8 | 113.3 | 117.2 | 116.5 | 115.1 | 114.0 | 114.7 | 111.5 | 111.5 | 112.9 | 117.6 | 122.2 | 123.3 |
| 135 | 126.8 | 127.6 | 129.7 | 124.0 | 119.7 | 119.3 | 119.7 | 120.4 | 124.3 | 121.1 | 120.1 | 122.6 | 124.7 | 123.3 | 121.5 | 122.9 | 130.8 |
| 138 | 137.9 | 132.9 | 130.4 | 130.4 | 127.9 | 126.1 | 130.1 | 132.6 | 131.8 | 129.0 | 126.5 | 127.9 | 131.1 | 129.7 | 125.1 | 133.6 | 139.3 |
| 141 | 144.0 | 142.9 | 138.3 | 134.0 | 135.1 | 137.6 | 140.8 | 139.7 | 141.5 | 137.2 | 135.1 | 137.9 | 139.7 | 140.4 | 134.7 | 137.9 | 142.2 |
| 144 | 148.3 | 145.8 | 149.4 | 146.1 | 145.1 | 141.8 | 145.8 | 145.4 | 146.5 | 148.6 | 144.0 | 144.7 | 147.2 | 150.1 | 146.5 | 142.2 | 152.6 |
| 147 | 154.4 | 154.4 | 148.6 | 149.0 | 154.7 | 151.9 | 155.1 | 154.0 | 152.6 | 152.2 | 152.6 | 149.0 | 151.1 | 157.6 | 152.6 | 148.6 | 159.7 |
| 150 | 158.6 | 154.7 | 158.3 | 161.1 | 155.1 | 158.6 | 161.9 | 161.9 | 160.4 | 157.9 | 163.3 | 155.8 | 154.7 | 163.6 | 161.9 | 156.5 | 167.2 |
| 153 | 165.1 | 169.4 | 161.5 | 162.6 | 165.4 | 162.9 | 166.9 | 168.6 | 162.2 | 171.9 | 164.4 | 169.0 | 162.2 | 160.1 | 168.3 | 164.4 | 167.2 |
| 156 | 169.7 | 168.3 | 165.4 | 171.5 | 167.6 | 169.4 | 172.6 | 170.1 | 173.3 | 172.2 | 172.6 | 170.4 | 170.1 | 169.7 | 177.2 | 167.6 | 171.5 |
| 159 | 177.9 | 172.2 | 172.2 | 174.0 | 174.7 | 174.0 | 180.1 | 180.8 | 177.6 | 174.7 | 177.9 | 174.4 | 177.9 | 175.1 | 174.7 | 176.1 | 173.6 |
| 162 | 178.7 | 179.4 | 176.1 | 180.8 | 181.9 | 179.7 | 181.9 | 180.4 | 180.8 | 182.6 | 184.7 | 178.7 | 180.4 | 181.2 | 182.9 | 182.9 | 183.3 |
| 165 | 184.4 | 184.7 | 184.0 | 185.8 | 181.2 | 186.2 | 183.3 | 182.9 | 185.1 | 187.6 | 185.8 | 182.9 | 183.7 | 184.0 | 183.3 | 182.2 | 183.7 |
| 168 | 189.7 | 186.2 | 192.9 | 190.4 | 190.1 | 189.4 | 186.5 | 187.2 | 190.8 | 189.0 | 190.1 | 187.2 | 190.4 | 189.7 | 185.4 | 190.8 | 187.2 |
| 171 | 194.4 | 188.3 | 188.3 | 189.4 | 187.2 | 192.6 | 191.5 | 191.2 | 195.1 | 193.3 | 188.7 | 191.5 | 190.4 | 188.7 | 190.4 | 194.0 | 191.5 |
| 174 | 191.5 | 194.0 | 195.4 | 195.4 | 194.0 | 192.2 | 192.2 | 191.5 | 191.9 | 192.9 | 191.9 | 194.4 | 196.5 | 195.1 | 193.7 | 191.5 | 192.6 |
| 177 | 194.0 | 193.7 | 191.9 | 191.9 | 193.3 | 194.7 | 195.4 | 195.1 | 194.0 | 193.3 | 194.0 | 195.4 | 196.5 | 196.9 | 197.2 | 196.2 | 195.4 |
| 180 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 | 197.2 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

29-01-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP