| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13097 | Report Date: 14-03-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: KASHIMA 620 | Serial Number: 0961 |
| Lamp Type: T5 |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 244.3 | Current (mA)= 112 |
| Power (Watts)= 15.98 | Power factor= 0.5812 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 12-03-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: 0961 KASHIMA 620 |  |  |
| Instrument Used: Labsphere model CSLMS HALOGEN 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 542.4 |  | Rated lamp flux (lumens): 1277.0 |
| CIE 1931 Chromaticity Cx: 0.4664 |  | CIE 1931 Chromaticity Cy: 0.4255 |
| CRI (%):83.02 |  | CCT (K): 2721 |
| LOR (%): 42.5 |  |  |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 12-03-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0961 KASHIMA 620 |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1200N-1 Imaging Photometer |  |  |  |
| Photometer Working Distance:2 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):24 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):542.4 | Peak Intensity (3° Spot, candelas): 199.6 |  | Efficacy (lumens/Watt): 33.9 |
| Beam Angle (50% of max intensity C0-180, degrees): 132.4 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0961 KASHIMA 620 |  |  |  |
| IES File – Absolute or Relative Format? Relative |  |  |  |
| Photometric Filename (EULUMDAT): 0961 KASHIMA 620 |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Relative |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 |
| 3 | 123.3 | 122.6 | 122.6 | 122.2 | 121.7 | 120.8 | 119.6 | 118.7 | 118.2 | 118.9 | 119.8 | 120.8 | 121.1 | 120.8 | 120.4 | 120.8 | 123.0 | 125.1 | 127.2 |
| 6 | 126.6 | 123.2 | 121.1 | 119.6 | 118.7 | 119.2 | 117.4 | 114.1 | 113.7 | 113.4 | 112.1 | 111.2 | 111.4 | 113.5 | 115.3 | 117.9 | 119.5 | 121.2 | 125.0 |
| 9 | 122.9 | 121.3 | 113.6 | 113.1 | 112.6 | 110.8 | 109.5 | 108.7 | 106.8 | 104.0 | 105.4 | 105.8 | 107.5 | 108.8 | 111.6 | 113.6 | 118.1 | 117.9 | 125.2 |
| 12 | 122.1 | 119.8 | 111.2 | 109.1 | 103.2 | 102.2 | 101.3 | 100.2 | 96.1 | 96.0 | 96.0 | 98.4 | 101.8 | 101.6 | 106.4 | 107.2 | 112.5 | 113.9 | 123.6 |
| 15 | 119.9 | 112.0 | 106.8 | 107.3 | 100.1 | 95.6 | 94.0 | 92.6 | 91.2 | 87.0 | 88.6 | 91.7 | 91.3 | 96.2 | 100.9 | 101.7 | 111.2 | 111.3 | 121.4 |
| 18 | 117.6 | 112.3 | 105.1 | 100.0 | 95.2 | 86.8 | 89.5 | 84.0 | 81.6 | 83.4 | 83.1 | 84.5 | 86.5 | 89.3 | 93.4 | 99.3 | 105.1 | 110.0 | 121.5 |
| 21 | 113.4 | 105.5 | 98.4 | 95.5 | 86.7 | 82.6 | 78.6 | 77.7 | 75.1 | 75.1 | 75.3 | 76.9 | 78.5 | 82.5 | 88.4 | 92.3 | 101.6 | 106.4 | 116.7 |
| 24 | 109.5 | 103.4 | 95.2 | 87.5 | 83.8 | 74.2 | 72.7 | 66.1 | 67.7 | 66.8 | 67.8 | 68.8 | 71.7 | 75.3 | 79.5 | 86.4 | 92.0 | 102.2 | 112.9 |
| 27 | 107.0 | 98.3 | 87.4 | 82.6 | 72.8 | 70.9 | 63.4 | 61.2 | 60.3 | 58.3 | 60.8 | 59.6 | 62.1 | 69.2 | 74.3 | 81.8 | 86.9 | 97.6 | 114.3 |
| 30 | 101.9 | 93.3 | 85.3 | 74.3 | 69.2 | 61.2 | 55.3 | 53.4 | 50.6 | 50.5 | 51.5 | 53.7 | 55.4 | 61.1 | 66.3 | 74.8 | 80.0 | 93.6 | 109.0 |
| 33 | 101.9 | 87.8 | 76.6 | 69.2 | 60.9 | 55.1 | 50.8 | 44.2 | 43.0 | 43.8 | 43.7 | 44.4 | 49.0 | 52.9 | 60.4 | 69.8 | 72.9 | 89.9 | 103.5 |
| 36 | 94.6 | 82.0 | 74.6 | 61.5 | 54.2 | 48.3 | 41.2 | 36.8 | 35.0 | 35.0 | 34.2 | 36.4 | 42.2 | 46.4 | 53.0 | 62.6 | 67.0 | 81.8 | 98.6 |
| 39 | 90.3 | 75.8 | 64.8 | 55.1 | 46.4 | 40.2 | 35.6 | 29.8 | 25.6 | 26.4 | 27.5 | 30.5 | 32.3 | 37.8 | 47.0 | 53.9 | 64.8 | 78.8 | 94.7 |
| 42 | 85.4 | 70.2 | 59.5 | 48.2 | 40.3 | 33.1 | 27.2 | 21.5 | 20.1 | 19.8 | 19.4 | 23.2 | 25.3 | 33.0 | 41.2 | 47.7 | 55.7 | 70.6 | 89.2 |
| 45 | 79.1 | 65.6 | 50.9 | 43.2 | 32.7 | 25.9 | 19.2 | 15.6 | 14.0 | 12.8 | 12.8 | 15.6 | 19.5 | 26.4 | 31.7 | 41.6 | 51.4 | 65.7 | 84.8 |
| 48 | 72.1 | 56.3 | 44.8 | 34.8 | 26.1 | 18.5 | 13.7 | 10.1 | 8.5 | 7.1 | 8.8 | 10.0 | 13.7 | 18.4 | 25.1 | 35.0 | 42.8 | 60.0 | 74.6 |
| 51 | 67.2 | 52.5 | 39.1 | 29.6 | 19.2 | 12.8 | 8.2 | 5.4 | 4.3 | 4.1 | 4.5 | 5.4 | 8.7 | 12.8 | 18.7 | 27.5 | 38.1 | 53.1 | 69.8 |
| 54 | 58.2 | 44.0 | 32.7 | 22.6 | 14.7 | 8.6 | 4.2 | 3.1 | 1.9 | 1.5 | 1.9 | 2.5 | 4.0 | 7.3 | 13.9 | 20.2 | 32.7 | 46.9 | 63.2 |
| 57 | 50.9 | 38.5 | 26.2 | 16.6 | 9.9 | 4.8 | 2.0 | 1.4 | 1.3 | 1.2 | 1.4 | 1.6 | 2.1 | 4.4 | 8.8 | 15.1 | 27.1 | 40.8 | 58.1 |
| 60 | 47.2 | 34.0 | 20.9 | 13.4 | 4.7 | 2.1 | 1.3 | 0.0 | 0.9 | 1.0 | 1.2 | 1.4 | 1.8 | 2.8 | 4.1 | 10.7 | 22.0 | 33.8 | 51.1 |
| 63 | 38.3 | 26.1 | 16.7 | 8.0 | 2.6 | 1.4 | 1.4 | 1.0 | 1.2 | 1.3 | 1.4 | 1.1 | 1.1 | 1.7 | 2.9 | 6.8 | 15.7 | 27.5 | 44.0 |
| 66 | 31.9 | 19.8 | 10.3 | 4.1 | 1.3 | 1.2 | 1.1 | 1.5 | 1.0 | 1.2 | 1.3 | 1.5 | 1.4 | 1.1 | 1.2 | 3.5 | 11.3 | 22.1 | 38.8 |
| 69 | 26.3 | 14.3 | 6.0 | 1.8 | 1.2 | 1.3 | 1.3 | 1.4 | 1.5 | 1.6 | 1.2 | 1.1 | 1.3 | 1.1 | 1.4 | 1.9 | 7.2 | 17.5 | 31.3 |
| 72 | 21.8 | 10.8 | 3.7 | 1.2 | 1.1 | 1.1 | 1.4 | 1.3 | 1.7 | 2.1 | 2.0 | 1.4 | 1.2 | 1.0 | 1.1 | 1.4 | 3.7 | 12.0 | 24.5 |
| 75 | 14.3 | 5.3 | 1.6 | 0.9 | 1.3 | 1.5 | 1.3 | 1.9 | 2.5 | 3.4 | 3.0 | 2.4 | 1.5 | 1.2 | 1.3 | 1.0 | 1.4 | 6.5 | 18.2 |
| 78 | 9.8 | 2.1 | 0.9 | 0.0 | 1.2 | 1.9 | 2.5 | 3.6 | 5.5 | 6.5 | 6.3 | 4.0 | 2.0 | 1.4 | 1.0 | 0.9 | 1.5 | 3.3 | 12.3 |
| 81 | 5.6 | 1.6 | 0.0 | 1.4 | 2.1 | 3.9 | 6.3 | 7.5 | 9.8 | 11.9 | 10.3 | 7.9 | 5.0 | 2.8 | 1.7 | 1.1 | 1.1 | 1.7 | 7.7 |
| 84 | 3.3 | 0.9 | 0.9 | 1.2 | 3.8 | 7.2 | 8.4 | 9.3 | 9.6 | 11.6 | 10.8 | 9.9 | 9.4 | 5.5 | 2.9 | 1.4 | 0.9 | 1.1 | 4.0 |
| 87 | 1.3 | 0.0 | 1.0 | 1.0 | 3.1 | 3.5 | 4.8 | 3.8 | 4.4 | 4.4 | 5.6 | 5.5 | 5.1 | 3.7 | 3.3 | 1.9 | 1.0 | 0.0 | 2.2 |
| 90 | 1.8 | 0.0 | 1.0 | 1.0 | 1.0 | 1.0 | 0.0 | 1.9 | 1.0 | 1.3 | 1.5 | 1.4 | 1.5 | 0.0 | 1.4 | 1.6 | 0.0 | 0.0 | 0.0 |
| 93 | 0.8 | 0.0 | 0.3 | 0.3 | 0.4 | 0.8 | 1.1 | 1.2 | 1.6 | 1.7 | 1.4 | 1.1 | 1.0 | 0.9 | 0.8 | 0.6 | 0.4 | 0.2 | 1.0 |
| 96 | 0.5 | 0.0 | 0.3 | 0.4 | 0.7 | 1.2 | 1.5 | 1.8 | 2.5 | 2.8 | 2.3 | 1.6 | 1.5 | 1.3 | 1.0 | 0.6 | 0.2 | 0.1 | 0.4 |
| 99 | 0.3 | 0.0 | 0.2 | 0.3 | 0.6 | 1.1 | 1.2 | 1.6 | 2.0 | 2.3 | 2.0 | 1.5 | 1.4 | 1.1 | 0.7 | 0.5 | 0.2 | 0.2 | 0.2 |
| 102 | 0.2 | 0.1 | 0.2 | 0.2 | 0.5 | 0.7 | 0.9 | 1.0 | 1.1 | 1.2 | 1.1 | 1.0 | 0.9 | 0.7 | 0.4 | 0.3 | 0.2 | 0.2 | 0.1 |
| 105 | 0.2 | 0.0 | 0.0 | 0.2 | 0.3 | 0.4 | 0.5 | 0.6 | 0.6 | 0.7 | 0.8 | 0.6 | 0.6 | 0.4 | 0.4 | 0.2 | 0.1 | 0.2 | 0.1 |
| 108 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.3 | 0.3 | 0.4 | 0.5 | 0.6 | 0.6 | 0.5 | 0.4 | 0.3 | 0.3 | 0.2 | 0.1 | 0.1 | 0.2 |
| 111 | 0.2 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 |
| 114 | 0.2 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.4 | 0.3 | 0.4 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 |
| 117 | 0.1 | 0.0 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 0.2 | 0.2 |
| 120 | 0.0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 |
| 123 | 0.1 | 0.2 | 0.1 | 0.1 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 |
| 126 | 0.1 | 0.0 | 0.2 | 0.0 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.3 |
| 129 | 0.1 | 0.0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.3 |
| 132 | 0.1 | 0.1 | 0.2 | 0.1 | 0.1 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 0.2 |
| 135 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 |
| 138 | 0.1 | 0.1 | 0.1 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 |
| 141 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 |
| 144 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 |
| 147 | 0.1 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 |
| 150 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 0.1 | 0.2 | 0.1 | 0.1 |
| 153 | 0.2 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.1 | 0.1 |
| 156 | 0.2 | 0.1 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 |
| 159 | 0.2 | 0.2 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.0 | 0.2 | 0.1 | 0.1 | 0.2 |
| 162 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.0 | 0.1 | 0.2 | 0.2 |
| 165 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 |
| 168 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.0 | 0.1 | 0.2 | 0.2 |
| 171 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 |
| 174 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 |
| 177 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 |
| 180 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 | 125.9 |
| 3 | 129.0 | 130.5 | 131.2 | 132.1 | 132.9 | 133.6 | 134.4 | 135.0 | 134.4 | 133.5 | 132.0 | 130.8 | 130.5 | 130.0 | 128.7 | 127.3 | 125.0 |
| 6 | 127.1 | 129.0 | 133.4 | 135.8 | 138.7 | 140.6 | 141.4 | 143.3 | 144.6 | 145.6 | 144.7 | 140.5 | 137.4 | 135.8 | 133.3 | 131.3 | 129.5 |
| 9 | 130.2 | 128.0 | 133.6 | 141.6 | 146.9 | 151.7 | 155.6 | 159.1 | 159.5 | 155.2 | 153.5 | 149.1 | 147.5 | 143.8 | 138.6 | 135.7 | 125.1 |
| 12 | 130.8 | 138.1 | 142.8 | 147.2 | 154.9 | 161.7 | 163.0 | 167.7 | 170.6 | 167.3 | 165.8 | 162.6 | 157.2 | 153.0 | 144.3 | 134.0 | 126.0 |
| 15 | 124.8 | 137.0 | 143.9 | 155.4 | 166.7 | 169.7 | 176.8 | 179.2 | 176.9 | 182.3 | 176.5 | 172.2 | 168.1 | 159.3 | 148.3 | 137.5 | 126.6 |
| 18 | 122.7 | 139.8 | 146.8 | 159.7 | 169.9 | 181.0 | 188.0 | 186.0 | 187.1 | 187.6 | 185.3 | 180.7 | 172.3 | 159.9 | 152.0 | 141.0 | 127.4 |
| 21 | 123.7 | 141.1 | 148.6 | 168.5 | 175.6 | 184.4 | 185.2 | 193.3 | 194.8 | 192.8 | 192.2 | 184.8 | 177.0 | 168.3 | 159.0 | 142.7 | 123.1 |
| 24 | 120.2 | 140.9 | 153.1 | 171.4 | 181.0 | 188.9 | 192.8 | 196.0 | 198.6 | 194.8 | 189.7 | 188.5 | 183.2 | 172.7 | 161.4 | 140.2 | 127.2 |
| 27 | 118.5 | 140.3 | 157.8 | 171.5 | 182.7 | 189.2 | 193.6 | 196.6 | 196.2 | 197.3 | 194.4 | 186.5 | 182.1 | 172.4 | 157.0 | 142.4 | 123.7 |
| 30 | 118.5 | 143.0 | 158.5 | 167.8 | 181.3 | 189.0 | 191.1 | 197.4 | 197.6 | 196.7 | 195.4 | 189.6 | 181.9 | 177.5 | 161.3 | 143.0 | 121.7 |
| 33 | 112.9 | 137.2 | 162.7 | 169.1 | 180.0 | 189.6 | 191.0 | 198.1 | 199.6 | 195.5 | 191.5 | 185.2 | 181.7 | 172.1 | 160.8 | 141.1 | 118.9 |
| 36 | 112.6 | 135.2 | 161.1 | 169.5 | 179.6 | 187.6 | 195.5 | 196.0 | 195.6 | 196.7 | 191.9 | 187.4 | 178.7 | 171.7 | 155.2 | 138.5 | 117.4 |
| 39 | 106.3 | 129.2 | 156.8 | 168.8 | 173.3 | 184.4 | 190.2 | 196.3 | 194.2 | 190.9 | 191.0 | 183.8 | 177.8 | 164.0 | 154.0 | 135.5 | 111.2 |
| 42 | 104.1 | 125.6 | 152.6 | 170.8 | 170.5 | 175.5 | 188.6 | 191.8 | 192.6 | 189.7 | 187.8 | 182.2 | 172.9 | 163.5 | 147.5 | 131.6 | 110.3 |
| 45 | 102.5 | 122.2 | 144.7 | 161.6 | 170.4 | 182.0 | 181.3 | 189.7 | 190.6 | 182.6 | 182.8 | 181.2 | 167.6 | 156.7 | 145.7 | 132.7 | 103.7 |
| 48 | 94.8 | 113.8 | 135.9 | 156.4 | 166.5 | 176.5 | 181.0 | 182.8 | 183.1 | 187.1 | 180.2 | 172.3 | 165.3 | 154.9 | 136.1 | 119.4 | 97.4 |
| 51 | 90.3 | 108.9 | 131.0 | 148.4 | 157.8 | 170.9 | 175.3 | 178.2 | 182.3 | 179.9 | 179.8 | 167.4 | 156.3 | 147.4 | 132.2 | 115.6 | 93.6 |
| 54 | 83.2 | 104.7 | 122.3 | 140.1 | 156.2 | 165.9 | 172.2 | 181.8 | 185.9 | 180.2 | 176.5 | 162.5 | 151.2 | 139.4 | 124.9 | 111.0 | 87.3 |
| 57 | 78.2 | 98.2 | 114.7 | 135.9 | 151.1 | 162.7 | 172.8 | 181.0 | 183.3 | 185.2 | 171.8 | 160.3 | 147.3 | 133.7 | 120.5 | 101.2 | 78.6 |
| 60 | 74.8 | 91.3 | 108.2 | 125.0 | 144.5 | 162.7 | 176.7 | 184.6 | 185.0 | 179.5 | 175.2 | 163.5 | 147.9 | 126.8 | 107.5 | 91.4 | 73.7 |
| 63 | 66.1 | 86.4 | 101.9 | 115.8 | 136.7 | 162.0 | 172.6 | 180.0 | 184.6 | 180.8 | 172.3 | 159.7 | 142.4 | 120.3 | 102.9 | 83.1 | 62.5 |
| 66 | 56.9 | 78.5 | 95.9 | 113.1 | 132.4 | 157.0 | 170.6 | 179.4 | 182.2 | 178.3 | 168.2 | 158.3 | 140.4 | 117.6 | 97.5 | 76.8 | 55.4 |
| 69 | 52.2 | 72.1 | 86.5 | 106.7 | 130.6 | 155.3 | 167.2 | 175.6 | 175.6 | 177.3 | 170.7 | 157.8 | 141.2 | 118.9 | 94.1 | 69.2 | 50.1 |
| 72 | 43.7 | 63.7 | 83.9 | 107.5 | 129.4 | 148.3 | 164.0 | 173.6 | 178.5 | 174.5 | 164.3 | 148.3 | 133.7 | 115.0 | 87.5 | 63.7 | 42.8 |
| 75 | 37.4 | 57.8 | 78.9 | 103.3 | 126.5 | 143.4 | 162.0 | 165.7 | 170.2 | 168.9 | 159.3 | 147.0 | 131.2 | 107.7 | 84.3 | 56.6 | 33.9 |
| 78 | 30.7 | 50.2 | 74.8 | 97.6 | 123.6 | 139.6 | 152.6 | 160.1 | 164.8 | 160.4 | 153.9 | 140.8 | 122.2 | 103.3 | 78.7 | 50.7 | 27.8 |
| 81 | 23.6 | 46.1 | 70.7 | 94.8 | 114.5 | 129.1 | 139.9 | 141.8 | 148.9 | 144.5 | 136.0 | 123.3 | 112.9 | 96.6 | 74.7 | 47.1 | 22.7 |
| 84 | 18.4 | 41.5 | 66.9 | 84.4 | 97.3 | 104.3 | 105.8 | 109.7 | 105.6 | 107.0 | 104.1 | 97.8 | 91.6 | 80.5 | 63.0 | 40.7 | 18.1 |
| 87 | 14.6 | 36.2 | 57.7 | 65.0 | 67.9 | 73.5 | 76.7 | 84.5 | 84.3 | 85.8 | 79.6 | 74.0 | 69.1 | 63.4 | 56.3 | 37.4 | 15.7 |
| 90 | 11.5 | 32.6 | 44.5 | 51.4 | 58.3 | 61.1 | 71.4 | 73.2 | 75.1 | 76.3 | 69.9 | 65.8 | 63.1 | 52.9 | 44.5 | 30.2 | 10.8 |
| 93 | 3.9 | 17.4 | 33.6 | 41.4 | 47.6 | 52.8 | 60.4 | 65.9 | 69.1 | 69.8 | 66.1 | 59.8 | 54.1 | 46.8 | 39.4 | 23.2 | 6.9 |
| 96 | 1.8 | 11.5 | 25.3 | 38.0 | 45.6 | 49.4 | 55.9 | 60.9 | 64.3 | 64.2 | 61.0 | 54.9 | 50.2 | 42.4 | 30.9 | 15.8 | 3.7 |
| 99 | 1.1 | 7.6 | 20.9 | 35.1 | 46.4 | 53.1 | 57.8 | 60.6 | 63.0 | 62.9 | 62.5 | 57.6 | 50.1 | 39.5 | 25.8 | 11.1 | 2.2 |
| 102 | 0.6 | 5.0 | 16.0 | 30.1 | 44.6 | 57.2 | 64.3 | 67.8 | 69.7 | 70.1 | 66.9 | 60.0 | 49.2 | 35.1 | 20.4 | 7.7 | 1.2 |
| 105 | 0.4 | 2.7 | 11.8 | 23.6 | 37.5 | 49.8 | 60.6 | 67.0 | 69.2 | 69.1 | 62.0 | 54.2 | 42.0 | 28.3 | 15.4 | 4.9 | 0.8 |
| 108 | 0.4 | 2.6 | 9.1 | 17.8 | 29.5 | 40.4 | 50.1 | 55.6 | 59.3 | 57.8 | 52.6 | 45.5 | 34.7 | 22.3 | 11.4 | 3.3 | 0.7 |
| 111 | 0.4 | 2.7 | 7.4 | 12.6 | 22.8 | 33.6 | 41.9 | 47.3 | 49.9 | 48.8 | 44.2 | 37.2 | 28.7 | 17.5 | 9.0 | 2.9 | 0.5 |
| 114 | 0.4 | 1.7 | 4.3 | 8.6 | 16.6 | 26.0 | 33.0 | 38.7 | 40.8 | 40.3 | 35.7 | 29.4 | 21.2 | 12.9 | 5.5 | 1.7 | 0.4 |
| 117 | 0.3 | 0.9 | 2.6 | 5.4 | 12.4 | 20.0 | 26.8 | 30.6 | 33.2 | 32.0 | 28.3 | 22.7 | 15.6 | 8.4 | 3.0 | 0.9 | 0.3 |
| 120 | 0.3 | 0.6 | 1.5 | 3.6 | 7.9 | 14.2 | 19.7 | 24.2 | 24.7 | 24.8 | 21.8 | 17.0 | 11.0 | 5.4 | 1.7 | 0.8 | 0.2 |
| 123 | 0.2 | 0.5 | 1.0 | 2.3 | 5.0 | 9.6 | 13.8 | 17.3 | 19.3 | 18.6 | 15.6 | 11.6 | 6.9 | 3.2 | 1.4 | 0.7 | 0.3 |
| 126 | 0.2 | 0.4 | 0.8 | 1.4 | 2.9 | 5.5 | 9.0 | 11.8 | 13.3 | 13.1 | 10.4 | 7.5 | 4.1 | 1.7 | 1.0 | 0.6 | 0.2 |
| 129 | 0.2 | 0.4 | 0.6 | 1.2 | 2.0 | 3.3 | 5.4 | 7.5 | 8.2 | 8.1 | 6.6 | 4.5 | 2.3 | 1.2 | 0.9 | 0.5 | 0.2 |
| 132 | 0.3 | 0.4 | 0.6 | 0.9 | 1.4 | 2.0 | 2.9 | 4.2 | 4.7 | 4.6 | 3.9 | 2.5 | 1.5 | 1.1 | 0.7 | 0.4 | 0.2 |
| 135 | 0.3 | 0.4 | 0.5 | 0.8 | 0.9 | 1.6 | 1.9 | 2.3 | 2.5 | 2.6 | 2.2 | 1.5 | 1.0 | 0.9 | 0.6 | 0.4 | 0.2 |
| 138 | 0.2 | 0.4 | 0.5 | 0.7 | 0.8 | 1.2 | 1.6 | 1.6 | 1.8 | 1.7 | 1.5 | 1.1 | 1.0 | 0.7 | 0.6 | 0.3 | 0.2 |
| 141 | 0.2 | 0.4 | 0.5 | 0.6 | 0.8 | 1.0 | 1.1 | 1.3 | 1.4 | 1.5 | 1.4 | 1.1 | 0.9 | 0.6 | 0.5 | 0.3 | 0.2 |
| 144 | 0.2 | 0.3 | 0.5 | 0.5 | 0.7 | 0.9 | 1.1 | 1.2 | 1.4 | 1.5 | 1.2 | 1.0 | 0.8 | 0.6 | 0.5 | 0.3 | 0.2 |
| 147 | 0.2 | 0.3 | 0.5 | 0.5 | 0.6 | 0.8 | 1.0 | 1.1 | 1.1 | 1.2 | 1.1 | 0.8 | 0.7 | 0.6 | 0.4 | 0.3 | 0.2 |
| 150 | 0.2 | 0.3 | 0.4 | 0.5 | 0.6 | 0.7 | 0.8 | 1.0 | 1.0 | 1.0 | 1.0 | 0.8 | 0.6 | 0.5 | 0.3 | 0.2 | 0.2 |
| 153 | 0.3 | 0.3 | 0.4 | 0.5 | 0.6 | 0.6 | 0.7 | 0.8 | 0.8 | 0.9 | 0.8 | 0.8 | 0.6 | 0.4 | 0.3 | 0.2 | 0.2 |
| 156 | 0.3 | 0.4 | 0.4 | 0.4 | 0.6 | 0.6 | 0.7 | 0.7 | 0.9 | 0.8 | 0.8 | 0.8 | 0.6 | 0.4 | 0.3 | 0.3 | 0.2 |
| 159 | 0.3 | 0.4 | 0.4 | 0.5 | 0.5 | 0.5 | 0.6 | 0.7 | 0.8 | 0.7 | 0.7 | 0.7 | 0.5 | 0.4 | 0.3 | 0.2 | 0.2 |
| 162 | 0.3 | 0.4 | 0.4 | 0.5 | 0.5 | 0.5 | 0.6 | 0.6 | 0.7 | 0.6 | 0.6 | 0.6 | 0.6 | 0.4 | 0.3 | 0.2 | 0.2 |
| 165 | 0.2 | 0.4 | 0.3 | 0.4 | 0.4 | 0.4 | 0.5 | 0.5 | 0.6 | 0.6 | 0.5 | 0.6 | 0.5 | 0.4 | 0.3 | 0.3 | 0.2 |
| 168 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.5 | 0.5 | 0.6 | 0.5 | 0.5 | 0.5 | 0.5 | 0.4 | 0.4 | 0.3 | 0.2 |
| 171 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.4 | 0.4 | 0.4 | 0.5 | 0.5 | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.2 |
| 174 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 |
| 177 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 |
| 180 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

14-03-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP