| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13004 | Report Date: 15-01-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: MONZA 600 | Serial Number: 7017 |
| Lamp Type: CFL |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 242.15 | Current (mA)= 138 |
| Power (Watts)= 19.73 | Power factor= 0.5897 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 11-12-2012 |  | Ambient Temperature:25°C |
| Measurement Filename: 7017 MONZA 600 |  |  |
| Instrument Used: Labsphere model CSLMS LED 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 629.0 |  | Bare Lamp flux PER LAMP (lumens): 1421 |
| CIE 1931 Chromaticity Cx: 0.4429 |  | CIE 1931 Chromaticity Cy: 0.4119 |
| CRI (%): 82.93 |  | CCT (K): 2965 |
| LOR(%)= 44.3 |  |  |

Figure 1: Spectral Irradiance at 1.5 metres

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 11-12-2012 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 7017 MONZA 600 |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1423F-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 1.5m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):26 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens): 628.9 | Peak Intensity (3° Spot, candelas): 134.8 |  | Efficacy (lumens/Watt): 31.83 |
| Beam Angle (50% of max intensity C0-180, degrees): 113.4 |  |  |  |
| Photometric Filename (IES LM-63-2002): 7017 MONZA 600 |  |  |  |
| IES File – Absolute or Relative Format? Relative |  |  |  |
| Photometric Filename (EULUMDAT): 7017 MONZA 600 |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Relative |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 |
| 3 | 133.2 | 132.6 | 132.6 | 134.1 | 134.4 | 135.1 | 135.5 | 135.7 | 135.5 | 135.4 | 135.1 | 134.5 | 134.2 | 134.1 | 134.4 | 134.5 | 134.8 | 134.9 | 135.4 |
| 6 | 131.6 | 132.9 | 133.1 | 134.4 | 135.5 | 136.7 | 137.4 | 134.5 | 131.8 | 132.1 | 132.5 | 133.5 | 135.1 | 134.8 | 134.6 | 135.8 | 136.2 | 134.8 | 133.2 |
| 9 | 133.1 | 134.2 | 134.8 | 137.1 | 132.2 | 128.8 | 132.2 | 136.8 | 136.2 | 134.8 | 134.4 | 131.1 | 132.2 | 134.8 | 135.5 | 131.3 | 131.6 | 135.7 | 133.1 |
| 12 | 131.2 | 131.8 | 130.5 | 132.3 | 130.3 | 131.8 | 132.2 | 133.8 | 132.6 | 130.8 | 136.7 | 132.1 | 131.3 | 132.8 | 129.0 | 129.9 | 131.2 | 128.8 | 128.0 |
| 15 | 131.9 | 127.5 | 130.9 | 131.2 | 130.3 | 132.5 | 129.2 | 131.2 | 134.2 | 133.6 | 134.1 | 131.6 | 131.9 | 131.3 | 130.0 | 131.5 | 127.5 | 127.0 | 131.8 |
| 18 | 128.9 | 126.9 | 130.3 | 130.2 | 130.3 | 131.1 | 134.5 | 130.0 | 134.4 | 130.8 | 132.6 | 126.5 | 128.8 | 130.8 | 129.6 | 128.0 | 127.3 | 125.5 | 124.6 |
| 21 | 124.6 | 122.7 | 128.0 | 126.6 | 128.3 | 130.0 | 128.6 | 132.2 | 128.3 | 133.9 | 130.5 | 129.9 | 129.5 | 128.9 | 124.0 | 128.6 | 123.3 | 124.0 | 125.2 |
| 24 | 121.9 | 122.9 | 122.6 | 123.9 | 124.3 | 127.0 | 126.6 | 128.6 | 126.0 | 130.9 | 127.9 | 131.2 | 123.3 | 128.6 | 126.5 | 122.9 | 119.0 | 121.0 | 121.6 |
| 27 | 118.7 | 118.8 | 121.3 | 117.4 | 122.3 | 125.2 | 126.3 | 125.0 | 128.2 | 127.9 | 128.2 | 124.0 | 125.0 | 122.3 | 121.0 | 120.3 | 117.0 | 119.8 | 119.6 |
| 30 | 115.0 | 115.1 | 113.4 | 122.3 | 120.1 | 122.7 | 123.9 | 124.7 | 124.7 | 124.7 | 126.6 | 121.3 | 122.3 | 122.6 | 119.3 | 117.7 | 115.7 | 116.1 | 110.6 |
| 33 | 108.9 | 110.6 | 111.2 | 116.0 | 118.8 | 120.3 | 122.4 | 124.0 | 123.4 | 125.3 | 118.3 | 122.4 | 120.1 | 117.8 | 118.4 | 112.9 | 108.8 | 113.4 | 110.1 |
| 36 | 107.9 | 107.2 | 105.5 | 109.4 | 113.2 | 116.8 | 120.9 | 120.1 | 120.7 | 117.1 | 120.1 | 123.2 | 116.1 | 113.8 | 115.8 | 106.1 | 106.1 | 111.7 | 102.9 |
| 39 | 101.5 | 100.6 | 103.9 | 104.9 | 109.8 | 110.9 | 112.9 | 117.7 | 115.7 | 119.7 | 116.0 | 117.7 | 113.5 | 113.7 | 107.2 | 101.7 | 102.9 | 102.7 | 102.6 |
| 42 | 95.6 | 96.4 | 99.3 | 101.0 | 106.6 | 109.4 | 113.8 | 111.2 | 116.8 | 114.7 | 116.0 | 112.9 | 111.8 | 110.9 | 102.2 | 96.9 | 101.6 | 98.7 | 97.3 |
| 45 | 90.5 | 91.2 | 95.0 | 97.0 | 101.7 | 103.8 | 113.8 | 110.4 | 111.4 | 114.5 | 113.8 | 111.4 | 111.9 | 103.5 | 98.3 | 93.1 | 93.4 | 91.8 | 91.2 |
| 48 | 82.1 | 87.4 | 87.1 | 91.7 | 95.4 | 102.6 | 103.2 | 111.1 | 109.4 | 111.1 | 108.2 | 108.8 | 104.8 | 98.0 | 93.1 | 90.8 | 88.4 | 86.5 | 86.2 |
| 51 | 78.9 | 79.9 | 84.2 | 90.2 | 90.1 | 98.9 | 101.6 | 107.1 | 106.2 | 107.1 | 107.5 | 104.6 | 100.3 | 96.6 | 90.5 | 88.5 | 85.1 | 82.1 | 81.2 |
| 54 | 73.4 | 75.9 | 78.5 | 78.5 | 87.5 | 93.8 | 98.1 | 101.2 | 103.6 | 104.0 | 104.9 | 102.6 | 97.0 | 89.7 | 87.2 | 80.5 | 80.6 | 74.3 | 72.9 |
| 57 | 66.4 | 66.7 | 71.6 | 77.6 | 84.5 | 87.8 | 96.6 | 98.4 | 100.0 | 102.0 | 101.5 | 98.4 | 92.3 | 84.9 | 80.9 | 74.9 | 71.9 | 69.3 | 68.5 |
| 60 | 60.1 | 62.9 | 65.8 | 74.3 | 78.9 | 86.2 | 91.4 | 96.7 | 97.0 | 98.7 | 101.0 | 93.7 | 91.0 | 82.8 | 76.7 | 72.4 | 66.7 | 62.8 | 61.5 |
| 63 | 53.6 | 56.8 | 61.9 | 68.8 | 74.7 | 81.0 | 87.4 | 93.3 | 95.7 | 97.0 | 95.8 | 92.0 | 83.5 | 77.6 | 72.9 | 67.1 | 61.9 | 54.2 | 53.0 |
| 66 | 48.3 | 50.0 | 56.6 | 63.4 | 71.3 | 79.3 | 83.6 | 87.9 | 89.0 | 92.7 | 92.8 | 88.2 | 82.9 | 75.7 | 71.9 | 63.5 | 57.6 | 47.0 | 46.4 |
| 69 | 39.9 | 44.3 | 49.7 | 56.6 | 64.8 | 70.1 | 81.0 | 84.8 | 87.7 | 88.2 | 89.4 | 79.9 | 78.3 | 73.9 | 67.7 | 58.6 | 48.7 | 45.4 | 43.5 |
| 72 | 37.2 | 35.1 | 44.7 | 51.6 | 62.5 | 70.1 | 78.0 | 82.6 | 85.8 | 83.8 | 82.8 | 80.0 | 76.7 | 70.0 | 60.4 | 52.2 | 45.1 | 38.7 | 37.4 |
| 75 | 27.4 | 31.0 | 38.7 | 49.1 | 59.2 | 66.5 | 73.4 | 77.3 | 80.2 | 79.2 | 80.9 | 76.0 | 76.2 | 66.4 | 58.6 | 49.6 | 38.8 | 30.0 | 28.2 |
| 78 | 19.7 | 24.3 | 32.8 | 43.4 | 52.9 | 63.1 | 68.7 | 76.2 | 76.4 | 79.2 | 75.2 | 74.9 | 70.3 | 60.9 | 56.0 | 45.4 | 34.2 | 24.3 | 21.0 |
| 81 | 14.4 | 18.2 | 30.2 | 40.1 | 52.5 | 58.5 | 66.4 | 72.4 | 69.3 | 72.6 | 71.7 | 69.7 | 64.8 | 56.9 | 49.1 | 41.8 | 30.0 | 19.1 | 13.4 |
| 84 | 7.2 | 14.2 | 26.7 | 35.4 | 44.5 | 54.6 | 62.2 | 66.4 | 70.0 | 70.3 | 69.4 | 65.2 | 61.1 | 54.5 | 44.8 | 36.2 | 25.0 | 14.5 | 8.3 |
| 87 | 2.9 | 11.4 | 21.0 | 31.5 | 41.0 | 49.1 | 55.3 | 62.7 | 65.1 | 66.8 | 65.1 | 62.4 | 56.8 | 50.2 | 42.8 | 30.2 | 22.4 | 10.3 | 3.0 |
| 90 | 0.0 | 6.6 | 18.4 | 26.2 | 36.8 | 47.6 | 51.4 | 58.3 | 58.2 | 63.1 | 60.5 | 56.6 | 51.7 | 46.4 | 38.2 | 28.6 | 17.0 | 7.8 | 1.4 |
| 93 | 2.9 | 9.8 | 10.8 | 22.7 | 29.5 | 36.5 | 47.3 | 52.2 | 55.5 | 59.5 | 54.3 | 50.2 | 41.5 | 32.2 | 25.9 | 18.8 | 10.3 | 7.0 | 2.0 |
| 96 | 2.2 | 7.0 | 9.1 | 19.5 | 25.3 | 30.6 | 42.8 | 48.6 | 50.7 | 54.0 | 50.3 | 45.1 | 38.7 | 29.0 | 22.7 | 15.4 | 7.9 | 4.6 | 1.4 |
| 99 | 1.3 | 5.6 | 7.9 | 17.0 | 20.1 | 27.4 | 36.9 | 43.5 | 46.8 | 50.7 | 46.3 | 42.4 | 35.4 | 26.4 | 19.4 | 14.1 | 6.0 | 3.0 | 0.9 |
| 102 | 1.1 | 4.5 | 7.0 | 15.2 | 19.8 | 26.0 | 36.1 | 41.1 | 44.7 | 47.7 | 42.1 | 39.9 | 32.2 | 23.7 | 18.7 | 12.6 | 4.7 | 1.4 | 0.6 |
| 105 | 1.0 | 3.9 | 6.6 | 14.8 | 20.1 | 26.2 | 34.5 | 38.5 | 42.7 | 45.7 | 41.5 | 37.4 | 31.8 | 23.9 | 17.7 | 12.2 | 5.2 | 1.9 | 0.6 |
| 108 | 1.0 | 3.4 | 6.2 | 14.2 | 19.1 | 24.1 | 34.3 | 35.4 | 40.5 | 41.8 | 39.5 | 35.9 | 31.2 | 23.9 | 18.0 | 11.6 | 6.2 | 1.9 | 0.4 |
| 111 | 0.7 | 3.3 | 5.5 | 14.1 | 18.4 | 24.0 | 32.0 | 32.9 | 38.2 | 39.9 | 38.1 | 36.1 | 29.3 | 23.9 | 17.0 | 11.1 | 5.5 | 1.4 | 0.4 |
| 114 | 0.7 | 3.0 | 4.9 | 12.2 | 16.7 | 22.6 | 29.0 | 30.2 | 36.1 | 36.1 | 33.2 | 32.9 | 24.7 | 21.8 | 15.4 | 9.1 | 5.0 | 1.3 | 0.3 |
| 117 | 0.7 | 2.7 | 4.3 | 10.6 | 14.8 | 20.8 | 26.6 | 27.7 | 32.8 | 33.6 | 30.3 | 29.6 | 23.6 | 19.8 | 13.5 | 9.1 | 4.6 | 1.1 | 0.4 |
| 120 | 0.4 | 2.6 | 4.5 | 10.1 | 12.9 | 19.1 | 23.3 | 25.7 | 30.8 | 30.3 | 29.5 | 27.2 | 22.6 | 18.0 | 13.2 | 8.9 | 4.6 | 1.3 | 0.4 |
| 123 | 0.6 | 2.3 | 4.0 | 8.9 | 11.5 | 17.4 | 21.0 | 23.7 | 26.9 | 26.3 | 26.3 | 23.7 | 19.8 | 16.7 | 10.9 | 7.5 | 3.6 | 1.1 | 0.4 |
| 126 | 0.6 | 1.7 | 3.6 | 8.2 | 10.1 | 16.1 | 18.2 | 21.6 | 24.1 | 23.6 | 23.7 | 21.0 | 18.5 | 15.1 | 9.6 | 6.8 | 3.2 | 1.0 | 0.4 |
| 129 | 0.6 | 1.7 | 3.2 | 7.2 | 9.1 | 14.4 | 16.7 | 19.7 | 20.8 | 22.0 | 21.1 | 19.4 | 16.2 | 13.4 | 9.6 | 6.0 | 3.2 | 1.0 | 0.3 |
| 132 | 0.6 | 1.4 | 2.6 | 6.5 | 7.6 | 12.6 | 14.4 | 17.8 | 18.2 | 19.8 | 19.4 | 16.7 | 15.5 | 11.4 | 8.8 | 5.5 | 2.9 | 0.6 | 0.3 |
| 135 | 0.4 | 1.1 | 2.4 | 5.6 | 6.6 | 11.2 | 12.6 | 16.4 | 16.0 | 17.2 | 16.8 | 14.5 | 13.1 | 10.2 | 7.6 | 4.7 | 2.2 | 0.4 | 0.3 |
| 138 | 0.3 | 0.9 | 2.0 | 5.0 | 6.5 | 9.9 | 11.1 | 14.1 | 13.9 | 14.9 | 14.2 | 12.6 | 11.2 | 8.8 | 6.2 | 4.0 | 1.9 | 0.4 | 0.3 |
| 141 | 0.3 | 0.6 | 1.6 | 4.3 | 5.6 | 8.2 | 9.6 | 11.1 | 12.1 | 12.8 | 11.8 | 10.9 | 9.3 | 7.6 | 5.5 | 3.7 | 1.4 | 0.4 | 0.3 |
| 144 | 0.3 | 0.4 | 1.3 | 3.7 | 5.3 | 7.0 | 8.3 | 9.5 | 10.8 | 11.1 | 10.8 | 10.1 | 8.2 | 6.6 | 4.7 | 3.0 | 1.3 | 0.3 | 0.3 |
| 147 | 0.4 | 0.3 | 0.9 | 2.9 | 4.7 | 5.9 | 7.6 | 8.3 | 9.5 | 9.3 | 9.3 | 8.5 | 7.0 | 6.0 | 4.2 | 2.4 | 0.9 | 0.3 | 0.3 |
| 150 | 0.3 | 0.3 | 0.7 | 2.4 | 4.2 | 5.2 | 6.3 | 7.2 | 8.5 | 7.8 | 8.0 | 7.3 | 6.8 | 5.3 | 4.0 | 2.0 | 1.0 | 0.4 | 0.3 |
| 153 | 0.3 | 0.4 | 0.7 | 1.7 | 3.4 | 4.5 | 6.0 | 6.5 | 7.5 | 7.9 | 7.2 | 6.8 | 6.2 | 4.7 | 3.0 | 1.6 | 0.9 | 0.4 | 0.3 |
| 156 | 0.3 | 0.3 | 0.6 | 1.3 | 2.4 | 3.0 | 4.0 | 4.9 | 5.2 | 5.3 | 5.3 | 4.5 | 4.6 | 3.3 | 1.9 | 1.0 | 0.4 | 0.3 | 0.3 |
| 159 | 0.3 | 0.3 | 0.4 | 0.9 | 1.4 | 2.2 | 2.6 | 2.9 | 3.4 | 3.2 | 3.0 | 2.6 | 2.4 | 1.9 | 1.1 | 0.6 | 0.4 | 0.3 | 0.0 |
| 162 | 0.4 | 0.3 | 0.4 | 0.6 | 0.7 | 1.3 | 1.7 | 2.2 | 2.2 | 2.3 | 2.2 | 2.2 | 1.7 | 1.3 | 0.6 | 0.4 | 0.3 | 0.3 | 0.4 |
| 165 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.7 | 1.0 | 1.3 | 1.6 | 1.7 | 1.9 | 1.6 | 1.1 | 0.7 | 0.4 | 0.3 | 0.1 | 0.3 | 0.3 |
| 168 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.6 | 0.7 | 0.9 | 0.7 | 0.7 | 0.6 | 0.3 | 0.1 | 0.3 | 0.1 | 0.3 | 0.3 |
| 171 | 0.3 | 0.1 | 0.3 | 0.1 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.1 | 0.1 | 0.3 | 0.3 | 0.3 |
| 174 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.1 | 0.1 | 0.1 | 0.3 | 0.0 |
| 177 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 |
| 180 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 | 134.8 |
| 3 | 135.7 | 135.9 | 136.7 | 136.8 | 136.8 | 136.7 | 136.7 | 136.2 | 134.9 | 133.8 | 133.5 | 133.8 | 134.2 | 134.6 | 135.1 | 134.9 | 134.2 |
| 6 | 133.9 | 134.9 | 135.2 | 135.5 | 136.2 | 137.2 | 137.4 | 137.1 | 138.1 | 137.1 | 133.6 | 132.5 | 135.4 | 136.4 | 135.5 | 135.9 | 133.2 |
| 9 | 131.3 | 132.1 | 133.1 | 134.1 | 132.6 | 135.2 | 134.6 | 135.1 | 135.1 | 134.8 | 134.4 | 134.4 | 133.5 | 132.9 | 133.1 | 135.7 | 132.2 |
| 12 | 129.8 | 131.5 | 133.2 | 133.6 | 134.2 | 134.8 | 133.2 | 133.9 | 134.9 | 134.8 | 133.9 | 133.8 | 135.4 | 133.1 | 132.5 | 131.3 | 132.8 |
| 15 | 133.6 | 133.4 | 134.8 | 129.5 | 132.9 | 130.2 | 133.4 | 137.1 | 136.9 | 136.2 | 133.4 | 133.9 | 134.1 | 132.5 | 130.6 | 130.5 | 129.6 |
| 18 | 126.5 | 125.7 | 126.6 | 126.6 | 133.4 | 131.8 | 135.1 | 132.9 | 134.6 | 131.9 | 132.5 | 133.6 | 130.3 | 131.2 | 130.6 | 127.9 | 128.2 |
| 21 | 124.4 | 125.0 | 125.9 | 129.5 | 128.8 | 130.8 | 133.8 | 134.8 | 134.2 | 134.2 | 133.5 | 133.1 | 128.2 | 128.6 | 127.2 | 125.5 | 127.2 |
| 24 | 120.3 | 125.3 | 121.9 | 128.0 | 127.3 | 128.9 | 128.3 | 131.5 | 129.8 | 134.9 | 134.2 | 129.8 | 129.3 | 127.0 | 124.2 | 122.9 | 125.3 |
| 27 | 118.8 | 121.1 | 119.7 | 120.6 | 127.7 | 126.6 | 132.6 | 128.3 | 131.1 | 129.9 | 130.6 | 126.6 | 128.2 | 123.6 | 121.9 | 120.1 | 118.0 |
| 30 | 114.4 | 117.4 | 119.1 | 119.7 | 127.2 | 123.9 | 126.2 | 128.8 | 129.9 | 132.3 | 125.2 | 128.5 | 124.3 | 124.2 | 118.7 | 117.0 | 116.1 |
| 33 | 108.8 | 117.3 | 115.4 | 116.1 | 121.4 | 122.1 | 125.3 | 125.7 | 124.6 | 123.7 | 128.9 | 124.7 | 122.6 | 116.7 | 113.7 | 114.0 | 106.9 |
| 36 | 106.8 | 108.3 | 112.9 | 113.4 | 115.4 | 120.7 | 122.0 | 122.0 | 125.3 | 125.3 | 122.3 | 119.6 | 119.3 | 115.8 | 110.4 | 108.6 | 106.5 |
| 39 | 97.6 | 105.6 | 109.1 | 112.5 | 115.5 | 121.0 | 123.0 | 123.6 | 121.9 | 118.6 | 121.3 | 117.0 | 115.2 | 110.6 | 107.3 | 107.6 | 104.2 |
| 42 | 94.1 | 97.3 | 103.2 | 110.5 | 110.6 | 111.5 | 114.0 | 119.7 | 118.6 | 121.7 | 116.5 | 115.0 | 111.8 | 109.1 | 103.6 | 100.6 | 98.1 |
| 45 | 89.2 | 92.8 | 100.2 | 105.8 | 107.1 | 108.5 | 112.9 | 117.4 | 117.1 | 117.3 | 111.7 | 109.4 | 108.1 | 107.6 | 98.0 | 96.7 | 92.0 |
| 48 | 85.5 | 87.9 | 93.4 | 100.2 | 105.3 | 107.8 | 111.4 | 112.1 | 115.7 | 116.1 | 111.4 | 108.6 | 104.5 | 99.6 | 94.8 | 90.1 | 89.0 |
| 51 | 79.3 | 82.6 | 91.0 | 93.8 | 101.2 | 102.9 | 108.2 | 110.2 | 110.2 | 110.6 | 112.1 | 106.5 | 101.6 | 93.7 | 89.4 | 84.9 | 81.0 |
| 54 | 74.1 | 79.2 | 80.6 | 88.2 | 100.2 | 100.3 | 103.8 | 105.0 | 108.1 | 107.6 | 105.6 | 102.2 | 98.1 | 91.7 | 83.5 | 78.3 | 74.9 |
| 57 | 68.0 | 70.7 | 74.3 | 86.4 | 93.1 | 98.1 | 102.9 | 104.2 | 107.1 | 103.6 | 99.7 | 97.4 | 91.0 | 89.2 | 80.3 | 74.3 | 70.3 |
| 60 | 62.2 | 67.3 | 73.4 | 79.2 | 88.4 | 94.3 | 99.0 | 102.6 | 103.0 | 101.2 | 98.3 | 92.4 | 90.2 | 82.2 | 78.5 | 69.0 | 63.4 |
| 63 | 57.0 | 61.4 | 68.3 | 75.2 | 83.2 | 91.0 | 94.6 | 99.9 | 97.9 | 97.7 | 94.7 | 89.2 | 84.4 | 78.3 | 70.1 | 64.4 | 56.8 |
| 66 | 50.9 | 55.5 | 64.5 | 69.8 | 77.9 | 85.9 | 89.4 | 91.1 | 98.0 | 93.4 | 87.8 | 86.2 | 79.6 | 73.4 | 64.1 | 54.3 | 50.0 |
| 69 | 43.8 | 50.4 | 55.0 | 65.0 | 75.4 | 80.8 | 85.9 | 92.3 | 90.5 | 89.0 | 87.1 | 82.9 | 75.6 | 67.4 | 59.6 | 51.0 | 43.1 |
| 72 | 38.2 | 45.4 | 53.2 | 63.1 | 68.4 | 76.4 | 80.9 | 86.7 | 88.5 | 89.2 | 85.1 | 79.8 | 72.9 | 65.0 | 54.0 | 46.6 | 39.1 |
| 75 | 32.6 | 38.7 | 48.0 | 59.5 | 68.1 | 73.7 | 80.8 | 82.6 | 84.6 | 83.8 | 82.1 | 75.2 | 68.4 | 59.9 | 50.6 | 39.1 | 33.2 |
| 78 | 25.4 | 33.6 | 44.8 | 53.2 | 63.2 | 70.6 | 76.9 | 79.5 | 81.9 | 80.2 | 76.9 | 71.0 | 64.2 | 56.5 | 44.5 | 33.5 | 26.3 |
| 81 | 18.7 | 32.2 | 39.8 | 50.2 | 59.1 | 65.2 | 71.7 | 76.0 | 77.2 | 76.2 | 72.0 | 66.2 | 59.9 | 50.3 | 41.4 | 30.3 | 19.1 |
| 84 | 16.0 | 24.3 | 36.6 | 44.7 | 55.8 | 64.1 | 68.8 | 72.3 | 72.1 | 73.1 | 70.0 | 64.4 | 56.2 | 47.0 | 37.1 | 24.1 | 15.1 |
| 87 | 11.5 | 23.4 | 31.2 | 42.0 | 51.7 | 59.6 | 62.8 | 67.8 | 70.6 | 70.6 | 66.0 | 62.5 | 54.3 | 43.7 | 32.3 | 23.4 | 11.1 |
| 90 | 8.9 | 18.8 | 28.2 | 41.8 | 46.4 | 53.6 | 60.5 | 64.8 | 69.6 | 61.4 | 63.8 | 53.7 | 48.6 | 39.4 | 28.9 | 20.4 | 8.3 |
| 93 | 7.2 | 14.5 | 26.9 | 29.6 | 41.2 | 47.4 | 54.2 | 60.5 | 62.5 | 61.6 | 52.5 | 48.0 | 38.8 | 29.5 | 22.1 | 12.6 | 6.6 |
| 96 | 5.3 | 10.8 | 22.7 | 27.0 | 38.9 | 44.7 | 51.4 | 57.2 | 59.2 | 58.1 | 50.3 | 44.1 | 35.2 | 26.3 | 19.3 | 9.6 | 5.0 |
| 99 | 3.7 | 7.6 | 19.7 | 23.7 | 35.4 | 41.4 | 48.9 | 53.7 | 54.9 | 53.6 | 46.1 | 42.1 | 32.5 | 23.7 | 17.0 | 8.0 | 4.2 |
| 102 | 2.3 | 6.2 | 16.2 | 21.6 | 32.3 | 38.7 | 45.1 | 50.3 | 51.4 | 51.2 | 42.7 | 38.7 | 30.2 | 21.0 | 14.2 | 6.3 | 3.0 |
| 105 | 2.0 | 5.5 | 14.9 | 19.7 | 29.3 | 35.9 | 42.5 | 46.0 | 47.9 | 47.1 | 40.7 | 36.8 | 26.7 | 19.1 | 12.5 | 5.6 | 2.9 |
| 108 | 1.6 | 5.2 | 12.5 | 19.1 | 26.4 | 33.2 | 39.1 | 42.8 | 44.1 | 43.4 | 37.6 | 34.8 | 25.7 | 17.7 | 11.4 | 5.2 | 2.7 |
| 111 | 1.3 | 5.7 | 10.9 | 18.5 | 25.3 | 30.9 | 36.4 | 39.5 | 41.0 | 39.8 | 35.6 | 31.0 | 25.9 | 16.4 | 10.9 | 4.9 | 2.7 |
| 114 | 1.1 | 5.0 | 9.8 | 17.0 | 23.0 | 28.9 | 34.3 | 36.6 | 38.1 | 37.5 | 33.3 | 28.5 | 24.1 | 14.7 | 9.9 | 4.6 | 2.6 |
| 117 | 1.0 | 4.7 | 8.6 | 15.8 | 20.4 | 26.3 | 31.8 | 33.6 | 34.6 | 34.1 | 31.0 | 25.1 | 21.7 | 13.5 | 9.2 | 4.2 | 2.3 |
| 120 | 1.1 | 4.0 | 8.3 | 14.1 | 19.7 | 23.6 | 28.7 | 31.0 | 32.3 | 31.2 | 29.3 | 23.0 | 19.5 | 12.2 | 8.5 | 3.7 | 2.0 |
| 123 | 1.1 | 3.9 | 8.0 | 11.9 | 17.2 | 21.8 | 25.6 | 28.5 | 28.9 | 28.0 | 26.0 | 20.3 | 17.8 | 11.1 | 8.0 | 3.4 | 1.9 |
| 126 | 0.7 | 3.4 | 7.3 | 10.9 | 16.1 | 19.1 | 23.7 | 24.7 | 26.3 | 25.3 | 22.7 | 19.1 | 16.2 | 10.2 | 7.0 | 2.9 | 1.7 |
| 129 | 0.4 | 2.9 | 6.2 | 10.1 | 14.4 | 17.7 | 21.3 | 23.1 | 23.7 | 22.0 | 21.3 | 17.1 | 14.1 | 9.5 | 6.3 | 2.7 | 1.4 |
| 132 | 0.4 | 2.6 | 5.6 | 8.5 | 12.4 | 16.5 | 18.5 | 20.7 | 20.0 | 20.1 | 18.7 | 15.5 | 12.2 | 8.6 | 5.3 | 2.4 | 1.3 |
| 135 | 0.4 | 2.3 | 5.0 | 7.9 | 11.2 | 14.2 | 16.1 | 18.2 | 18.2 | 17.7 | 16.4 | 13.5 | 10.9 | 8.0 | 4.7 | 2.2 | 1.0 |
| 138 | 0.6 | 2.0 | 4.2 | 7.2 | 9.3 | 12.5 | 13.9 | 15.4 | 16.0 | 15.8 | 13.9 | 12.2 | 8.9 | 7.0 | 4.0 | 1.9 | 1.0 |
| 141 | 0.3 | 1.9 | 3.6 | 5.9 | 7.8 | 10.6 | 12.1 | 13.5 | 13.8 | 12.9 | 12.4 | 10.3 | 7.8 | 6.2 | 3.3 | 1.9 | 0.9 |
| 144 | 0.3 | 1.4 | 3.4 | 5.3 | 7.8 | 9.3 | 10.6 | 11.8 | 11.5 | 12.1 | 10.8 | 9.2 | 6.8 | 5.3 | 3.3 | 1.7 | 0.7 |
| 147 | 0.3 | 1.4 | 3.0 | 5.0 | 6.6 | 8.2 | 9.6 | 10.6 | 11.2 | 10.5 | 9.3 | 8.5 | 6.8 | 4.7 | 2.9 | 1.4 | 0.7 |
| 150 | 0.3 | 1.3 | 2.9 | 4.3 | 5.9 | 6.9 | 8.5 | 10.2 | 10.1 | 9.5 | 8.6 | 7.2 | 5.6 | 4.2 | 2.3 | 1.3 | 0.6 |
| 153 | 0.3 | 0.9 | 2.2 | 3.3 | 4.7 | 5.5 | 7.0 | 8.0 | 7.6 | 7.6 | 7.2 | 5.5 | 5.0 | 3.4 | 1.9 | 1.0 | 0.4 |
| 156 | 0.3 | 0.6 | 1.6 | 2.4 | 3.4 | 4.5 | 4.7 | 5.3 | 5.5 | 5.0 | 4.9 | 4.0 | 3.3 | 2.3 | 1.3 | 0.7 | 0.4 |
| 159 | 0.3 | 0.6 | 1.0 | 1.6 | 2.3 | 3.0 | 3.6 | 4.3 | 4.2 | 3.7 | 3.6 | 2.7 | 2.3 | 1.3 | 0.7 | 0.4 | 0.3 |
| 162 | 0.4 | 0.4 | 0.9 | 1.3 | 1.7 | 2.3 | 3.0 | 3.4 | 3.3 | 3.0 | 2.7 | 2.3 | 1.7 | 0.9 | 0.6 | 0.4 | 0.4 |
| 165 | 0.3 | 0.4 | 0.6 | 1.0 | 1.1 | 1.7 | 2.0 | 2.3 | 2.4 | 2.3 | 2.2 | 1.7 | 1.3 | 0.7 | 0.4 | 0.4 | 0.3 |
| 168 | 0.3 | 0.3 | 0.4 | 0.6 | 0.7 | 1.0 | 1.4 | 1.6 | 1.6 | 1.4 | 1.4 | 1.0 | 0.7 | 0.3 | 0.4 | 0.4 | 0.3 |
| 171 | 0.3 | 0.3 | 0.4 | 0.4 | 0.6 | 0.6 | 0.9 | 1.0 | 1.0 | 1.0 | 0.9 | 0.7 | 0.4 | 0.3 | 0.4 | 0.4 | 0.3 |
| 174 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.6 | 0.6 | 0.6 | 0.6 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.1 |
| 177 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 |
| 180 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

15-01-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP