| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ12077 | Report Date: 04-01-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: KYOTO PENDANT | Serial Number: 7031 |
| Lamp Type: CFL |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 244.2 | Current (mA)= 147 |
| Power (Watts)= 21.18 | Power factor= 0.5906 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 7-12-2012 |  | Ambient Temperature:25°C |
| Measurement Filename: 7031 KYOTO PENDANT |  |  |
| Instrument Used: Labsphere model CSLMS LED 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 614.1 |  | Bare Lamp flux (lumens): 1675 |
| CIE 1931 Chromaticity Cx: 0.4505 |  | CIE 1931 Chromaticity Cy: 0.4195 |
| CRI (%): 82.93 |  | CCT (K): 2908 |
| LOR(%)= 36.6 |  |  |

Figure 1: Spectral Irradiance at 2 metres

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 6-12-2012 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 7031 KYOTO PENDANT |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1423F-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 2m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):26 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens): 614.1 | Peak Intensity (3° Spot, candelas): 139 |  | Efficacy (lumens/Watt): 29.0 |
| Beam Angle (50% of max intensity C0-180, degrees): 110.8 |  |  |  |
| Photometric Filename (IES LM-63-2002): 7031 KYOTO PENDANT |  |  |  |
| IES File – Absolute or Relative Format? Relative |  |  |  |
| Photometric Filename (EULUMDAT): 7031 KYOTO PENDANT |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Relative |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 |
| 5 | 139.0 | 139.1 | 138.4 | 138.4 | 138.0 | 138.3 | 140.5 | 139.2 | 137.3 | 137.3 | 137.6 | 139.6 | 138.5 | 136.4 | 136.0 | 136.3 | 137.2 | 137.9 | 138.2 |
| 10 | 137.9 | 138.5 | 138.3 | 139.1 | 139.6 | 138.9 | 137.1 | 139.3 | 138.3 | 136.1 | 133.0 | 137.1 | 135.8 | 137.9 | 138.4 | 136.2 | 135.5 | 138.1 | 135.9 |
| 15 | 135.2 | 140.8 | 134.9 | 134.1 | 141.0 | 137.3 | 137.4 | 136.6 | 137.6 | 136.0 | 136.0 | 130.4 | 134.3 | 131.6 | 135.4 | 137.3 | 134.4 | 135.5 | 133.6 |
| 20 | 133.7 | 134.8 | 135.7 | 137.9 | 135.5 | 135.4 | 132.2 | 129.4 | 130.0 | 132.6 | 131.3 | 130.6 | 132.1 | 135.1 | 133.1 | 138.8 | 137.0 | 136.7 | 137.7 |
| 25 | 134.7 | 133.0 | 133.2 | 131.0 | 134.3 | 129.3 | 125.6 | 123.5 | 124.9 | 126.5 | 125.6 | 126.8 | 126.6 | 130.8 | 130.8 | 134.8 | 135.4 | 135.0 | 136.9 |
| 30 | 129.7 | 134.3 | 130.0 | 132.3 | 134.3 | 122.2 | 126.3 | 125.1 | 116.6 | 123.4 | 123.1 | 125.1 | 124.8 | 126.9 | 131.5 | 135.0 | 135.9 | 134.3 | 133.2 |
| 35 | 130.8 | 130.6 | 130.3 | 126.8 | 123.9 | 120.3 | 119.6 | 115.7 | 115.4 | 115.2 | 117.3 | 117.3 | 120.4 | 121.6 | 127.5 | 130.7 | 132.1 | 136.0 | 134.3 |
| 40 | 125.3 | 126.1 | 127.4 | 120.9 | 118.9 | 117.2 | 113.8 | 112.7 | 113.0 | 113.2 | 111.8 | 116.0 | 116.4 | 117.6 | 125.2 | 126.7 | 131.9 | 133.7 | 133.5 |
| 45 | 122.8 | 125.4 | 120.0 | 120.5 | 117.5 | 108.4 | 106.5 | 106.6 | 101.1 | 101.7 | 105.3 | 107.2 | 111.4 | 115.8 | 119.7 | 124.2 | 133.5 | 134.9 | 130.2 |
| 50 | 122.4 | 123.2 | 120.7 | 118.7 | 112.9 | 107.3 | 102.5 | 99.7 | 93.1 | 92.6 | 94.1 | 102.7 | 106.7 | 114.9 | 120.1 | 123.9 | 131.2 | 133.1 | 131.5 |
| 55 | 118.1 | 122.0 | 118.5 | 114.6 | 110.5 | 105.0 | 95.3 | 88.5 | 81.8 | 82.9 | 84.9 | 92.7 | 101.7 | 112.1 | 117.9 | 123.5 | 128.9 | 130.8 | 132.8 |
| 60 | 119.0 | 117.2 | 118.5 | 111.0 | 105.8 | 97.5 | 93.4 | 81.5 | 72.7 | 68.8 | 72.9 | 84.3 | 97.2 | 106.4 | 110.7 | 121.1 | 130.6 | 130.9 | 129.1 |
| 65 | 113.3 | 115.5 | 113.1 | 105.7 | 100.9 | 92.0 | 80.8 | 71.1 | 62.6 | 57.4 | 64.2 | 76.3 | 90.3 | 99.1 | 112.3 | 118.5 | 125.2 | 127.3 | 127.8 |
| 70 | 110.9 | 111.4 | 109.5 | 102.7 | 95.6 | 84.8 | 75.2 | 64.3 | 56.0 | 48.0 | 54.0 | 68.8 | 83.6 | 96.4 | 107.3 | 114.1 | 121.2 | 129.6 | 125.2 |
| 75 | 111.6 | 114.6 | 109.6 | 98.5 | 94.2 | 81.2 | 69.8 | 58.4 | 48.4 | 37.4 | 46.6 | 61.9 | 79.8 | 96.3 | 106.3 | 113.3 | 123.4 | 126.4 | 128.1 |
| 80 | 110.7 | 110.7 | 102.2 | 96.8 | 89.9 | 75.4 | 63.6 | 49.8 | 37.4 | 28.0 | 37.4 | 57.3 | 74.2 | 90.1 | 104.6 | 112.2 | 121.7 | 128.4 | 127.3 |
| 85 | 107.4 | 105.3 | 104.9 | 94.9 | 85.0 | 74.1 | 60.8 | 46.1 | 29.1 | 16.9 | 30.6 | 51.2 | 69.2 | 86.6 | 102.0 | 109.7 | 120.7 | 122.6 | 126.1 |
| 90 | 50.8 | 67.4 | 31.3 | 46.5 | 41.8 | 45.5 | 27.1 | 13.2 | 15.6 | 4.2 | 18.6 | 15.5 | 33.7 | 56.3 | 48.8 | 50.5 | 38.6 | 78.9 | 59.4 |
| 95 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 100 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 105 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 110 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 115 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 120 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 125 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 130 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 135 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 140 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 145 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 150 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 155 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 160 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 165 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 170 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 175 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 180 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 | 136.7 |
| 5 | 139.6 | 138.4 | 133.2 | 130.5 | 131.2 | 134.8 | 134.0 | 130.6 | 128.5 | 131.0 | 134.4 | 132.6 | 129.3 | 130.7 | 134.3 | 137.7 | 138.8 |
| 10 | 135.0 | 132.8 | 131.8 | 133.2 | 130.4 | 123.8 | 130.2 | 125.4 | 120.9 | 127.1 | 129.6 | 124.8 | 129.3 | 133.2 | 131.6 | 133.6 | 136.3 |
| 15 | 134.5 | 132.4 | 132.2 | 128.1 | 123.6 | 125.5 | 120.0 | 125.8 | 121.4 | 123.6 | 120.6 | 125.4 | 121.2 | 126.0 | 130.0 | 129.4 | 132.2 |
| 20 | 135.5 | 128.7 | 126.9 | 126.2 | 121.9 | 125.0 | 114.9 | 124.0 | 112.7 | 123.5 | 115.9 | 123.6 | 118.6 | 124.0 | 124.4 | 132.4 | 130.1 |
| 25 | 131.5 | 130.3 | 125.2 | 123.8 | 120.1 | 116.9 | 115.7 | 116.1 | 113.1 | 115.9 | 114.8 | 116.0 | 116.1 | 121.1 | 124.5 | 125.7 | 126.2 |
| 30 | 129.9 | 127.6 | 123.8 | 120.9 | 117.8 | 110.3 | 106.7 | 108.0 | 112.7 | 109.7 | 106.1 | 109.5 | 117.6 | 112.6 | 123.5 | 121.7 | 128.6 |
| 35 | 131.3 | 123.6 | 120.5 | 115.8 | 113.2 | 110.8 | 103.2 | 101.3 | 103.8 | 100.4 | 101.1 | 106.8 | 111.7 | 112.9 | 117.4 | 117.4 | 127.7 |
| 40 | 126.6 | 126.1 | 119.1 | 115.8 | 108.2 | 106.7 | 95.3 | 93.3 | 99.2 | 91.0 | 98.0 | 102.6 | 102.8 | 110.6 | 115.4 | 117.5 | 120.3 |
| 45 | 127.1 | 120.6 | 115.0 | 113.9 | 101.3 | 97.7 | 92.5 | 80.2 | 91.9 | 81.2 | 92.8 | 96.9 | 96.3 | 104.3 | 110.6 | 112.5 | 119.1 |
| 50 | 126.9 | 119.8 | 110.4 | 109.5 | 102.8 | 85.9 | 82.8 | 74.2 | 80.5 | 73.8 | 80.7 | 82.6 | 96.4 | 101.8 | 104.5 | 112.3 | 114.1 |
| 55 | 127.5 | 120.1 | 116.2 | 101.2 | 92.7 | 83.5 | 81.3 | 64.3 | 62.0 | 63.4 | 76.1 | 83.3 | 84.6 | 93.9 | 105.8 | 109.7 | 114.1 |
| 60 | 127.0 | 115.9 | 109.6 | 105.2 | 92.8 | 76.1 | 62.0 | 56.0 | 63.4 | 54.6 | 54.8 | 71.1 | 83.8 | 96.6 | 95.5 | 106.9 | 114.7 |
| 65 | 122.5 | 115.3 | 109.3 | 98.1 | 82.4 | 71.6 | 61.6 | 47.7 | 46.3 | 46.4 | 58.4 | 66.2 | 73.7 | 87.0 | 96.0 | 103.5 | 109.8 |
| 70 | 118.4 | 112.2 | 104.8 | 94.3 | 82.4 | 69.8 | 54.2 | 35.6 | 38.3 | 35.4 | 48.2 | 62.4 | 73.0 | 84.2 | 94.6 | 100.6 | 106.8 |
| 75 | 122.7 | 112.9 | 102.8 | 90.1 | 74.4 | 55.9 | 39.9 | 32.2 | 32.0 | 31.5 | 38.4 | 50.8 | 64.3 | 75.9 | 92.4 | 99.9 | 104.8 |
| 80 | 123.1 | 109.4 | 102.1 | 87.2 | 70.4 | 50.8 | 36.6 | 25.1 | 22.5 | 23.7 | 31.8 | 44.1 | 60.6 | 75.8 | 87.1 | 98.6 | 103.7 |
| 85 | 122.8 | 109.7 | 98.7 | 88.0 | 69.4 | 49.6 | 32.2 | 17.7 | 14.2 | 16.0 | 28.9 | 43.6 | 58.5 | 73.4 | 83.8 | 94.4 | 101.8 |
| 90 | 72.3 | 35.5 | 0.0 | 39.6 | 41.3 | 23.6 | 10.5 | 8.3 | 5.6 | 8.1 | 8.9 | 19.8 | 38.1 | 35.1 | 39.9 | 29.4 | 64.0 |
| 95 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 100 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 105 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 110 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 115 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 120 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 125 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 130 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 135 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 140 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 145 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 150 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 155 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 160 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 165 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 170 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 175 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 180 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

04-01-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP