| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13063 | Report Date: 15-02-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: TRIMLESS 230 V LED LAMP | Serial Number: 5624 |
| Lamp Type: LED | Lamp serial number: 1704 |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 240.5 | Current (mA)= 38 |
| Power (Watts)= 10.05 | Power factor= 0.978 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 06-02-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: 5624 TRIMLESS 230 V LED LAMP |  |  |
| Instrument Used: Labsphere model CSLMS LED 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 226.6 |  | Bare Lamp lumens: 323.0 |
| CIE 1931 Chromaticity Cx: 0.4570 |  | CIE 1931 Chromaticity Cy: 0.4138 |
| CRI (%):82.84 |  | CCT (K): 2748 |
| LOR(%): 71.1 |  |  |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 06-02-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 5624 TRIMLESS 230 V LED LAMP |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1200N-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 1.5 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):75 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-90° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):226.6 | Peak Intensity (3° Spot, candelas): 543.5 |  | Efficacy (lumens/Watt): 22.6 |
| Beam Angle (50% of max intensity C0-180, degrees): 33.4 |  |  |  |
| Photometric Filename (IES LM-63-2002): 5624 TRIMLESS 230 V LED LAMP |  |  |  |
| IES File – Absolute or Relative Format? RELATIVE |  |  |  |
| Photometric Filename (EULUMDAT): 5624 TRIMLESS 230 V LED LAMP |  |  |  |
| EULUMDAT File – Absolute or Relative Format? RELATIVE |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 |
| 3 | 527.5 | 528.0 | 525.5 | 522.4 | 523.2 | 522.4 | 520.4 | 522.6 | 520.9 | 522.4 | 522.6 | 524.9 | 523.8 | 526.6 | 528.6 | 528.8 | 532.0 | 534.6 | 534.7 |
| 6 | 488.8 | 489.2 | 483.1 | 481.9 | 480.8 | 479.9 | 479.5 | 479.2 | 481.6 | 481.7 | 484.0 | 483.7 | 485.8 | 488.0 | 490.9 | 493.6 | 496.1 | 502.6 | 503.3 |
| 9 | 432.8 | 432.7 | 429.3 | 426.7 | 427.4 | 426.9 | 424.9 | 422.4 | 425.4 | 426.4 | 428.3 | 428.2 | 433.3 | 438.1 | 441.1 | 443.2 | 447.8 | 453.0 | 454.7 |
| 12 | 365.3 | 361.6 | 359.4 | 361.5 | 356.1 | 355.8 | 360.6 | 357.7 | 358.6 | 360.4 | 361.5 | 364.1 | 370.5 | 369.6 | 373.9 | 382.6 | 384.0 | 389.0 | 394.5 |
| 15 | 293.2 | 289.7 | 285.6 | 290.9 | 283.2 | 283.1 | 290.5 | 284.5 | 287.3 | 288.7 | 290.5 | 291.1 | 301.7 | 299.2 | 303.9 | 315.9 | 315.0 | 322.1 | 327.5 |
| 18 | 223.6 | 219.0 | 219.0 | 212.5 | 212.4 | 212.2 | 211.9 | 217.9 | 216.5 | 218.9 | 219.7 | 224.5 | 223.2 | 228.8 | 233.7 | 238.4 | 249.1 | 252.3 | 258.8 |
| 21 | 163.9 | 159.2 | 157.6 | 155.6 | 153.3 | 152.9 | 154.8 | 156.3 | 156.6 | 159.6 | 159.7 | 162.2 | 164.7 | 167.0 | 171.6 | 177.7 | 183.7 | 188.3 | 195.1 |
| 24 | 119.6 | 115.6 | 114.2 | 114.1 | 113.9 | 113.5 | 113.2 | 114.0 | 112.8 | 115.5 | 115.5 | 118.6 | 120.6 | 123.9 | 127.4 | 130.4 | 133.5 | 137.3 | 143.2 |
| 27 | 89.9 | 87.6 | 87.6 | 86.5 | 85.0 | 84.6 | 85.6 | 86.0 | 85.1 | 86.4 | 87.0 | 89.4 | 90.7 | 91.4 | 94.1 | 97.7 | 100.8 | 102.4 | 106.1 |
| 30 | 70.2 | 69.0 | 67.7 | 68.2 | 66.6 | 66.4 | 67.4 | 66.4 | 67.3 | 67.8 | 68.6 | 68.9 | 71.2 | 71.4 | 73.0 | 76.0 | 76.5 | 79.2 | 81.2 |
| 33 | 54.9 | 53.9 | 53.7 | 52.9 | 53.1 | 52.9 | 52.1 | 53.1 | 53.4 | 54.1 | 54.7 | 55.5 | 55.5 | 57.1 | 57.5 | 57.4 | 59.6 | 61.1 | 63.0 |
| 36 | 39.6 | 38.8 | 40.0 | 39.7 | 39.3 | 39.3 | 39.4 | 40.3 | 40.0 | 40.5 | 41.0 | 42.3 | 42.0 | 42.4 | 41.9 | 41.3 | 42.8 | 43.5 | 45.3 |
| 39 | 24.0 | 24.5 | 24.6 | 25.4 | 25.1 | 25.6 | 25.8 | 25.5 | 26.7 | 25.9 | 27.1 | 26.6 | 27.1 | 26.8 | 26.2 | 25.0 | 24.6 | 26.9 | 26.9 |
| 42 | 12.3 | 12.4 | 13.6 | 13.9 | 13.3 | 14.1 | 14.6 | 14.1 | 14.5 | 13.9 | 14.4 | 14.4 | 14.7 | 13.9 | 13.2 | 12.7 | 12.6 | 13.1 | 13.0 |
| 45 | 6.4 | 6.4 | 7.1 | 7.7 | 7.4 | 8.0 | 8.0 | 7.5 | 7.5 | 7.3 | 7.4 | 7.6 | 7.8 | 7.4 | 6.8 | 6.3 | 6.1 | 6.3 | 6.5 |
| 48 | 4.4 | 4.5 | 4.8 | 5.0 | 4.9 | 5.0 | 4.7 | 4.5 | 4.6 | 4.5 | 4.6 | 4.7 | 4.7 | 4.6 | 4.1 | 3.9 | 4.0 | 4.1 | 4.3 |
| 51 | 3.8 | 3.9 | 4.1 | 4.1 | 4.0 | 3.8 | 3.7 | 3.6 | 3.5 | 3.4 | 3.5 | 3.6 | 3.6 | 3.5 | 3.4 | 3.4 | 3.4 | 3.5 | 3.6 |
| 54 | 3.6 | 3.7 | 3.8 | 3.8 | 3.7 | 3.5 | 3.4 | 3.3 | 3.1 | 3.1 | 3.1 | 3.2 | 3.2 | 3.2 | 3.1 | 3.2 | 3.3 | 3.4 | 3.4 |
| 57 | 3.5 | 3.6 | 3.6 | 3.6 | 3.5 | 3.4 | 3.3 | 3.1 | 3.0 | 2.9 | 3.0 | 3.1 | 3.0 | 3.0 | 3.0 | 3.0 | 3.2 | 3.3 | 3.3 |
| 60 | 3.4 | 3.5 | 3.5 | 3.5 | 3.3 | 3.2 | 3.2 | 3.0 | 2.9 | 2.8 | 2.9 | 2.9 | 2.9 | 2.9 | 2.9 | 2.9 | 3.1 | 3.2 | 3.2 |
| 63 | 3.2 | 3.3 | 3.3 | 3.2 | 3.1 | 3.0 | 2.9 | 2.8 | 2.7 | 2.7 | 2.7 | 2.8 | 2.8 | 2.8 | 2.7 | 2.7 | 2.9 | 3.0 | 3.0 |
| 66 | 3.0 | 3.0 | 3.0 | 3.0 | 2.9 | 2.8 | 2.7 | 2.6 | 2.5 | 2.5 | 2.6 | 2.6 | 2.6 | 2.5 | 2.5 | 2.5 | 2.7 | 2.9 | 2.8 |
| 69 | 2.7 | 2.8 | 2.8 | 2.7 | 2.7 | 2.6 | 2.5 | 2.4 | 2.4 | 1.9 | 2.4 | 2.4 | 2.4 | 2.3 | 2.4 | 2.3 | 2.6 | 2.7 | 2.6 |
| 72 | 2.5 | 2.5 | 2.5 | 2.5 | 2.4 | 2.4 | 2.4 | 2.2 | 2.2 | 2.1 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.4 | 2.5 | 2.4 |
| 75 | 2.2 | 2.2 | 1.1 | 2.2 | 2.2 | 2.1 | 2.1 | 2.0 | 2.0 | 1.9 | 2.0 | 2.0 | 2.0 | 2.0 | 2.0 | 2.0 | 2.1 | 2.2 | 2.2 |
| 78 | 1.8 | 1.9 | 1.9 | 1.8 | 1.8 | 1.8 | 1.7 | 1.7 | 1.7 | 1.3 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.3 | 1.9 | 1.5 |
| 81 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.4 | 0.7 | 1.4 | 1.4 | 1.4 | 1.5 | 1.1 | 1.4 | 1.4 | 1.4 | 1.4 | 1.5 | 1.6 | 1.6 |
| 84 | 1.2 | 1.2 | 1.2 | 0.6 | 1.2 | 1.2 | 1.2 | 1.2 | 0.6 | 1.2 | 0.9 | 1.2 | 1.2 | 1.2 | 1.2 | 0.6 | 1.3 | 1.0 | 1.3 |
| 87 | 0.8 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 0.5 | 1.0 | 1.0 | 0.8 | 1.1 | 1.0 | 0.0 | 0.7 | 1.0 | 1.0 | 1.1 | 1.1 | 0.7 |
| 90 | 0.2 | 0.6 | 0.0 | 0.0 | 0.3 | 0.4 | 0.5 | 0.0 | 0.3 | 0.5 | 0.3 | 0.0 | 0.0 | 0.5 | 0.6 | 0.0 | 0.3 | 0.3 | 0.3 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 | 543.5 |
| 3 | 537.8 | 538.5 | 538.4 | 540.4 | 541.5 | 541.2 | 542.3 | 541.5 | 541.1 | 539.5 | 539.7 | 537.3 | 536.8 | 534.5 | 531.5 | 531.7 | 531.1 |
| 6 | 508.5 | 507.8 | 511.0 | 513.0 | 514.7 | 515.4 | 515.3 | 516.3 | 514.3 | 513.0 | 509.2 | 507.1 | 504.2 | 500.5 | 497.3 | 493.2 | 494.3 |
| 9 | 460.6 | 463.8 | 465.8 | 470.0 | 471.8 | 471.3 | 468.9 | 469.9 | 467.5 | 464.7 | 459.1 | 458.2 | 455.7 | 451.8 | 445.4 | 442.4 | 438.8 |
| 12 | 398.2 | 402.1 | 408.3 | 407.0 | 409.2 | 414.5 | 411.4 | 410.0 | 407.7 | 403.2 | 398.7 | 397.4 | 388.3 | 382.9 | 382.3 | 373.8 | 368.8 |
| 15 | 332.1 | 333.9 | 343.8 | 340.1 | 342.4 | 350.2 | 343.8 | 344.3 | 341.1 | 336.2 | 329.5 | 330.4 | 318.1 | 312.6 | 313.7 | 301.0 | 297.8 |
| 18 | 262.5 | 268.9 | 267.0 | 270.7 | 272.6 | 273.1 | 278.4 | 274.6 | 272.5 | 266.7 | 263.9 | 253.3 | 248.1 | 242.5 | 236.0 | 235.3 | 227.3 |
| 21 | 197.8 | 202.4 | 204.7 | 205.2 | 206.4 | 208.9 | 209.7 | 208.1 | 207.5 | 201.7 | 197.7 | 192.0 | 185.3 | 180.2 | 177.2 | 172.7 | 166.8 |
| 24 | 145.1 | 148.6 | 152.8 | 155.1 | 155.9 | 155.4 | 155.3 | 152.2 | 152.7 | 147.8 | 146.3 | 142.0 | 139.0 | 135.3 | 131.1 | 125.6 | 121.5 |
| 27 | 108.2 | 112.5 | 114.2 | 114.2 | 114.8 | 116.4 | 115.7 | 112.7 | 112.6 | 109.8 | 108.8 | 105.8 | 102.3 | 99.8 | 98.6 | 95.9 | 91.7 |
| 30 | 83.6 | 84.5 | 87.6 | 87.1 | 87.2 | 89.0 | 86.8 | 86.0 | 85.0 | 84.0 | 81.7 | 81.5 | 78.6 | 77.0 | 76.8 | 73.5 | 72.1 |
| 33 | 64.4 | 65.3 | 65.1 | 67.0 | 66.4 | 65.2 | 66.1 | 63.7 | 63.7 | 63.5 | 63.0 | 61.0 | 60.8 | 59.5 | 57.9 | 57.9 | 56.2 |
| 36 | 45.6 | 46.6 | 46.0 | 47.0 | 46.1 | 45.6 | 45.8 | 41.9 | 42.6 | 43.2 | 44.8 | 43.4 | 42.4 | 41.3 | 41.4 | 42.0 | 40.2 |
| 39 | 27.9 | 26.3 | 26.7 | 27.6 | 26.9 | 26.6 | 25.3 | 23.9 | 23.1 | 25.4 | 25.7 | 26.2 | 25.0 | 24.3 | 25.0 | 24.7 | 25.2 |
| 42 | 13.4 | 13.2 | 12.8 | 13.0 | 12.7 | 12.9 | 12.4 | 11.4 | 10.8 | 12.0 | 13.2 | 13.7 | 12.3 | 12.0 | 13.0 | 13.4 | 12.7 |
| 45 | 6.5 | 6.4 | 6.4 | 6.5 | 6.5 | 6.4 | 6.3 | 5.9 | 5.6 | 6.0 | 6.8 | 7.3 | 6.5 | 6.6 | 7.0 | 7.1 | 6.5 |
| 48 | 4.2 | 4.2 | 4.1 | 4.0 | 4.2 | 3.9 | 3.9 | 3.9 | 3.8 | 3.9 | 4.2 | 4.3 | 4.2 | 4.3 | 4.5 | 4.6 | 4.4 |
| 51 | 3.5 | 3.5 | 3.4 | 3.2 | 3.3 | 3.2 | 3.2 | 3.3 | 3.2 | 3.3 | 3.4 | 3.4 | 3.4 | 3.5 | 3.7 | 3.8 | 3.8 |
| 54 | 3.3 | 3.2 | 3.1 | 3.0 | 3.0 | 3.0 | 3.0 | 3.1 | 3.0 | 3.1 | 3.2 | 3.2 | 3.3 | 3.3 | 3.4 | 3.5 | 3.5 |
| 57 | 3.2 | 3.1 | 3.0 | 3.0 | 3.0 | 3.0 | 3.0 | 3.0 | 3.0 | 3.1 | 3.1 | 3.1 | 3.2 | 3.2 | 3.3 | 3.3 | 3.4 |
| 60 | 3.1 | 3.1 | 3.0 | 2.9 | 2.9 | 2.9 | 2.9 | 2.9 | 3.0 | 3.0 | 3.0 | 3.0 | 3.1 | 3.1 | 3.2 | 3.2 | 3.3 |
| 63 | 2.9 | 2.9 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.9 | 2.9 | 2.9 | 3.0 | 3.0 | 3.0 | 3.1 |
| 66 | 2.8 | 2.7 | 2.7 | 1.7 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.7 | 2.7 | 2.7 | 2.8 | 2.8 | 2.8 | 2.9 |
| 69 | 2.6 | 2.5 | 2.5 | 2.4 | 2.4 | 2.5 | 2.4 | 2.4 | 2.4 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.6 | 2.6 | 2.7 |
| 72 | 2.4 | 2.3 | 2.3 | 2.2 | 2.3 | 2.3 | 2.2 | 2.3 | 2.2 | 2.3 | 2.3 | 2.2 | 2.3 | 2.3 | 2.3 | 2.3 | 2.4 |
| 75 | 2.2 | 2.1 | 2.1 | 2.0 | 2.0 | 2.1 | 2.0 | 2.0 | 2.0 | 2.0 | 2.0 | 2.0 | 2.0 | 2.0 | 2.0 | 2.0 | 2.2 |
| 78 | 1.9 | 1.8 | 1.7 | 1.3 | 1.8 | 1.8 | 1.8 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.3 | 1.8 |
| 81 | 1.6 | 1.5 | 1.5 | 1.4 | 1.5 | 1.5 | 1.4 | 1.4 | 1.2 | 1.4 | 1.1 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.5 |
| 84 | 1.3 | 1.2 | 1.2 | 1.2 | 1.3 | 0.6 | 1.2 | 0.9 | 1.0 | 0.9 | 1.2 | 1.2 | 0.6 | 1.1 | 1.1 | 0.8 | 1.2 |
| 87 | 1.0 | 1.0 | 1.1 | 0.3 | 1.1 | 0.5 | 0.8 | 0.7 | 1.1 | 0.7 | 0.8 | 0.5 | 1.0 | 0.9 | 0.5 | 0.5 | 0.6 |
| 90 | 0.7 | 0.0 | 0.5 | 0.0 | 0.0 | 0.5 | 0.3 | 0.0 | 0.3 | 0.0 | 0.0 | 0.0 | 0.4 | 0.0 | 0.4 | 0.3 | 0.0 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

15-02-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP