| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13068 | Report Date: 15-02-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: GOYA 365 NICKEL | Serial Number: 0528 |
| Lamp Type: T5 |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 244.6 | Current (mA)= 62 |
| Power (Watts)= 8.22 | Power factor= 0.537 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 12-02-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: 0528 GOYA 365 NICKEL |  |  |
| Instrument Used: Labsphere model CSLMS HALOGEN 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 2 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 289.9 |  |  |
| CIE 1931 Chromaticity Cx: 0.3859 |  | CIE 1931 Chromaticity Cy: 0.3901 |
| CRI (%):84.47 |  | CCT (K): 3951 |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 12-02-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0528 GOYA 365 NICKEL |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1200N-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 1.5 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):75 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-90° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):289.9 | Peak Intensity (3° Spot, candelas): 96.6 |  | Efficacy (lumens/Watt): 35.3 |
| Beam Angle (50% of max intensity C0-180, degrees): 116.4 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0528 GOYA 365 NICKEL |  |  |  |
| IES File – Absolute or Relative Format? RELATIVE |  |  |  |
| Photometric Filename (EULUMDAT): 0528 GOYA 365 NICKEL |  |  |  |
| EULUMDAT File – Absolute or Relative Format? RELATIVE |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 |
| 3 | 88.5 | 88.9 | 89.6 | 90.0 | 89.6 | 89.1 | 88.9 | 88.7 | 88.8 | 89.2 | 90.0 | 90.1 | 90.8 | 91.3 | 92.7 | 93.4 | 92.9 | 91.4 | 89.6 |
| 6 | 89.1 | 89.8 | 89.4 | 89.4 | 89.9 | 88.9 | 90.0 | 91.0 | 89.9 | 89.8 | 91.7 | 92.4 | 91.4 | 90.6 | 89.7 | 88.9 | 89.6 | 88.8 | 88.4 |
| 9 | 89.3 | 87.5 | 90.2 | 91.2 | 89.8 | 90.2 | 91.1 | 91.9 | 91.5 | 90.9 | 90.6 | 90.7 | 91.7 | 92.9 | 92.6 | 89.4 | 89.4 | 89.2 | 88.3 |
| 12 | 89.5 | 87.4 | 89.3 | 90.2 | 90.5 | 91.9 | 91.5 | 92.2 | 90.9 | 92.8 | 92.7 | 92.7 | 91.6 | 91.7 | 92.3 | 88.5 | 88.3 | 89.1 | 86.0 |
| 15 | 88.5 | 86.5 | 89.8 | 88.3 | 91.3 | 89.9 | 93.0 | 93.1 | 91.9 | 91.7 | 94.0 | 92.4 | 93.1 | 91.0 | 89.4 | 89.9 | 87.2 | 89.3 | 87.1 |
| 18 | 84.1 | 84.3 | 86.2 | 86.7 | 88.0 | 92.3 | 91.8 | 94.6 | 93.9 | 95.9 | 93.8 | 93.9 | 93.8 | 91.2 | 88.9 | 91.1 | 84.1 | 89.1 | 83.9 |
| 21 | 82.9 | 84.3 | 85.7 | 87.5 | 89.5 | 91.5 | 91.8 | 96.6 | 93.2 | 95.2 | 94.6 | 94.8 | 92.9 | 92.8 | 87.8 | 88.9 | 83.9 | 86.3 | 82.7 |
| 24 | 81.8 | 79.8 | 84.3 | 83.4 | 87.4 | 91.2 | 91.5 | 94.8 | 96.0 | 96.0 | 96.6 | 94.8 | 95.4 | 91.5 | 88.7 | 87.4 | 82.4 | 84.0 | 81.9 |
| 27 | 77.8 | 79.5 | 81.5 | 86.1 | 86.2 | 89.7 | 94.9 | 95.0 | 96.5 | 93.7 | 95.7 | 94.1 | 94.0 | 91.7 | 88.4 | 86.5 | 79.8 | 81.8 | 78.9 |
| 30 | 76.3 | 77.7 | 80.2 | 82.8 | 86.7 | 90.0 | 90.1 | 91.9 | 93.8 | 95.5 | 95.3 | 93.5 | 92.7 | 90.0 | 88.5 | 82.6 | 79.3 | 80.0 | 76.2 |
| 33 | 71.5 | 73.8 | 76.0 | 81.7 | 83.5 | 86.4 | 90.5 | 92.2 | 92.8 | 90.2 | 91.0 | 91.7 | 89.4 | 89.0 | 87.6 | 81.0 | 73.8 | 76.0 | 73.5 |
| 36 | 68.0 | 70.9 | 73.0 | 79.0 | 84.1 | 86.2 | 88.0 | 89.4 | 88.6 | 88.0 | 88.1 | 87.9 | 87.0 | 86.1 | 84.6 | 79.1 | 73.9 | 75.3 | 70.9 |
| 39 | 65.3 | 66.8 | 69.8 | 76.2 | 81.3 | 82.0 | 83.6 | 84.8 | 86.0 | 84.3 | 86.7 | 84.6 | 85.2 | 85.0 | 80.4 | 75.1 | 71.9 | 70.6 | 67.1 |
| 42 | 61.0 | 65.2 | 67.1 | 71.7 | 78.0 | 80.0 | 83.0 | 83.9 | 81.5 | 82.2 | 83.6 | 82.4 | 83.2 | 79.5 | 76.0 | 71.0 | 71.2 | 68.4 | 64.7 |
| 45 | 56.0 | 60.2 | 64.3 | 72.2 | 74.4 | 77.0 | 76.6 | 76.9 | 79.8 | 78.4 | 77.3 | 79.5 | 78.3 | 78.2 | 71.4 | 69.5 | 68.1 | 63.4 | 60.9 |
| 48 | 53.3 | 58.8 | 62.6 | 66.5 | 68.5 | 69.5 | 71.0 | 74.5 | 72.7 | 71.8 | 73.7 | 73.8 | 73.4 | 69.8 | 67.6 | 64.6 | 64.7 | 60.3 | 57.4 |
| 51 | 49.7 | 53.5 | 59.5 | 61.1 | 63.6 | 65.2 | 66.9 | 66.9 | 65.3 | 65.5 | 67.5 | 65.9 | 66.6 | 65.3 | 63.6 | 61.1 | 62.6 | 56.4 | 53.9 |
| 54 | 45.8 | 50.6 | 53.5 | 57.5 | 61.5 | 63.5 | 62.2 | 60.5 | 59.6 | 59.3 | 60.5 | 60.1 | 61.2 | 58.8 | 57.7 | 59.2 | 57.2 | 54.6 | 49.9 |
| 57 | 41.5 | 44.1 | 48.5 | 52.5 | 54.9 | 55.7 | 56.0 | 52.5 | 53.6 | 52.3 | 53.4 | 56.0 | 54.8 | 51.5 | 53.1 | 55.8 | 53.0 | 48.6 | 45.5 |
| 60 | 37.6 | 42.6 | 48.4 | 49.6 | 50.4 | 47.5 | 47.7 | 47.2 | 46.2 | 44.8 | 46.3 | 47.4 | 46.7 | 46.1 | 50.1 | 50.0 | 49.4 | 44.3 | 42.5 |
| 63 | 32.8 | 36.2 | 41.5 | 42.3 | 42.8 | 41.1 | 40.5 | 39.0 | 38.1 | 39.3 | 39.4 | 39.4 | 40.5 | 40.8 | 43.6 | 44.1 | 42.9 | 38.3 | 36.5 |
| 66 | 27.8 | 32.4 | 35.3 | 36.4 | 36.3 | 34.7 | 34.1 | 33.6 | 32.5 | 32.3 | 31.8 | 33.4 | 32.5 | 35.5 | 37.7 | 38.7 | 38.4 | 36.6 | 32.5 |
| 69 | 23.8 | 27.9 | 29.4 | 31.6 | 29.4 | 28.2 | 28.2 | 26.3 | 25.2 | 25.8 | 25.6 | 26.0 | 26.7 | 30.2 | 29.9 | 30.7 | 30.7 | 31.0 | 27.9 |
| 72 | 18.8 | 22.7 | 24.7 | 25.8 | 23.9 | 21.5 | 20.8 | 19.6 | 19.7 | 19.5 | 19.6 | 19.5 | 20.8 | 22.5 | 24.4 | 26.0 | 26.5 | 24.0 | 21.8 |
| 75 | 13.9 | 18.1 | 19.9 | 19.8 | 18.0 | 14.7 | 15.4 | 13.6 | 13.3 | 13.4 | 13.3 | 14.4 | 15.8 | 16.6 | 18.1 | 19.3 | 19.2 | 19.6 | 14.7 |
| 78 | 8.7 | 13.0 | 13.8 | 12.6 | 11.8 | 10.4 | 9.5 | 9.1 | 8.9 | 9.6 | 9.5 | 9.6 | 10.1 | 10.3 | 11.2 | 13.0 | 14.0 | 14.2 | 10.2 |
| 81 | 4.9 | 7.9 | 8.3 | 7.9 | 6.8 | 6.4 | 6.0 | 5.4 | 5.3 | 6.0 | 6.1 | 6.0 | 6.0 | 6.4 | 7.1 | 7.7 | 8.5 | 8.9 | 6.3 |
| 84 | 2.4 | 4.0 | 4.1 | 4.2 | 3.9 | 4.3 | 3.6 | 2.8 | 2.9 | 3.2 | 3.3 | 3.0 | 3.7 | 3.5 | 3.7 | 3.9 | 4.4 | 4.4 | 2.8 |
| 87 | 0.5 | 0.9 | 1.4 | 1.5 | 1.8 | 1.2 | 0.8 | 0.8 | 1.2 | 0.8 | 0.8 | 1.1 | 0.8 | 1.8 | 1.6 | 1.7 | 1.6 | 1.3 | 0.7 |
| 90 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 0.0 | 0.0 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 12 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 | 92.6 |
| 3 | 88.7 | 88.8 | 89.4 | 89.8 | 90.2 | 90.0 | 89.2 | 88.4 | 87.8 | 88.2 | 88.8 | 90.0 | 90.5 | 90.3 | 89.7 | 89.1 | 88.6 |
| 6 | 89.2 | 89.4 | 88.5 | 89.2 | 90.4 | 89.3 | 88.7 | 88.9 | 89.8 | 88.2 | 87.5 | 88.2 | 89.7 | 90.3 | 88.4 | 88.8 | 89.0 |
| 9 | 91.3 | 88.9 | 88.5 | 89.8 | 88.7 | 88.4 | 87.9 | 88.6 | 88.6 | 89.2 | 89.2 | 90.4 | 88.6 | 86.9 | 89.0 | 89.0 | 88.0 |
| 12 | 87.3 | 87.0 | 89.4 | 88.5 | 89.8 | 90.1 | 88.4 | 89.0 | 91.9 | 88.4 | 88.9 | 88.6 | 88.3 | 88.3 | 88.2 | 88.2 | 85.4 |
| 15 | 88.8 | 85.0 | 87.6 | 85.8 | 90.1 | 86.9 | 91.2 | 90.8 | 89.4 | 90.1 | 90.6 | 88.9 | 86.4 | 86.5 | 86.0 | 86.5 | 86.9 |
| 18 | 85.7 | 85.7 | 86.0 | 87.0 | 87.7 | 87.8 | 90.9 | 88.9 | 92.4 | 89.2 | 91.0 | 89.3 | 87.5 | 86.7 | 86.2 | 85.4 | 85.9 |
| 21 | 82.7 | 84.0 | 83.3 | 87.2 | 86.5 | 88.5 | 89.4 | 90.7 | 91.3 | 91.5 | 89.1 | 90.2 | 86.6 | 86.6 | 85.1 | 83.6 | 83.5 |
| 24 | 80.2 | 84.6 | 80.9 | 85.8 | 88.2 | 89.6 | 87.5 | 91.5 | 92.1 | 89.9 | 89.8 | 88.8 | 86.6 | 83.8 | 83.3 | 80.9 | 79.9 |
| 27 | 75.8 | 80.5 | 80.4 | 82.5 | 88.1 | 87.5 | 91.7 | 91.0 | 92.5 | 91.2 | 91.9 | 89.1 | 88.2 | 84.6 | 83.3 | 78.0 | 79.4 |
| 30 | 75.1 | 79.3 | 79.9 | 80.0 | 86.0 | 89.5 | 91.2 | 91.7 | 91.7 | 93.7 | 91.8 | 86.8 | 86.3 | 82.4 | 77.9 | 78.3 | 75.0 |
| 33 | 71.0 | 75.5 | 77.7 | 78.3 | 85.8 | 87.2 | 90.8 | 89.9 | 91.8 | 91.7 | 89.3 | 87.8 | 85.5 | 82.3 | 78.1 | 74.8 | 73.5 |
| 36 | 65.6 | 73.1 | 77.6 | 78.2 | 83.3 | 86.1 | 90.2 | 91.2 | 92.3 | 90.0 | 86.9 | 86.7 | 83.4 | 79.2 | 77.1 | 72.5 | 68.3 |
| 39 | 64.9 | 67.2 | 74.0 | 78.8 | 81.1 | 82.9 | 87.6 | 90.1 | 88.1 | 89.7 | 88.1 | 84.8 | 80.3 | 78.8 | 71.7 | 67.2 | 67.4 |
| 42 | 60.8 | 65.3 | 72.0 | 77.2 | 78.1 | 82.2 | 85.7 | 86.5 | 87.9 | 87.3 | 86.3 | 83.7 | 80.6 | 76.2 | 71.7 | 66.1 | 62.3 |
| 45 | 57.5 | 61.4 | 69.2 | 75.2 | 77.4 | 80.7 | 81.3 | 83.2 | 84.3 | 83.6 | 82.1 | 81.2 | 76.5 | 71.8 | 68.3 | 62.8 | 60.5 |
| 48 | 54.6 | 58.3 | 65.2 | 72.5 | 76.2 | 76.2 | 77.2 | 78.5 | 77.2 | 78.7 | 77.2 | 75.6 | 75.2 | 70.1 | 65.1 | 58.7 | 53.8 |
| 51 | 52.0 | 55.5 | 62.1 | 68.4 | 73.4 | 72.4 | 73.2 | 73.9 | 72.9 | 72.4 | 72.1 | 72.7 | 70.5 | 69.1 | 63.3 | 55.8 | 50.4 |
| 54 | 48.0 | 52.3 | 58.2 | 63.9 | 69.0 | 66.5 | 64.7 | 65.6 | 64.5 | 65.8 | 65.7 | 65.7 | 65.9 | 62.7 | 58.8 | 52.8 | 48.2 |
| 57 | 44.6 | 48.0 | 53.3 | 61.3 | 61.9 | 61.9 | 62.4 | 59.4 | 60.2 | 59.3 | 62.1 | 58.3 | 58.9 | 58.9 | 56.4 | 50.1 | 44.4 |
| 60 | 40.5 | 43.1 | 50.0 | 53.0 | 53.1 | 54.7 | 54.1 | 52.7 | 52.4 | 53.2 | 52.2 | 54.9 | 52.5 | 53.9 | 51.8 | 44.9 | 38.8 |
| 63 | 36.0 | 39.5 | 44.8 | 49.0 | 48.6 | 47.4 | 46.8 | 46.3 | 46.1 | 46.0 | 45.4 | 45.9 | 46.7 | 47.0 | 44.9 | 41.5 | 34.7 |
| 66 | 31.9 | 34.1 | 39.1 | 41.9 | 41.6 | 40.4 | 40.4 | 38.4 | 38.7 | 38.9 | 38.8 | 40.3 | 40.5 | 39.6 | 40.3 | 37.9 | 31.2 |
| 69 | 28.4 | 29.6 | 33.1 | 34.1 | 34.0 | 32.8 | 32.2 | 33.2 | 30.4 | 31.9 | 32.4 | 34.4 | 33.8 | 36.2 | 35.7 | 30.7 | 27.0 |
| 72 | 22.9 | 25.8 | 28.3 | 27.4 | 27.0 | 25.8 | 24.7 | 26.2 | 25.6 | 24.7 | 24.5 | 26.5 | 27.1 | 27.3 | 27.3 | 26.2 | 22.8 |
| 75 | 19.5 | 22.4 | 22.7 | 21.6 | 19.5 | 19.2 | 18.8 | 18.4 | 18.6 | 18.7 | 17.7 | 18.8 | 19.9 | 19.7 | 21.5 | 21.2 | 19.4 |
| 78 | 14.6 | 16.5 | 15.6 | 15.1 | 13.8 | 12.8 | 12.6 | 12.3 | 11.7 | 12.6 | 13.3 | 13.3 | 13.7 | 15.0 | 14.3 | 17.0 | 14.3 |
| 81 | 9.3 | 10.7 | 10.1 | 8.9 | 8.2 | 7.3 | 7.7 | 7.9 | 7.3 | 7.5 | 7.4 | 8.5 | 8.1 | 8.9 | 10.3 | 9.7 | 9.5 |
| 84 | 4.8 | 5.4 | 5.0 | 4.6 | 4.5 | 3.9 | 4.5 | 4.2 | 4.1 | 4.3 | 4.2 | 4.6 | 4.9 | 5.2 | 5.2 | 5.5 | 4.8 |
| 87 | 1.7 | 1.9 | 1.8 | 1.4 | 2.5 | 2.0 | 1.2 | 1.6 | 2.0 | 2.0 | 1.7 | 2.1 | 2.1 | 1.6 | 2.1 | 2.0 | 2.1 |
| 90 | 0.4 | 0.0 | 0.4 | 0.2 | 0.5 | 0.0 | 0.0 | 0.0 | 0.2 | 0.2 | 0.0 | 0.0 | 0.0 | 0.3 | 0.0 | 0.0 | 0.0 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

15-02-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP