| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13069 | Report Date: 18-02-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: GOYA 590 NICKEL | Serial Number: 0529 |
| Lamp Type: T5 |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 244.8 | Current (mA)= 102.3 |
| Power (Watts)= 13.52 | Power factor= 0.539 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 12-02-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: 0529 GOYA 590 NICKEL |  |  |
| Instrument Used: Labsphere model CSLMS HALOGEN 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 2 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 513.5 |  |  |
| CIE 1931 Chromaticity Cx: 0.3876 |  | CIE 1931 Chromaticity Cy: 0.3882 |
| CRI (%):84.94 |  | CCT (K): 3894 |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 12-02-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0529 GOYA 590 NICKEL |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1200N-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 1.5 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):12 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-90° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):513.5 | Peak Intensity (3° Spot, candelas): 171.7 |  | Efficacy (lumens/Watt): 37.98 |
| Beam Angle (50% of max intensity C0-180, degrees): 110.3 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0529 GOYA 590 NICKEL |  |  |  |
| IES File – Absolute or Relative Format? RELATIVE |  |  |  |
| Photometric Filename (EULUMDAT): 0529 GOYA 590 NICKEL |  |  |  |
| EULUMDAT File – Absolute or Relative Format? RELATIVE |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 |
| 3 | 173.9 | 174.9 | 175.0 | 174.3 | 173.9 | 172.8 | 172.1 | 171.8 | 171.2 | 169.0 | 168.0 | 168.3 | 170.2 | 171.5 | 173.8 | 174.7 | 173.6 | 172.4 | 172.5 |
| 6 | 174.1 | 175.3 | 171.6 | 170.2 | 172.0 | 175.5 | 172.7 | 170.2 | 172.1 | 171.6 | 172.9 | 174.7 | 172.9 | 169.8 | 172.1 | 175.2 | 174.2 | 174.3 | 176.1 |
| 9 | 168.5 | 173.1 | 168.2 | 168.5 | 171.6 | 170.1 | 170.6 | 172.9 | 172.3 | 173.9 | 174.8 | 171.3 | 170.6 | 173.4 | 171.7 | 170.8 | 171.5 | 172.0 | 168.8 |
| 12 | 169.1 | 167.5 | 164.9 | 170.5 | 167.9 | 168.1 | 169.9 | 172.1 | 171.7 | 172.2 | 171.5 | 169.0 | 170.7 | 169.4 | 169.3 | 167.2 | 168.9 | 168.3 | 167.7 |
| 15 | 168.0 | 166.3 | 168.0 | 164.8 | 166.8 | 168.0 | 166.9 | 176.4 | 172.4 | 172.8 | 172.6 | 170.0 | 169.2 | 172.9 | 167.5 | 166.9 | 169.2 | 168.4 | 167.2 |
| 18 | 163.2 | 163.6 | 162.7 | 163.5 | 164.6 | 167.0 | 168.9 | 172.9 | 171.1 | 174.0 | 171.5 | 175.0 | 175.8 | 169.0 | 167.7 | 165.5 | 168.7 | 164.5 | 169.5 |
| 21 | 158.0 | 159.5 | 157.8 | 162.5 | 161.6 | 166.5 | 166.4 | 171.7 | 176.7 | 174.5 | 174.5 | 170.0 | 171.4 | 169.6 | 168.7 | 161.3 | 162.7 | 160.7 | 164.4 |
| 24 | 154.2 | 151.9 | 153.8 | 158.3 | 164.2 | 162.7 | 168.1 | 173.2 | 177.4 | 173.8 | 177.4 | 176.8 | 171.0 | 173.2 | 164.5 | 165.0 | 161.4 | 159.2 | 159.5 |
| 27 | 148.2 | 151.6 | 151.1 | 159.2 | 159.8 | 168.0 | 169.5 | 173.3 | 175.3 | 178.3 | 175.0 | 173.1 | 169.6 | 169.9 | 162.0 | 164.3 | 150.8 | 149.0 | 153.1 |
| 30 | 146.4 | 143.3 | 144.9 | 149.2 | 156.5 | 165.7 | 166.0 | 174.0 | 177.0 | 179.8 | 175.0 | 176.8 | 175.3 | 170.2 | 157.9 | 158.9 | 144.8 | 148.6 | 149.8 |
| 33 | 134.8 | 136.2 | 143.8 | 146.6 | 156.9 | 159.9 | 168.9 | 171.4 | 180.2 | 178.7 | 178.7 | 174.4 | 176.1 | 164.2 | 159.9 | 151.4 | 144.9 | 141.6 | 143.5 |
| 36 | 130.7 | 128.7 | 134.9 | 144.2 | 148.9 | 166.8 | 168.3 | 173.4 | 176.2 | 177.7 | 176.8 | 174.9 | 174.6 | 162.3 | 162.7 | 148.7 | 133.3 | 137.0 | 139.8 |
| 39 | 123.1 | 127.0 | 130.0 | 136.4 | 151.1 | 152.6 | 168.2 | 173.9 | 175.5 | 174.7 | 168.5 | 175.0 | 165.7 | 162.9 | 156.5 | 141.1 | 132.7 | 135.0 | 130.6 |
| 42 | 116.1 | 117.7 | 128.4 | 131.7 | 142.6 | 150.6 | 163.1 | 163.6 | 160.2 | 164.5 | 165.9 | 167.2 | 162.9 | 161.5 | 155.5 | 135.3 | 122.2 | 122.7 | 124.0 |
| 45 | 113.5 | 114.6 | 112.1 | 129.7 | 142.3 | 150.9 | 150.8 | 156.7 | 155.4 | 156.3 | 159.7 | 156.3 | 153.1 | 156.4 | 142.2 | 130.9 | 120.2 | 118.5 | 114.3 |
| 48 | 103.3 | 104.0 | 109.4 | 119.5 | 137.5 | 143.9 | 143.9 | 142.1 | 146.4 | 145.7 | 146.8 | 150.0 | 148.0 | 145.6 | 139.9 | 128.0 | 117.2 | 110.3 | 109.6 |
| 51 | 91.7 | 95.7 | 104.7 | 117.8 | 122.9 | 134.7 | 136.2 | 133.8 | 133.2 | 134.8 | 135.2 | 133.6 | 135.0 | 132.8 | 128.5 | 118.5 | 113.0 | 105.8 | 102.3 |
| 54 | 82.3 | 85.7 | 96.5 | 113.6 | 116.9 | 120.0 | 120.3 | 121.1 | 122.6 | 120.4 | 120.4 | 125.5 | 121.0 | 121.9 | 118.2 | 114.2 | 104.4 | 96.9 | 91.8 |
| 57 | 78.7 | 84.4 | 86.3 | 103.4 | 109.9 | 110.7 | 112.9 | 116.3 | 109.2 | 107.1 | 108.9 | 113.2 | 113.7 | 110.4 | 107.7 | 106.0 | 100.8 | 90.1 | 85.3 |
| 60 | 69.1 | 79.3 | 87.1 | 88.8 | 96.2 | 96.1 | 102.0 | 99.8 | 96.1 | 95.6 | 98.5 | 98.7 | 104.1 | 97.1 | 97.8 | 96.2 | 91.1 | 81.4 | 78.6 |
| 63 | 60.8 | 68.6 | 76.0 | 84.0 | 83.4 | 86.3 | 85.4 | 85.5 | 85.5 | 83.7 | 84.1 | 87.9 | 85.7 | 86.3 | 88.8 | 85.7 | 83.7 | 75.0 | 69.2 |
| 66 | 49.4 | 57.3 | 66.5 | 74.8 | 76.3 | 76.4 | 75.6 | 72.5 | 71.8 | 69.7 | 75.9 | 72.2 | 77.3 | 75.8 | 76.2 | 76.1 | 73.4 | 68.7 | 59.1 |
| 69 | 45.0 | 53.3 | 57.2 | 65.0 | 66.5 | 59.9 | 58.5 | 62.2 | 58.6 | 60.5 | 57.7 | 57.6 | 63.5 | 63.7 | 63.6 | 63.2 | 63.1 | 60.5 | 53.5 |
| 72 | 37.0 | 46.7 | 53.4 | 48.6 | 47.8 | 49.0 | 47.5 | 47.8 | 49.3 | 49.0 | 49.0 | 47.9 | 50.5 | 49.5 | 50.1 | 52.7 | 52.4 | 49.9 | 40.5 |
| 75 | 29.3 | 38.6 | 42.1 | 40.4 | 39.0 | 34.8 | 36.4 | 33.9 | 34.5 | 34.8 | 34.0 | 36.5 | 38.3 | 37.1 | 40.2 | 43.6 | 46.3 | 41.6 | 30.3 |
| 78 | 19.8 | 28.9 | 30.1 | 28.9 | 26.7 | 25.3 | 24.3 | 26.0 | 23.9 | 25.8 | 24.1 | 24.5 | 25.1 | 26.2 | 29.1 | 28.1 | 31.4 | 31.9 | 21.9 |
| 81 | 13.5 | 18.2 | 19.0 | 18.5 | 16.0 | 15.3 | 16.1 | 16.5 | 15.4 | 16.5 | 15.6 | 16.1 | 16.6 | 15.9 | 17.4 | 19.5 | 18.2 | 21.0 | 13.1 |
| 84 | 6.1 | 9.3 | 10.0 | 9.3 | 8.7 | 9.2 | 8.7 | 9.7 | 10.8 | 9.2 | 9.6 | 9.1 | 9.6 | 10.2 | 9.8 | 10.7 | 11.6 | 10.8 | 7.2 |
| 87 | 1.7 | 2.6 | 3.6 | 4.9 | 3.8 | 4.1 | 3.7 | 3.9 | 3.4 | 4.2 | 4.2 | 4.7 | 4.4 | 4.1 | 5.0 | 4.0 | 3.6 | 3.9 | 2.4 |
| 90 | 0.0 | 0.0 | 0.0 | 0.8 | 0.0 | 0.0 | 0.0 | 0.0 | 0.6 | 0.5 | 0.0 | 0.0 | 0.0 | 0.0 | 1.1 | 0.8 | 0.0 | 0.0 | 0.0 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 12 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 | 174.4 |
| 3 | 175.2 | 178.3 | 179.6 | 178.1 | 175.4 | 174.3 | 174.5 | 174.0 | 173.4 | 173.9 | 174.3 | 174.6 | 173.4 | 172.2 | 171.8 | 172.3 | 173.3 |
| 6 | 177.5 | 174.7 | 175.7 | 175.8 | 175.9 | 177.1 | 176.5 | 173.5 | 173.3 | 173.9 | 172.0 | 171.8 | 174.3 | 176.3 | 175.6 | 171.9 | 171.5 |
| 9 | 174.7 | 167.0 | 173.1 | 175.6 | 176.9 | 175.1 | 173.5 | 174.1 | 172.7 | 173.1 | 173.0 | 174.3 | 171.1 | 168.1 | 174.5 | 175.9 | 164.6 |
| 12 | 175.1 | 170.8 | 173.7 | 174.8 | 173.8 | 170.5 | 173.6 | 176.9 | 175.0 | 175.5 | 175.8 | 171.6 | 172.8 | 172.1 | 172.3 | 176.2 | 167.3 |
| 15 | 167.9 | 169.4 | 175.2 | 170.3 | 171.8 | 173.4 | 175.4 | 176.6 | 173.6 | 174.0 | 175.1 | 175.6 | 168.5 | 171.4 | 172.5 | 169.4 | 171.2 |
| 18 | 163.8 | 165.4 | 165.3 | 169.6 | 173.7 | 170.6 | 174.6 | 175.3 | 178.1 | 175.2 | 174.7 | 170.3 | 173.0 | 171.0 | 168.8 | 164.3 | 161.8 |
| 21 | 160.5 | 168.1 | 164.7 | 170.2 | 169.9 | 177.9 | 171.5 | 175.0 | 176.9 | 175.5 | 173.6 | 174.0 | 168.9 | 166.7 | 165.0 | 165.4 | 160.1 |
| 24 | 159.2 | 163.4 | 162.1 | 168.1 | 168.1 | 172.0 | 175.7 | 177.6 | 176.9 | 177.1 | 178.8 | 169.4 | 172.3 | 162.2 | 163.2 | 158.8 | 155.2 |
| 27 | 148.5 | 159.0 | 161.5 | 166.0 | 170.8 | 168.7 | 173.6 | 175.5 | 179.8 | 175.8 | 175.3 | 176.7 | 166.2 | 168.4 | 160.1 | 156.1 | 152.8 |
| 30 | 143.7 | 156.8 | 159.0 | 160.3 | 167.4 | 169.9 | 175.5 | 179.6 | 185.5 | 178.1 | 176.7 | 173.9 | 166.4 | 158.7 | 153.3 | 151.7 | 145.6 |
| 33 | 140.6 | 144.5 | 153.9 | 158.9 | 168.1 | 171.6 | 174.7 | 177.4 | 179.4 | 177.7 | 179.2 | 168.5 | 165.7 | 157.5 | 151.1 | 144.5 | 143.7 |
| 36 | 134.3 | 144.4 | 152.1 | 155.1 | 162.6 | 171.0 | 172.9 | 170.0 | 173.5 | 174.9 | 172.4 | 169.2 | 157.3 | 157.3 | 148.1 | 137.6 | 136.1 |
| 39 | 128.3 | 131.7 | 145.7 | 153.0 | 155.0 | 162.9 | 167.4 | 165.3 | 167.0 | 169.7 | 164.9 | 163.8 | 162.2 | 147.7 | 145.1 | 130.8 | 128.1 |
| 42 | 118.9 | 123.0 | 142.8 | 152.1 | 152.7 | 159.2 | 160.2 | 161.3 | 162.8 | 154.6 | 163.1 | 156.7 | 156.8 | 147.9 | 136.2 | 126.6 | 121.7 |
| 45 | 119.1 | 122.1 | 135.1 | 144.7 | 148.6 | 146.6 | 154.9 | 152.8 | 148.3 | 150.7 | 149.3 | 153.7 | 146.3 | 134.3 | 134.3 | 122.6 | 109.0 |
| 48 | 106.5 | 117.6 | 121.4 | 137.9 | 145.2 | 142.2 | 144.5 | 139.9 | 142.7 | 142.1 | 139.6 | 138.1 | 139.1 | 132.6 | 129.8 | 114.0 | 107.0 |
| 51 | 102.9 | 102.8 | 115.5 | 128.2 | 135.8 | 130.5 | 131.6 | 126.6 | 131.9 | 126.9 | 126.1 | 129.3 | 127.8 | 123.4 | 115.2 | 109.0 | 99.7 |
| 54 | 93.1 | 100.0 | 108.8 | 119.5 | 123.4 | 120.1 | 118.9 | 117.9 | 116.1 | 119.3 | 116.0 | 118.6 | 115.1 | 110.4 | 110.0 | 106.3 | 90.9 |
| 57 | 86.1 | 90.2 | 101.0 | 106.5 | 106.0 | 106.1 | 105.7 | 108.6 | 105.2 | 102.3 | 104.5 | 106.2 | 102.7 | 104.0 | 101.1 | 96.2 | 80.9 |
| 60 | 76.2 | 84.6 | 94.5 | 96.0 | 97.4 | 96.1 | 93.1 | 91.0 | 91.3 | 91.4 | 90.3 | 92.9 | 91.0 | 96.2 | 89.2 | 83.9 | 73.6 |
| 63 | 69.7 | 75.0 | 82.8 | 85.1 | 82.6 | 80.5 | 82.2 | 77.6 | 75.9 | 76.8 | 78.3 | 79.8 | 81.7 | 83.0 | 76.6 | 79.3 | 70.0 |
| 66 | 62.1 | 62.6 | 70.0 | 71.0 | 71.8 | 70.1 | 66.8 | 67.6 | 63.2 | 64.2 | 61.1 | 66.0 | 67.4 | 69.7 | 73.9 | 69.6 | 59.6 |
| 69 | 51.9 | 57.7 | 61.4 | 60.8 | 58.3 | 57.0 | 52.4 | 52.7 | 49.9 | 51.5 | 50.9 | 53.3 | 54.6 | 58.2 | 61.2 | 62.8 | 50.6 |
| 72 | 46.9 | 47.2 | 47.6 | 48.3 | 47.5 | 43.5 | 43.2 | 40.6 | 39.3 | 38.5 | 39.2 | 41.7 | 42.5 | 45.4 | 46.9 | 47.1 | 43.0 |
| 75 | 38.6 | 39.5 | 39.9 | 35.7 | 32.3 | 30.2 | 27.4 | 29.3 | 28.9 | 28.5 | 27.9 | 27.8 | 30.4 | 34.4 | 34.7 | 34.4 | 35.3 |
| 78 | 28.5 | 29.4 | 26.0 | 23.8 | 20.6 | 19.7 | 18.6 | 18.2 | 18.9 | 17.2 | 18.1 | 19.1 | 21.4 | 22.2 | 25.0 | 25.7 | 29.4 |
| 81 | 18.3 | 18.0 | 14.8 | 12.9 | 12.6 | 12.4 | 11.4 | 10.2 | 11.3 | 11.6 | 10.7 | 11.6 | 12.1 | 14.1 | 15.4 | 17.2 | 18.3 |
| 84 | 10.6 | 9.5 | 8.2 | 7.4 | 6.1 | 5.0 | 5.1 | 5.5 | 5.1 | 4.3 | 6.1 | 6.0 | 7.0 | 7.0 | 8.1 | 9.1 | 9.2 |
| 87 | 4.0 | 3.1 | 3.2 | 2.9 | 2.3 | 1.2 | 0.3 | 0.5 | 1.0 | 1.2 | 1.6 | 0.0 | 1.7 | 1.6 | 2.1 | 3.3 | 3.0 |
| 90 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

18-02-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP