| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13077 | Report Date: 04-03-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: MASHIKO CHROME | Serial Number: 0584 |
| Lamp Type: CFL |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 243.5 | Current (mA)= 212.7 |
| Power (Watts)= 28.62 | Power factor= 0.5529 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 01-02-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: |  |  |
| Instrument Used: Labsphere model CSLMS HALOGEN 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 2 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 897.6 |  | Rated lamp flux (lumens): 950.5*2 |
| CIE 1931 Chromaticity Cx: 0.4527 |  | CIE 1931 Chromaticity Cy: 0.4277 |
| CRI (%):81.53 |  | CCT (K): 2942 |
| LOR (%): 47.0 |  |  |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 01-02-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1200N-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 3 m |  | Measurement Geometry: Near-Field |  |
| Comments: 0584 MASHIKO CHROME |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):10 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):897.6 | Peak Intensity (3° Spot, candelas): 207.5 |  | Efficacy (lumens/Watt): 31.36 |
| Beam Angle (50% of max intensity C0-180, degrees): 129.4 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0584 MASHIKO CHROME |  |  |  |
| IES File – Absolute or Relative Format? Relative |  |  |  |
| Photometric Filename (EULUMDAT): 0584 MASHIKO CHROME |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Relative |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 |
| 3 | 204.7 | 203.8 | 203.5 | 203.6 | 203.0 | 201.6 | 200.9 | 200.9 | 201.0 | 200.8 | 200.1 | 199.8 | 200.2 | 201.3 | 202.6 | 203.3 | 200.7 | 200.6 | 200.2 |
| 6 | 200.8 | 201.1 | 202.6 | 201.2 | 197.8 | 196.8 | 201.3 | 204.8 | 203.3 | 201.4 | 201.1 | 201.1 | 198.0 | 198.7 | 200.9 | 201.3 | 198.4 | 200.7 | 199.9 |
| 9 | 200.0 | 199.4 | 200.9 | 199.7 | 201.5 | 205.9 | 204.0 | 202.6 | 202.2 | 202.1 | 202.2 | 195.9 | 198.6 | 201.4 | 202.8 | 200.6 | 200.9 | 198.6 | 197.4 |
| 12 | 200.1 | 200.2 | 198.0 | 194.6 | 198.2 | 196.3 | 201.9 | 195.4 | 197.9 | 197.9 | 195.9 | 196.4 | 192.6 | 201.7 | 197.5 | 197.1 | 204.1 | 202.7 | 203.7 |
| 15 | 194.4 | 202.0 | 198.2 | 200.7 | 199.2 | 196.6 | 197.4 | 195.6 | 195.6 | 199.4 | 194.9 | 197.4 | 195.8 | 197.0 | 199.0 | 199.1 | 200.4 | 196.6 | 198.6 |
| 18 | 193.8 | 197.9 | 191.7 | 196.4 | 196.3 | 195.5 | 193.0 | 193.3 | 192.2 | 194.7 | 200.8 | 197.0 | 198.5 | 193.5 | 197.9 | 197.7 | 200.2 | 193.7 | 195.3 |
| 21 | 188.4 | 193.3 | 197.6 | 192.4 | 192.7 | 192.6 | 193.8 | 192.2 | 187.0 | 190.9 | 183.7 | 187.2 | 196.5 | 192.1 | 198.3 | 190.8 | 194.1 | 196.0 | 194.5 |
| 24 | 186.8 | 188.7 | 190.5 | 188.0 | 188.9 | 188.3 | 189.6 | 184.8 | 186.8 | 182.8 | 184.3 | 188.0 | 189.3 | 194.6 | 192.7 | 190.1 | 193.6 | 191.3 | 187.5 |
| 27 | 184.4 | 186.2 | 184.3 | 185.8 | 187.2 | 182.3 | 182.5 | 183.6 | 183.8 | 178.9 | 184.0 | 187.5 | 186.0 | 187.1 | 187.3 | 182.3 | 190.1 | 188.2 | 185.4 |
| 30 | 181.7 | 182.7 | 181.9 | 178.4 | 184.4 | 183.6 | 181.0 | 180.5 | 177.8 | 177.8 | 179.3 | 183.8 | 184.4 | 182.7 | 179.4 | 183.5 | 186.1 | 181.8 | 183.3 |
| 33 | 175.4 | 174.5 | 182.1 | 174.9 | 179.7 | 177.6 | 178.0 | 178.9 | 172.9 | 176.8 | 177.2 | 180.8 | 178.9 | 181.9 | 180.2 | 179.2 | 179.6 | 177.2 | 175.7 |
| 36 | 172.3 | 172.0 | 175.7 | 170.1 | 173.7 | 175.0 | 174.1 | 171.6 | 169.2 | 169.1 | 167.8 | 168.0 | 177.1 | 172.7 | 175.1 | 173.8 | 179.3 | 171.5 | 171.4 |
| 39 | 164.9 | 166.2 | 163.9 | 166.3 | 168.3 | 162.7 | 164.5 | 164.3 | 163.9 | 163.5 | 161.9 | 164.4 | 171.2 | 168.7 | 167.6 | 168.0 | 171.1 | 165.3 | 168.5 |
| 42 | 160.7 | 161.7 | 161.8 | 159.3 | 158.0 | 163.0 | 162.9 | 159.7 | 155.1 | 153.2 | 157.4 | 163.3 | 162.3 | 161.5 | 161.1 | 165.4 | 161.1 | 157.0 | 164.0 |
| 45 | 158.2 | 154.2 | 153.0 | 160.3 | 158.9 | 156.2 | 151.4 | 152.9 | 151.1 | 150.4 | 156.0 | 151.6 | 154.2 | 157.4 | 157.0 | 152.0 | 157.3 | 151.3 | 159.7 |
| 48 | 145.7 | 144.2 | 148.0 | 152.8 | 147.2 | 142.8 | 146.9 | 146.3 | 144.3 | 144.0 | 148.2 | 145.7 | 151.5 | 149.3 | 152.9 | 145.6 | 146.5 | 141.3 | 149.0 |
| 51 | 138.7 | 138.8 | 140.2 | 140.6 | 145.3 | 139.8 | 140.8 | 137.1 | 134.4 | 137.6 | 138.9 | 139.7 | 144.6 | 141.3 | 143.7 | 140.5 | 139.2 | 138.4 | 140.9 |
| 54 | 130.8 | 133.7 | 131.4 | 131.1 | 132.6 | 134.4 | 134.8 | 128.8 | 128.7 | 129.0 | 131.0 | 129.0 | 135.7 | 136.7 | 134.2 | 136.0 | 133.4 | 131.6 | 133.1 |
| 57 | 125.4 | 124.0 | 125.7 | 126.1 | 127.5 | 129.0 | 123.4 | 125.1 | 119.4 | 123.9 | 124.5 | 122.3 | 125.0 | 131.4 | 132.2 | 122.2 | 126.0 | 125.8 | 123.8 |
| 60 | 114.7 | 118.4 | 119.3 | 122.6 | 121.6 | 122.3 | 119.3 | 116.6 | 113.5 | 113.5 | 114.9 | 118.6 | 118.3 | 122.7 | 120.1 | 117.3 | 119.0 | 117.0 | 119.8 |
| 63 | 107.5 | 111.5 | 109.5 | 108.8 | 109.1 | 108.7 | 110.5 | 107.6 | 102.3 | 104.1 | 109.9 | 110.0 | 111.5 | 111.8 | 109.9 | 110.2 | 107.3 | 109.3 | 108.3 |
| 66 | 96.7 | 100.0 | 102.4 | 102.3 | 103.6 | 104.0 | 104.6 | 99.7 | 96.4 | 98.7 | 98.7 | 101.9 | 104.4 | 99.0 | 107.6 | 100.2 | 101.5 | 100.0 | 100.0 |
| 69 | 87.0 | 88.6 | 94.0 | 90.7 | 90.8 | 92.0 | 92.5 | 87.9 | 88.2 | 90.3 | 92.3 | 91.6 | 94.8 | 94.7 | 95.9 | 89.8 | 94.7 | 88.5 | 93.2 |
| 72 | 81.0 | 82.0 | 86.3 | 83.6 | 81.3 | 85.8 | 83.8 | 86.5 | 82.5 | 84.7 | 83.4 | 85.9 | 87.5 | 88.3 | 87.4 | 84.1 | 84.6 | 83.8 | 84.8 |
| 75 | 73.7 | 71.2 | 74.2 | 74.7 | 73.3 | 74.3 | 76.6 | 74.1 | 72.5 | 72.8 | 75.2 | 75.2 | 76.2 | 78.3 | 79.1 | 75.1 | 76.1 | 70.6 | 73.2 |
| 78 | 61.8 | 63.3 | 65.4 | 68.0 | 69.0 | 66.1 | 65.6 | 64.8 | 66.1 | 61.9 | 65.2 | 66.0 | 69.2 | 66.5 | 69.0 | 70.5 | 66.4 | 64.4 | 64.2 |
| 81 | 52.4 | 54.0 | 55.4 | 57.8 | 60.7 | 57.9 | 56.5 | 58.7 | 56.4 | 55.2 | 58.1 | 59.3 | 57.3 | 59.5 | 58.0 | 61.6 | 58.3 | 55.6 | 55.0 |
| 84 | 46.7 | 48.3 | 46.2 | 49.1 | 49.5 | 49.7 | 49.8 | 49.2 | 46.4 | 48.0 | 47.1 | 48.2 | 49.1 | 51.1 | 48.8 | 48.1 | 47.5 | 47.8 | 46.5 |
| 87 | 34.3 | 34.8 | 38.3 | 41.4 | 41.5 | 41.0 | 42.0 | 38.9 | 37.5 | 40.0 | 37.8 | 40.5 | 42.6 | 41.1 | 41.8 | 40.8 | 39.3 | 37.2 | 37.9 |
| 90 | 26.2 | 30.2 | 32.5 | 30.7 | 33.5 | 34.9 | 33.9 | 34.2 | 31.2 | 31.6 | 29.5 | 31.9 | 33.8 | 34.3 | 36.4 | 31.2 | 29.4 | 31.1 | 33.0 |
| 93 | 25.0 | 24.8 | 27.8 | 29.5 | 30.2 | 30.5 | 30.6 | 29.3 | 26.2 | 24.5 | 25.1 | 29.0 | 30.5 | 31.9 | 30.0 | 29.7 | 28.0 | 25.0 | 24.9 |
| 96 | 24.1 | 24.1 | 27.9 | 29.7 | 30.8 | 30.2 | 30.8 | 28.6 | 25.9 | 24.8 | 25.4 | 27.1 | 30.1 | 31.6 | 30.5 | 28.2 | 27.8 | 24.7 | 24.8 |
| 99 | 23.6 | 24.3 | 27.1 | 28.5 | 29.9 | 30.4 | 29.4 | 28.3 | 25.7 | 24.6 | 24.7 | 28.1 | 30.3 | 31.2 | 30.1 | 28.6 | 27.6 | 25.0 | 24.2 |
| 102 | 23.4 | 23.6 | 26.4 | 28.7 | 29.7 | 30.1 | 28.2 | 27.5 | 25.6 | 23.6 | 25.2 | 27.1 | 28.8 | 30.2 | 28.9 | 28.0 | 26.6 | 24.5 | 24.8 |
| 105 | 22.0 | 23.6 | 25.6 | 28.1 | 29.6 | 29.2 | 29.4 | 26.8 | 24.7 | 22.3 | 24.5 | 26.6 | 28.7 | 29.6 | 29.2 | 27.8 | 26.1 | 23.6 | 23.8 |
| 108 | 21.9 | 24.6 | 26.3 | 27.9 | 28.8 | 29.5 | 28.7 | 26.7 | 24.6 | 22.7 | 24.9 | 27.0 | 28.9 | 29.2 | 28.2 | 28.2 | 25.7 | 22.8 | 23.2 |
| 111 | 20.7 | 23.6 | 25.6 | 27.1 | 27.9 | 28.2 | 27.3 | 25.1 | 24.0 | 22.8 | 24.3 | 25.7 | 27.8 | 28.0 | 27.3 | 27.0 | 24.7 | 23.2 | 22.9 |
| 114 | 21.5 | 23.0 | 24.4 | 26.3 | 27.6 | 27.0 | 26.6 | 24.8 | 23.7 | 22.5 | 22.8 | 25.6 | 27.3 | 28.1 | 27.3 | 25.9 | 24.4 | 23.0 | 23.5 |
| 117 | 21.2 | 22.2 | 23.9 | 26.0 | 27.2 | 27.5 | 26.3 | 23.3 | 22.4 | 21.9 | 22.6 | 24.3 | 25.5 | 27.0 | 27.1 | 25.5 | 23.0 | 21.6 | 22.1 |
| 120 | 19.8 | 21.1 | 22.7 | 25.5 | 26.5 | 26.6 | 25.6 | 24.5 | 22.4 | 20.9 | 22.4 | 23.2 | 25.3 | 27.1 | 26.0 | 25.2 | 22.2 | 21.0 | 21.4 |
| 123 | 19.0 | 20.6 | 23.3 | 24.3 | 24.6 | 24.6 | 25.1 | 23.8 | 20.9 | 20.9 | 22.0 | 23.4 | 23.4 | 25.4 | 25.2 | 24.4 | 22.1 | 20.3 | 20.1 |
| 126 | 18.0 | 19.5 | 21.9 | 22.6 | 23.5 | 24.0 | 23.4 | 22.4 | 20.5 | 19.8 | 20.6 | 21.9 | 23.1 | 23.9 | 24.8 | 24.2 | 21.6 | 18.4 | 19.4 |
| 129 | 17.9 | 18.8 | 20.2 | 22.8 | 24.2 | 24.2 | 23.1 | 21.7 | 19.5 | 19.3 | 19.7 | 21.3 | 21.4 | 23.2 | 24.5 | 22.6 | 20.6 | 18.0 | 18.9 |
| 132 | 17.1 | 18.5 | 20.2 | 21.6 | 23.1 | 21.9 | 20.8 | 19.9 | 19.1 | 17.4 | 18.9 | 20.9 | 21.0 | 22.6 | 23.0 | 21.7 | 19.6 | 17.9 | 17.9 |
| 135 | 16.3 | 18.2 | 19.0 | 20.1 | 21.1 | 21.7 | 21.0 | 19.9 | 18.5 | 16.4 | 19.0 | 19.1 | 20.2 | 20.6 | 21.3 | 21.3 | 19.5 | 16.8 | 16.5 |
| 138 | 15.8 | 17.0 | 18.1 | 20.0 | 20.2 | 19.3 | 19.4 | 18.8 | 17.6 | 16.5 | 17.0 | 18.4 | 19.7 | 19.3 | 20.0 | 19.7 | 18.2 | 17.2 | 16.2 |
| 141 | 15.0 | 16.5 | 16.7 | 17.9 | 19.4 | 19.6 | 18.9 | 16.8 | 16.9 | 15.8 | 16.0 | 17.4 | 18.4 | 18.5 | 18.6 | 18.8 | 17.2 | 16.0 | 15.5 |
| 144 | 14.0 | 14.7 | 17.1 | 16.9 | 17.0 | 17.6 | 17.6 | 16.4 | 14.9 | 14.5 | 15.4 | 16.7 | 17.6 | 17.1 | 17.2 | 16.9 | 16.2 | 14.3 | 13.6 |
| 147 | 12.7 | 13.3 | 14.9 | 16.3 | 17.2 | 16.8 | 16.3 | 15.1 | 14.0 | 13.5 | 14.5 | 15.4 | 15.8 | 16.1 | 15.7 | 15.4 | 14.9 | 13.2 | 13.5 |
| 150 | 11.8 | 12.6 | 14.0 | 14.4 | 15.4 | 15.1 | 15.2 | 13.9 | 13.9 | 12.6 | 13.1 | 14.3 | 14.7 | 14.8 | 14.3 | 14.3 | 14.0 | 12.3 | 12.1 |
| 153 | 11.0 | 11.9 | 13.3 | 13.4 | 13.7 | 14.3 | 13.8 | 13.6 | 12.3 | 11.8 | 12.3 | 12.6 | 13.4 | 13.9 | 13.4 | 13.6 | 12.2 | 11.5 | 11.3 |
| 156 | 10.0 | 10.4 | 11.5 | 12.6 | 12.7 | 12.5 | 12.9 | 11.8 | 11.5 | 11.1 | 10.7 | 11.6 | 11.7 | 12.4 | 12.2 | 11.7 | 11.1 | 9.6 | 9.7 |
| 159 | 9.5 | 9.9 | 10.2 | 11.3 | 10.9 | 11.3 | 11.0 | 11.1 | 10.0 | 9.5 | 9.9 | 10.3 | 10.6 | 10.9 | 10.7 | 9.9 | 10.0 | 9.0 | 8.7 |
| 162 | 7.9 | 8.4 | 9.1 | 9.8 | 10.0 | 9.9 | 10.2 | 9.5 | 8.9 | 8.7 | 8.5 | 9.3 | 9.4 | 9.6 | 9.1 | 9.1 | 9.0 | 7.7 | 7.7 |
| 165 | 6.8 | 7.6 | 8.2 | 8.5 | 8.8 | 9.0 | 8.9 | 8.7 | 7.8 | 7.1 | 7.3 | 8.2 | 7.6 | 8.1 | 8.0 | 8.2 | 7.0 | 6.9 | 6.8 |
| 168 | 6.1 | 6.8 | 6.8 | 7.2 | 7.3 | 7.6 | 7.5 | 6.8 | 6.4 | 6.2 | 6.7 | 6.6 | 6.7 | 6.6 | 6.8 | 6.8 | 6.4 | 5.9 | 5.6 |
| 171 | 5.0 | 5.2 | 5.7 | 6.0 | 5.9 | 5.9 | 5.9 | 5.4 | 5.3 | 5.4 | 5.3 | 5.6 | 5.7 | 5.7 | 5.5 | 5.7 | 5.2 | 5.0 | 4.9 |
| 174 | 4.3 | 4.6 | 4.6 | 4.5 | 4.9 | 5.1 | 4.9 | 4.7 | 4.5 | 4.3 | 4.1 | 4.2 | 4.2 | 4.2 | 4.1 | 4.1 | 4.1 | 4.0 | 3.7 |
| 177 | 3.2 | 3.3 | 3.6 | 3.7 | 3.8 | 3.7 | 3.6 | 3.5 | 3.4 | 3.3 | 3.1 | 3.0 | 3.0 | 3.1 | 3.2 | 3.0 | 2.9 | 2.7 | 2.7 |
| 180 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 | 201.5 |
| 3 | 199.6 | 199.1 | 198.9 | 198.6 | 199.5 | 201.2 | 203.0 | 205.1 | 206.0 | 205.7 | 204.7 | 204.6 | 205.6 | 206.8 | 207.0 | 207.5 | 206.2 |
| 6 | 199.5 | 202.8 | 200.9 | 198.6 | 200.4 | 200.9 | 200.2 | 201.2 | 202.1 | 200.3 | 198.0 | 198.7 | 201.7 | 202.2 | 202.6 | 203.0 | 200.5 |
| 9 | 199.8 | 204.9 | 202.6 | 201.0 | 202.8 | 203.2 | 203.1 | 201.8 | 204.6 | 203.2 | 203.4 | 203.1 | 200.8 | 204.0 | 200.9 | 199.5 | 201.5 |
| 12 | 200.5 | 204.2 | 201.9 | 202.2 | 204.7 | 202.3 | 204.9 | 204.9 | 203.5 | 203.5 | 202.2 | 204.7 | 198.6 | 202.1 | 206.0 | 197.1 | 196.5 |
| 15 | 201.7 | 201.1 | 199.7 | 204.6 | 202.8 | 195.1 | 197.6 | 197.2 | 198.3 | 201.7 | 201.4 | 205.2 | 199.7 | 195.3 | 201.0 | 201.2 | 197.0 |
| 18 | 197.2 | 198.9 | 199.4 | 202.9 | 198.1 | 200.9 | 201.5 | 197.7 | 197.7 | 195.9 | 198.8 | 200.1 | 202.2 | 193.8 | 193.3 | 195.7 | 192.6 |
| 21 | 192.1 | 194.4 | 192.4 | 196.3 | 199.0 | 197.7 | 199.8 | 197.6 | 199.0 | 199.5 | 198.6 | 192.0 | 195.8 | 196.8 | 196.1 | 193.2 | 191.0 |
| 24 | 192.9 | 193.2 | 195.7 | 197.5 | 196.3 | 196.3 | 189.6 | 195.1 | 191.7 | 194.0 | 197.5 | 193.3 | 191.5 | 192.6 | 186.7 | 185.3 | 185.5 |
| 27 | 193.5 | 184.7 | 195.0 | 191.8 | 193.5 | 191.7 | 185.2 | 189.1 | 191.9 | 189.7 | 192.7 | 190.8 | 188.8 | 184.9 | 186.5 | 185.6 | 190.0 |
| 30 | 184.3 | 184.8 | 187.3 | 189.5 | 183.3 | 185.1 | 191.7 | 184.5 | 184.4 | 182.7 | 183.9 | 187.4 | 183.5 | 185.8 | 183.8 | 183.5 | 178.4 |
| 33 | 183.4 | 178.4 | 181.1 | 184.0 | 180.5 | 181.9 | 185.6 | 182.9 | 181.0 | 184.6 | 184.6 | 178.5 | 181.4 | 179.5 | 174.5 | 182.1 | 178.9 |
| 36 | 174.5 | 176.1 | 178.2 | 176.1 | 180.6 | 178.6 | 176.0 | 175.4 | 173.9 | 172.8 | 177.7 | 174.4 | 175.6 | 177.4 | 175.2 | 174.6 | 174.4 |
| 39 | 169.0 | 172.7 | 172.4 | 174.7 | 171.5 | 172.0 | 172.2 | 169.2 | 169.0 | 169.8 | 170.3 | 172.9 | 166.5 | 164.3 | 169.3 | 169.0 | 168.4 |
| 42 | 163.5 | 170.9 | 164.3 | 163.4 | 168.1 | 167.5 | 163.7 | 165.3 | 164.3 | 167.8 | 163.4 | 161.4 | 166.2 | 163.9 | 163.6 | 163.2 | 163.5 |
| 45 | 158.0 | 162.8 | 161.7 | 161.5 | 162.6 | 161.9 | 160.4 | 156.9 | 152.9 | 158.9 | 158.5 | 156.9 | 159.1 | 156.0 | 158.7 | 159.0 | 152.1 |
| 48 | 147.3 | 156.7 | 154.0 | 153.3 | 156.0 | 152.7 | 150.4 | 152.4 | 151.0 | 150.5 | 149.6 | 146.5 | 153.6 | 153.3 | 152.5 | 153.3 | 147.8 |
| 51 | 145.2 | 143.6 | 148.9 | 151.3 | 146.0 | 143.7 | 144.8 | 144.9 | 144.0 | 144.3 | 146.8 | 142.6 | 145.1 | 142.3 | 147.6 | 142.1 | 141.6 |
| 54 | 135.2 | 139.7 | 139.7 | 142.1 | 141.8 | 144.2 | 139.6 | 138.7 | 139.3 | 139.2 | 139.6 | 137.7 | 138.5 | 136.5 | 141.5 | 139.7 | 132.6 |
| 57 | 125.1 | 131.5 | 132.5 | 134.8 | 135.7 | 131.0 | 132.0 | 126.5 | 132.6 | 129.8 | 128.6 | 130.0 | 128.8 | 130.7 | 127.1 | 130.0 | 128.3 |
| 60 | 119.7 | 120.4 | 124.7 | 129.0 | 125.9 | 126.6 | 127.5 | 121.7 | 122.6 | 123.0 | 122.2 | 127.3 | 121.9 | 123.7 | 122.1 | 119.5 | 121.2 |
| 63 | 107.7 | 115.0 | 116.4 | 111.8 | 119.5 | 117.0 | 117.0 | 111.8 | 116.1 | 111.5 | 115.1 | 114.0 | 119.9 | 117.1 | 114.7 | 112.9 | 107.6 |
| 66 | 100.2 | 108.1 | 109.6 | 109.6 | 107.6 | 109.7 | 109.7 | 104.1 | 99.3 | 107.0 | 100.7 | 107.2 | 106.4 | 106.5 | 107.6 | 107.3 | 99.3 |
| 69 | 94.5 | 95.5 | 96.5 | 98.2 | 97.8 | 95.8 | 101.1 | 96.0 | 94.4 | 92.1 | 98.4 | 95.3 | 100.3 | 98.4 | 97.3 | 94.2 | 87.8 |
| 72 | 84.6 | 84.5 | 88.3 | 89.2 | 91.3 | 89.1 | 88.5 | 90.2 | 85.3 | 84.6 | 85.9 | 85.8 | 89.6 | 86.6 | 87.1 | 84.1 | 85.9 |
| 75 | 73.2 | 80.1 | 82.0 | 80.6 | 82.0 | 78.8 | 80.2 | 76.0 | 73.9 | 74.7 | 77.8 | 80.1 | 82.3 | 80.0 | 82.4 | 76.2 | 71.5 |
| 78 | 62.7 | 70.4 | 71.5 | 70.5 | 73.8 | 69.9 | 70.4 | 67.9 | 64.9 | 64.1 | 69.1 | 69.4 | 69.5 | 69.0 | 69.2 | 68.2 | 64.8 |
| 81 | 54.3 | 59.3 | 62.6 | 61.4 | 61.8 | 61.9 | 62.8 | 56.0 | 56.9 | 58.0 | 60.4 | 58.4 | 60.2 | 59.9 | 60.4 | 59.6 | 54.3 |
| 84 | 47.1 | 49.7 | 49.6 | 52.9 | 51.4 | 51.0 | 51.5 | 48.4 | 46.5 | 47.5 | 51.3 | 51.0 | 49.5 | 50.3 | 49.8 | 46.5 | 44.6 |
| 87 | 36.9 | 38.7 | 41.9 | 43.4 | 42.7 | 45.0 | 40.9 | 39.9 | 38.5 | 39.6 | 38.3 | 39.0 | 45.9 | 41.5 | 39.1 | 39.4 | 36.2 |
| 90 | 29.7 | 32.6 | 34.0 | 34.7 | 37.2 | 36.0 | 33.6 | 32.2 | 30.8 | 29.7 | 30.8 | 33.2 | 33.9 | 33.1 | 32.5 | 29.3 | 29.0 |
| 93 | 26.7 | 28.4 | 30.5 | 29.7 | 29.5 | 29.2 | 28.4 | 25.7 | 25.2 | 25.4 | 27.4 | 28.7 | 29.6 | 30.9 | 29.3 | 26.8 | 24.7 |
| 96 | 26.7 | 27.4 | 29.7 | 30.6 | 29.3 | 28.2 | 27.0 | 24.1 | 24.4 | 24.0 | 26.3 | 28.2 | 29.3 | 29.4 | 29.9 | 27.3 | 24.1 |
| 99 | 25.5 | 26.7 | 28.7 | 29.1 | 28.7 | 26.8 | 25.5 | 23.1 | 23.7 | 23.0 | 25.1 | 26.3 | 28.8 | 29.4 | 28.3 | 26.4 | 25.0 |
| 102 | 25.3 | 26.3 | 27.3 | 28.4 | 28.3 | 26.2 | 25.9 | 22.6 | 22.9 | 22.2 | 24.3 | 26.2 | 27.5 | 28.0 | 27.9 | 25.7 | 24.3 |
| 105 | 25.1 | 26.8 | 27.5 | 27.8 | 26.9 | 26.3 | 24.7 | 22.5 | 23.3 | 22.7 | 25.2 | 26.4 | 26.4 | 27.3 | 28.3 | 25.3 | 23.4 |
| 108 | 24.2 | 25.9 | 27.3 | 27.5 | 27.5 | 26.0 | 24.7 | 23.5 | 22.6 | 22.8 | 25.5 | 25.9 | 26.0 | 27.6 | 27.5 | 26.2 | 23.1 |
| 111 | 23.9 | 25.1 | 26.9 | 26.4 | 25.9 | 25.2 | 24.2 | 23.4 | 20.4 | 22.2 | 24.7 | 25.2 | 26.1 | 26.6 | 26.5 | 24.5 | 22.6 |
| 114 | 23.5 | 24.3 | 25.0 | 25.2 | 25.1 | 25.6 | 24.3 | 22.9 | 21.1 | 22.1 | 24.0 | 24.1 | 25.5 | 25.9 | 25.9 | 24.1 | 22.3 |
| 117 | 23.0 | 24.1 | 24.5 | 25.6 | 25.2 | 24.0 | 23.3 | 21.3 | 19.8 | 23.0 | 23.1 | 23.1 | 24.4 | 24.2 | 23.6 | 23.3 | 21.9 |
| 120 | 22.1 | 22.1 | 22.4 | 23.1 | 23.9 | 23.4 | 22.0 | 21.4 | 19.7 | 21.6 | 22.1 | 23.4 | 23.9 | 22.8 | 22.9 | 22.2 | 21.5 |
| 123 | 21.3 | 21.8 | 23.1 | 23.7 | 23.8 | 23.2 | 21.5 | 20.6 | 19.5 | 20.5 | 21.7 | 21.8 | 22.8 | 22.8 | 22.7 | 21.9 | 20.0 |
| 126 | 19.7 | 21.3 | 22.5 | 22.2 | 22.7 | 21.8 | 20.3 | 19.7 | 19.0 | 19.6 | 20.4 | 21.5 | 22.0 | 21.9 | 22.0 | 22.0 | 19.4 |
| 129 | 19.0 | 21.1 | 21.9 | 21.8 | 22.0 | 20.3 | 19.3 | 18.8 | 18.5 | 18.5 | 20.7 | 21.4 | 22.1 | 21.9 | 21.1 | 20.1 | 20.1 |
| 132 | 18.8 | 20.2 | 20.2 | 21.3 | 20.6 | 19.7 | 18.7 | 17.9 | 17.3 | 18.2 | 18.8 | 19.7 | 21.3 | 21.6 | 20.2 | 19.3 | 17.6 |
| 135 | 17.8 | 19.5 | 19.2 | 20.1 | 20.3 | 18.4 | 18.5 | 17.7 | 16.3 | 18.3 | 18.3 | 19.2 | 19.0 | 20.2 | 18.9 | 19.8 | 18.1 |
| 138 | 17.2 | 18.0 | 18.4 | 19.5 | 18.8 | 18.3 | 18.0 | 16.3 | 16.1 | 17.1 | 17.1 | 18.4 | 18.9 | 19.2 | 19.3 | 17.4 | 16.4 |
| 141 | 16.1 | 17.2 | 17.5 | 18.4 | 17.9 | 17.0 | 17.0 | 14.8 | 15.2 | 16.0 | 16.6 | 17.7 | 17.8 | 17.8 | 17.8 | 17.7 | 15.4 |
| 144 | 15.1 | 15.6 | 16.5 | 16.8 | 16.5 | 16.1 | 15.8 | 14.6 | 14.3 | 14.5 | 16.1 | 16.5 | 17.2 | 16.4 | 16.7 | 15.8 | 15.0 |
| 147 | 13.6 | 14.7 | 15.8 | 15.7 | 15.7 | 15.5 | 14.5 | 13.2 | 13.1 | 13.9 | 15.0 | 16.1 | 15.1 | 15.7 | 15.5 | 14.7 | 13.7 |
| 150 | 13.1 | 13.5 | 15.1 | 14.2 | 14.6 | 14.2 | 13.4 | 12.6 | 11.8 | 13.3 | 13.6 | 14.3 | 14.9 | 15.5 | 13.9 | 14.4 | 12.9 |
| 153 | 12.1 | 12.7 | 13.6 | 13.1 | 13.8 | 12.5 | 12.0 | 11.3 | 11.4 | 12.0 | 12.5 | 13.4 | 13.7 | 13.3 | 13.9 | 12.8 | 11.6 |
| 156 | 10.8 | 11.0 | 12.3 | 11.8 | 12.2 | 11.4 | 11.2 | 10.3 | 10.2 | 10.9 | 12.0 | 11.8 | 12.6 | 12.7 | 11.9 | 11.4 | 10.5 |
| 159 | 9.1 | 10.2 | 10.5 | 10.4 | 10.7 | 10.2 | 10.0 | 8.8 | 9.4 | 9.8 | 10.5 | 10.8 | 11.3 | 11.0 | 11.1 | 10.1 | 9.4 |
| 162 | 8.4 | 9.1 | 9.6 | 9.4 | 9.6 | 9.0 | 9.0 | 8.5 | 8.1 | 8.5 | 9.2 | 9.7 | 10.4 | 10.1 | 9.4 | 9.3 | 8.1 |
| 165 | 7.4 | 7.7 | 7.8 | 8.5 | 8.2 | 7.8 | 7.7 | 7.6 | 7.5 | 7.4 | 8.1 | 8.4 | 8.6 | 8.8 | 8.3 | 8.2 | 7.3 |
| 168 | 6.1 | 6.4 | 6.4 | 6.8 | 6.8 | 7.1 | 6.4 | 6.3 | 6.5 | 6.9 | 6.8 | 7.1 | 7.5 | 7.3 | 7.1 | 6.8 | 6.5 |
| 171 | 5.0 | 5.0 | 5.5 | 5.7 | 5.5 | 5.5 | 5.2 | 5.1 | 5.0 | 5.3 | 5.7 | 6.2 | 6.0 | 6.1 | 5.9 | 5.2 | 5.1 |
| 174 | 3.7 | 3.9 | 3.9 | 3.9 | 4.1 | 4.2 | 4.2 | 4.2 | 4.4 | 4.6 | 4.8 | 4.9 | 4.7 | 4.4 | 4.5 | 4.4 | 4.3 |
| 177 | 2.7 | 2.8 | 2.8 | 2.9 | 3.0 | 3.0 | 3.2 | 3.3 | 3.3 | 3.3 | 3.3 | 3.3 | 3.3 | 3.2 | 3.2 | 3.3 | 3.2 |
| 180 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

04-03-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP