| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13073 | Report Date: 20-02-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: PARMA 160 | Serial Number: 0886 |
| Lamp Type: LED |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 242.7 | Current (mA)= 53 |
| Power (Watts)= 6.37 | Power factor= 0.4977 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 07-02-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: 0886 PARMA 160 |  |  |
| Instrument Used: Labsphere model CSLMS HALOGEN 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 2 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 134.0 |  |  |
| CIE 1931 Chromaticity Cx: 0.4063 |  | CIE 1931 Chromaticity Cy: 0.3788 |
| CRI (%):83.0 |  | CCT (K): 3357 |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 08-02-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0886 PARMA 160 |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1200N-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 1.5 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):720 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-90° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):134.0 | Peak Intensity (3° Spot, candelas): 72.8 |  | Efficacy (lumens/Watt): 21.04 |
| Beam Angle (50% of max intensity C0-180, degrees): 48.2 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0886 PARMA 160 |  |  |  |
| IES File – Absolute or Relative Format? Absolute |  |  |  |
| Photometric Filename (EULUMDAT): 0886 PARMA 160 |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Absolute |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 |
| 5 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 |
| 10 | 0.3 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 |
| 15 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.3 | 0.4 | 0.5 | 0.5 |
| 20 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 |
| 25 | 0.4 | 0.4 | 0.3 | 0.3 | 0.1 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 0.1 | 0.2 | 0.3 | 0.4 |
| 30 | 0.4 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.3 | 0.2 | 0.1 | 0.1 | 0.0 | 0.1 | 0.0 | 0.2 | 0.3 |
| 35 | 0.4 | 0.3 | 0.3 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.0 | 0.0 | 0.1 | 0.1 | 0.2 | 0.3 |
| 40 | 0.4 | 0.4 | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.2 | 0.1 | 0.0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.2 |
| 45 | 0.4 | 0.4 | 0.3 | 0.2 | 0.2 | 0.3 | 0.2 | 0.3 | 0.2 | 0.2 | 0.4 | 0.3 | 0.3 | 0.0 | 0.0 | 0.1 | 0.2 | 0.2 | 0.2 |
| 50 | 0.7 | 0.5 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2 | 0.2 | 0.3 | 0.3 | 0.1 | 0.1 | 0.1 | 0.0 | 0.2 | 0.2 | 0.3 |
| 55 | 0.6 | 0.6 | 0.5 | 0.3 | 0.2 | 0.3 | 0.2 | 0.3 | 0.2 | 0.2 | 0.3 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 0.4 |
| 60 | 0.9 | 0.8 | 0.7 | 0.4 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.3 | 0.4 | 0.5 |
| 65 | 1.1 | 1.0 | 0.9 | 0.5 | 0.4 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.3 | 0.4 | 0.6 | 0.8 |
| 70 | 1.3 | 1.3 | 1.1 | 0.6 | 0.5 | 0.4 | 0.3 | 0.3 | 0.4 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.3 | 0.4 | 0.5 | 0.9 | 1.0 |
| 75 | 1.3 | 1.4 | 1.2 | 0.7 | 0.5 | 0.4 | 0.4 | 0.3 | 0.3 | 0.2 | 0.2 | 0.1 | 0.1 | 0.2 | 0.4 | 0.5 | 0.6 | 0.9 | 1.1 |
| 80 | 1.5 | 1.4 | 1.0 | 0.7 | 0.5 | 0.4 | 0.4 | 0.5 | 0.4 | 0.2 | 0.2 | 0.1 | 0.1 | 0.2 | 0.4 | 0.6 | 0.6 | 0.9 | 1.2 |
| 85 | 1.2 | 1.3 | 1.0 | 0.6 | 0.6 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.2 | 0.0 | 0.1 | 0.2 | 0.4 | 0.6 | 0.6 | 0.9 | 1.1 |
| 90 | 1.1 | 1.0 | 1.1 | 0.7 | 0.6 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.1 | 0.2 | 0.2 | 0.3 | 0.4 | 0.7 | 0.9 | 1.0 |
| 95 | 1.1 | 0.8 | 0.8 | 0.7 | 0.7 | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.4 | 1.0 | 1.2 | 1.2 |
| 100 | 1.5 | 0.7 | 0.9 | 0.6 | 0.5 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.3 | 0.7 | 1.9 | 2.4 | 2.0 |
| 105 | 8.8 | 8.1 | 5.8 | 0.7 | 0.5 | 0.3 | 0.2 | 0.3 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 1.5 | 3.2 | 7.8 | 9.3 |
| 110 | 45.0 | 38.5 | 25.8 | 2.2 | 0.5 | 0.4 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.4 | 2.4 | 6.1 | 27.9 | 36.3 |
| 115 | 62.4 | 61.0 | 30.8 | 2.8 | 0.5 | 0.4 | 0.3 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.5 | 0.5 | 0.9 | 7.9 | 44.1 | 55.5 |
| 120 | 62.7 | 61.8 | 38.2 | 0.9 | 0.4 | 0.5 | 0.4 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.7 | 0.5 | 0.6 | 7.1 | 48.5 | 60.2 |
| 125 | 67.9 | 67.5 | 10.6 | 0.2 | 0.4 | 0.9 | 0.6 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 1.4 | 0.7 | 0.4 | 4.3 | 56.5 | 61.6 |
| 130 | 67.7 | 65.8 | 4.7 | 0.3 | 0.4 | 1.5 | 0.5 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2 | 2.2 | 0.7 | 0.4 | 3.4 | 60.9 | 62.3 |
| 135 | 69.0 | 66.2 | 3.8 | 0.2 | 0.5 | 1.5 | 0.6 | 0.3 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 2.7 | 0.8 | 0.5 | 2.8 | 61.3 | 62.6 |
| 140 | 70.6 | 66.0 | 6.8 | 0.2 | 0.4 | 1.7 | 0.5 | 0.2 | 0.0 | 0.2 | 0.1 | 0.1 | 0.2 | 3.0 | 1.0 | 0.4 | 2.1 | 61.5 | 63.4 |
| 145 | 71.3 | 66.6 | 10.2 | 0.0 | 0.5 | 1.8 | 0.5 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 3.3 | 0.9 | 0.5 | 1.7 | 61.7 | 62.9 |
| 150 | 70.6 | 66.0 | 11.8 | 0.0 | 0.3 | 1.8 | 0.5 | 0.3 | 0.2 | 0.2 | 0.0 | 0.0 | 0.0 | 2.7 | 0.9 | 0.5 | 1.6 | 60.3 | 61.9 |
| 155 | 71.3 | 72.8 | 68.8 | 62.3 | 53.2 | 12.9 | 4.5 | 2.0 | 0.7 | 0.3 | 0.7 | 2.4 | 7.4 | 41.1 | 48.2 | 55.5 | 59.7 | 63.1 | 62.9 |
| 160 | 70.6 | 72.6 | 69.0 | 62.3 | 51.8 | 13.3 | 4.8 | 2.0 | 0.7 | 0.4 | 0.7 | 2.6 | 7.7 | 41.1 | 48.1 | 55.3 | 60.6 | 63.9 | 63.4 |
| 165 | 69.0 | 72.0 | 68.5 | 61.9 | 50.1 | 13.3 | 4.5 | 1.8 | 0.7 | 0.4 | 0.6 | 2.6 | 7.7 | 40.4 | 48.0 | 55.3 | 60.7 | 63.6 | 62.6 |
| 170 | 67.7 | 70.6 | 67.9 | 60.9 | 48.3 | 12.9 | 3.5 | 1.6 | 0.6 | 0.3 | 0.5 | 2.1 | 7.8 | 39.7 | 47.6 | 55.5 | 60.2 | 63.1 | 62.3 |
| 175 | 67.9 | 69.5 | 65.9 | 57.9 | 39.7 | 14.8 | 3.0 | 1.2 | 0.5 | 0.3 | 0.7 | 1.6 | 5.5 | 34.3 | 44.1 | 53.4 | 59.6 | 61.4 | 61.6 |
| 180 | 62.7 | 62.2 | 54.6 | 40.7 | 17.6 | 14.3 | 2.8 | 1.1 | 0.7 | 0.4 | 0.6 | 1.1 | 1.8 | 17.2 | 31.4 | 47.0 | 55.1 | 57.7 | 60.2 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 |
| 5 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 |
| 10 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 |
| 15 | 0.5 | 0.5 | 0.5 | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 |
| 20 | 0.5 | 0.4 | 0.4 | 0.5 | 0.6 | 0.5 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 0.4 | 0.3 |
| 25 | 0.4 | 0.4 | 0.5 | 0.4 | 0.4 | 0.4 | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.4 | 0.5 |
| 30 | 0.4 | 0.3 | 0.3 | 0.3 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.2 | 0.3 |
| 35 | 0.3 | 0.3 | 0.3 | 0.4 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 |
| 40 | 0.3 | 0.3 | 0.4 | 0.5 | 0.4 | 0.3 | 0.3 | 0.4 | 0.3 | 0.0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.4 |
| 45 | 0.2 | 0.3 | 0.4 | 0.5 | 0.4 | 0.4 | 0.3 | 0.1 | 0.2 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.6 |
| 50 | 0.2 | 0.3 | 0.3 | 0.5 | 0.5 | 0.4 | 0.2 | 0.0 | 0.1 | 0.1 | 0.2 | 0.2 | 0.3 | 0.2 | 0.3 | 0.4 | 0.5 |
| 55 | 0.4 | 0.4 | 0.5 | 0.5 | 0.5 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.6 | 0.6 |
| 60 | 0.6 | 0.5 | 0.5 | 0.4 | 0.3 | 0.2 | 0.2 | 0.3 | 0.4 | 0.3 | 0.2 | 0.2 | 0.4 | 0.5 | 0.7 | 0.7 | 0.8 |
| 65 | 0.8 | 0.7 | 0.5 | 0.4 | 0.3 | 0.1 | 0.2 | 0.2 | 0.5 | 0.3 | 0.2 | 0.3 | 0.4 | 0.8 | 0.9 | 1.1 | 1.1 |
| 70 | 1.0 | 0.9 | 0.7 | 0.5 | 0.4 | 0.3 | 0.2 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.4 | 0.9 | 0.9 | 1.2 | 1.3 |
| 75 | 1.1 | 1.0 | 1.1 | 0.8 | 0.4 | 0.4 | 0.3 | 0.3 | 0.2 | 0.3 | 0.3 | 0.4 | 0.6 | 0.8 | 1.2 | 1.3 | 1.3 |
| 80 | 1.1 | 1.1 | 1.1 | 1.1 | 0.6 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.5 | 0.9 | 0.9 | 1.4 | 1.4 | 1.4 |
| 85 | 1.2 | 1.1 | 1.1 | 1.0 | 0.8 | 0.4 | 0.3 | 0.3 | 0.2 | 0.3 | 0.2 | 0.6 | 0.8 | 1.1 | 1.2 | 1.4 | 1.3 |
| 90 | 1.4 | 1.2 | 1.2 | 0.9 | 0.8 | 0.6 | 0.5 | 0.3 | 0.2 | 0.3 | 0.2 | 0.6 | 0.9 | 1.3 | 1.4 | 1.4 | 1.2 |
| 95 | 1.2 | 1.2 | 1.3 | 1.0 | 0.8 | 0.8 | 0.5 | 0.4 | 0.3 | 0.3 | 0.3 | 0.7 | 1.1 | 1.6 | 1.7 | 1.9 | 1.3 |
| 100 | 1.9 | 1.0 | 1.2 | 1.2 | 0.8 | 0.8 | 0.7 | 0.6 | 0.4 | 0.3 | 0.5 | 0.8 | 1.5 | 2.1 | 2.5 | 2.3 | 1.9 |
| 105 | 8.9 | 3.4 | 1.7 | 1.4 | 1.2 | 0.9 | 0.7 | 0.5 | 0.3 | 0.5 | 0.7 | 1.0 | 1.6 | 3.2 | 4.1 | 2.0 | 7.5 |
| 110 | 33.3 | 22.7 | 4.5 | 3.7 | 1.3 | 1.0 | 0.8 | 0.6 | 0.3 | 0.5 | 0.7 | 1.1 | 2.5 | 6.6 | 6.5 | 11.3 | 31.7 |
| 115 | 49.3 | 43.2 | 33.2 | 22.1 | 2.7 | 1.3 | 0.9 | 0.5 | 0.3 | 0.8 | 0.6 | 1.6 | 6.9 | 12.8 | 13.8 | 34.9 | 55.6 |
| 120 | 57.7 | 55.1 | 47.0 | 31.4 | 17.2 | 1.8 | 1.1 | 0.6 | 0.4 | 0.7 | 1.1 | 2.8 | 14.3 | 17.6 | 40.7 | 54.6 | 62.2 |
| 125 | 61.4 | 59.6 | 53.4 | 44.1 | 34.3 | 5.5 | 1.6 | 0.7 | 0.3 | 0.5 | 1.2 | 3.0 | 14.8 | 39.7 | 57.9 | 65.9 | 69.5 |
| 130 | 63.1 | 60.2 | 55.5 | 47.6 | 39.7 | 7.8 | 2.1 | 0.5 | 0.3 | 0.6 | 1.6 | 3.5 | 12.9 | 48.3 | 60.9 | 67.9 | 70.6 |
| 135 | 63.6 | 60.7 | 55.3 | 48.0 | 40.4 | 7.7 | 2.6 | 0.6 | 0.4 | 0.7 | 1.8 | 4.5 | 13.3 | 50.1 | 61.9 | 68.5 | 72.0 |
| 140 | 63.9 | 60.6 | 55.3 | 48.1 | 41.1 | 7.7 | 2.6 | 0.7 | 0.4 | 0.7 | 2.0 | 4.8 | 13.3 | 51.8 | 62.3 | 69.0 | 72.6 |
| 145 | 63.1 | 59.7 | 55.5 | 48.2 | 41.1 | 7.4 | 2.4 | 0.7 | 0.3 | 0.7 | 2.0 | 4.5 | 12.9 | 53.2 | 62.3 | 68.8 | 72.8 |
| 150 | 60.1 | 58.5 | 53.2 | 47.0 | 39.5 | 6.8 | 2.1 | 0.8 | 0.4 | 0.6 | 1.9 | 3.8 | 11.6 | 52.6 | 59.3 | 65.9 | 68.5 |
| 155 | 61.7 | 1.7 | 0.5 | 0.9 | 3.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.5 | 1.8 | 0.5 | 0.0 | 10.2 | 66.6 |
| 160 | 61.5 | 2.1 | 0.4 | 1.0 | 3.0 | 0.2 | 0.1 | 0.1 | 0.2 | 0.0 | 0.2 | 0.5 | 1.7 | 0.4 | 0.2 | 6.8 | 66.0 |
| 165 | 61.3 | 2.8 | 0.5 | 0.8 | 2.7 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.3 | 0.6 | 1.5 | 0.5 | 0.2 | 3.8 | 66.2 |
| 170 | 60.9 | 3.4 | 0.4 | 0.7 | 2.2 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.5 | 1.5 | 0.4 | 0.3 | 4.7 | 65.8 |
| 175 | 56.5 | 4.3 | 0.4 | 0.7 | 1.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.6 | 0.9 | 0.4 | 0.2 | 10.6 | 67.5 |
| 180 | 48.5 | 7.1 | 0.6 | 0.5 | 0.7 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.4 | 0.5 | 0.4 | 0.9 | 38.2 | 61.8 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

20-02-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP