| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13091 | Report Date: 06-03-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: PARMA 250 | Serial Number: 0887 |
| Lamp Type: LED |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 241.8 | Current (mA)= 74 |
| Power (Watts)= 9.04 | Power factor= 0.510 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 08-01-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: 0887 PARMA 250 |  |  |
| Instrument Used: Labsphere model CSLMS HALOGEN 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 301.0 |  |  |
| CIE 1931 Chromaticity Cx: 0.4162 |  | CIE 1931 Chromaticity Cy: 0.3810 |
| CRI (%): 81.3 |  | CCT (K): 3203 |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 09-01-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0887 PARMA 250 |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1200N-1 Imaging Photometer |  |  |  |
| Photometer Working Distance:2 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):120 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-90° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):301.0 | Peak Intensity (3° Spot, candelas): 113.1 |  | Efficacy (lumens/Watt): 33.44 |
| Beam Angle (50% of max intensity C0-180, degrees): 111.7 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0887 PARMA 250 |  |  |  |
| IES File – Absolute or Relative Format? Absolute |  |  |  |
| Photometric Filename (EULUMDAT): 0887 PARMA 250 |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Absolute |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 |
| 3 | 108.6 | 108.9 | 109.1 | 109.9 | 110.6 | 111.2 | 111.3 | 111.2 | 110.7 | 110.6 | 110.8 | 111.1 | 110.9 | 110.3 | 109.4 | 109.0 | 108.6 | 109.1 | 109.8 |
| 6 | 107.7 | 106.4 | 106.9 | 108.1 | 108.7 | 108.1 | 108.0 | 108.5 | 108.2 | 107.7 | 108.6 | 109.2 | 108.6 | 107.5 | 108.3 | 109.9 | 109.6 | 109.1 | 110.6 |
| 9 | 105.7 | 107.2 | 105.3 | 106.7 | 105.2 | 106.9 | 106.6 | 107.0 | 107.6 | 108.0 | 109.3 | 108.4 | 107.7 | 107.1 | 106.4 | 105.8 | 108.4 | 105.2 | 108.6 |
| 12 | 102.9 | 104.9 | 102.3 | 104.9 | 102.5 | 105.4 | 104.8 | 104.5 | 107.1 | 106.8 | 107.0 | 106.3 | 106.4 | 104.6 | 104.9 | 102.6 | 106.2 | 100.6 | 107.0 |
| 15 | 100.8 | 104.1 | 101.8 | 102.5 | 100.8 | 104.0 | 102.1 | 105.7 | 104.8 | 103.8 | 104.9 | 102.4 | 102.6 | 100.1 | 102.9 | 100.1 | 101.9 | 97.8 | 102.6 |
| 18 | 98.8 | 102.9 | 99.3 | 100.1 | 101.0 | 99.2 | 102.2 | 102.9 | 102.8 | 102.5 | 102.4 | 104.2 | 101.2 | 101.4 | 97.1 | 96.8 | 97.7 | 97.7 | 100.2 |
| 21 | 100.1 | 97.0 | 100.2 | 97.0 | 97.3 | 99.6 | 97.9 | 101.4 | 101.9 | 102.5 | 101.1 | 100.2 | 98.9 | 99.7 | 94.8 | 98.0 | 96.6 | 92.5 | 98.1 |
| 24 | 95.5 | 97.5 | 95.3 | 96.4 | 99.3 | 95.3 | 99.6 | 99.5 | 101.9 | 103.2 | 102.4 | 99.8 | 98.6 | 96.6 | 91.5 | 94.2 | 92.9 | 91.7 | 97.6 |
| 27 | 91.8 | 94.3 | 95.5 | 91.2 | 94.4 | 98.9 | 94.5 | 96.7 | 99.4 | 100.1 | 99.6 | 97.5 | 99.1 | 92.6 | 94.3 | 94.3 | 88.8 | 91.7 | 94.7 |
| 30 | 95.8 | 91.3 | 90.1 | 94.4 | 93.1 | 91.7 | 94.2 | 93.8 | 93.0 | 92.3 | 94.4 | 93.6 | 90.8 | 88.0 | 96.3 | 90.7 | 87.0 | 89.1 | 91.9 |
| 33 | 88.1 | 88.3 | 92.0 | 88.5 | 89.1 | 91.3 | 88.2 | 86.1 | 89.3 | 90.7 | 88.5 | 88.4 | 83.3 | 86.0 | 92.2 | 88.1 | 84.8 | 87.7 | 89.2 |
| 36 | 88.4 | 87.1 | 84.7 | 85.2 | 88.2 | 82.1 | 84.0 | 82.5 | 86.3 | 85.5 | 84.7 | 82.5 | 80.3 | 82.6 | 83.5 | 83.6 | 82.2 | 85.1 | 86.0 |
| 39 | 80.8 | 81.7 | 83.0 | 81.8 | 77.7 | 80.5 | 79.5 | 81.8 | 80.9 | 81.8 | 80.0 | 78.0 | 78.1 | 78.1 | 79.2 | 77.8 | 80.6 | 82.0 | 84.2 |
| 42 | 80.3 | 79.7 | 76.1 | 75.1 | 76.3 | 75.0 | 75.5 | 75.2 | 75.4 | 76.1 | 76.4 | 74.1 | 74.3 | 72.4 | 72.7 | 72.7 | 73.1 | 79.1 | 80.2 |
| 45 | 74.6 | 73.5 | 70.7 | 73.6 | 71.8 | 70.2 | 69.6 | 72.8 | 71.1 | 73.1 | 71.9 | 72.1 | 69.4 | 69.5 | 67.7 | 68.2 | 71.4 | 74.5 | 75.6 |
| 48 | 69.7 | 68.4 | 65.1 | 66.3 | 66.3 | 65.0 | 65.3 | 65.6 | 64.8 | 67.9 | 67.0 | 66.3 | 64.9 | 63.9 | 63.8 | 63.2 | 65.9 | 67.6 | 73.1 |
| 51 | 66.1 | 63.8 | 62.2 | 59.9 | 60.3 | 58.2 | 59.0 | 58.3 | 55.2 | 55.3 | 54.5 | 55.9 | 57.1 | 58.9 | 57.4 | 58.3 | 60.7 | 62.1 | 66.4 |
| 54 | 60.0 | 58.6 | 56.6 | 54.5 | 53.7 | 51.3 | 50.6 | 46.6 | 38.5 | 32.4 | 33.2 | 34.5 | 41.5 | 51.8 | 52.8 | 53.6 | 56.3 | 56.7 | 59.4 |
| 57 | 51.9 | 50.2 | 50.0 | 47.4 | 48.0 | 44.7 | 35.9 | 27.3 | 16.6 | 14.9 | 18.5 | 17.6 | 23.2 | 39.8 | 48.6 | 46.9 | 50.3 | 51.6 | 53.7 |
| 60 | 49.1 | 46.7 | 43.8 | 42.2 | 40.5 | 33.1 | 17.5 | 11.9 | 8.0 | 7.2 | 8.3 | 6.9 | 8.7 | 22.4 | 42.4 | 44.5 | 44.7 | 45.7 | 48.7 |
| 63 | 41.8 | 41.5 | 40.6 | 34.4 | 29.6 | 20.5 | 8.0 | 7.1 | 7.1 | 6.0 | 6.4 | 2.4 | 4.3 | 11.2 | 29.7 | 38.3 | 38.9 | 39.8 | 42.6 |
| 66 | 36.7 | 34.9 | 33.0 | 28.9 | 20.5 | 9.2 | 7.1 | 6.6 | 6.4 | 5.7 | 6.0 | 2.1 | 2.0 | 5.6 | 16.7 | 29.2 | 33.2 | 33.5 | 35.8 |
| 69 | 25.3 | 24.9 | 24.1 | 21.3 | 10.6 | 6.7 | 7.2 | 6.0 | 6.1 | 5.4 | 3.5 | 1.0 | 1.1 | 3.1 | 7.2 | 15.9 | 24.0 | 27.4 | 28.0 |
| 72 | 18.9 | 18.0 | 16.2 | 11.0 | 7.0 | 5.9 | 5.9 | 6.3 | 6.2 | 6.1 | 2.1 | 0.5 | 0.7 | 1.4 | 2.7 | 6.8 | 15.8 | 18.9 | 20.2 |
| 75 | 15.3 | 14.9 | 13.9 | 6.8 | 6.5 | 6.7 | 6.9 | 5.7 | 6.4 | 6.1 | 1.0 | 0.9 | 0.8 | 0.7 | 0.9 | 1.3 | 10.8 | 13.4 | 14.3 |
| 78 | 11.9 | 11.2 | 6.9 | 5.6 | 6.5 | 6.1 | 6.2 | 6.3 | 6.1 | 6.4 | 0.8 | 1.0 | 1.0 | 0.8 | 0.9 | 0.0 | 2.3 | 8.9 | 10.1 |
| 81 | 8.4 | 7.6 | 5.9 | 5.5 | 6.0 | 6.0 | 5.7 | 5.5 | 5.9 | 6.1 | 0.9 | 0.8 | 1.6 | 0.7 | 1.3 | 0.6 | 0.8 | 4.3 | 6.2 |
| 84 | 7.0 | 5.5 | 5.7 | 6.2 | 5.8 | 6.0 | 6.3 | 5.4 | 6.0 | 6.1 | 1.1 | 0.0 | 1.5 | 0.6 | 0.8 | 0.9 | 0.0 | 1.0 | 2.1 |
| 87 | 5.7 | 5.4 | 5.3 | 5.5 | 5.7 | 5.7 | 6.1 | 6.2 | 5.4 | 6.2 | 0.8 | 0.9 | 1.3 | 0.8 | 0.0 | 0.7 | 0.0 | 0.0 | 0.9 |
| 90 | 4.4 | 3.6 | 4.6 | 4.3 | 5.3 | 5.0 | 4.6 | 4.9 | 3.7 | 4.3 | 0.6 | 1.0 | 0.0 | 0.0 | 0.0 | 1.2 | 0.0 | 0.0 | 0.6 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 | 111.1 |
| 3 | 110.4 | 110.4 | 110.6 | 110.7 | 111.3 | 112.1 | 112.4 | 112.4 | 111.8 | 111.0 | 110.2 | 109.7 | 109.2 | 108.4 | 107.7 | 107.9 | 108.2 |
| 6 | 110.2 | 109.1 | 111.4 | 112.4 | 111.7 | 111.3 | 110.2 | 109.5 | 111.4 | 113.1 | 111.5 | 109.4 | 109.5 | 109.1 | 107.9 | 108.2 | 108.7 |
| 9 | 107.9 | 107.5 | 109.2 | 108.0 | 110.0 | 108.4 | 109.7 | 110.7 | 110.3 | 109.5 | 110.9 | 109.5 | 109.5 | 109.1 | 106.3 | 109.3 | 106.7 |
| 12 | 104.2 | 106.3 | 105.9 | 107.8 | 109.2 | 110.4 | 109.7 | 109.8 | 110.7 | 110.6 | 109.3 | 109.2 | 106.2 | 108.8 | 106.6 | 105.9 | 106.3 |
| 15 | 98.6 | 103.9 | 101.2 | 105.8 | 104.0 | 108.6 | 107.1 | 106.5 | 107.4 | 107.4 | 108.5 | 107.5 | 109.8 | 104.2 | 106.6 | 102.8 | 105.2 |
| 18 | 97.4 | 102.3 | 100.1 | 101.4 | 104.0 | 101.7 | 105.5 | 104.0 | 104.8 | 106.1 | 103.3 | 106.3 | 106.6 | 104.0 | 106.6 | 99.3 | 105.6 |
| 21 | 96.4 | 100.8 | 99.2 | 99.5 | 103.5 | 98.4 | 102.1 | 101.7 | 101.0 | 100.3 | 103.3 | 101.7 | 104.2 | 105.6 | 99.9 | 104.0 | 98.6 |
| 24 | 91.4 | 98.1 | 99.4 | 96.0 | 100.1 | 99.2 | 100.2 | 101.7 | 102.4 | 97.1 | 101.4 | 104.6 | 102.1 | 100.7 | 101.9 | 96.6 | 100.4 |
| 27 | 91.2 | 93.6 | 96.6 | 95.5 | 96.6 | 99.8 | 97.4 | 99.5 | 99.3 | 99.1 | 101.3 | 98.6 | 99.6 | 103.5 | 93.8 | 97.4 | 97.5 |
| 30 | 88.7 | 88.6 | 95.9 | 94.2 | 93.1 | 95.2 | 98.8 | 96.7 | 96.9 | 96.4 | 95.3 | 98.5 | 97.9 | 96.4 | 98.8 | 92.3 | 91.5 |
| 33 | 87.9 | 88.2 | 91.0 | 94.1 | 93.5 | 91.7 | 97.4 | 94.6 | 95.7 | 91.8 | 96.3 | 94.1 | 96.6 | 93.0 | 91.6 | 94.2 | 91.4 |
| 36 | 84.0 | 82.9 | 87.4 | 89.9 | 89.4 | 88.2 | 90.1 | 93.3 | 93.9 | 92.7 | 94.2 | 93.5 | 91.6 | 91.7 | 90.4 | 86.6 | 85.1 |
| 39 | 81.5 | 82.6 | 84.8 | 87.4 | 88.0 | 87.8 | 88.7 | 89.3 | 91.2 | 92.7 | 89.8 | 93.6 | 91.2 | 88.2 | 85.3 | 87.8 | 82.4 |
| 42 | 78.9 | 77.8 | 80.6 | 82.3 | 85.6 | 84.8 | 86.5 | 86.5 | 87.3 | 87.2 | 88.8 | 87.8 | 88.2 | 85.1 | 83.2 | 80.8 | 78.6 |
| 45 | 75.6 | 76.0 | 76.1 | 79.3 | 81.0 | 83.1 | 84.2 | 82.6 | 82.8 | 82.3 | 84.4 | 85.8 | 83.3 | 79.8 | 80.5 | 76.8 | 72.5 |
| 48 | 74.0 | 72.0 | 72.8 | 74.5 | 76.0 | 77.6 | 80.0 | 79.1 | 79.2 | 79.3 | 77.8 | 80.3 | 79.3 | 75.3 | 75.6 | 71.2 | 69.0 |
| 51 | 66.0 | 68.0 | 69.4 | 68.8 | 71.3 | 72.5 | 75.6 | 75.2 | 74.9 | 76.9 | 74.5 | 76.5 | 73.9 | 69.0 | 67.9 | 66.5 | 64.5 |
| 54 | 61.9 | 62.3 | 62.8 | 63.9 | 65.8 | 69.0 | 70.5 | 70.8 | 71.3 | 72.8 | 71.3 | 70.7 | 68.6 | 67.8 | 64.7 | 61.3 | 58.1 |
| 57 | 54.8 | 57.4 | 58.2 | 59.7 | 61.4 | 62.6 | 64.8 | 64.3 | 64.0 | 66.6 | 67.2 | 66.0 | 64.1 | 61.5 | 59.3 | 56.0 | 54.0 |
| 60 | 49.7 | 50.8 | 53.4 | 55.9 | 55.7 | 56.9 | 58.5 | 58.9 | 59.5 | 60.4 | 61.4 | 61.3 | 59.1 | 56.7 | 53.9 | 50.4 | 49.2 |
| 63 | 44.2 | 46.8 | 47.4 | 48.2 | 49.4 | 50.4 | 53.5 | 51.8 | 52.5 | 53.8 | 55.4 | 54.8 | 51.7 | 50.7 | 48.5 | 45.5 | 44.0 |
| 66 | 36.6 | 39.6 | 40.4 | 43.2 | 43.4 | 45.3 | 45.3 | 44.5 | 45.7 | 45.8 | 49.1 | 47.9 | 47.0 | 42.9 | 42.0 | 40.3 | 37.7 |
| 69 | 30.6 | 31.1 | 33.2 | 37.3 | 37.2 | 39.3 | 39.2 | 38.7 | 39.4 | 38.2 | 43.6 | 42.9 | 39.9 | 37.6 | 33.9 | 30.9 | 29.2 |
| 72 | 22.5 | 23.5 | 25.5 | 30.9 | 32.4 | 32.0 | 33.2 | 31.9 | 31.9 | 32.7 | 36.6 | 35.0 | 33.1 | 31.5 | 27.1 | 23.0 | 20.5 |
| 75 | 15.9 | 17.3 | 19.4 | 24.0 | 24.7 | 24.1 | 26.5 | 26.3 | 25.4 | 24.3 | 30.3 | 29.4 | 27.3 | 22.8 | 20.1 | 18.3 | 16.6 |
| 78 | 11.5 | 12.2 | 13.8 | 14.9 | 17.4 | 19.7 | 17.4 | 17.8 | 17.4 | 18.0 | 22.1 | 23.8 | 20.0 | 17.8 | 17.0 | 15.4 | 12.6 |
| 81 | 6.7 | 8.7 | 10.2 | 9.8 | 12.5 | 14.5 | 9.2 | 11.2 | 12.0 | 10.9 | 15.6 | 18.5 | 16.3 | 13.7 | 13.0 | 11.9 | 9.5 |
| 84 | 2.7 | 4.6 | 6.8 | 5.0 | 13.9 | 15.6 | 16.2 | 14.7 | 15.3 | 15.9 | 19.5 | 19.2 | 17.4 | 9.6 | 9.5 | 8.1 | 6.5 |
| 87 | 0.9 | 2.1 | 7.6 | 7.9 | 10.0 | 11.0 | 12.4 | 11.8 | 11.5 | 11.6 | 16.3 | 16.1 | 14.4 | 12.5 | 9.3 | 5.7 | 5.4 |
| 90 | 0.8 | 2.7 | 5.1 | 6.4 | 8.1 | 9.0 | 11.4 | 9.8 | 10.8 | 10.6 | 14.4 | 13.5 | 11.6 | 7.6 | 6.3 | 4.4 | 4.4 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

06-03-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP