| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13035 | Report Date: 31-01-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: PARMA SINGLE | Serial Number: 7019 |
| Lamp Type: LED |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 246.0 | Current (mA)= 32 |
| Power (Watts)= 3.98 | Power factor= 0.509 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 08-01-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: 7019 PARMA SINGLE |  |  |
| Instrument Used: Labsphere model CSLMS LED 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 104.3 |  |  |
| CIE 1931 Chromaticity Cx: 0.4287 |  | CIE 1931 Chromaticity Cy: 0.3877 |
| CRI (%):78.9 |  | CCT (K): 3002 |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 07-01-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1423F-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 2 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):75 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-90° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):104.3 | Peak Intensity (3° Spot, candelas): 90.4 |  | Efficacy (lumens/Watt): 26.2 |
| Beam Angle (50% of max intensity C0-180, degrees): 49.6 |  |  |  |
| Photometric Filename (IES LM-63-2002): 7019 PARMA SINGLE |  |  |  |
| IES File – Absolute or Relative Format? Absolute |  |  |  |
| Photometric Filename (EULUMDAT): 7019 PARMA SINGLE |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Absolute |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 |
| 3 | 85.0 | 84.8 | 84.6 | 84.5 | 84.3 | 84.0 | 83.8 | 83.7 | 83.6 | 83.5 | 83.5 | 83.6 | 83.6 | 83.9 | 84.1 | 84.4 | 84.6 | 84.8 | 85.1 |
| 6 | 85.8 | 85.4 | 85.1 | 84.7 | 84.3 | 83.7 | 83.3 | 82.9 | 82.6 | 82.4 | 82.4 | 82.5 | 82.8 | 83.2 | 83.8 | 84.3 | 84.8 | 85.2 | 85.7 |
| 9 | 86.3 | 85.9 | 85.4 | 84.8 | 84.2 | 83.5 | 82.6 | 81.8 | 81.2 | 80.8 | 81.0 | 81.4 | 82.1 | 82.9 | 83.5 | 84.3 | 84.9 | 85.6 | 86.3 |
| 12 | 86.1 | 85.6 | 85.1 | 84.5 | 83.5 | 82.0 | 80.4 | 77.9 | 75.8 | 74.9 | 75.5 | 77.4 | 79.9 | 81.6 | 83.1 | 84.1 | 84.7 | 85.4 | 86.1 |
| 15 | 84.8 | 84.3 | 83.8 | 83.1 | 80.7 | 77.0 | 72.8 | 65.0 | 60.3 | 57.6 | 59.1 | 62.9 | 71.2 | 76.4 | 80.8 | 83.0 | 83.5 | 84.0 | 84.7 |
| 18 | 80.8 | 80.3 | 80.6 | 78.9 | 73.3 | 64.3 | 53.2 | 45.3 | 36.7 | 33.6 | 34.8 | 41.1 | 49.0 | 63.0 | 73.6 | 78.7 | 79.8 | 79.1 | 79.4 |
| 21 | 68.2 | 67.8 | 70.4 | 69.8 | 60.6 | 45.5 | 33.9 | 25.1 | 19.2 | 17.4 | 18.0 | 21.7 | 29.6 | 42.7 | 57.9 | 66.9 | 68.2 | 65.4 | 64.8 |
| 24 | 44.6 | 44.0 | 49.5 | 53.0 | 44.7 | 30.7 | 20.2 | 14.8 | 12.4 | 12.1 | 12.5 | 14.2 | 17.9 | 26.0 | 37.2 | 46.2 | 47.7 | 43.9 | 42.5 |
| 27 | 23.2 | 22.9 | 29.3 | 33.0 | 28.0 | 19.3 | 13.5 | 11.3 | 10.7 | 10.8 | 11.1 | 11.9 | 13.0 | 15.1 | 19.9 | 26.5 | 29.2 | 26.0 | 24.7 |
| 30 | 14.6 | 14.2 | 16.7 | 19.2 | 16.3 | 13.0 | 10.6 | 9.8 | 9.6 | 9.6 | 10.0 | 10.5 | 11.2 | 11.6 | 13.2 | 16.2 | 17.5 | 17.6 | 17.5 |
| 33 | 13.4 | 12.8 | 13.2 | 12.7 | 10.9 | 9.8 | 9.0 | 8.7 | 8.2 | 8.1 | 8.5 | 9.1 | 9.7 | 10.3 | 11.3 | 12.8 | 14.3 | 15.2 | 15.9 |
| 36 | 13.4 | 12.6 | 11.7 | 10.7 | 9.3 | 8.5 | 8.0 | 7.4 | 6.7 | 6.5 | 6.9 | 7.7 | 8.5 | 9.3 | 10.4 | 11.9 | 13.5 | 14.6 | 15.5 |
| 39 | 13.4 | 12.4 | 11.1 | 9.9 | 8.8 | 7.9 | 7.2 | 6.3 | 5.5 | 5.1 | 5.6 | 6.4 | 7.4 | 8.4 | 9.6 | 11.1 | 12.8 | 14.2 | 15.3 |
| 42 | 13.2 | 12.0 | 10.6 | 9.2 | 8.1 | 7.1 | 6.2 | 5.2 | 4.4 | 3.8 | 4.4 | 5.2 | 6.3 | 7.3 | 8.7 | 10.2 | 11.9 | 13.4 | 14.7 |
| 45 | 12.5 | 11.2 | 9.8 | 8.3 | 7.2 | 6.1 | 5.1 | 4.0 | 3.2 | 2.5 | 3.1 | 4.1 | 5.2 | 6.1 | 7.6 | 9.0 | 10.6 | 12.0 | 13.3 |
| 48 | 11.6 | 10.3 | 8.8 | 7.3 | 6.2 | 5.0 | 3.8 | 2.8 | 2.1 | 1.5 | 2.0 | 2.9 | 3.9 | 5.0 | 6.4 | 7.5 | 9.1 | 10.4 | 11.7 |
| 51 | 10.8 | 9.5 | 8.1 | 6.7 | 5.4 | 4.1 | 3.0 | 2.0 | 1.3 | 0.5 | 1.2 | 2.1 | 3.1 | 4.1 | 5.3 | 6.4 | 7.9 | 9.0 | 10.2 |
| 54 | 9.6 | 8.4 | 7.1 | 5.9 | 4.6 | 3.4 | 2.3 | 1.3 | 0.8 | 0.2 | 0.8 | 1.4 | 2.4 | 3.3 | 4.4 | 5.4 | 6.6 | 7.6 | 8.7 |
| 57 | 8.1 | 7.1 | 6.0 | 5.0 | 3.8 | 2.6 | 1.7 | 0.9 | 0.5 | 0.1 | 0.6 | 1.0 | 1.8 | 2.5 | 3.5 | 4.4 | 5.2 | 6.1 | 7.0 |
| 60 | 6.7 | 5.9 | 5.2 | 4.2 | 3.1 | 2.1 | 1.4 | 0.7 | 0.4 | 0.0 | 0.5 | 0.7 | 1.3 | 1.9 | 2.8 | 3.6 | 4.2 | 4.8 | 5.5 |
| 63 | 5.4 | 4.7 | 4.2 | 3.3 | 2.5 | 1.7 | 1.0 | 0.5 | 0.1 | 0.0 | 0.2 | 0.5 | 0.9 | 1.5 | 2.2 | 2.8 | 3.2 | 3.6 | 4.2 |
| 66 | 4.2 | 3.8 | 3.3 | 2.6 | 1.9 | 1.3 | 0.8 | 0.4 | 0.0 | 0.0 | 0.2 | 0.2 | 0.6 | 1.1 | 1.7 | 2.1 | 2.4 | 2.8 | 3.2 |
| 69 | 3.2 | 2.9 | 2.5 | 1.9 | 1.4 | 1.0 | 0.6 | 0.3 | 0.1 | 0.0 | 0.1 | 0.2 | 0.2 | 0.8 | 1.2 | 1.5 | 1.7 | 2.0 | 2.3 |
| 72 | 2.5 | 2.1 | 1.9 | 1.4 | 1.0 | 0.7 | 0.2 | 0.1 | 0.1 | 0.0 | 0.0 | 0.1 | 0.2 | 0.6 | 0.9 | 1.1 | 1.2 | 1.4 | 1.6 |
| 75 | 2.2 | 1.5 | 1.3 | 0.9 | 0.7 | 0.5 | 0.2 | 0.1 | 0.1 | 0.0 | 0.0 | 0.1 | 0.2 | 0.6 | 0.4 | 0.8 | 0.8 | 1.0 | 1.1 |
| 78 | 1.8 | 1.0 | 0.8 | 0.6 | 0.4 | 0.2 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.5 | 0.4 | 0.5 | 0.6 | 0.6 | 0.7 |
| 81 | 1.4 | 0.7 | 0.6 | 0.0 | 0.4 | 0.0 | 0.1 | 0.0 | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 | 0.2 | 0.3 | 0.2 | 0.2 | 0.4 | 0.1 |
| 84 | 1.1 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 | 0.4 | 0.1 | 0.0 | 0.1 | 0.2 | 0.0 |
| 87 | 0.8 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 0.0 | 0.1 | 0.1 | 0.0 | 0.0 | 0.1 | 0.0 |
| 90 | 0.2 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 | 84.7 |
| 3 | 85.3 | 85.5 | 85.8 | 85.9 | 86.0 | 86.2 | 86.1 | 86.2 | 86.1 | 86.1 | 86.0 | 86.0 | 85.8 | 85.6 | 85.6 | 85.4 | 85.2 |
| 6 | 86.1 | 86.6 | 87.0 | 87.3 | 87.6 | 87.7 | 87.7 | 87.6 | 87.5 | 87.4 | 87.4 | 87.2 | 87.1 | 86.9 | 86.6 | 86.4 | 86.0 |
| 9 | 86.9 | 87.6 | 88.2 | 88.6 | 88.8 | 89.0 | 89.0 | 88.8 | 88.6 | 88.5 | 88.5 | 88.3 | 88.2 | 87.9 | 87.6 | 87.2 | 86.7 |
| 12 | 87.0 | 88.0 | 88.8 | 89.5 | 89.9 | 89.9 | 89.8 | 89.6 | 89.4 | 89.3 | 89.2 | 89.1 | 89.0 | 88.6 | 88.0 | 87.4 | 86.7 |
| 15 | 85.8 | 87.2 | 88.7 | 89.6 | 90.2 | 90.4 | 90.3 | 90.1 | 89.8 | 89.7 | 89.8 | 89.6 | 89.2 | 88.6 | 87.8 | 86.5 | 85.6 |
| 18 | 81.0 | 84.0 | 86.4 | 88.7 | 89.9 | 90.4 | 90.4 | 90.0 | 89.8 | 89.8 | 89.9 | 89.8 | 89.1 | 87.9 | 85.9 | 83.9 | 81.9 |
| 21 | 66.7 | 72.8 | 79.7 | 85.4 | 88.9 | 90.0 | 90.0 | 89.5 | 89.3 | 89.3 | 89.5 | 89.3 | 88.3 | 85.6 | 80.3 | 74.1 | 69.9 |
| 24 | 44.1 | 51.8 | 65.1 | 77.9 | 86.2 | 88.9 | 89.2 | 88.4 | 88.1 | 88.1 | 88.4 | 88.1 | 86.2 | 80.6 | 68.7 | 54.0 | 47.2 |
| 27 | 26.2 | 33.5 | 46.5 | 63.2 | 79.6 | 86.5 | 87.5 | 86.6 | 86.3 | 86.4 | 86.7 | 85.5 | 81.2 | 69.7 | 52.8 | 35.1 | 26.4 |
| 30 | 18.7 | 22.0 | 31.8 | 47.7 | 68.2 | 82.0 | 84.7 | 84.2 | 83.8 | 84.1 | 83.8 | 80.6 | 71.6 | 55.0 | 37.4 | 21.7 | 16.8 |
| 33 | 16.8 | 18.6 | 22.6 | 34.9 | 54.8 | 74.5 | 81.1 | 81.1 | 80.9 | 81.0 | 79.7 | 70.7 | 57.0 | 39.0 | 24.1 | 17.0 | 14.6 |
| 36 | 16.5 | 17.7 | 19.6 | 26.1 | 43.9 | 64.9 | 76.9 | 77.9 | 77.8 | 77.9 | 74.4 | 59.3 | 41.7 | 25.7 | 18.7 | 15.7 | 14.4 |
| 39 | 16.3 | 17.3 | 18.5 | 22.3 | 36.9 | 55.4 | 72.2 | 74.8 | 74.7 | 75.2 | 68.6 | 49.4 | 29.6 | 19.6 | 16.8 | 15.5 | 14.4 |
| 42 | 15.6 | 16.7 | 17.8 | 20.5 | 33.1 | 47.6 | 65.3 | 69.6 | 70.0 | 70.9 | 62.1 | 41.7 | 22.1 | 17.3 | 16.3 | 15.3 | 14.2 |
| 45 | 14.3 | 15.5 | 16.7 | 19.2 | 29.2 | 39.2 | 53.8 | 61.5 | 62.6 | 63.8 | 53.9 | 34.8 | 18.4 | 16.4 | 15.6 | 14.6 | 13.5 |
| 48 | 12.7 | 13.9 | 15.3 | 17.4 | 24.1 | 30.0 | 40.0 | 52.2 | 54.0 | 55.2 | 45.7 | 27.5 | 16.7 | 15.5 | 14.5 | 13.6 | 12.6 |
| 51 | 11.2 | 12.6 | 13.9 | 15.5 | 19.3 | 23.7 | 30.4 | 43.5 | 45.9 | 46.6 | 39.9 | 22.0 | 15.7 | 14.7 | 13.6 | 12.7 | 11.6 |
| 54 | 9.7 | 10.9 | 12.3 | 13.8 | 16.1 | 19.5 | 23.9 | 35.7 | 38.5 | 37.9 | 33.6 | 18.2 | 14.8 | 13.6 | 12.4 | 11.3 | 10.3 |
| 57 | 8.0 | 9.1 | 10.4 | 11.6 | 13.5 | 16.9 | 20.7 | 29.0 | 31.6 | 30.2 | 27.9 | 15.9 | 13.6 | 12.0 | 10.9 | 9.6 | 8.8 |
| 60 | 6.4 | 7.6 | 8.6 | 9.8 | 11.6 | 15.1 | 18.3 | 23.8 | 26.0 | 24.0 | 21.4 | 14.3 | 12.3 | 10.6 | 9.3 | 8.1 | 7.3 |
| 63 | 4.9 | 6.0 | 6.7 | 8.0 | 10.0 | 13.3 | 16.5 | 20.1 | 21.9 | 19.9 | 17.2 | 12.8 | 11.1 | 9.1 | 7.6 | 6.6 | 5.9 |
| 66 | 3.9 | 4.6 | 5.3 | 6.5 | 8.4 | 11.6 | 14.6 | 17.4 | 18.9 | 17.1 | 14.5 | 11.4 | 9.7 | 7.6 | 6.1 | 5.2 | 4.8 |
| 69 | 2.9 | 3.5 | 4.0 | 5.2 | 6.8 | 9.8 | 12.7 | 15.4 | 16.5 | 15.2 | 12.7 | 10.1 | 8.0 | 6.2 | 4.7 | 4.2 | 3.6 |
| 72 | 2.1 | 2.6 | 3.0 | 4.1 | 5.4 | 8.3 | 11.0 | 13.6 | 14.5 | 13.6 | 11.1 | 8.8 | 6.5 | 5.0 | 3.6 | 3.3 | 2.7 |
| 75 | 1.5 | 1.9 | 2.1 | 3.2 | 4.3 | 7.0 | 9.3 | 11.8 | 12.5 | 11.7 | 9.4 | 7.5 | 5.1 | 4.0 | 2.6 | 2.6 | 1.9 |
| 78 | 1.0 | 1.3 | 1.3 | 2.2 | 3.4 | 5.7 | 7.9 | 10.2 | 10.7 | 9.8 | 7.9 | 6.2 | 3.9 | 2.9 | 1.6 | 2.0 | 1.3 |
| 81 | 0.3 | 0.7 | 0.9 | 1.4 | 2.6 | 4.8 | 6.4 | 8.5 | 8.9 | 8.0 | 6.3 | 4.9 | 2.9 | 2.0 | 1.0 | 1.5 | 0.9 |
| 84 | 0.2 | 0.6 | 0.6 | 1.0 | 2.1 | 3.9 | 5.1 | 6.9 | 7.2 | 6.4 | 5.1 | 3.9 | 2.1 | 1.4 | 0.6 | 1.1 | 0.5 |
| 87 | 0.0 | 0.1 | 0.2 | 0.7 | 1.7 | 3.1 | 4.1 | 5.6 | 6.0 | 5.3 | 4.2 | 3.2 | 1.6 | 1.0 | 0.5 | 0.9 | 0.2 |
| 90 | 0.0 | 0.0 | 0.0 | 0.2 | 0.7 | 1.4 | 1.2 | 3.5 | 3.0 | 3.3 | 1.3 | 0.0 | 0.7 | 0.6 | 0.0 | 0.3 | 0.0 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

01-02-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP