| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13088 | Report Date: 06-03-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: RIO 190 | Serial Number: 7173 |
| Lamp Type: LED |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 241.5 | Current (mA)= 82 |
| Power (Watts)= 14.6 | Power factor= 0.7374 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 13-02-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: 7173 RIO 190 |  |  |
| Instrument Used: Labsphere model CSLMS HALOGEN 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 1228.0 |  |  |
| CIE 1931 Chromaticity Cx: 0.3936 |  | CIE 1931 Chromaticity Cy: 0.4229 |
| CRI (%):86.1 |  | CCT (K): 3161 |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 13-02-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 7173 RIO 190 |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1200N-1 Imaging Photometer |  |  |  |
| Photometer Working Distance:1.5 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):24 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens): 1228.0 | Peak Intensity (3° Spot, candelas): 255.2 |  | Efficacy (lumens/Watt): 84.1 |
| Beam Angle (50% of max intensity C0-180, degrees): 100.0 |  |  |  |
| Photometric Filename (IES LM-63-2002): 7173 RIO 190 |  |  |  |
| IES File – Absolute or Relative Format? Absolute |  |  |  |
| Photometric Filename (EULUMDAT): 7173 RIO 190 |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Absolute |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 |
| 5 | 155.4 | 155.2 | 154.3 | 152.7 | 150.6 | 148.0 | 146.1 | 144.4 | 142.3 | 140.2 | 141.9 | 143.5 | 144.9 | 146.6 | 149.3 | 151.6 | 153.5 | 154.8 | 155.4 |
| 10 | 167.3 | 167.3 | 166.6 | 165.9 | 164.4 | 161.8 | 156.7 | 150.4 | 143.6 | 136.4 | 141.7 | 147.0 | 152.4 | 157.1 | 159.7 | 161.8 | 163.9 | 166.0 | 167.3 |
| 15 | 172.6 | 173.1 | 173.3 | 172.5 | 170.6 | 168.8 | 162.1 | 153.7 | 145.9 | 134.1 | 141.8 | 149.1 | 155.6 | 161.0 | 164.9 | 170.3 | 173.3 | 173.6 | 172.6 |
| 20 | 173.8 | 174.8 | 175.7 | 175.4 | 171.3 | 169.5 | 165.4 | 153.5 | 147.1 | 131.8 | 141.3 | 149.1 | 158.5 | 166.8 | 173.4 | 176.4 | 174.7 | 173.3 | 173.8 |
| 25 | 169.4 | 171.0 | 173.2 | 172.1 | 170.9 | 165.9 | 166.1 | 154.5 | 144.2 | 129.8 | 137.7 | 149.2 | 163.0 | 166.9 | 167.9 | 165.2 | 169.4 | 169.1 | 169.4 |
| 30 | 164.0 | 163.5 | 164.5 | 165.1 | 163.9 | 162.6 | 158.1 | 152.0 | 142.2 | 127.7 | 133.3 | 149.8 | 159.2 | 159.8 | 157.6 | 160.8 | 160.0 | 163.0 | 164.0 |
| 35 | 184.6 | 181.2 | 173.4 | 159.0 | 154.0 | 154.5 | 151.4 | 149.1 | 137.0 | 120.5 | 128.7 | 145.8 | 152.8 | 145.1 | 151.0 | 161.3 | 170.6 | 180.0 | 184.6 |
| 40 | 202.2 | 195.9 | 192.6 | 177.9 | 155.8 | 140.2 | 142.7 | 142.7 | 130.7 | 113.2 | 125.2 | 139.1 | 141.9 | 136.0 | 150.5 | 173.2 | 192.4 | 200.5 | 202.2 |
| 45 | 222.9 | 213.6 | 205.0 | 195.8 | 169.8 | 133.4 | 127.0 | 131.5 | 120.9 | 103.7 | 117.6 | 128.9 | 130.7 | 138.7 | 165.3 | 194.9 | 217.2 | 220.0 | 222.9 |
| 50 | 227.5 | 230.4 | 214.0 | 204.2 | 177.1 | 146.5 | 117.7 | 120.7 | 112.0 | 94.2 | 109.2 | 117.0 | 118.2 | 149.2 | 175.2 | 194.3 | 213.7 | 227.0 | 227.5 |
| 55 | 242.9 | 237.7 | 223.8 | 204.6 | 176.0 | 145.9 | 119.9 | 105.3 | 102.1 | 83.7 | 99.3 | 99.2 | 112.5 | 153.8 | 182.3 | 203.7 | 221.7 | 238.1 | 242.9 |
| 60 | 255.2 | 242.8 | 233.7 | 215.2 | 179.9 | 144.4 | 117.7 | 94.8 | 91.5 | 73.2 | 89.0 | 81.3 | 113.1 | 149.6 | 175.1 | 205.8 | 229.5 | 244.8 | 255.2 |
| 65 | 249.8 | 245.8 | 232.3 | 217.0 | 179.7 | 142.9 | 114.9 | 84.9 | 75.7 | 58.5 | 69.1 | 71.9 | 108.5 | 141.3 | 183.9 | 212.5 | 235.2 | 250.1 | 249.8 |
| 70 | 248.7 | 251.1 | 237.1 | 216.9 | 174.1 | 146.2 | 110.3 | 73.9 | 58.5 | 43.8 | 47.8 | 67.8 | 103.2 | 139.0 | 179.2 | 209.2 | 233.6 | 251.5 | 248.7 |
| 75 | 252.8 | 250.5 | 231.9 | 213.5 | 171.7 | 148.7 | 105.6 | 66.1 | 43.1 | 31.3 | 33.0 | 61.7 | 96.7 | 133.7 | 181.5 | 209.9 | 234.1 | 247.4 | 252.8 |
| 80 | 252.3 | 246.5 | 234.6 | 196.3 | 173.1 | 147.2 | 100.5 | 58.5 | 28.3 | 18.8 | 18.6 | 54.8 | 91.1 | 137.1 | 175.8 | 211.5 | 233.2 | 245.0 | 252.3 |
| 85 | 247.6 | 239.0 | 225.7 | 201.4 | 177.0 | 142.8 | 92.6 | 50.0 | 19.7 | 9.4 | 12.9 | 45.1 | 85.3 | 135.4 | 168.2 | 195.7 | 230.7 | 237.6 | 247.6 |
| 90 | 236.2 | 242.7 | 230.6 | 211.2 | 176.3 | 135.1 | 82.6 | 40.8 | 11.1 | 0.0 | 7.3 | 34.4 | 78.7 | 130.7 | 166.7 | 194.1 | 213.5 | 226.3 | 236.2 |
| 95 | 236.9 | 233.0 | 210.3 | 183.9 | 161.4 | 117.0 | 70.7 | 24.5 | 7.0 | 0.0 | 4.5 | 18.0 | 57.9 | 110.1 | 156.1 | 194.1 | 219.2 | 226.6 | 236.9 |
| 100 | 225.0 | 223.6 | 207.7 | 174.5 | 107.7 | 80.0 | 52.6 | 10.0 | 3.0 | 0.0 | 1.7 | 3.9 | 36.5 | 83.3 | 126.0 | 180.2 | 204.1 | 223.2 | 225.0 |
| 105 | 206.2 | 195.1 | 145.8 | 123.1 | 46.7 | 28.6 | 25.5 | 6.4 | 2.1 | 0.0 | 1.5 | 2.5 | 16.2 | 47.8 | 80.2 | 125.7 | 145.9 | 192.3 | 206.2 |
| 110 | 59.5 | 65.6 | 46.7 | 49.4 | 27.8 | 17.3 | 11.1 | 3.2 | 1.3 | 0.0 | 1.2 | 1.5 | 4.2 | 14.3 | 19.9 | 39.6 | 54.3 | 69.5 | 59.5 |
| 115 | 4.4 | 7.4 | 10.9 | 11.3 | 9.3 | 6.5 | 4.3 | 2.2 | 0.6 | 0.0 | 0.6 | 1.4 | 1.9 | 2.0 | 3.4 | 6.1 | 8.4 | 4.7 | 4.4 |
| 120 | 0.0 | 1.2 | 1.9 | 2.3 | 2.3 | 2.6 | 1.7 | 1.7 | 0.0 | 0.0 | 0.0 | 1.3 | 1.6 | 1.7 | 1.8 | 1.5 | 1.2 | 1.1 | 0.0 |
| 125 | 0.0 | 0.5 | 1.3 | 1.3 | 1.7 | 1.8 | 1.3 | 1.3 | 0.0 | 0.0 | 0.2 | 0.8 | 1.2 | 1.4 | 1.8 | 1.3 | 1.2 | 0.9 | 0.0 |
| 130 | 0.0 | 1.1 | 1.1 | 1.3 | 1.5 | 1.5 | 1.3 | 1.2 | 0.0 | 0.0 | 0.5 | 0.3 | 1.1 | 1.3 | 1.4 | 1.1 | 1.0 | 1.0 | 0.0 |
| 135 | 0.0 | 0.6 | 0.8 | 1.2 | 1.3 | 1.2 | 1.2 | 1.0 | 0.0 | 0.0 | 0.4 | 0.8 | 1.1 | 1.1 | 1.3 | 1.1 | 1.1 | 0.0 | 0.0 |
| 140 | 0.3 | 0.7 | 0.9 | 1.0 | 1.5 | 1.1 | 1.0 | 0.2 | 0.0 | 0.0 | 0.0 | 1.0 | 0.7 | 0.4 | 1.0 | 0.5 | 0.9 | 0.7 | 0.3 |
| 145 | 0.0 | 0.3 | 0.4 | 1.0 | 1.0 | 0.4 | 0.7 | 0.2 | 0.0 | 0.0 | 0.0 | 0.3 | 1.1 | 0.8 | 0.3 | 0.8 | 0.6 | 0.7 | 0.0 |
| 150 | 0.0 | 0.5 | 0.4 | 0.8 | 1.0 | 1.0 | 0.0 | 0.7 | 0.0 | 0.0 | 0.0 | 0.0 | 0.6 | 0.7 | 0.5 | 0.4 | 0.6 | 0.1 | 0.0 |
| 155 | 0.0 | 0.4 | 0.7 | 0.4 | 1.0 | 0.3 | 0.0 | 0.3 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.2 | 0.4 | 0.7 | 0.5 | 0.0 |
| 160 | 0.0 | 0.2 | 0.6 | 0.8 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 165 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 170 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 175 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 180 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 | 144.1 |
| 5 | 155.2 | 154.3 | 152.7 | 150.6 | 148.0 | 145.8 | 143.4 | 140.7 | 137.9 | 140.2 | 142.5 | 144.6 | 146.6 | 149.3 | 151.6 | 153.5 | 154.8 |
| 10 | 167.3 | 166.6 | 165.9 | 164.4 | 161.8 | 156.7 | 150.4 | 141.7 | 131.6 | 139.8 | 147.0 | 152.4 | 157.1 | 159.7 | 161.8 | 163.9 | 166.0 |
| 15 | 173.1 | 173.3 | 172.5 | 170.6 | 168.8 | 162.1 | 153.7 | 145.5 | 131.6 | 141.5 | 149.1 | 155.6 | 161.0 | 164.9 | 170.3 | 173.3 | 173.6 |
| 20 | 174.8 | 175.7 | 175.4 | 171.3 | 169.5 | 165.4 | 153.5 | 147.1 | 131.5 | 141.3 | 149.1 | 158.5 | 166.8 | 173.4 | 176.4 | 174.7 | 173.3 |
| 25 | 171.0 | 173.2 | 172.1 | 170.9 | 165.9 | 166.1 | 154.5 | 144.2 | 124.8 | 137.7 | 149.2 | 163.0 | 166.9 | 167.9 | 165.2 | 169.4 | 169.1 |
| 30 | 163.5 | 164.5 | 165.1 | 163.9 | 162.6 | 158.1 | 152.0 | 142.2 | 118.2 | 133.3 | 149.8 | 159.2 | 159.8 | 157.6 | 160.8 | 160.0 | 163.0 |
| 35 | 181.2 | 173.4 | 159.0 | 154.0 | 154.5 | 151.4 | 149.1 | 137.0 | 111.3 | 128.7 | 145.8 | 152.8 | 145.1 | 151.0 | 161.3 | 170.6 | 180.0 |
| 40 | 195.9 | 192.6 | 177.9 | 155.8 | 140.2 | 142.7 | 142.7 | 130.7 | 104.5 | 125.2 | 139.1 | 141.9 | 136.0 | 150.5 | 173.2 | 192.4 | 200.5 |
| 45 | 213.6 | 205.0 | 195.8 | 169.8 | 133.2 | 127.0 | 131.5 | 120.9 | 95.6 | 117.6 | 128.9 | 130.7 | 138.9 | 165.3 | 194.9 | 217.2 | 220.0 |
| 50 | 230.4 | 214.0 | 204.2 | 176.8 | 146.5 | 117.7 | 120.7 | 112.0 | 86.7 | 109.2 | 117.0 | 118.2 | 149.2 | 175.4 | 194.3 | 213.7 | 227.0 |
| 55 | 237.7 | 223.8 | 204.6 | 176.0 | 145.9 | 119.9 | 105.3 | 102.1 | 75.5 | 99.3 | 99.2 | 112.5 | 153.8 | 182.3 | 203.7 | 221.7 | 238.1 |
| 60 | 242.8 | 233.7 | 215.2 | 179.9 | 144.4 | 117.7 | 94.8 | 91.5 | 64.2 | 89.0 | 81.3 | 113.1 | 149.6 | 175.1 | 205.8 | 229.5 | 244.8 |
| 65 | 245.8 | 232.3 | 217.0 | 179.7 | 142.9 | 114.7 | 84.8 | 75.7 | 51.5 | 69.0 | 72.1 | 108.7 | 141.3 | 183.9 | 212.5 | 235.2 | 250.1 |
| 70 | 251.1 | 237.1 | 216.9 | 174.1 | 146.2 | 110.3 | 73.9 | 58.5 | 38.8 | 47.8 | 67.8 | 103.2 | 139.0 | 179.2 | 209.2 | 233.6 | 251.5 |
| 75 | 250.4 | 231.9 | 213.5 | 171.7 | 148.7 | 105.6 | 66.1 | 43.1 | 24.5 | 33.0 | 61.7 | 96.7 | 133.7 | 181.5 | 209.9 | 234.1 | 247.5 |
| 80 | 246.5 | 234.6 | 196.3 | 173.1 | 147.2 | 100.5 | 58.5 | 28.3 | 10.3 | 18.6 | 54.8 | 91.1 | 137.1 | 175.8 | 211.5 | 233.2 | 245.0 |
| 85 | 239.0 | 225.7 | 201.4 | 177.0 | 142.8 | 92.6 | 50.0 | 19.7 | 5.1 | 12.9 | 45.1 | 85.3 | 135.4 | 168.2 | 195.7 | 230.7 | 237.6 |
| 90 | 242.7 | 230.6 | 211.2 | 176.3 | 135.1 | 82.6 | 40.8 | 11.1 | 0.0 | 7.3 | 34.4 | 78.7 | 130.7 | 166.7 | 194.1 | 213.5 | 226.3 |
| 95 | 233.0 | 210.3 | 184.1 | 161.4 | 117.0 | 70.7 | 24.5 | 7.0 | 0.0 | 4.5 | 18.0 | 57.9 | 110.1 | 156.1 | 194.1 | 219.2 | 226.6 |
| 100 | 223.6 | 207.7 | 174.5 | 107.7 | 80.0 | 52.6 | 10.0 | 3.0 | 0.0 | 1.7 | 3.9 | 36.5 | 83.3 | 126.0 | 180.2 | 204.1 | 223.2 |
| 105 | 194.8 | 145.8 | 123.1 | 46.7 | 28.6 | 25.5 | 6.4 | 2.1 | 0.0 | 1.5 | 2.5 | 16.2 | 47.8 | 80.2 | 125.7 | 145.9 | 192.6 |
| 110 | 65.6 | 46.7 | 49.4 | 27.8 | 17.3 | 11.1 | 3.2 | 1.3 | 0.0 | 1.2 | 1.5 | 4.2 | 14.3 | 19.9 | 39.6 | 54.3 | 69.5 |
| 115 | 7.4 | 10.9 | 11.3 | 9.3 | 6.5 | 4.3 | 2.2 | 0.6 | 0.0 | 0.6 | 1.4 | 1.9 | 2.0 | 3.4 | 6.1 | 8.4 | 4.7 |
| 120 | 1.2 | 1.9 | 2.3 | 2.3 | 2.6 | 1.7 | 1.7 | 0.0 | 0.0 | 0.0 | 1.3 | 1.6 | 1.7 | 1.8 | 1.5 | 1.2 | 1.1 |
| 125 | 0.5 | 1.3 | 1.3 | 1.7 | 1.8 | 1.3 | 1.3 | 0.0 | 0.0 | 0.2 | 0.8 | 1.2 | 1.4 | 1.8 | 1.3 | 1.2 | 0.9 |
| 130 | 1.1 | 1.1 | 1.3 | 1.5 | 1.5 | 1.3 | 1.2 | 0.0 | 0.0 | 0.5 | 0.3 | 1.1 | 1.3 | 1.4 | 1.1 | 1.0 | 1.0 |
| 135 | 0.6 | 0.8 | 1.2 | 1.3 | 1.2 | 1.2 | 1.0 | 0.0 | 0.0 | 0.4 | 0.8 | 1.1 | 1.1 | 1.3 | 1.1 | 1.1 | 0.0 |
| 140 | 0.7 | 0.9 | 1.0 | 1.5 | 1.1 | 1.0 | 0.2 | 0.0 | 0.0 | 0.0 | 1.0 | 0.7 | 0.4 | 1.0 | 0.5 | 0.9 | 0.7 |
| 145 | 0.3 | 0.4 | 1.0 | 1.0 | 0.4 | 0.7 | 0.2 | 0.0 | 0.0 | 0.0 | 0.3 | 1.1 | 0.8 | 0.3 | 0.8 | 0.6 | 0.7 |
| 150 | 0.5 | 0.4 | 0.8 | 1.0 | 1.0 | 0.0 | 0.7 | 0.0 | 0.0 | 0.0 | 0.0 | 0.6 | 0.7 | 0.5 | 0.4 | 0.6 | 0.1 |
| 155 | 0.4 | 0.7 | 0.4 | 1.0 | 0.3 | 0.0 | 0.3 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.2 | 0.4 | 0.7 | 0.5 |
| 160 | 0.2 | 0.6 | 0.8 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 165 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 170 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 175 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| 180 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

_________________06-03-2013________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP