| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ12071 | Report Date: 18-12-2012 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic wall light |
| Model: PALERMO 1200 | Serial Number: 0627 |
| Lamp Type: T5 |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 242.2 | Current (mA)= 126 |
| Power (Watts)= 30.07 | Power factor= 0.9877 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 3-12-2012 |  | Ambient Temperature:25°C |
| Measurement Filename: 0627 PALERMO 1200 |  |  |
| Instrument Used: Labsphere model CSLMS LED 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 1001.0 |  | Bare Lamp flux (lumens): 2640 |
| CIE 1931 Chromaticity Cx: 0.4346 |  | CIE 1931 Chromaticity Cy: 0.3897 |
| CRI (%): 85.62 |  | CCT (K): 2914 |
| LOR(%)= 37.9 |  |  |

Figure 1: Spectral Irradiance at 3 metres

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 3-12-2012 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0627 PALERMO 1200 |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1423F-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 3m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):26 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens): 1001.0 | Peak Intensity (3° Spot, candelas): 149.9 |  | Efficacy (lumens/Watt): 33.29 |
| Beam Angle (50% of max intensity C0-180, degrees): 157.9 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0627 PALERMO 1200 |  |  |  |
| IES File – Absolute or Relative Format? Relative |  |  |  |
| Photometric Filename (EULUMDAT): 0627 PALERMO 1200 |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Relative |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 |
| 3 | 147.4 | 146.8 | 145.5 | 146.2 | 146.5 | 147.4 | 147.7 | 146.8 | 145.2 | 144.9 | 145.9 | 148.7 | 150.5 | 149.9 | 145.5 | 142.4 | 140.3 | 141.5 | 143.4 |
| 6 | 143.4 | 144.9 | 145.9 | 144.0 | 144.9 | 145.5 | 148.3 | 151.8 | 151.8 | 149.6 | 149.6 | 151.5 | 150.8 | 147.1 | 144.0 | 143.4 | 143.7 | 143.7 | 146.2 |
| 9 | 136.5 | 142.1 | 145.5 | 141.5 | 144.0 | 146.5 | 149.3 | 147.1 | 145.5 | 151.8 | 154.6 | 150.8 | 148.7 | 147.4 | 144.0 | 143.4 | 144.3 | 141.5 | 144.3 |
| 12 | 136.5 | 144.9 | 140.3 | 141.8 | 145.9 | 145.5 | 147.1 | 148.3 | 149.6 | 150.8 | 154.6 | 153.3 | 149.0 | 145.9 | 144.6 | 146.8 | 142.7 | 139.6 | 146.2 |
| 15 | 137.5 | 138.1 | 139.3 | 142.1 | 142.7 | 148.7 | 148.7 | 149.0 | 149.9 | 155.8 | 152.7 | 151.5 | 149.0 | 147.7 | 150.8 | 142.4 | 145.2 | 143.4 | 145.2 |
| 18 | 135.0 | 139.0 | 137.5 | 143.7 | 149.6 | 145.9 | 149.0 | 152.4 | 153.3 | 152.4 | 154.6 | 152.1 | 154.6 | 147.1 | 148.3 | 140.6 | 137.5 | 134.7 | 139.3 |
| 21 | 134.4 | 135.6 | 132.5 | 139.0 | 139.3 | 150.2 | 152.7 | 151.5 | 161.1 | 154.6 | 156.1 | 153.3 | 154.3 | 153.9 | 147.1 | 141.5 | 135.9 | 131.9 | 139.3 |
| 24 | 130.3 | 130.0 | 133.1 | 135.6 | 144.3 | 144.3 | 150.5 | 153.6 | 158.0 | 158.9 | 153.9 | 155.8 | 151.1 | 148.3 | 143.1 | 139.3 | 134.0 | 131.9 | 133.1 |
| 27 | 123.5 | 130.6 | 128.4 | 130.3 | 136.8 | 149.9 | 148.3 | 158.9 | 158.0 | 162.0 | 161.1 | 155.2 | 152.1 | 146.5 | 139.6 | 138.1 | 132.2 | 129.1 | 130.9 |
| 30 | 123.5 | 123.2 | 125.6 | 135.6 | 139.0 | 139.3 | 151.1 | 154.9 | 161.4 | 162.7 | 158.9 | 159.5 | 154.6 | 150.5 | 144.0 | 140.0 | 129.4 | 127.2 | 128.4 |
| 33 | 119.7 | 118.5 | 124.7 | 132.8 | 136.8 | 148.0 | 152.7 | 151.8 | 155.2 | 164.8 | 162.0 | 158.3 | 150.5 | 148.0 | 138.4 | 135.0 | 129.1 | 125.6 | 124.7 |
| 36 | 112.9 | 114.4 | 118.2 | 129.1 | 140.0 | 142.7 | 148.7 | 154.9 | 160.2 | 157.1 | 160.5 | 158.9 | 152.7 | 145.9 | 139.3 | 136.2 | 119.7 | 120.4 | 118.5 |
| 39 | 111.3 | 108.5 | 118.2 | 127.5 | 132.8 | 144.6 | 150.5 | 154.9 | 160.2 | 156.7 | 163.3 | 161.1 | 150.5 | 144.6 | 139.3 | 129.1 | 118.2 | 112.3 | 116.0 |
| 42 | 103.3 | 102.0 | 116.0 | 120.7 | 132.2 | 142.4 | 152.7 | 156.1 | 156.4 | 158.6 | 160.5 | 158.9 | 152.7 | 143.1 | 140.3 | 125.3 | 111.6 | 109.8 | 107.0 |
| 45 | 99.8 | 95.2 | 107.6 | 116.3 | 133.7 | 135.0 | 149.6 | 156.4 | 162.0 | 153.9 | 157.1 | 155.8 | 149.0 | 141.5 | 135.0 | 119.1 | 111.6 | 106.1 | 105.1 |
| 48 | 92.1 | 93.9 | 102.0 | 115.1 | 127.2 | 137.8 | 145.9 | 151.5 | 157.1 | 162.0 | 158.6 | 158.0 | 150.8 | 140.3 | 128.1 | 117.2 | 102.3 | 99.2 | 97.7 |
| 51 | 85.5 | 85.2 | 101.7 | 111.0 | 121.3 | 134.7 | 145.2 | 148.3 | 153.0 | 160.5 | 163.3 | 156.4 | 149.9 | 144.0 | 130.3 | 112.0 | 100.5 | 92.7 | 85.5 |
| 54 | 76.8 | 78.7 | 90.8 | 111.0 | 115.7 | 129.4 | 140.0 | 151.1 | 156.4 | 157.1 | 158.0 | 156.1 | 146.8 | 135.0 | 122.2 | 107.6 | 100.1 | 86.5 | 84.6 |
| 57 | 67.2 | 71.2 | 85.2 | 105.7 | 116.0 | 128.8 | 136.8 | 145.5 | 151.5 | 153.9 | 158.3 | 149.3 | 143.1 | 134.4 | 117.9 | 100.8 | 91.7 | 80.5 | 72.8 |
| 60 | 66.2 | 65.9 | 80.2 | 95.8 | 110.1 | 131.6 | 135.3 | 146.5 | 152.7 | 153.6 | 159.5 | 150.8 | 138.4 | 131.2 | 120.4 | 101.1 | 87.7 | 73.4 | 65.9 |
| 63 | 56.9 | 64.4 | 71.5 | 88.0 | 104.8 | 122.5 | 139.0 | 147.4 | 149.0 | 154.6 | 151.8 | 148.0 | 139.6 | 128.8 | 112.0 | 96.7 | 81.5 | 66.2 | 57.5 |
| 66 | 45.7 | 51.3 | 63.8 | 87.1 | 108.5 | 115.7 | 130.3 | 142.4 | 149.3 | 152.7 | 151.5 | 146.8 | 134.4 | 122.5 | 106.4 | 94.9 | 74.0 | 57.2 | 53.2 |
| 69 | 39.8 | 44.5 | 60.6 | 82.7 | 102.3 | 118.5 | 128.8 | 141.5 | 145.2 | 146.5 | 145.5 | 140.9 | 130.6 | 117.2 | 104.5 | 88.3 | 67.5 | 53.8 | 42.9 |
| 72 | 32.7 | 42.6 | 57.8 | 76.5 | 100.5 | 111.6 | 128.1 | 136.2 | 144.3 | 143.4 | 143.1 | 137.2 | 130.6 | 118.8 | 100.8 | 82.1 | 64.7 | 45.7 | 33.3 |
| 75 | 23.6 | 33.0 | 52.9 | 71.5 | 90.8 | 107.9 | 126.0 | 132.5 | 143.7 | 148.3 | 140.9 | 136.8 | 130.3 | 117.2 | 96.1 | 80.2 | 58.8 | 37.9 | 27.4 |
| 78 | 16.8 | 25.8 | 47.0 | 71.2 | 86.8 | 106.4 | 118.8 | 131.6 | 140.3 | 141.8 | 140.3 | 132.2 | 126.6 | 114.8 | 91.7 | 76.2 | 51.3 | 32.3 | 17.1 |
| 81 | 10.6 | 21.5 | 44.8 | 61.9 | 81.5 | 102.6 | 114.4 | 124.1 | 133.7 | 138.7 | 138.4 | 133.7 | 124.4 | 112.3 | 89.9 | 71.8 | 48.8 | 25.5 | 11.8 |
| 84 | 5.3 | 17.4 | 38.9 | 61.9 | 79.9 | 95.8 | 107.9 | 122.5 | 131.6 | 136.8 | 133.7 | 125.3 | 118.5 | 105.1 | 86.5 | 69.7 | 45.1 | 21.5 | 6.5 |
| 87 | 2.8 | 13.1 | 33.6 | 55.4 | 75.9 | 91.4 | 107.0 | 119.7 | 124.1 | 126.6 | 124.4 | 122.8 | 112.0 | 98.0 | 86.5 | 62.2 | 38.3 | 17.4 | 2.8 |
| 90 | 0.0 | 10.0 | 28.9 | 47.9 | 71.8 | 88.6 | 98.6 | 116.9 | 115.4 | 130.9 | 125.0 | 116.0 | 103.9 | 92.4 | 74.3 | 56.9 | 36.7 | 14.6 | 0.0 |
| 93 | 0.0 | 10.0 | 28.9 | 47.9 | 71.8 | 88.6 | 98.6 | 116.9 | 115.4 | 130.9 | 125.0 | 116.0 | 103.9 | 92.4 | 74.3 | 56.9 | 36.7 | 14.6 | 0.0 |
| 96 | 0.6 | 10.0 | 29.5 | 46.3 | 63.8 | 79.0 | 88.0 | 104.8 | 119.1 | 124.7 | 118.8 | 107.6 | 90.8 | 80.5 | 67.8 | 47.0 | 33.0 | 12.8 | 1.2 |
| 99 | 0.6 | 6.8 | 23.6 | 39.2 | 52.6 | 64.4 | 84.0 | 98.6 | 113.2 | 119.7 | 111.3 | 101.4 | 85.2 | 67.2 | 51.9 | 40.7 | 26.4 | 8.4 | 0.6 |
| 102 | 0.0 | 4.4 | 20.2 | 36.4 | 51.9 | 65.6 | 85.2 | 93.9 | 109.8 | 114.8 | 108.5 | 95.8 | 85.2 | 65.0 | 51.0 | 35.8 | 21.8 | 6.2 | 0.0 |
| 105 | 0.6 | 5.6 | 20.2 | 35.1 | 53.8 | 67.2 | 85.2 | 94.5 | 107.9 | 109.2 | 107.6 | 96.7 | 84.6 | 68.4 | 53.2 | 36.4 | 21.8 | 5.6 | 0.6 |
| 108 | 0.6 | 5.0 | 18.3 | 36.4 | 51.6 | 65.6 | 80.5 | 91.7 | 102.0 | 104.8 | 102.9 | 92.4 | 79.6 | 67.2 | 52.6 | 35.8 | 20.2 | 7.2 | 0.6 |
| 111 | 1.2 | 5.0 | 17.4 | 33.0 | 49.1 | 63.8 | 79.0 | 92.4 | 96.4 | 102.9 | 98.6 | 90.2 | 76.2 | 63.8 | 50.4 | 35.8 | 21.1 | 8.4 | 1.2 |
| 114 | 0.6 | 5.0 | 16.8 | 32.3 | 46.3 | 62.2 | 77.1 | 86.1 | 93.9 | 95.2 | 91.1 | 85.2 | 72.8 | 60.0 | 47.0 | 32.0 | 19.0 | 9.0 | 1.2 |
| 117 | 0.0 | 5.6 | 16.2 | 29.2 | 46.0 | 60.0 | 75.6 | 82.4 | 87.4 | 91.1 | 90.2 | 84.6 | 71.5 | 56.6 | 43.5 | 30.2 | 18.0 | 8.4 | 1.2 |
| 120 | 0.6 | 5.0 | 16.2 | 27.4 | 43.2 | 54.4 | 70.0 | 77.8 | 82.4 | 84.6 | 81.2 | 78.4 | 70.6 | 54.7 | 40.4 | 29.5 | 16.2 | 8.4 | 1.2 |
| 123 | 0.6 | 4.4 | 15.2 | 26.7 | 39.8 | 54.4 | 65.6 | 75.0 | 78.4 | 79.0 | 79.0 | 75.0 | 64.4 | 51.9 | 40.4 | 28.6 | 16.8 | 7.2 | 1.2 |
| 126 | 0.6 | 4.4 | 13.4 | 26.4 | 39.2 | 50.4 | 62.8 | 68.7 | 72.2 | 74.0 | 71.2 | 68.4 | 62.2 | 51.6 | 37.6 | 25.2 | 16.2 | 7.2 | 1.2 |
| 129 | 0.6 | 4.4 | 12.8 | 24.6 | 36.4 | 46.3 | 56.0 | 63.8 | 67.8 | 68.4 | 67.2 | 65.0 | 58.8 | 47.6 | 35.8 | 25.2 | 14.6 | 6.8 | 1.2 |
| 132 | 0.6 | 3.4 | 11.8 | 22.4 | 31.4 | 44.2 | 53.2 | 58.2 | 61.6 | 65.6 | 63.1 | 58.2 | 52.6 | 44.8 | 33.0 | 23.0 | 14.0 | 6.2 | 1.6 |
| 135 | 0.6 | 3.4 | 10.6 | 19.6 | 29.5 | 40.7 | 49.1 | 54.4 | 57.5 | 61.0 | 58.2 | 54.7 | 49.8 | 40.4 | 31.4 | 21.8 | 12.8 | 6.2 | 1.6 |
| 138 | 0.6 | 3.4 | 10.0 | 19.0 | 28.0 | 35.1 | 43.2 | 49.1 | 54.4 | 53.8 | 52.6 | 50.4 | 44.2 | 38.6 | 29.5 | 19.6 | 11.2 | 5.6 | 1.6 |
| 141 | 0.6 | 2.8 | 10.0 | 17.4 | 25.2 | 34.8 | 39.8 | 44.8 | 49.8 | 49.8 | 49.8 | 46.0 | 40.4 | 35.8 | 27.4 | 19.0 | 10.6 | 5.0 | 2.2 |
| 144 | 0.6 | 2.8 | 7.8 | 16.2 | 23.9 | 28.6 | 36.4 | 40.7 | 43.5 | 44.2 | 44.8 | 42.0 | 36.4 | 30.2 | 24.6 | 16.8 | 9.0 | 4.4 | 1.6 |
| 147 | 0.6 | 2.8 | 7.8 | 13.4 | 20.2 | 26.7 | 32.3 | 36.4 | 39.8 | 39.2 | 39.2 | 37.6 | 33.0 | 27.4 | 22.4 | 15.6 | 8.4 | 4.4 | 1.6 |
| 150 | 0.6 | 2.2 | 6.8 | 12.4 | 18.0 | 24.6 | 30.8 | 32.3 | 34.8 | 36.4 | 34.8 | 33.6 | 29.5 | 25.2 | 19.6 | 14.0 | 7.8 | 3.4 | 1.6 |
| 153 | 0.6 | 1.6 | 5.6 | 10.0 | 16.2 | 19.6 | 25.8 | 28.6 | 30.2 | 30.8 | 32.0 | 29.2 | 25.8 | 21.8 | 15.6 | 11.8 | 7.2 | 3.4 | 1.2 |
| 156 | 0.0 | 1.6 | 5.0 | 9.0 | 12.8 | 18.3 | 21.8 | 23.9 | 26.7 | 28.0 | 26.7 | 25.2 | 22.4 | 19.0 | 14.6 | 10.0 | 5.6 | 2.8 | 1.2 |
| 159 | 0.6 | 1.6 | 4.0 | 7.2 | 10.6 | 13.4 | 18.3 | 19.0 | 22.4 | 21.8 | 22.4 | 21.8 | 18.0 | 15.2 | 11.8 | 7.8 | 5.0 | 2.8 | 1.2 |
| 162 | 0.6 | 1.2 | 3.4 | 5.6 | 8.4 | 11.8 | 14.6 | 16.2 | 17.4 | 18.3 | 19.0 | 16.8 | 14.0 | 13.4 | 10.0 | 7.2 | 4.0 | 2.2 | 1.2 |
| 165 | 0.6 | 1.2 | 2.2 | 4.0 | 7.2 | 9.6 | 11.2 | 12.8 | 14.0 | 14.0 | 14.0 | 12.8 | 11.8 | 9.6 | 7.2 | 5.6 | 3.4 | 1.6 | 1.2 |
| 168 | 0.6 | 0.6 | 1.6 | 4.0 | 5.6 | 6.8 | 7.8 | 10.0 | 10.0 | 10.6 | 10.0 | 10.0 | 8.4 | 7.2 | 6.2 | 4.0 | 2.8 | 1.6 | 1.2 |
| 171 | 0.6 | 0.6 | 1.6 | 2.8 | 4.0 | 5.0 | 5.6 | 6.2 | 7.2 | 7.2 | 7.2 | 7.2 | 6.2 | 5.0 | 4.0 | 2.2 | 1.6 | 1.2 | 0.6 |
| 174 | 0.6 | 0.6 | 1.2 | 2.2 | 2.2 | 2.8 | 4.0 | 4.0 | 4.4 | 4.4 | 4.4 | 4.4 | 4.0 | 3.4 | 2.8 | 2.2 | 1.6 | 0.6 | 0.6 |
| 177 | 0.0 | 0.6 | 1.2 | 1.2 | 1.2 | 1.6 | 1.6 | 2.2 | 2.8 | 2.8 | 2.8 | 2.8 | 2.2 | 1.6 | 1.6 | 1.6 | 1.2 | 0.6 | 0.6 |
| 180 | 0.6 | 0.0 | 0.6 | 0.0 | 0.6 | 1.2 | 1.2 | 1.2 | 1.2 | 0.6 | 0.6 | 1.2 | 1.2 | 1.2 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 | 149.9 |
| 3 | 145.5 | 147.1 | 148.0 | 149.3 | 149.0 | 147.4 | 146.5 | 146.2 | 147.1 | 148.0 | 148.3 | 148.3 | 149.3 | 149.6 | 149.3 | 147.7 | 147.7 |
| 6 | 144.6 | 144.0 | 148.0 | 152.1 | 151.5 | 147.7 | 144.3 | 144.9 | 146.8 | 146.5 | 146.8 | 145.5 | 144.3 | 144.9 | 146.2 | 146.5 | 144.6 |
| 9 | 140.6 | 143.1 | 143.7 | 143.4 | 148.3 | 150.2 | 147.7 | 148.0 | 150.5 | 151.8 | 148.0 | 147.4 | 149.9 | 147.7 | 144.6 | 143.7 | 140.3 |
| 12 | 141.2 | 143.7 | 145.5 | 145.5 | 149.9 | 152.4 | 150.8 | 154.9 | 152.4 | 150.5 | 149.3 | 150.5 | 152.1 | 147.7 | 140.9 | 144.0 | 141.2 |
| 15 | 135.0 | 142.1 | 142.1 | 146.8 | 146.2 | 154.3 | 153.0 | 156.4 | 152.4 | 150.5 | 150.2 | 155.2 | 148.3 | 145.2 | 147.1 | 140.3 | 140.3 |
| 18 | 136.2 | 139.6 | 142.4 | 146.8 | 149.3 | 152.4 | 153.6 | 155.5 | 156.1 | 154.3 | 158.3 | 151.1 | 150.5 | 147.1 | 139.0 | 142.1 | 138.7 |
| 21 | 132.8 | 135.3 | 140.6 | 146.2 | 149.9 | 151.8 | 152.1 | 155.8 | 158.6 | 161.1 | 156.7 | 151.1 | 149.0 | 142.1 | 141.8 | 134.0 | 141.5 |
| 24 | 131.9 | 135.0 | 137.5 | 143.1 | 156.1 | 151.5 | 161.4 | 158.9 | 160.5 | 155.5 | 156.7 | 153.3 | 146.5 | 143.1 | 139.0 | 139.3 | 131.2 |
| 27 | 130.6 | 133.4 | 140.9 | 142.7 | 151.1 | 155.8 | 158.9 | 161.7 | 155.8 | 158.3 | 161.4 | 155.5 | 151.8 | 146.2 | 137.5 | 135.6 | 130.9 |
| 30 | 125.0 | 133.1 | 136.8 | 141.8 | 151.5 | 154.6 | 158.3 | 158.9 | 166.1 | 163.0 | 158.3 | 156.4 | 149.0 | 143.1 | 137.8 | 125.6 | 126.3 |
| 33 | 120.0 | 128.8 | 135.9 | 140.3 | 148.0 | 152.4 | 159.2 | 167.0 | 166.4 | 162.7 | 157.4 | 154.9 | 151.1 | 136.5 | 131.6 | 123.5 | 120.4 |
| 36 | 121.9 | 119.7 | 133.7 | 139.3 | 144.6 | 153.9 | 158.6 | 158.9 | 166.4 | 160.8 | 158.0 | 151.5 | 148.3 | 144.3 | 132.2 | 121.9 | 118.5 |
| 39 | 113.5 | 118.2 | 132.5 | 141.5 | 142.4 | 150.8 | 157.1 | 163.9 | 168.9 | 162.3 | 160.8 | 154.3 | 147.4 | 138.1 | 130.0 | 123.5 | 109.5 |
| 42 | 113.2 | 112.6 | 126.0 | 140.0 | 142.7 | 148.7 | 159.9 | 164.5 | 160.5 | 162.0 | 163.0 | 149.3 | 145.5 | 136.5 | 126.3 | 116.0 | 104.2 |
| 45 | 102.9 | 110.1 | 120.7 | 134.7 | 142.7 | 149.9 | 152.7 | 162.0 | 163.0 | 163.0 | 158.0 | 153.0 | 144.0 | 132.8 | 125.6 | 112.0 | 101.7 |
| 48 | 99.2 | 104.2 | 113.8 | 130.3 | 145.9 | 148.7 | 153.3 | 163.3 | 164.5 | 163.9 | 158.0 | 152.7 | 141.8 | 137.5 | 119.1 | 104.2 | 93.0 |
| 51 | 92.1 | 99.5 | 110.4 | 125.0 | 136.8 | 153.0 | 154.3 | 158.6 | 158.6 | 160.5 | 155.8 | 146.2 | 143.1 | 129.1 | 111.0 | 103.3 | 91.4 |
| 54 | 86.5 | 94.5 | 105.4 | 121.6 | 137.5 | 144.9 | 155.2 | 159.9 | 163.3 | 161.1 | 157.7 | 147.4 | 137.2 | 125.6 | 115.4 | 101.4 | 77.4 |
| 57 | 77.8 | 89.6 | 101.7 | 117.6 | 137.8 | 143.7 | 151.1 | 159.9 | 161.1 | 157.7 | 157.7 | 143.7 | 132.2 | 121.0 | 107.9 | 92.1 | 76.5 |
| 60 | 72.2 | 83.3 | 94.2 | 112.6 | 128.8 | 143.4 | 150.8 | 156.7 | 162.0 | 156.4 | 154.9 | 141.8 | 135.9 | 117.2 | 102.9 | 84.3 | 69.7 |
| 63 | 65.9 | 78.4 | 95.8 | 110.4 | 124.1 | 141.2 | 150.5 | 153.6 | 156.7 | 157.4 | 154.9 | 143.4 | 128.4 | 108.9 | 95.8 | 77.1 | 65.3 |
| 66 | 56.6 | 70.9 | 89.6 | 106.4 | 119.7 | 133.7 | 142.4 | 155.5 | 153.0 | 149.6 | 149.9 | 137.8 | 126.9 | 113.2 | 93.6 | 72.8 | 56.3 |
| 69 | 51.3 | 67.2 | 84.9 | 102.6 | 119.7 | 134.0 | 143.4 | 149.9 | 153.9 | 153.0 | 145.9 | 136.8 | 123.2 | 108.9 | 89.3 | 68.1 | 47.6 |
| 72 | 42.9 | 61.9 | 83.7 | 102.0 | 112.6 | 131.9 | 139.6 | 148.3 | 152.4 | 149.3 | 145.9 | 135.9 | 121.0 | 104.2 | 83.7 | 64.7 | 44.5 |
| 75 | 36.7 | 55.4 | 76.2 | 99.2 | 116.3 | 128.8 | 135.6 | 144.9 | 151.5 | 150.2 | 140.9 | 127.5 | 117.6 | 95.5 | 76.2 | 57.8 | 36.7 |
| 78 | 28.0 | 48.5 | 71.8 | 93.3 | 115.7 | 125.0 | 137.8 | 142.1 | 143.1 | 148.0 | 134.4 | 128.4 | 107.3 | 90.8 | 71.2 | 52.9 | 29.9 |
| 81 | 22.7 | 46.3 | 70.9 | 85.2 | 108.2 | 124.7 | 128.8 | 140.3 | 141.8 | 144.0 | 135.6 | 119.4 | 107.3 | 88.3 | 70.9 | 49.1 | 25.5 |
| 84 | 19.0 | 41.4 | 64.7 | 86.8 | 105.4 | 116.3 | 130.3 | 137.8 | 141.2 | 135.6 | 133.7 | 117.2 | 104.8 | 84.9 | 65.9 | 43.5 | 20.5 |
| 87 | 14.9 | 37.0 | 61.6 | 82.7 | 100.1 | 111.3 | 122.2 | 131.2 | 134.7 | 129.7 | 127.2 | 113.2 | 100.1 | 79.9 | 61.6 | 40.7 | 16.5 |
| 90 | 11.8 | 34.2 | 55.4 | 78.4 | 93.6 | 108.2 | 117.9 | 121.0 | 125.3 | 118.5 | 121.3 | 107.6 | 91.7 | 77.8 | 57.2 | 38.9 | 14.0 |
| 93 | 11.8 | 34.2 | 55.4 | 78.4 | 93.6 | 108.2 | 117.9 | 121.0 | 125.3 | 118.5 | 121.3 | 107.6 | 91.7 | 77.8 | 57.2 | 38.9 | 14.0 |
| 96 | 7.8 | 27.4 | 45.4 | 63.8 | 81.2 | 100.1 | 110.7 | 121.0 | 130.9 | 128.1 | 114.8 | 107.6 | 88.9 | 67.8 | 51.9 | 33.6 | 10.6 |
| 99 | 2.8 | 20.2 | 39.2 | 58.8 | 79.9 | 96.4 | 110.4 | 118.2 | 128.1 | 127.2 | 112.6 | 102.9 | 84.6 | 63.1 | 43.2 | 25.8 | 6.2 |
| 102 | 2.8 | 15.2 | 33.0 | 52.6 | 74.0 | 91.1 | 105.7 | 111.3 | 121.9 | 120.4 | 108.5 | 98.0 | 79.6 | 57.2 | 39.8 | 21.1 | 5.0 |
| 105 | 3.4 | 14.6 | 32.0 | 51.9 | 70.0 | 85.2 | 100.1 | 107.0 | 116.9 | 116.0 | 102.3 | 92.4 | 74.3 | 57.2 | 40.4 | 21.8 | 5.6 |
| 108 | 4.4 | 14.0 | 30.2 | 46.0 | 65.0 | 78.4 | 93.0 | 102.0 | 110.7 | 110.7 | 99.5 | 88.9 | 71.5 | 54.7 | 37.6 | 19.0 | 6.2 |
| 111 | 5.6 | 15.2 | 28.6 | 44.8 | 61.6 | 75.0 | 88.0 | 100.8 | 107.0 | 102.3 | 94.5 | 84.6 | 71.2 | 52.6 | 35.1 | 19.6 | 6.2 |
| 114 | 5.0 | 15.6 | 28.0 | 42.0 | 58.2 | 72.2 | 84.6 | 96.4 | 98.0 | 98.6 | 89.6 | 80.5 | 67.2 | 49.8 | 32.3 | 18.3 | 6.2 |
| 117 | 5.0 | 14.0 | 26.4 | 39.2 | 51.9 | 67.2 | 81.8 | 93.0 | 93.6 | 93.9 | 86.1 | 77.8 | 63.1 | 48.2 | 31.4 | 18.0 | 5.6 |
| 120 | 5.6 | 12.8 | 23.9 | 37.0 | 50.4 | 65.9 | 79.0 | 87.4 | 88.9 | 86.1 | 82.7 | 71.5 | 58.8 | 44.2 | 30.2 | 16.8 | 5.0 |
| 123 | 4.4 | 13.4 | 23.9 | 37.0 | 49.1 | 60.3 | 75.0 | 83.3 | 85.2 | 82.4 | 77.1 | 68.7 | 57.5 | 43.5 | 28.6 | 16.2 | 5.0 |
| 126 | 4.4 | 11.8 | 21.8 | 33.6 | 48.2 | 59.4 | 67.2 | 74.3 | 76.8 | 76.8 | 70.6 | 62.8 | 54.4 | 43.2 | 28.0 | 14.6 | 4.4 |
| 129 | 4.4 | 12.4 | 20.2 | 32.0 | 44.8 | 56.0 | 66.6 | 71.5 | 71.5 | 69.4 | 65.6 | 59.4 | 49.1 | 37.6 | 26.7 | 14.0 | 4.0 |
| 132 | 4.0 | 9.6 | 19.6 | 29.5 | 41.4 | 51.9 | 56.6 | 65.0 | 66.6 | 67.2 | 60.3 | 56.0 | 46.3 | 35.1 | 25.8 | 14.0 | 4.0 |
| 135 | 4.0 | 9.6 | 18.3 | 28.0 | 37.6 | 48.8 | 54.4 | 60.0 | 61.0 | 60.0 | 56.0 | 51.0 | 42.6 | 32.3 | 21.8 | 12.4 | 3.4 |
| 138 | 4.0 | 8.4 | 16.8 | 26.4 | 36.4 | 42.0 | 48.2 | 55.4 | 57.5 | 54.7 | 51.6 | 47.6 | 37.6 | 29.2 | 20.2 | 11.2 | 3.4 |
| 141 | 3.4 | 7.8 | 16.2 | 25.2 | 32.0 | 38.6 | 46.0 | 48.2 | 50.4 | 48.8 | 46.3 | 40.4 | 35.1 | 28.0 | 18.0 | 10.6 | 2.8 |
| 144 | 2.8 | 7.2 | 15.2 | 21.8 | 29.2 | 35.8 | 41.4 | 43.2 | 44.2 | 45.4 | 42.6 | 37.6 | 31.4 | 24.6 | 16.8 | 9.0 | 2.2 |
| 147 | 2.8 | 6.2 | 12.4 | 19.0 | 26.7 | 32.3 | 35.1 | 37.9 | 39.8 | 39.8 | 37.6 | 33.6 | 29.2 | 21.8 | 14.6 | 7.2 | 2.8 |
| 150 | 2.8 | 5.6 | 10.0 | 16.8 | 22.4 | 27.4 | 31.4 | 33.6 | 35.8 | 35.8 | 33.6 | 29.5 | 25.8 | 18.3 | 12.4 | 6.8 | 2.2 |
| 153 | 1.6 | 4.4 | 7.8 | 14.6 | 20.8 | 23.6 | 27.4 | 30.8 | 32.0 | 29.5 | 30.2 | 25.2 | 20.2 | 16.8 | 10.6 | 5.6 | 2.2 |
| 156 | 2.2 | 4.0 | 6.8 | 12.4 | 17.4 | 19.6 | 24.6 | 26.4 | 27.4 | 26.4 | 23.9 | 21.8 | 18.3 | 12.8 | 8.4 | 4.4 | 1.6 |
| 159 | 1.6 | 3.4 | 5.6 | 10.0 | 13.4 | 16.8 | 19.6 | 23.0 | 21.8 | 21.8 | 20.2 | 17.4 | 14.6 | 10.6 | 6.8 | 4.0 | 1.6 |
| 162 | 1.2 | 3.4 | 4.0 | 7.2 | 11.2 | 12.8 | 15.2 | 16.8 | 19.0 | 16.8 | 16.2 | 14.0 | 11.2 | 7.8 | 5.6 | 3.4 | 1.2 |
| 165 | 1.2 | 2.2 | 3.4 | 5.6 | 7.8 | 9.0 | 11.2 | 11.8 | 12.8 | 12.4 | 11.2 | 10.0 | 7.8 | 7.2 | 4.4 | 2.8 | 1.2 |
| 168 | 1.2 | 1.6 | 2.8 | 4.4 | 6.2 | 6.2 | 8.4 | 8.4 | 9.0 | 8.4 | 7.8 | 7.8 | 6.2 | 5.0 | 3.4 | 2.2 | 0.6 |
| 171 | 0.6 | 1.6 | 2.2 | 3.4 | 4.4 | 5.0 | 6.2 | 6.2 | 6.8 | 5.6 | 6.2 | 5.0 | 4.4 | 3.4 | 2.2 | 1.6 | 0.6 |
| 174 | 0.6 | 1.2 | 1.6 | 1.6 | 2.8 | 3.4 | 4.0 | 4.0 | 4.0 | 4.0 | 4.0 | 4.0 | 2.8 | 2.8 | 1.6 | 1.2 | 0.6 |
| 177 | 0.6 | 0.6 | 1.2 | 1.6 | 1.6 | 2.2 | 2.2 | 2.2 | 2.8 | 2.2 | 2.2 | 1.6 | 1.6 | 1.2 | 0.6 | 1.2 | 0.6 |
| 180 | 0.6 | 0.6 | 0.6 | 0.0 | 0.6 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0.6 | 0.6 | 0.6 | 0.6 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

18-12-2012

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP