| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ12075 | Report Date: 18-12-2012 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic wall light |
| Model: ROMANO 1200 | Serial Number: 0765 |
| Lamp Type: T5 |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 239.7 | Current (mA)= 120.9 |
| Power (Watts)= 28.59 | Power factor= 0.9862 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 6-12-2012 |  | Ambient Temperature:25°C |
| Measurement Filename: 0765 ROMANO 1200 |  |  |
| Instrument Used: Labsphere model CSLMS LED 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 1022.1 |  | Bare Lamp flux (lumens): 2640 |
| CIE 1931 Chromaticity Cx: 0.4612 |  | CIE 1931 Chromaticity Cy: 0.4157 |
| CRI (%): 85.01 |  | CCT (K): 2724 |
| LOR(%)= 38.7 |  |  |

Figure 1: Spectral Irradiance at 2 metres

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 6-12-2012 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 0765 ROMANO 1200 |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1423F-1 Imaging Photometer |  |  |  |
| Photometer Working Distance: 23m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):26 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens): 1022.1 | Peak Intensity (3° Spot, candelas): |  | Efficacy (lumens/Watt): 35.75 |
| Beam Angle (50% of max intensity C0-180, degrees): 141.7 |  |  |  |
| Photometric Filename (IES LM-63-2002): 0765 ROMANO 1200 |  |  |  |
| IES File – Absolute or Relative Format? Relative |  |  |  |
| Photometric Filename (EULUMDAT): 0765 ROMANO 1200 |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Relative |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 5. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 |
| 3 | 139.7 | 139.5 | 138.4 | 138.2 | 138.8 | 139.3 | 139.0 | 138.6 | 139.3 | 140.1 | 139.1 | 138.2 | 136.4 | 135.2 | 135.0 | 135.3 | 136.9 | 138.6 | 139.1 |
| 6 | 132.1 | 134.9 | 139.8 | 137.9 | 134.9 | 134.2 | 133.9 | 138.4 | 144.4 | 144.4 | 142.3 | 142.7 | 143.0 | 142.3 | 138.8 | 136.6 | 136.4 | 137.3 | 140.6 |
| 9 | 131.0 | 138.0 | 142.2 | 134.5 | 136.9 | 138.7 | 142.0 | 139.7 | 138.7 | 145.1 | 148.1 | 145.5 | 141.2 | 142.2 | 142.7 | 138.4 | 138.2 | 132.3 | 134.5 |
| 12 | 132.0 | 133.5 | 135.4 | 137.3 | 143.0 | 145.9 | 144.6 | 146.8 | 149.4 | 148.2 | 150.8 | 146.7 | 150.3 | 147.2 | 140.0 | 140.4 | 135.2 | 128.1 | 137.9 |
| 15 | 128.0 | 133.5 | 135.0 | 140.1 | 142.7 | 143.4 | 148.6 | 147.6 | 154.0 | 151.4 | 154.0 | 149.3 | 149.2 | 144.8 | 139.0 | 139.1 | 135.0 | 129.0 | 139.3 |
| 18 | 124.3 | 132.8 | 136.4 | 135.3 | 143.3 | 143.7 | 147.4 | 156.1 | 160.2 | 156.1 | 153.7 | 156.3 | 151.0 | 150.0 | 144.9 | 137.5 | 136.9 | 128.4 | 138.0 |
| 21 | 121.5 | 131.0 | 126.3 | 143.7 | 143.1 | 150.8 | 152.6 | 154.4 | 160.0 | 163.8 | 158.9 | 157.3 | 148.1 | 148.7 | 147.6 | 136.1 | 136.1 | 122.2 | 135.9 |
| 24 | 123.7 | 125.3 | 127.2 | 135.4 | 142.7 | 147.9 | 155.9 | 159.7 | 160.2 | 166.0 | 159.3 | 160.3 | 155.5 | 150.1 | 145.9 | 134.2 | 133.6 | 121.3 | 129.1 |
| 27 | 116.8 | 122.8 | 128.3 | 132.3 | 140.0 | 156.2 | 155.6 | 165.0 | 162.5 | 165.8 | 167.0 | 164.2 | 155.1 | 155.4 | 141.9 | 136.9 | 135.2 | 117.8 | 129.1 |
| 30 | 121.8 | 118.5 | 128.4 | 138.6 | 146.0 | 151.6 | 163.6 | 160.9 | 166.5 | 168.8 | 164.0 | 165.1 | 155.6 | 154.1 | 141.5 | 138.3 | 127.8 | 117.0 | 126.9 |
| 33 | 115.0 | 114.8 | 123.7 | 134.7 | 143.7 | 152.9 | 158.2 | 161.5 | 165.4 | 165.8 | 172.4 | 166.0 | 158.2 | 155.5 | 140.8 | 144.9 | 121.8 | 115.1 | 119.9 |
| 36 | 104.6 | 109.7 | 119.2 | 130.9 | 149.0 | 149.6 | 161.0 | 165.8 | 168.3 | 170.5 | 169.9 | 164.0 | 159.9 | 149.9 | 139.0 | 136.8 | 120.6 | 114.7 | 115.8 |
| 39 | 99.1 | 102.3 | 115.2 | 133.8 | 136.0 | 155.4 | 158.9 | 165.0 | 168.7 | 171.2 | 168.3 | 164.7 | 158.2 | 148.2 | 141.1 | 133.6 | 113.4 | 110.4 | 109.7 |
| 42 | 95.8 | 100.8 | 113.4 | 122.0 | 142.6 | 155.8 | 154.3 | 173.4 | 169.2 | 175.0 | 167.0 | 166.0 | 155.1 | 148.9 | 140.8 | 129.8 | 111.8 | 108.2 | 105.3 |
| 45 | 92.7 | 89.8 | 104.6 | 121.7 | 135.3 | 145.9 | 155.1 | 166.0 | 167.9 | 168.1 | 169.5 | 168.4 | 159.6 | 144.1 | 148.1 | 125.3 | 101.9 | 100.4 | 101.6 |
| 48 | 87.3 | 88.3 | 97.5 | 116.4 | 133.9 | 142.7 | 155.1 | 161.5 | 170.3 | 167.9 | 171.4 | 163.2 | 151.6 | 147.6 | 139.4 | 122.1 | 102.0 | 96.9 | 96.4 |
| 51 | 81.5 | 83.3 | 103.0 | 109.7 | 132.4 | 139.5 | 150.3 | 157.7 | 171.9 | 166.7 | 164.7 | 162.2 | 147.5 | 140.6 | 135.7 | 111.1 | 96.9 | 91.8 | 88.3 |
| 54 | 70.5 | 78.8 | 95.8 | 111.1 | 121.3 | 138.2 | 154.3 | 164.9 | 167.4 | 162.5 | 160.2 | 157.0 | 150.0 | 143.3 | 124.0 | 109.4 | 95.2 | 86.5 | 80.6 |
| 57 | 66.8 | 72.5 | 94.5 | 106.1 | 118.8 | 132.5 | 144.1 | 157.4 | 163.9 | 159.1 | 160.0 | 152.3 | 144.1 | 138.6 | 123.7 | 102.6 | 88.0 | 79.3 | 72.9 |
| 60 | 63.3 | 66.7 | 78.5 | 97.5 | 115.6 | 136.4 | 147.1 | 155.0 | 157.0 | 163.1 | 159.7 | 149.7 | 139.3 | 134.5 | 118.1 | 99.0 | 85.5 | 72.5 | 66.4 |
| 63 | 58.3 | 62.6 | 77.5 | 91.6 | 108.5 | 126.7 | 140.5 | 150.3 | 153.7 | 152.1 | 151.2 | 148.6 | 141.3 | 127.0 | 109.2 | 97.6 | 78.6 | 66.5 | 62.0 |
| 66 | 45.9 | 54.7 | 71.2 | 93.9 | 107.9 | 121.3 | 132.3 | 148.3 | 149.4 | 151.0 | 151.2 | 146.2 | 137.2 | 124.6 | 103.4 | 89.9 | 74.4 | 61.9 | 53.8 |
| 69 | 38.4 | 47.1 | 64.6 | 86.3 | 103.0 | 118.6 | 126.6 | 139.4 | 149.2 | 149.7 | 147.5 | 141.2 | 131.4 | 122.9 | 99.8 | 81.0 | 68.3 | 53.5 | 43.9 |
| 72 | 34.4 | 43.0 | 58.1 | 80.4 | 96.1 | 113.3 | 125.1 | 131.8 | 139.5 | 138.0 | 141.9 | 136.1 | 125.3 | 109.8 | 98.6 | 78.2 | 59.5 | 47.6 | 37.1 |
| 75 | 25.8 | 37.0 | 53.2 | 69.3 | 85.9 | 101.3 | 121.4 | 129.5 | 141.6 | 138.6 | 141.1 | 130.5 | 115.0 | 103.5 | 92.4 | 76.1 | 55.1 | 37.8 | 27.8 |
| 78 | 18.6 | 31.6 | 50.5 | 63.8 | 81.0 | 98.8 | 115.2 | 127.7 | 136.4 | 137.3 | 130.1 | 128.7 | 111.6 | 103.9 | 81.9 | 65.3 | 49.2 | 31.2 | 19.7 |
| 81 | 11.8 | 24.2 | 41.4 | 57.7 | 78.4 | 92.0 | 109.8 | 122.4 | 128.3 | 126.7 | 131.3 | 121.3 | 110.3 | 94.1 | 80.8 | 61.2 | 43.0 | 22.4 | 12.0 |
| 84 | 6.0 | 18.6 | 36.8 | 53.1 | 71.6 | 88.9 | 109.3 | 117.9 | 125.0 | 125.7 | 126.5 | 114.5 | 103.8 | 87.2 | 71.6 | 54.6 | 37.9 | 18.0 | 6.4 |
| 87 | 2.2 | 14.0 | 33.4 | 51.1 | 62.4 | 84.4 | 105.1 | 115.9 | 120.8 | 123.3 | 122.2 | 110.1 | 102.6 | 85.1 | 69.1 | 54.5 | 34.4 | 14.9 | 3.2 |
| 90 | 1.5 | 10.7 | 32.6 | 50.3 | 69.1 | 82.4 | 92.1 | 103.8 | 111.6 | 112.6 | 114.7 | 101.5 | 95.3 | 82.1 | 71.4 | 50.6 | 32.5 | 14.7 | 1.2 |
| 93 | 1.4 | 10.7 | 30.7 | 50.6 | 73.7 | 83.7 | 96.1 | 104.4 | 111.9 | 113.6 | 107.5 | 102.7 | 92.1 | 85.1 | 72.2 | 49.8 | 29.7 | 14.3 | 2.1 |
| 96 | 1.4 | 9.9 | 30.9 | 50.6 | 70.7 | 81.0 | 94.9 | 103.5 | 109.7 | 117.3 | 107.5 | 103.1 | 95.6 | 87.2 | 70.8 | 51.7 | 32.3 | 12.4 | 1.7 |
| 99 | 1.4 | 9.8 | 28.6 | 49.4 | 67.5 | 81.7 | 95.6 | 103.0 | 109.2 | 116.8 | 111.1 | 102.8 | 97.2 | 82.4 | 68.9 | 49.6 | 30.5 | 12.8 | 2.5 |
| 102 | 2.1 | 8.4 | 24.2 | 45.3 | 63.0 | 79.6 | 93.4 | 101.9 | 109.4 | 113.3 | 110.4 | 102.3 | 93.4 | 79.7 | 63.7 | 46.9 | 27.5 | 13.8 | 2.5 |
| 105 | 1.0 | 9.3 | 22.3 | 41.0 | 62.6 | 79.3 | 89.5 | 100.9 | 107.5 | 110.1 | 110.1 | 99.4 | 87.7 | 79.7 | 66.4 | 45.3 | 28.0 | 13.6 | 2.2 |
| 108 | 1.1 | 10.3 | 27.8 | 44.0 | 58.6 | 74.5 | 87.2 | 98.6 | 104.6 | 107.8 | 109.0 | 97.3 | 82.4 | 73.4 | 63.0 | 45.0 | 26.2 | 13.8 | 2.1 |
| 111 | 1.4 | 9.2 | 26.8 | 43.0 | 54.7 | 71.2 | 89.1 | 91.4 | 99.1 | 104.9 | 104.9 | 94.3 | 85.0 | 72.3 | 60.5 | 43.2 | 25.7 | 12.8 | 3.2 |
| 114 | 1.4 | 8.9 | 25.8 | 38.9 | 56.9 | 68.9 | 79.3 | 94.3 | 101.6 | 99.4 | 98.8 | 95.2 | 83.7 | 70.3 | 58.3 | 43.9 | 25.7 | 14.2 | 3.0 |
| 117 | 1.4 | 8.7 | 22.0 | 39.2 | 54.6 | 65.2 | 75.1 | 90.0 | 95.3 | 94.5 | 90.5 | 89.5 | 79.6 | 67.6 | 53.1 | 41.9 | 24.6 | 12.8 | 3.5 |
| 120 | 1.5 | 8.9 | 21.2 | 39.6 | 53.1 | 61.6 | 72.9 | 82.8 | 95.3 | 94.5 | 88.5 | 89.1 | 78.5 | 63.4 | 54.9 | 41.2 | 22.6 | 12.2 | 3.7 |
| 123 | 1.5 | 8.7 | 21.5 | 35.7 | 48.0 | 64.1 | 70.7 | 81.0 | 89.1 | 90.3 | 87.3 | 81.5 | 77.7 | 61.7 | 49.8 | 38.4 | 22.6 | 12.7 | 4.0 |
| 126 | 1.1 | 8.4 | 20.9 | 31.5 | 46.9 | 63.3 | 67.8 | 75.9 | 82.9 | 86.6 | 84.3 | 74.7 | 72.5 | 60.9 | 45.9 | 37.7 | 22.6 | 11.1 | 3.0 |
| 129 | 1.4 | 7.4 | 19.4 | 32.3 | 46.0 | 54.2 | 68.0 | 70.4 | 76.7 | 83.2 | 80.0 | 73.0 | 69.8 | 59.0 | 44.0 | 34.2 | 20.9 | 11.8 | 3.9 |
| 132 | 1.5 | 7.6 | 16.9 | 31.2 | 38.9 | 52.8 | 61.6 | 65.0 | 71.2 | 75.2 | 75.6 | 70.4 | 63.7 | 53.6 | 41.4 | 33.1 | 19.8 | 10.2 | 3.2 |
| 135 | 1.7 | 6.9 | 16.8 | 28.5 | 37.9 | 52.3 | 54.6 | 63.8 | 67.9 | 69.0 | 69.1 | 67.5 | 55.8 | 51.6 | 38.6 | 31.8 | 19.5 | 10.2 | 2.5 |
| 138 | 1.8 | 5.5 | 14.9 | 26.4 | 37.4 | 45.0 | 53.9 | 59.9 | 64.1 | 66.3 | 60.8 | 61.5 | 52.0 | 48.7 | 37.4 | 28.5 | 17.2 | 9.9 | 2.6 |
| 141 | 1.8 | 5.6 | 14.6 | 22.3 | 34.2 | 42.2 | 48.1 | 54.6 | 59.3 | 61.3 | 59.1 | 56.8 | 49.2 | 43.2 | 34.7 | 25.4 | 16.8 | 8.2 | 2.1 |
| 144 | 1.8 | 4.7 | 11.8 | 22.1 | 29.8 | 37.0 | 45.1 | 50.2 | 53.4 | 53.2 | 53.1 | 49.1 | 47.6 | 39.9 | 31.8 | 22.8 | 14.9 | 8.2 | 2.6 |
| 147 | 1.7 | 4.6 | 11.6 | 19.2 | 26.2 | 34.1 | 41.7 | 42.9 | 47.4 | 49.6 | 50.0 | 46.3 | 42.4 | 34.7 | 28.7 | 20.1 | 13.8 | 7.0 | 2.5 |
| 150 | 1.7 | 4.1 | 9.5 | 16.2 | 24.9 | 29.8 | 35.6 | 39.3 | 41.5 | 45.5 | 43.9 | 41.7 | 35.2 | 29.4 | 25.4 | 17.3 | 12.7 | 6.3 | 1.8 |
| 153 | 1.1 | 4.0 | 8.7 | 14.3 | 21.0 | 25.4 | 31.4 | 35.9 | 37.5 | 37.7 | 37.0 | 35.6 | 29.8 | 27.6 | 23.0 | 15.2 | 11.3 | 6.9 | 2.9 |
| 156 | 1.7 | 3.3 | 7.7 | 12.8 | 17.3 | 22.4 | 26.9 | 29.8 | 31.4 | 32.5 | 33.0 | 30.1 | 27.3 | 24.6 | 18.6 | 13.3 | 8.7 | 6.6 | 2.2 |
| 159 | 1.5 | 2.9 | 6.3 | 9.8 | 14.5 | 19.0 | 23.2 | 24.2 | 24.8 | 26.1 | 25.4 | 23.5 | 22.6 | 19.7 | 14.6 | 10.6 | 8.1 | 4.8 | 1.8 |
| 162 | 1.4 | 2.5 | 5.2 | 8.2 | 11.6 | 14.5 | 15.9 | 19.5 | 20.8 | 20.1 | 20.2 | 20.8 | 17.0 | 14.5 | 11.6 | 9.5 | 6.7 | 4.7 | 2.1 |
| 165 | 1.8 | 2.5 | 3.9 | 5.8 | 8.7 | 10.2 | 12.0 | 14.5 | 15.2 | 16.6 | 16.2 | 14.6 | 12.9 | 11.6 | 10.0 | 7.4 | 6.0 | 4.1 | 1.9 |
| 168 | 1.4 | 2.3 | 3.2 | 4.3 | 5.8 | 6.9 | 7.8 | 9.2 | 10.5 | 10.6 | 10.7 | 10.0 | 8.1 | 7.7 | 7.3 | 5.8 | 4.3 | 2.9 | 2.1 |
| 171 | 1.1 | 2.1 | 2.6 | 3.2 | 4.0 | 4.8 | 5.9 | 6.0 | 5.8 | 6.4 | 6.7 | 6.2 | 5.8 | 5.6 | 4.8 | 4.3 | 3.3 | 2.3 | 1.5 |
| 174 | 1.5 | 2.2 | 2.5 | 2.8 | 2.9 | 3.2 | 3.5 | 3.6 | 3.7 | 3.7 | 3.7 | 3.5 | 3.5 | 3.2 | 2.9 | 2.6 | 1.1 | 2.1 | 1.4 |
| 177 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 |
| 180 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 | 141.7 |
| 3 | 139.7 | 138.0 | 135.9 | 136.6 | 138.2 | 139.5 | 138.6 | 138.0 | 135.3 | 135.0 | 135.2 | 138.8 | 140.2 | 141.1 | 140.1 | 140.0 | 139.7 |
| 6 | 140.0 | 137.1 | 137.5 | 138.8 | 138.4 | 136.8 | 139.5 | 140.4 | 139.5 | 142.4 | 144.4 | 140.4 | 135.2 | 137.5 | 138.8 | 136.0 | 140.0 |
| 9 | 133.5 | 137.5 | 134.3 | 140.5 | 141.6 | 139.1 | 141.5 | 143.4 | 145.3 | 142.2 | 145.2 | 145.2 | 142.2 | 140.0 | 137.5 | 138.6 | 133.5 |
| 12 | 132.5 | 137.6 | 140.2 | 139.3 | 145.2 | 148.1 | 145.5 | 145.3 | 145.7 | 154.8 | 150.1 | 143.3 | 143.4 | 139.5 | 140.4 | 135.0 | 132.5 |
| 15 | 130.3 | 140.4 | 139.5 | 138.2 | 146.5 | 145.7 | 147.4 | 157.5 | 153.4 | 150.4 | 151.0 | 152.1 | 144.0 | 144.5 | 138.0 | 132.7 | 130.3 |
| 18 | 124.3 | 138.3 | 136.6 | 143.3 | 148.3 | 150.1 | 154.5 | 157.3 | 152.9 | 160.9 | 159.9 | 153.7 | 147.5 | 146.0 | 136.5 | 132.4 | 124.3 |
| 21 | 126.9 | 138.7 | 132.8 | 148.2 | 148.9 | 156.9 | 164.0 | 162.2 | 156.1 | 160.7 | 158.6 | 156.9 | 153.9 | 141.7 | 140.6 | 130.7 | 126.9 |
| 24 | 120.2 | 135.6 | 133.9 | 148.3 | 145.7 | 158.6 | 160.3 | 165.8 | 163.9 | 160.7 | 164.0 | 160.4 | 151.4 | 144.8 | 139.1 | 134.1 | 120.2 |
| 27 | 117.9 | 131.7 | 140.4 | 146.2 | 152.5 | 159.2 | 164.6 | 171.0 | 168.3 | 164.0 | 165.7 | 159.2 | 154.8 | 139.7 | 135.2 | 127.6 | 117.9 |
| 30 | 116.6 | 128.1 | 138.3 | 144.0 | 159.5 | 160.4 | 168.3 | 173.0 | 169.5 | 167.7 | 166.2 | 159.3 | 151.4 | 145.7 | 129.0 | 128.5 | 116.6 |
| 33 | 111.9 | 125.5 | 134.1 | 141.1 | 157.4 | 162.2 | 164.9 | 172.7 | 173.1 | 171.3 | 167.6 | 158.0 | 154.5 | 142.2 | 134.2 | 122.8 | 111.9 |
| 36 | 110.9 | 123.3 | 139.3 | 140.1 | 155.2 | 163.6 | 167.0 | 179.0 | 172.1 | 175.3 | 166.7 | 163.6 | 147.5 | 146.2 | 130.7 | 118.4 | 110.9 |
| 39 | 111.4 | 116.4 | 133.8 | 145.9 | 150.7 | 159.3 | 167.2 | 173.2 | 173.8 | 171.9 | 168.0 | 157.7 | 153.6 | 136.0 | 129.5 | 113.2 | 111.4 |
| 42 | 106.8 | 113.6 | 132.1 | 143.5 | 151.0 | 161.4 | 171.3 | 173.2 | 173.1 | 175.4 | 169.2 | 155.5 | 149.4 | 138.8 | 120.7 | 117.9 | 106.8 |
| 45 | 102.3 | 106.4 | 128.8 | 143.4 | 154.5 | 162.4 | 167.7 | 174.2 | 176.5 | 170.5 | 162.0 | 157.5 | 147.1 | 135.0 | 122.5 | 105.2 | 102.3 |
| 48 | 96.6 | 100.1 | 122.5 | 137.7 | 149.3 | 157.4 | 165.0 | 174.8 | 176.0 | 172.5 | 163.8 | 155.2 | 148.3 | 134.3 | 114.0 | 97.0 | 96.6 |
| 51 | 87.6 | 99.0 | 121.0 | 135.3 | 145.9 | 155.9 | 166.7 | 172.0 | 173.6 | 172.4 | 163.1 | 157.1 | 142.9 | 129.4 | 110.3 | 102.7 | 87.6 |
| 54 | 85.1 | 91.7 | 114.4 | 135.2 | 150.0 | 155.2 | 161.0 | 167.2 | 177.3 | 170.1 | 165.8 | 154.8 | 134.7 | 124.0 | 108.9 | 92.7 | 85.1 |
| 57 | 81.9 | 92.1 | 108.3 | 127.3 | 142.9 | 150.0 | 163.1 | 163.1 | 173.0 | 168.4 | 163.1 | 145.5 | 132.4 | 116.4 | 102.0 | 88.0 | 81.9 |
| 60 | 74.5 | 87.0 | 102.2 | 125.1 | 138.4 | 157.4 | 161.3 | 162.8 | 165.7 | 164.2 | 159.6 | 141.7 | 133.2 | 117.1 | 98.2 | 80.0 | 74.5 |
| 63 | 67.8 | 77.9 | 96.6 | 116.6 | 138.8 | 150.8 | 151.0 | 160.4 | 164.9 | 160.3 | 150.5 | 141.3 | 131.0 | 108.1 | 90.3 | 72.0 | 67.8 |
| 66 | 64.6 | 75.2 | 94.1 | 114.1 | 127.8 | 144.9 | 148.2 | 154.0 | 159.9 | 159.9 | 147.9 | 138.2 | 120.7 | 103.7 | 90.6 | 71.8 | 64.6 |
| 69 | 56.8 | 68.6 | 88.1 | 113.0 | 124.6 | 134.3 | 146.3 | 157.4 | 153.4 | 152.2 | 142.3 | 131.3 | 120.7 | 102.2 | 83.5 | 62.7 | 56.8 |
| 72 | 48.4 | 64.4 | 84.0 | 101.9 | 118.5 | 134.7 | 147.1 | 146.8 | 150.0 | 145.6 | 139.0 | 128.3 | 109.8 | 95.6 | 79.0 | 60.6 | 48.4 |
| 75 | 36.6 | 57.7 | 78.4 | 98.8 | 112.2 | 128.8 | 140.6 | 143.0 | 146.5 | 145.3 | 133.4 | 117.0 | 104.6 | 89.9 | 72.2 | 56.8 | 36.6 |
| 78 | 32.2 | 52.3 | 71.1 | 92.1 | 107.8 | 120.6 | 137.1 | 137.1 | 140.5 | 139.3 | 131.6 | 115.8 | 105.9 | 81.4 | 67.4 | 49.9 | 32.2 |
| 81 | 23.4 | 46.6 | 65.8 | 83.3 | 102.3 | 114.5 | 130.1 | 137.5 | 139.0 | 132.7 | 130.2 | 112.9 | 97.0 | 79.7 | 59.3 | 42.2 | 23.4 |
| 84 | 20.3 | 41.8 | 62.7 | 77.1 | 98.6 | 112.5 | 124.7 | 131.4 | 134.1 | 134.5 | 118.5 | 109.6 | 88.3 | 77.1 | 54.9 | 38.9 | 20.3 |
| 87 | 14.7 | 35.6 | 56.2 | 72.0 | 96.1 | 112.9 | 119.3 | 123.6 | 125.5 | 125.5 | 115.2 | 98.3 | 84.4 | 71.1 | 51.0 | 32.9 | 14.7 |
| 90 | 10.2 | 27.5 | 52.0 | 75.2 | 90.7 | 100.8 | 111.6 | 119.3 | 126.5 | 122.0 | 117.5 | 109.4 | 94.9 | 80.3 | 59.4 | 34.9 | 10.2 |
| 93 | 8.8 | 27.1 | 48.5 | 75.9 | 90.9 | 101.6 | 110.0 | 118.8 | 122.2 | 121.7 | 117.4 | 109.3 | 94.1 | 74.3 | 53.9 | 32.6 | 8.8 |
| 96 | 8.4 | 25.7 | 50.3 | 70.8 | 86.6 | 95.7 | 103.5 | 118.5 | 118.4 | 119.5 | 111.1 | 102.8 | 88.5 | 72.6 | 54.6 | 31.9 | 8.4 |
| 99 | 7.4 | 25.3 | 47.7 | 66.7 | 83.7 | 95.6 | 104.2 | 114.3 | 121.7 | 117.9 | 108.3 | 99.9 | 85.0 | 68.5 | 50.6 | 29.0 | 7.4 |
| 102 | 9.2 | 26.1 | 46.2 | 66.1 | 79.3 | 91.8 | 100.9 | 110.3 | 120.7 | 120.4 | 107.6 | 98.3 | 83.6 | 64.4 | 46.7 | 25.7 | 9.2 |
| 105 | 8.5 | 22.0 | 43.9 | 63.7 | 76.1 | 86.2 | 103.9 | 110.5 | 115.0 | 109.6 | 106.1 | 96.5 | 78.2 | 65.7 | 42.9 | 26.2 | 8.5 |
| 108 | 10.7 | 20.9 | 41.1 | 59.8 | 74.1 | 81.9 | 97.7 | 108.2 | 111.1 | 106.9 | 100.6 | 94.1 | 76.3 | 60.6 | 42.8 | 26.4 | 10.7 |
| 111 | 10.2 | 20.1 | 40.3 | 57.3 | 69.8 | 83.9 | 97.5 | 104.9 | 104.1 | 103.3 | 99.8 | 92.7 | 75.4 | 56.4 | 43.6 | 24.6 | 10.2 |
| 114 | 9.6 | 21.0 | 38.8 | 53.5 | 65.8 | 82.2 | 93.8 | 96.9 | 98.3 | 100.2 | 96.5 | 85.1 | 73.4 | 58.1 | 40.6 | 23.4 | 9.6 |
| 117 | 9.5 | 19.0 | 39.3 | 52.1 | 63.9 | 79.2 | 94.3 | 94.9 | 97.0 | 97.3 | 94.2 | 82.5 | 66.4 | 54.9 | 41.1 | 21.3 | 9.5 |
| 120 | 8.8 | 17.3 | 35.5 | 49.9 | 59.5 | 77.8 | 88.3 | 89.9 | 95.3 | 94.7 | 85.0 | 77.9 | 65.8 | 52.7 | 37.2 | 20.3 | 8.8 |
| 123 | 7.6 | 18.1 | 34.7 | 45.6 | 62.0 | 73.7 | 83.3 | 84.3 | 91.0 | 91.0 | 84.3 | 74.5 | 63.3 | 49.2 | 36.1 | 19.8 | 7.6 |
| 126 | 7.3 | 18.7 | 31.2 | 43.2 | 57.5 | 72.0 | 77.8 | 82.9 | 84.3 | 81.5 | 76.3 | 68.9 | 61.0 | 47.8 | 31.1 | 18.1 | 7.3 |
| 129 | 7.0 | 15.8 | 30.4 | 39.6 | 54.9 | 67.4 | 71.2 | 81.0 | 81.8 | 78.4 | 74.4 | 64.5 | 55.7 | 46.0 | 31.9 | 18.6 | 7.0 |
| 132 | 6.7 | 15.2 | 26.7 | 38.4 | 51.8 | 59.3 | 64.6 | 75.1 | 73.7 | 73.7 | 67.8 | 61.6 | 52.3 | 39.0 | 30.7 | 17.3 | 6.7 |
| 135 | 5.9 | 13.6 | 24.5 | 35.1 | 47.6 | 52.9 | 60.9 | 66.5 | 69.4 | 70.4 | 62.6 | 56.4 | 50.0 | 37.5 | 26.9 | 15.8 | 5.9 |
| 138 | 5.9 | 13.3 | 23.8 | 32.0 | 43.5 | 49.5 | 58.1 | 59.1 | 64.9 | 60.9 | 59.7 | 54.2 | 46.2 | 37.8 | 26.0 | 13.3 | 5.9 |
| 141 | 5.2 | 13.5 | 20.6 | 30.1 | 39.0 | 46.5 | 52.3 | 56.2 | 59.1 | 59.3 | 52.0 | 49.5 | 38.9 | 31.8 | 22.6 | 12.0 | 5.2 |
| 144 | 4.4 | 11.1 | 18.6 | 28.3 | 35.5 | 41.9 | 46.0 | 52.1 | 52.7 | 53.4 | 49.1 | 43.9 | 37.2 | 29.6 | 20.1 | 11.8 | 4.4 |
| 147 | 3.6 | 9.5 | 15.8 | 26.0 | 29.7 | 37.7 | 41.8 | 46.7 | 48.1 | 44.8 | 43.6 | 41.4 | 34.0 | 25.4 | 19.8 | 10.2 | 3.6 |
| 150 | 3.7 | 8.9 | 14.0 | 21.9 | 27.5 | 34.0 | 38.1 | 39.2 | 43.3 | 41.7 | 37.4 | 33.8 | 28.9 | 22.4 | 16.2 | 9.5 | 3.7 |
| 153 | 2.8 | 7.3 | 11.6 | 17.9 | 24.4 | 27.2 | 32.6 | 33.7 | 37.0 | 34.9 | 37.1 | 31.6 | 25.3 | 18.6 | 13.9 | 8.1 | 2.8 |
| 156 | 2.3 | 6.2 | 9.8 | 14.5 | 19.7 | 23.9 | 26.8 | 30.9 | 29.8 | 27.6 | 27.1 | 24.5 | 21.6 | 16.9 | 10.7 | 6.7 | 2.3 |
| 159 | 2.5 | 5.5 | 8.7 | 11.7 | 16.9 | 19.2 | 22.0 | 23.8 | 24.5 | 24.9 | 23.0 | 20.2 | 16.3 | 13.5 | 9.1 | 5.1 | 2.5 |
| 162 | 2.3 | 4.1 | 7.0 | 9.1 | 11.1 | 14.5 | 16.5 | 18.1 | 18.8 | 18.3 | 16.5 | 15.8 | 14.3 | 10.5 | 7.3 | 4.1 | 2.3 |
| 165 | 2.2 | 3.3 | 4.7 | 6.9 | 8.4 | 9.5 | 11.8 | 13.2 | 13.9 | 14.3 | 12.2 | 10.3 | 10.2 | 7.0 | 5.1 | 3.0 | 2.2 |
| 168 | 1.8 | 3.0 | 3.9 | 4.7 | 6.3 | 7.3 | 7.8 | 8.7 | 8.5 | 8.7 | 8.0 | 6.9 | 5.9 | 4.8 | 3.6 | 2.6 | 1.8 |
| 171 | 1.7 | 1.9 | 2.2 | 2.6 | 3.7 | 4.3 | 4.4 | 4.7 | 5.1 | 4.8 | 4.7 | 4.1 | 3.3 | 2.6 | 2.2 | 1.9 | 1.7 |
| 174 | 1.5 | 1.5 | 1.8 | 1.9 | 2.3 | 2.5 | 2.5 | 2.6 | 2.5 | 2.5 | 2.2 | 2.2 | 1.9 | 1.8 | 1.7 | 1.7 | 1.5 |
| 177 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 |
| 180 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

18-12-2012

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP