| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13220 | Report Date: 01-07-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: DIO | Serial Number: DIO |
| Lamp Type: LED |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 244.0 | Current (mA)= 44 |
| Power (Watts)= 4.53 | Power factor= 0.4194 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 28-06-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: 7101 DIO |  |  |
| Instrument Used: Labsphere model CSLMS HALOGEN 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 02-05-2013 (02:42) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens):292.8 |  |  |
| CIE 1931 Chromaticity Cx: 0.4343 |  | CIE 1931 Chromaticity Cy: 0.4042 |
| CRI (%):84.23 |  | CCT (K): 3044 |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 28-06-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 7101 DIO |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1200N-1 Imaging Photometer |  |  |  |
| Photometer Working Distance:2 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 13201 |  |
| Calibration Certificate Date: 15th March 2013 |  | Sample Stabilisation Time (minutes):45 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):292.8 | Peak Intensity (3° Spot, candelas): 80.3 |  | Efficacy (lumens/Watt): 64.8 |
| Beam Angle (50% of max intensity C0-180, degrees): 90.0 |  |  |  |
| Photometric Filename (IES LM-63-2002): 7101 DIO |  |  |  |
| IES File – Absolute or Relative Format? Absolute |  |  |  |
| Photometric Filename (EULUMDAT): 7101 DIO |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Absolute |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 |
| 3 | 38 | 39 | 39 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 39 | 39 | 38 | 38 |
| 6 | 38 | 38 | 39 | 40 | 40 | 41 | 41 | 41 | 42 | 42 | 42 | 42 | 41 | 41 | 41 | 40 | 39 | 38 | 37 |
| 9 | 38 | 38 | 39 | 40 | 42 | 42 | 43 | 44 | 44 | 45 | 44 | 44 | 43 | 43 | 42 | 40 | 39 | 38 | 38 |
| 12 | 37 | 39 | 40 | 41 | 42 | 44 | 45 | 46 | 46 | 47 | 47 | 46 | 46 | 44 | 43 | 42 | 40 | 39 | 37 |
| 15 | 36 | 38 | 40 | 42 | 43 | 45 | 47 | 48 | 49 | 49 | 48 | 48 | 47 | 46 | 43 | 42 | 40 | 38 | 37 |
| 18 | 36 | 38 | 40 | 42 | 46 | 47 | 49 | 50 | 50 | 51 | 51 | 50 | 48 | 47 | 45 | 43 | 40 | 38 | 36 |
| 21 | 34 | 38 | 40 | 42 | 45 | 48 | 51 | 51 | 53 | 53 | 53 | 52 | 51 | 49 | 45 | 43 | 40 | 37 | 35 |
| 24 | 34 | 37 | 40 | 42 | 46 | 49 | 52 | 54 | 54 | 56 | 55 | 53 | 53 | 49 | 46 | 42 | 39 | 37 | 34 |
| 27 | 32 | 35 | 39 | 43 | 46 | 50 | 54 | 56 | 57 | 58 | 57 | 56 | 54 | 50 | 47 | 43 | 39 | 36 | 33 |
| 30 | 32 | 35 | 39 | 43 | 48 | 51 | 54 | 58 | 59 | 59 | 60 | 58 | 55 | 51 | 47 | 43 | 38 | 35 | 32 |
| 33 | 30 | 33 | 39 | 43 | 46 | 53 | 56 | 58 | 60 | 62 | 61 | 59 | 55 | 52 | 47 | 42 | 38 | 34 | 30 |
| 36 | 29 | 33 | 36 | 42 | 48 | 54 | 57 | 60 | 62 | 62 | 63 | 60 | 57 | 53 | 48 | 42 | 37 | 33 | 29 |
| 39 | 27 | 31 | 37 | 43 | 47 | 53 | 57 | 63 | 64 | 65 | 65 | 62 | 59 | 54 | 47 | 41 | 36 | 31 | 28 |
| 42 | 26 | 30 | 35 | 40 | 47 | 54 | 60 | 64 | 65 | 66 | 65 | 64 | 60 | 54 | 47 | 40 | 35 | 30 | 26 |
| 45 | 24 | 28 | 33 | 41 | 48 | 53 | 59 | 63 | 67 | 69 | 68 | 65 | 61 | 53 | 47 | 40 | 34 | 29 | 24 |
| 48 | 22 | 27 | 33 | 40 | 46 | 53 | 60 | 66 | 69 | 71 | 68 | 66 | 59 | 53 | 46 | 40 | 32 | 27 | 22 |
| 51 | 20 | 26 | 32 | 38 | 46 | 54 | 60 | 66 | 71 | 72 | 70 | 67 | 60 | 52 | 46 | 38 | 32 | 26 | 21 |
| 54 | 19 | 24 | 30 | 37 | 46 | 54 | 62 | 68 | 72 | 72 | 69 | 65 | 60 | 52 | 45 | 38 | 30 | 23 | 19 |
| 57 | 17 | 22 | 29 | 36 | 46 | 55 | 63 | 68 | 73 | 73 | 71 | 67 | 61 | 54 | 44 | 37 | 29 | 22 | 17 |
| 60 | 15 | 21 | 28 | 36 | 45 | 53 | 61 | 69 | 72 | 73 | 72 | 67 | 61 | 53 | 44 | 35 | 27 | 20 | 15 |
| 63 | 13 | 18 | 27 | 35 | 44 | 53 | 61 | 68 | 73 | 75 | 73 | 68 | 62 | 53 | 43 | 34 | 26 | 19 | 13 |
| 66 | 11 | 16 | 24 | 34 | 43 | 52 | 62 | 71 | 74 | 77 | 74 | 70 | 63 | 53 | 44 | 34 | 24 | 16 | 11 |
| 69 | 10 | 14 | 22 | 31 | 42 | 53 | 63 | 70 | 75 | 77 | 76 | 71 | 63 | 52 | 43 | 33 | 22 | 14 | 9 |
| 72 | 7 | 13 | 21 | 31 | 43 | 53 | 65 | 72 | 78 | 80 | 77 | 72 | 64 | 53 | 41 | 31 | 20 | 12 | 7 |
| 75 | 5 | 11 | 20 | 30 | 41 | 54 | 64 | 73 | 79 | 79 | 78 | 72 | 64 | 53 | 41 | 30 | 19 | 10 | 5 |
| 78 | 4 | 9 | 18 | 29 | 41 | 54 | 64 | 73 | 78 | 80 | 78 | 72 | 64 | 53 | 42 | 29 | 17 | 8 | 3 |
| 81 | 2 | 7 | 17 | 29 | 41 | 53 | 65 | 73 | 79 | 79 | 78 | 73 | 62 | 52 | 39 | 28 | 17 | 7 | 2 |
| 84 | 1 | 6 | 16 | 29 | 41 | 53 | 66 | 74 | 77 | 80 | 78 | 72 | 62 | 53 | 40 | 27 | 15 | 6 | 1 |
| 87 | 1 | 5 | 15 | 27 | 39 | 52 | 63 | 72 | 77 | 78 | 77 | 71 | 62 | 51 | 39 | 27 | 15 | 5 | 0 |
| 90 | 1 | 4 | 14 | 25 | 36 | 49 | 57 | 67 | 71 | 76 | 72 | 65 | 57 | 48 | 35 | 24 | 13 | 4 | 0 |
| 93 | 1 | 5 | 14 | 26 | 36 | 47 | 57 | 65 | 70 | 70 | 69 | 63 | 55 | 45 | 35 | 24 | 12 | 4 | 0 |
| 96 | 1 | 5 | 14 | 25 | 36 | 47 | 56 | 63 | 67 | 71 | 66 | 63 | 55 | 45 | 34 | 23 | 12 | 4 | 1 |
| 99 | 1 | 6 | 14 | 25 | 35 | 46 | 55 | 61 | 66 | 68 | 66 | 61 | 53 | 44 | 34 | 22 | 13 | 5 | 1 |
| 102 | 2 | 6 | 14 | 24 | 35 | 44 | 53 | 61 | 65 | 66 | 65 | 59 | 52 | 42 | 32 | 22 | 13 | 5 | 2 |
| 105 | 2 | 7 | 14 | 23 | 34 | 44 | 52 | 58 | 65 | 65 | 62 | 58 | 51 | 42 | 32 | 22 | 13 | 6 | 2 |
| 108 | 4 | 7 | 14 | 23 | 33 | 42 | 50 | 57 | 61 | 62 | 61 | 56 | 50 | 41 | 32 | 22 | 14 | 7 | 3 |
| 111 | 5 | 9 | 15 | 23 | 32 | 40 | 48 | 54 | 57 | 59 | 59 | 53 | 47 | 39 | 30 | 21 | 14 | 8 | 4 |
| 114 | 6 | 9 | 15 | 23 | 31 | 38 | 46 | 52 | 56 | 56 | 55 | 51 | 45 | 37 | 30 | 22 | 15 | 9 | 5 |
| 117 | 6 | 10 | 15 | 23 | 30 | 39 | 44 | 50 | 54 | 54 | 53 | 49 | 44 | 37 | 29 | 22 | 15 | 9 | 6 |
| 120 | 7 | 11 | 16 | 22 | 29 | 36 | 43 | 48 | 51 | 53 | 51 | 47 | 42 | 36 | 29 | 22 | 15 | 10 | 6 |
| 123 | 8 | 12 | 16 | 22 | 29 | 36 | 42 | 46 | 50 | 51 | 49 | 46 | 42 | 35 | 28 | 22 | 16 | 11 | 7 |
| 126 | 9 | 12 | 17 | 23 | 28 | 34 | 40 | 45 | 47 | 48 | 47 | 44 | 41 | 35 | 28 | 21 | 16 | 12 | 8 |
| 129 | 10 | 13 | 17 | 22 | 28 | 33 | 39 | 43 | 45 | 47 | 45 | 42 | 38 | 32 | 27 | 21 | 16 | 12 | 9 |
| 132 | 10 | 14 | 17 | 22 | 27 | 32 | 37 | 41 | 43 | 45 | 43 | 41 | 37 | 32 | 26 | 21 | 17 | 12 | 9 |
| 135 | 11 | 14 | 18 | 21 | 26 | 31 | 36 | 39 | 41 | 41 | 41 | 38 | 35 | 31 | 27 | 22 | 17 | 13 | 10 |
| 138 | 11 | 14 | 18 | 21 | 26 | 30 | 34 | 37 | 39 | 39 | 39 | 36 | 34 | 30 | 25 | 21 | 17 | 14 | 11 |
| 141 | 12 | 15 | 18 | 21 | 26 | 29 | 33 | 35 | 36 | 37 | 37 | 35 | 32 | 29 | 25 | 22 | 17 | 14 | 12 |
| 144 | 13 | 15 | 18 | 21 | 25 | 28 | 31 | 33 | 35 | 36 | 35 | 33 | 30 | 28 | 24 | 21 | 17 | 14 | 12 |
| 147 | 13 | 15 | 18 | 21 | 24 | 27 | 29 | 32 | 33 | 33 | 33 | 32 | 30 | 26 | 23 | 21 | 18 | 15 | 12 |
| 150 | 14 | 16 | 18 | 21 | 24 | 26 | 28 | 31 | 31 | 31 | 31 | 30 | 28 | 25 | 23 | 20 | 18 | 15 | 13 |
| 153 | 14 | 15 | 17 | 20 | 23 | 25 | 27 | 29 | 29 | 29 | 30 | 28 | 27 | 25 | 22 | 20 | 18 | 15 | 14 |
| 156 | 14 | 16 | 18 | 20 | 21 | 24 | 26 | 26 | 28 | 28 | 27 | 27 | 26 | 23 | 22 | 19 | 18 | 16 | 14 |
| 159 | 14 | 16 | 17 | 20 | 21 | 23 | 24 | 25 | 26 | 26 | 26 | 25 | 24 | 22 | 21 | 19 | 17 | 16 | 15 |
| 162 | 15 | 17 | 18 | 19 | 20 | 22 | 23 | 24 | 24 | 24 | 24 | 24 | 22 | 21 | 20 | 19 | 17 | 16 | 15 |
| 165 | 15 | 16 | 17 | 18 | 19 | 21 | 22 | 22 | 22 | 23 | 23 | 22 | 22 | 21 | 19 | 18 | 17 | 16 | 15 |
| 168 | 15 | 16 | 17 | 17 | 19 | 19 | 20 | 20 | 21 | 21 | 21 | 21 | 20 | 19 | 18 | 18 | 17 | 16 | 16 |
| 171 | 15 | 16 | 17 | 17 | 18 | 18 | 19 | 20 | 19 | 20 | 19 | 19 | 19 | 18 | 18 | 18 | 17 | 16 | 15 |
| 174 | 15 | 16 | 16 | 17 | 17 | 17 | 17 | 18 | 18 | 18 | 18 | 18 | 18 | 17 | 17 | 17 | 16 | 16 | 15 |
| 177 | 15 | 16 | 16 | 16 | 16 | 16 | 16 | 17 | 16 | 16 | 16 | 17 | 17 | 17 | 17 | 16 | 16 | 15 | 15 |
| 180 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 |
| 3 | 38 | 38 | 37 | 37 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 37 | 37 | 37 | 38 |
| 6 | 37 | 36 | 36 | 35 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 35 | 36 | 36 | 37 | 37 |
| 9 | 36 | 35 | 34 | 33 | 33 | 33 | 32 | 32 | 32 | 31 | 32 | 32 | 32 | 33 | 34 | 36 | 36 |
| 12 | 35 | 34 | 34 | 33 | 31 | 31 | 31 | 30 | 29 | 29 | 30 | 30 | 32 | 32 | 32 | 34 | 35 |
| 15 | 35 | 33 | 31 | 31 | 30 | 29 | 28 | 28 | 27 | 28 | 29 | 29 | 29 | 30 | 31 | 33 | 35 |
| 18 | 33 | 32 | 30 | 29 | 28 | 26 | 27 | 26 | 26 | 26 | 26 | 27 | 27 | 28 | 30 | 32 | 35 |
| 21 | 32 | 30 | 29 | 27 | 26 | 25 | 25 | 24 | 24 | 24 | 24 | 25 | 26 | 27 | 28 | 31 | 33 |
| 24 | 31 | 29 | 27 | 26 | 25 | 23 | 22 | 23 | 22 | 22 | 23 | 24 | 24 | 26 | 27 | 28 | 32 |
| 27 | 29 | 28 | 26 | 23 | 23 | 22 | 21 | 21 | 21 | 20 | 21 | 22 | 23 | 24 | 25 | 28 | 30 |
| 30 | 28 | 25 | 24 | 22 | 21 | 20 | 19 | 19 | 19 | 19 | 19 | 20 | 21 | 22 | 24 | 26 | 28 |
| 33 | 27 | 24 | 23 | 21 | 20 | 18 | 18 | 17 | 17 | 18 | 18 | 18 | 19 | 21 | 22 | 24 | 27 |
| 36 | 25 | 22 | 21 | 19 | 18 | 17 | 16 | 16 | 16 | 16 | 17 | 17 | 18 | 19 | 21 | 23 | 25 |
| 39 | 24 | 21 | 19 | 18 | 16 | 15 | 15 | 15 | 15 | 15 | 16 | 16 | 16 | 18 | 18 | 21 | 24 |
| 42 | 21 | 19 | 17 | 16 | 15 | 14 | 14 | 13 | 13 | 13 | 14 | 14 | 15 | 16 | 18 | 19 | 21 |
| 45 | 20 | 18 | 16 | 14 | 14 | 13 | 13 | 12 | 12 | 12 | 13 | 13 | 14 | 14 | 16 | 18 | 20 |
| 48 | 19 | 16 | 14 | 13 | 12 | 12 | 11 | 11 | 12 | 11 | 12 | 12 | 12 | 13 | 14 | 16 | 18 |
| 51 | 17 | 14 | 13 | 11 | 11 | 11 | 10 | 10 | 10 | 10 | 10 | 11 | 11 | 12 | 13 | 14 | 17 |
| 54 | 15 | 13 | 11 | 10 | 10 | 10 | 10 | 9 | 9 | 10 | 10 | 9 | 10 | 10 | 11 | 13 | 15 |
| 57 | 14 | 11 | 10 | 10 | 9 | 8 | 8 | 8 | 9 | 8 | 8 | 8 | 9 | 9 | 10 | 11 | 13 |
| 60 | 11 | 10 | 9 | 8 | 8 | 8 | 7 | 7 | 8 | 7 | 8 | 7 | 8 | 8 | 8 | 10 | 11 |
| 63 | 10 | 9 | 7 | 7 | 7 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 8 | 10 |
| 66 | 8 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 7 | 8 |
| 69 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 |
| 72 | 5 | 4 | 4 | 4 | 4 | 4 | 5 | 5 | 5 | 4 | 5 | 4 | 4 | 4 | 4 | 4 | 5 |
| 75 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 3 |
| 78 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 2 |
| 81 | 2 | 2 | 2 | 2 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 1 | 1 |
| 84 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 |
| 87 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 |
| 90 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 |
| 93 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |
| 96 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 |
| 99 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 |
| 102 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 |
| 105 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 |
| 108 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 |
| 111 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 |
| 114 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 3 |
| 117 | 3 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 4 |
| 120 | 4 | 3 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 3 | 5 |
| 123 | 5 | 4 | 3 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 3 | 4 | 5 |
| 126 | 6 | 4 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 4 | 6 |
| 129 | 6 | 5 | 4 | 3 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 4 | 5 | 7 |
| 132 | 7 | 5 | 4 | 4 | 3 | 3 | 3 | 3 | 2 | 2 | 3 | 3 | 3 | 4 | 5 | 6 | 8 |
| 135 | 8 | 6 | 5 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 5 | 6 | 8 |
| 138 | 8 | 7 | 6 | 5 | 4 | 4 | 4 | 3 | 3 | 3 | 4 | 4 | 4 | 5 | 6 | 7 | 9 |
| 141 | 9 | 8 | 6 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 5 | 6 | 7 | 8 | 9 |
| 144 | 10 | 8 | 7 | 6 | 5 | 5 | 5 | 4 | 5 | 4 | 5 | 5 | 6 | 6 | 7 | 8 | 10 |
| 147 | 11 | 9 | 8 | 7 | 6 | 6 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 7 | 8 | 9 | 11 |
| 150 | 11 | 9 | 8 | 8 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 7 | 8 | 9 | 10 | 11 |
| 153 | 12 | 11 | 9 | 8 | 8 | 7 | 7 | 7 | 6 | 7 | 7 | 7 | 8 | 8 | 10 | 11 | 12 |
| 156 | 12 | 11 | 10 | 9 | 8 | 8 | 7 | 7 | 7 | 7 | 7 | 8 | 8 | 9 | 10 | 12 | 13 |
| 159 | 13 | 12 | 11 | 10 | 9 | 8 | 9 | 8 | 8 | 8 | 8 | 9 | 9 | 10 | 11 | 12 | 13 |
| 162 | 13 | 12 | 11 | 11 | 10 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 10 | 11 | 12 | 12 | 14 |
| 165 | 14 | 13 | 12 | 11 | 11 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 11 | 11 | 12 | 14 | 14 |
| 168 | 14 | 14 | 13 | 12 | 12 | 12 | 11 | 11 | 11 | 11 | 11 | 12 | 12 | 12 | 13 | 14 | 14 |
| 171 | 14 | 14 | 13 | 13 | 13 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 13 | 13 | 14 | 14 | 15 |
| 174 | 15 | 14 | 14 | 14 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 14 | 14 | 14 | 14 | 15 |
| 177 | 15 | 15 | 15 | 15 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 15 | 15 | 15 |
| 180 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

01-07-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP