| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13183 | Report Date: 30-05-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: AXIOS 900 | Serial Number: 7110 |
| Lamp Type: LED |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 244.7 | Current (mA)= 55 |
| Power (Watts)= 10.83 | Power factor= 0.798 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 29-05-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: AXIOS 900 |  |  |
| Instrument Used: Labsphere model CSLMS HALOGEN 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 02-05-2013 (02:42) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens):561.3 |  |  |
| CIE 1931 Chromaticity Cx: 0.4358 |  | CIE 1931 Chromaticity Cy: 0.4101 |
| CRI (%):82.41 |  | CCT (K): 3069 |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 29-05-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: 7110 AXIOS 900 |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1200N-1 Imaging Photometer |  |  |  |
| Photometer Working Distance:3 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 13201 |  |
| Calibration Certificate Date: 15th March 2013 |  | Sample Stabilisation Time (minutes):45 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):561.3 | Peak Intensity (3° Spot, candelas): 107.4 |  | Efficacy (lumens/Watt): 51.97 |
| Beam Angle (50% of max intensity C0-180, degrees): 107.8 |  |  |  |
| Photometric Filename (IES LM-63-2002): 7110 AXIOS 900 |  |  |  |
| IES File – Absolute or Relative Format? Absolute |  |  |  |
| Photometric Filename (EULUMDAT): 7110 AXIOS 900 |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Absolute |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| 5 | 4 | 3 | 3 | 3 | 3 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 3 | 3 | 3 | 4 |
| 10 | 10 | 10 | 9 | 8 | 7 | 5 | 4 | 2 | 1 | 1 | 1 | 2 | 4 | 5 | 7 | 8 | 9 | 10 | 10 |
| 15 | 18 | 17 | 15 | 13 | 11 | 9 | 6 | 4 | 2 | 1 | 2 | 4 | 6 | 9 | 12 | 14 | 16 | 18 | 18 |
| 20 | 25 | 24 | 23 | 20 | 16 | 12 | 9 | 5 | 2 | 1 | 2 | 6 | 10 | 15 | 20 | 23 | 25 | 25 | 25 |
| 25 | 33 | 32 | 30 | 26 | 23 | 17 | 11 | 7 | 2 | 1 | 3 | 9 | 15 | 22 | 26 | 29 | 32 | 34 | 33 |
| 30 | 41 | 39 | 36 | 32 | 28 | 22 | 15 | 8 | 3 | 1 | 4 | 12 | 20 | 27 | 33 | 39 | 43 | 43 | 41 |
| 35 | 48 | 47 | 44 | 37 | 32 | 25 | 17 | 10 | 3 | 1 | 5 | 14 | 24 | 32 | 41 | 47 | 49 | 50 | 48 |
| 40 | 56 | 54 | 50 | 44 | 35 | 29 | 20 | 11 | 4 | 1 | 5 | 17 | 28 | 40 | 48 | 53 | 58 | 60 | 56 |
| 45 | 62 | 60 | 54 | 48 | 39 | 31 | 24 | 13 | 5 | 1 | 7 | 20 | 34 | 45 | 56 | 63 | 65 | 68 | 62 |
| 50 | 69 | 67 | 58 | 53 | 43 | 34 | 24 | 14 | 5 | 1 | 8 | 23 | 40 | 51 | 64 | 67 | 72 | 73 | 69 |
| 55 | 76 | 70 | 63 | 55 | 46 | 36 | 26 | 16 | 6 | 1 | 9 | 26 | 45 | 58 | 69 | 78 | 80 | 80 | 76 |
| 60 | 81 | 75 | 66 | 58 | 48 | 38 | 28 | 17 | 6 | 1 | 10 | 28 | 47 | 64 | 76 | 82 | 87 | 86 | 81 |
| 65 | 86 | 78 | 70 | 60 | 51 | 40 | 29 | 18 | 7 | 1 | 11 | 30 | 51 | 69 | 81 | 90 | 93 | 93 | 86 |
| 70 | 91 | 82 | 73 | 62 | 53 | 42 | 30 | 19 | 7 | 1 | 13 | 32 | 55 | 73 | 87 | 97 | 97 | 96 | 91 |
| 75 | 95 | 83 | 75 | 65 | 55 | 44 | 31 | 19 | 7 | 1 | 13 | 34 | 57 | 76 | 91 | 101 | 103 | 99 | 95 |
| 80 | 94 | 85 | 76 | 66 | 55 | 44 | 32 | 19 | 7 | 1 | 13 | 35 | 59 | 78 | 94 | 103 | 105 | 101 | 94 |
| 85 | 99 | 86 | 76 | 66 | 55 | 44 | 32 | 20 | 7 | 0 | 13 | 36 | 59 | 80 | 95 | 103 | 107 | 104 | 99 |
| 90 | 95 | 87 | 78 | 66 | 56 | 44 | 32 | 19 | 7 | 0 | 13 | 37 | 58 | 81 | 96 | 107 | 105 | 104 | 95 |
| 95 | 96 | 88 | 76 | 65 | 55 | 44 | 32 | 20 | 7 | 0 | 13 | 37 | 59 | 79 | 94 | 107 | 107 | 103 | 96 |
| 100 | 93 | 86 | 76 | 65 | 55 | 44 | 31 | 20 | 7 | 1 | 13 | 36 | 59 | 77 | 92 | 101 | 105 | 103 | 93 |
| 105 | 91 | 83 | 73 | 65 | 54 | 42 | 31 | 19 | 7 | 1 | 12 | 35 | 57 | 75 | 89 | 99 | 103 | 99 | 91 |
| 110 | 87 | 82 | 72 | 63 | 53 | 42 | 30 | 19 | 7 | 1 | 12 | 33 | 54 | 72 | 86 | 94 | 97 | 94 | 87 |
| 115 | 85 | 80 | 68 | 60 | 50 | 40 | 30 | 18 | 6 | 1 | 11 | 31 | 51 | 68 | 81 | 89 | 93 | 88 | 85 |
| 120 | 81 | 76 | 67 | 58 | 48 | 39 | 28 | 17 | 6 | 1 | 10 | 28 | 46 | 63 | 75 | 83 | 84 | 84 | 81 |
| 125 | 75 | 69 | 64 | 55 | 46 | 37 | 26 | 15 | 5 | 0 | 9 | 25 | 40 | 56 | 66 | 73 | 77 | 80 | 75 |
| 130 | 69 | 63 | 59 | 53 | 44 | 34 | 24 | 14 | 5 | 0 | 8 | 22 | 37 | 50 | 61 | 67 | 71 | 75 | 69 |
| 135 | 65 | 56 | 52 | 47 | 39 | 31 | 21 | 13 | 4 | 0 | 7 | 20 | 32 | 44 | 53 | 60 | 66 | 67 | 65 |
| 140 | 57 | 51 | 46 | 41 | 35 | 28 | 19 | 11 | 4 | 1 | 5 | 17 | 28 | 39 | 47 | 54 | 58 | 60 | 57 |
| 145 | 51 | 45 | 41 | 36 | 31 | 22 | 16 | 9 | 3 | 1 | 4 | 14 | 24 | 32 | 41 | 47 | 50 | 51 | 51 |
| 150 | 40 | 38 | 35 | 31 | 25 | 19 | 13 | 8 | 3 | 1 | 4 | 11 | 20 | 27 | 34 | 39 | 41 | 42 | 40 |
| 155 | 34 | 32 | 28 | 25 | 20 | 16 | 11 | 6 | 2 | 1 | 3 | 8 | 15 | 21 | 26 | 31 | 33 | 34 | 34 |
| 160 | 25 | 24 | 22 | 19 | 16 | 12 | 8 | 4 | 1 | 1 | 2 | 6 | 10 | 15 | 19 | 22 | 25 | 26 | 25 |
| 165 | 17 | 17 | 15 | 13 | 10 | 8 | 6 | 3 | 1 | 1 | 2 | 4 | 7 | 9 | 12 | 15 | 16 | 17 | 17 |
| 170 | 9 | 9 | 8 | 7 | 6 | 5 | 3 | 2 | 1 | 1 | 1 | 2 | 4 | 5 | 6 | 7 | 8 | 9 | 9 |
| 175 | 4 | 4 | 3 | 3 | 3 | 2 | 2 | 1 | 1 | 0 | 1 | 1 | 1 | 2 | 3 | 3 | 3 | 4 | 4 |
| 180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| 5 | 3 | 3 | 3 | 3 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 3 | 3 | 3 |
| 10 | 10 | 9 | 8 | 7 | 5 | 4 | 2 | 1 | 1 | 1 | 2 | 4 | 5 | 7 | 8 | 9 | 10 |
| 15 | 17 | 15 | 13 | 11 | 9 | 6 | 4 | 2 | 1 | 2 | 4 | 6 | 9 | 12 | 14 | 16 | 18 |
| 20 | 24 | 23 | 20 | 16 | 12 | 9 | 5 | 2 | 1 | 2 | 6 | 10 | 15 | 20 | 23 | 25 | 25 |
| 25 | 32 | 30 | 26 | 23 | 17 | 11 | 7 | 2 | 0 | 3 | 9 | 15 | 22 | 26 | 29 | 32 | 34 |
| 30 | 39 | 36 | 32 | 28 | 22 | 15 | 8 | 3 | 0 | 4 | 12 | 20 | 27 | 33 | 39 | 43 | 43 |
| 35 | 47 | 44 | 37 | 32 | 25 | 17 | 10 | 3 | 0 | 5 | 14 | 24 | 32 | 41 | 47 | 49 | 50 |
| 40 | 54 | 50 | 44 | 35 | 29 | 20 | 11 | 4 | 1 | 5 | 17 | 28 | 40 | 48 | 53 | 58 | 60 |
| 45 | 60 | 54 | 48 | 39 | 31 | 24 | 13 | 5 | 1 | 7 | 20 | 34 | 44 | 56 | 63 | 65 | 68 |
| 50 | 67 | 58 | 53 | 43 | 34 | 24 | 14 | 5 | 1 | 8 | 23 | 40 | 51 | 64 | 67 | 72 | 73 |
| 55 | 70 | 63 | 55 | 46 | 36 | 26 | 16 | 6 | 1 | 9 | 26 | 45 | 58 | 69 | 78 | 80 | 80 |
| 60 | 75 | 66 | 58 | 48 | 38 | 28 | 17 | 6 | 1 | 10 | 28 | 47 | 64 | 76 | 82 | 87 | 86 |
| 65 | 78 | 70 | 60 | 51 | 40 | 29 | 18 | 7 | 0 | 11 | 30 | 51 | 69 | 81 | 90 | 93 | 93 |
| 70 | 82 | 73 | 62 | 53 | 42 | 30 | 19 | 7 | 0 | 13 | 32 | 55 | 73 | 87 | 97 | 97 | 96 |
| 75 | 83 | 75 | 65 | 55 | 44 | 31 | 19 | 7 | 0 | 13 | 34 | 57 | 76 | 91 | 101 | 103 | 99 |
| 80 | 85 | 76 | 66 | 55 | 44 | 32 | 19 | 7 | 1 | 13 | 35 | 59 | 78 | 94 | 103 | 105 | 101 |
| 85 | 86 | 76 | 66 | 55 | 44 | 32 | 20 | 7 | 1 | 13 | 36 | 59 | 80 | 95 | 103 | 107 | 104 |
| 90 | 87 | 78 | 66 | 56 | 44 | 32 | 19 | 7 | 1 | 13 | 37 | 58 | 81 | 96 | 107 | 105 | 104 |
| 95 | 88 | 76 | 65 | 55 | 44 | 32 | 20 | 7 | 1 | 13 | 37 | 59 | 79 | 94 | 107 | 107 | 103 |
| 100 | 86 | 76 | 65 | 55 | 44 | 31 | 20 | 7 | 1 | 13 | 36 | 59 | 77 | 92 | 101 | 105 | 103 |
| 105 | 83 | 73 | 65 | 54 | 42 | 31 | 19 | 7 | 1 | 12 | 35 | 57 | 75 | 89 | 99 | 103 | 99 |
| 110 | 82 | 72 | 63 | 53 | 42 | 30 | 19 | 7 | 1 | 12 | 33 | 54 | 72 | 86 | 94 | 97 | 94 |
| 115 | 80 | 68 | 60 | 50 | 40 | 30 | 18 | 6 | 0 | 11 | 31 | 51 | 68 | 81 | 89 | 93 | 88 |
| 120 | 76 | 67 | 58 | 48 | 39 | 28 | 17 | 6 | 0 | 10 | 28 | 46 | 63 | 75 | 83 | 84 | 84 |
| 125 | 69 | 64 | 55 | 46 | 37 | 26 | 15 | 5 | 0 | 9 | 25 | 40 | 56 | 66 | 73 | 77 | 80 |
| 130 | 63 | 59 | 53 | 44 | 34 | 24 | 14 | 5 | 0 | 8 | 22 | 37 | 50 | 60 | 67 | 71 | 75 |
| 135 | 56 | 52 | 47 | 39 | 31 | 21 | 13 | 4 | 0 | 7 | 20 | 32 | 44 | 53 | 60 | 66 | 67 |
| 140 | 51 | 46 | 41 | 35 | 28 | 19 | 11 | 4 | 1 | 5 | 17 | 28 | 39 | 47 | 54 | 58 | 60 |
| 145 | 45 | 41 | 36 | 31 | 22 | 16 | 9 | 3 | 0 | 4 | 14 | 24 | 32 | 41 | 47 | 50 | 51 |
| 150 | 38 | 35 | 31 | 25 | 19 | 13 | 8 | 3 | 0 | 4 | 11 | 20 | 27 | 34 | 39 | 41 | 42 |
| 155 | 32 | 28 | 25 | 20 | 16 | 11 | 6 | 2 | 0 | 3 | 8 | 15 | 21 | 26 | 31 | 33 | 34 |
| 160 | 24 | 22 | 19 | 16 | 12 | 8 | 4 | 1 | 1 | 2 | 6 | 10 | 15 | 19 | 22 | 25 | 26 |
| 165 | 17 | 15 | 13 | 10 | 8 | 6 | 3 | 1 | 0 | 1 | 4 | 7 | 9 | 12 | 15 | 16 | 17 |
| 170 | 9 | 8 | 7 | 6 | 5 | 3 | 2 | 1 | 0 | 1 | 2 | 4 | 5 | 6 | 7 | 8 | 9 |
| 175 | 4 | 3 | 3 | 3 | 2 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 2 | 3 | 3 | 3 | 4 |
| 180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

__30-05-2013_______________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP