| Photometric Test Report |  |  |
| --- | --- | --- |
| Report Number: POTS/GJ13166 | Report Date: 13-05-2013 | Prepared By: G John |
| Test Laboratory: Photometric and Optical Testing Services, Cotswold Business Centre, 42 A P Ellis Road, Rissington Business Park, Upper Rissington, Gloucestershire, GL54 2QB |  |  |
| Company Registration Number: Registered in England & Wales No. OC352911 |  |  |
| Registered Address: Thistle Down Barn, Holcot Lane, Sywell, Northampton, NN6 0BG |  |  |

| Client Details |  |
| --- | --- |
| Company: Astro Lighting | Email: technical@astrolighting.co.uk |
| Address: Astro Lighting Limited, G2 River Way, Harlow CM20 2DP, Great Britain |  |

| Details of Product Tested |  |
| --- | --- |
| Manufacturer: Astro Lighting | Source Type: Domestic light |
| Model: KARLA | Serial Number: |
| Lamp Type: LED |  |
| Power Supply Used: Uninterruptible AC power supply |  |
| Voltage(AC V) = 245.7 | Current (mA)= 43 |
| Power (Watts)= 4.19 | Power factor= 0.3977 |

| Integrating Sphere Test |  |  |
| --- | --- | --- |
| Date of Test: 10-05-2013 |  | Ambient Temperature:25°C |
| Measurement Filename: KARLA |  |  |
| Instrument Used: Labsphere model CSLMS HALOGEN 4060 integrating sphere spectroradiometer |  |  |
| Integrating Sphere Size: 1m |  | Measurement Geometry (2 / 4): 4 |
| Sample Orientation: Horizontal |  | Auxiliary Correction Applied: YES |
| Comments: |  |  |
| Date of Last Calibration (Operating Hours): 08-11-2012 (02:36) |  | Spectral Flux Standard Lamp Used: SCL-1400 |
| Standard Lamp Serial Number: K75 |  | Traceable: to NIST standards |
| Calibration Certificate Number: DM-02008-001 |  | Calibration Certificate Date: 19th February 2010 |
| Calibration Lamp Uncertainty: ± 0.67% (k=2) |  |  |
| Results |  |  |
| Flux (lumens): 279.8 |  |  |
| CIE 1931 Chromaticity Cx: 0.4355 |  | CIE 1931 Chromaticity Cy: 0.061 |
| CRI (%):83.51 |  | CCT (K): 3039 |

Figure 1: Spectral Irradiance

Figure 2: CIE 1931 diagram.

| Goniophotometer Test |  |  |  |
| --- | --- | --- | --- |
| Date of Test: 10-05-2013 |  | Ambient Temperature: 25°C |  |
| Measurement Filename: KARLA |  |  |  |
| Instrument Used: Radiant Imaging NFMS0800 Goniometer with ProMetric PM-1200N-1 Imaging Photometer |  |  |  |
| Photometer Working Distance:1.5 m |  | Measurement Geometry: Near-Field |  |
| Comments: |  |  |  |
| Reference Photometer Used: Specbos1201 |  | Reference Photometer Serial Number: 2911670 |  |
| Traceable: to NPL standards, UKAS Accredited |  | Calibration Certificate Number: 121104 |  |
| Calibration Certificate Date: 25th October 2011 |  | Sample Stabilisation Time (minutes):45 |  |
| Reference Photometer Calibration Uncertainty: ± 2.4% (k=2, 20-200 lux, CIE illuminant A source) |  |  |  |
| Scan Set Up |  |  |  |
| Direction | Range |  | Increment |
| Inclination Zone 1 | 0-180° |  | 3° |
| Azimuth | 0-360° |  | 10° |
| Results |  |  |  |
| Integrated Luminous Flux (lumens):279.8 | Peak Intensity (3° Spot, candelas): 65.7 |  | Efficacy (lumens/Watt): 66.78 |
| Beam Angle (50% of max intensity C0-180, degrees): 96.1 |  |  |  |
| Photometric Filename (IES LM-63-2002): KARLA |  |  |  |
| IES File – Absolute or Relative Format? Absolute |  |  |  |
| Photometric Filename (EULUMDAT): KARLA |  |  |  |
| EULUMDAT File – Absolute or Relative Format? Absolute |  |  |  |

Figure 3: Far-Field Luminous Intensity (C0-180, Cartesian Coordinates)

Figure 4: Far-Field Luminous Intensity (C0-180, C90-270, Polar Coordinates)

Figure 4. Illuminance cone diagram.

Table 1. UGR values

|  | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 |
| 3 | 63 | 63 | 63 | 64 | 64 | 64 | 63 | 63 | 63 | 63 | 63 | 63 | 64 | 64 | 64 | 64 | 64 | 64 | 64 |
| 6 | 64 | 63 | 64 | 65 | 65 | 64 | 64 | 64 | 64 | 64 | 64 | 65 | 66 | 65 | 64 | 65 | 65 | 64 | 64 |
| 9 | 64 | 62 | 62 | 64 | 63 | 64 | 65 | 65 | 64 | 64 | 63 | 64 | 65 | 64 | 64 | 62 | 63 | 64 | 62 |
| 12 | 63 | 61 | 64 | 63 | 62 | 64 | 62 | 63 | 64 | 65 | 64 | 64 | 65 | 64 | 63 | 63 | 61 | 63 | 60 |
| 15 | 63 | 60 | 63 | 61 | 63 | 63 | 63 | 62 | 63 | 63 | 63 | 63 | 62 | 63 | 61 | 63 | 59 | 61 | 59 |
| 18 | 59 | 59 | 59 | 61 | 61 | 63 | 62 | 62 | 62 | 62 | 63 | 61 | 61 | 62 | 61 | 60 | 59 | 59 | 57 |
| 21 | 56 | 56 | 57 | 57 | 60 | 60 | 62 | 61 | 61 | 63 | 61 | 61 | 61 | 60 | 60 | 56 | 57 | 57 | 55 |
| 24 | 54 | 54 | 56 | 58 | 56 | 61 | 59 | 61 | 59 | 61 | 59 | 60 | 59 | 59 | 57 | 54 | 57 | 54 | 54 |
| 27 | 52 | 54 | 53 | 56 | 57 | 56 | 59 | 59 | 59 | 59 | 58 | 59 | 57 | 57 | 55 | 53 | 53 | 51 | 50 |
| 30 | 48 | 50 | 53 | 52 | 54 | 56 | 55 | 56 | 58 | 59 | 58 | 57 | 57 | 55 | 53 | 53 | 52 | 48 | 49 |
| 33 | 46 | 48 | 48 | 51 | 53 | 54 | 56 | 56 | 56 | 57 | 56 | 55 | 55 | 51 | 51 | 50 | 49 | 46 | 47 |
| 36 | 43 | 45 | 46 | 50 | 51 | 52 | 53 | 54 | 56 | 56 | 55 | 54 | 53 | 50 | 49 | 48 | 45 | 42 | 43 |
| 39 | 40 | 44 | 44 | 46 | 48 | 50 | 52 | 54 | 53 | 54 | 53 | 54 | 51 | 49 | 48 | 46 | 44 | 40 | 41 |
| 42 | 38 | 39 | 41 | 44 | 47 | 48 | 51 | 52 | 52 | 53 | 52 | 51 | 49 | 48 | 46 | 43 | 40 | 37 | 38 |
| 45 | 33 | 38 | 38 | 41 | 44 | 46 | 48 | 50 | 51 | 51 | 51 | 49 | 48 | 46 | 44 | 41 | 38 | 35 | 35 |
| 48 | 32 | 33 | 36 | 40 | 42 | 44 | 47 | 50 | 51 | 51 | 50 | 48 | 47 | 44 | 41 | 38 | 35 | 32 | 32 |
| 51 | 29 | 30 | 33 | 37 | 41 | 44 | 46 | 47 | 48 | 50 | 49 | 48 | 45 | 43 | 39 | 36 | 34 | 30 | 30 |
| 54 | 27 | 29 | 32 | 34 | 39 | 41 | 44 | 46 | 47 | 48 | 46 | 46 | 45 | 41 | 38 | 34 | 30 | 27 | 26 |
| 57 | 24 | 26 | 30 | 33 | 36 | 40 | 42 | 43 | 44 | 47 | 46 | 46 | 42 | 38 | 35 | 31 | 28 | 25 | 23 |
| 60 | 21 | 23 | 28 | 30 | 34 | 37 | 40 | 42 | 44 | 45 | 44 | 43 | 39 | 37 | 34 | 28 | 25 | 22 | 21 |
| 63 | 18 | 21 | 24 | 28 | 32 | 34 | 38 | 41 | 42 | 43 | 43 | 40 | 38 | 34 | 32 | 27 | 23 | 20 | 19 |
| 66 | 16 | 18 | 22 | 26 | 30 | 33 | 36 | 38 | 41 | 41 | 40 | 39 | 35 | 32 | 29 | 24 | 20 | 18 | 15 |
| 69 | 14 | 16 | 20 | 24 | 28 | 32 | 35 | 38 | 39 | 39 | 38 | 36 | 33 | 30 | 27 | 22 | 18 | 15 | 13 |
| 72 | 11 | 13 | 17 | 22 | 26 | 29 | 33 | 36 | 37 | 36 | 36 | 34 | 32 | 27 | 24 | 20 | 16 | 12 | 11 |
| 75 | 9 | 11 | 15 | 18 | 23 | 27 | 30 | 34 | 35 | 35 | 34 | 32 | 30 | 26 | 22 | 18 | 13 | 10 | 8 |
| 78 | 7 | 8 | 13 | 17 | 21 | 25 | 28 | 29 | 33 | 33 | 33 | 29 | 27 | 24 | 20 | 16 | 11 | 8 | 6 |
| 81 | 4 | 7 | 10 | 15 | 20 | 22 | 25 | 27 | 30 | 30 | 30 | 28 | 25 | 22 | 18 | 14 | 9 | 5 | 4 |
| 84 | 3 | 5 | 9 | 13 | 16 | 20 | 24 | 27 | 27 | 29 | 27 | 26 | 23 | 20 | 17 | 12 | 8 | 4 | 2 |
| 87 | 1 | 3 | 7 | 11 | 16 | 19 | 22 | 23 | 27 | 27 | 25 | 25 | 22 | 19 | 14 | 11 | 6 | 3 | 1 |
| 90 | 0 | 3 | 7 | 10 | 15 | 18 | 20 | 22 | 23 | 26 | 24 | 22 | 21 | 17 | 14 | 10 | 6 | 2 | 0 |
| 93 | 0 | 3 | 7 | 9 | 12 | 14 | 16 | 18 | 20 | 21 | 22 | 21 | 20 | 17 | 15 | 11 | 7 | 3 | 0 |
| 96 | 0 | 3 | 6 | 9 | 11 | 14 | 16 | 18 | 19 | 21 | 21 | 20 | 19 | 17 | 14 | 11 | 7 | 3 | 0 |
| 99 | 0 | 2 | 6 | 9 | 11 | 13 | 16 | 17 | 19 | 20 | 20 | 20 | 18 | 16 | 14 | 11 | 6 | 2 | 0 |
| 102 | 0 | 2 | 5 | 8 | 10 | 12 | 15 | 16 | 18 | 19 | 19 | 19 | 17 | 15 | 13 | 10 | 6 | 2 | 0 |
| 105 | 0 | 2 | 5 | 7 | 9 | 11 | 14 | 16 | 17 | 18 | 18 | 18 | 16 | 14 | 12 | 9 | 6 | 2 | 0 |
| 108 | 0 | 2 | 4 | 7 | 9 | 11 | 13 | 15 | 16 | 17 | 17 | 17 | 16 | 13 | 11 | 9 | 5 | 2 | 0 |
| 111 | 1 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 15 | 16 | 16 | 16 | 14 | 12 | 10 | 8 | 5 | 2 | 1 |
| 114 | 0 | 2 | 3 | 6 | 7 | 9 | 11 | 13 | 14 | 15 | 16 | 15 | 14 | 11 | 9 | 7 | 4 | 2 | 0 |
| 117 | 0 | 2 | 3 | 5 | 7 | 9 | 10 | 12 | 14 | 14 | 14 | 14 | 12 | 10 | 9 | 7 | 4 | 2 | 0 |
| 120 | 0 | 1 | 3 | 5 | 7 | 9 | 10 | 12 | 13 | 13 | 14 | 13 | 11 | 10 | 8 | 6 | 4 | 2 | 0 |
| 123 | 0 | 1 | 3 | 5 | 6 | 8 | 10 | 11 | 12 | 13 | 13 | 12 | 11 | 10 | 7 | 5 | 3 | 1 | 0 |
| 126 | 0 | 1 | 3 | 5 | 6 | 8 | 9 | 11 | 11 | 12 | 12 | 11 | 11 | 9 | 7 | 5 | 3 | 1 | 0 |
| 129 | 0 | 1 | 3 | 4 | 6 | 7 | 9 | 10 | 11 | 11 | 11 | 11 | 10 | 8 | 6 | 5 | 3 | 1 | 0 |
| 132 | 0 | 1 | 2 | 4 | 5 | 7 | 8 | 9 | 10 | 10 | 10 | 10 | 9 | 8 | 6 | 4 | 3 | 1 | 0 |
| 135 | 0 | 1 | 2 | 4 | 5 | 6 | 8 | 9 | 9 | 9 | 10 | 9 | 8 | 7 | 6 | 4 | 2 | 1 | 0 |
| 138 | 0 | 1 | 2 | 3 | 5 | 6 | 7 | 8 | 8 | 9 | 9 | 8 | 8 | 7 | 5 | 4 | 2 | 1 | 0 |
| 141 | 0 | 1 | 2 | 3 | 4 | 6 | 6 | 7 | 8 | 8 | 7 | 8 | 7 | 6 | 5 | 3 | 2 | 1 | 0 |
| 144 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 7 | 7 | 7 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 |
| 147 | 0 | 1 | 2 | 2 | 4 | 5 | 5 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 |
| 150 | 0 | 1 | 1 | 2 | 3 | 4 | 5 | 5 | 6 | 6 | 6 | 5 | 5 | 4 | 3 | 2 | 1 | 1 | 0 |
| 153 | 0 | 1 | 1 | 2 | 3 | 3 | 4 | 5 | 5 | 5 | 5 | 5 | 4 | 4 | 3 | 2 | 1 | 0 | 0 |
| 156 | 0 | 1 | 1 | 2 | 2 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 3 | 2 | 2 | 1 | 0 | 0 |
| 159 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 4 | 3 | 3 | 3 | 2 | 1 | 1 | 0 | 0 |
| 162 | 0 | 0 | 1 | 1 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 1 | 1 | 0 | 0 |
| 165 | 0 | 0 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 0 | 0 |
| 168 | 0 | 0 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 0 | 0 | 0 |
| 171 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 |
| 174 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |
| 177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

Table 2a. Luminous intensity values, azimuth 0-180°

|  | 190 | 200 | 210 | 220 | 230 | 240 | 250 | 260 | 270 | 280 | 290 | 300 | 310 | 320 | 330 | 340 | 350 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 |
| 3 | 65 | 65 | 65 | 65 | 65 | 65 | 66 | 66 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 64 | 64 |
| 6 | 64 | 63 | 62 | 62 | 63 | 65 | 64 | 63 | 62 | 63 | 63 | 64 | 65 | 65 | 63 | 62 | 64 |
| 9 | 63 | 63 | 62 | 65 | 64 | 64 | 65 | 64 | 63 | 64 | 65 | 65 | 65 | 64 | 65 | 64 | 63 |
| 12 | 64 | 62 | 62 | 63 | 62 | 63 | 63 | 65 | 64 | 64 | 64 | 63 | 64 | 61 | 62 | 62 | 61 |
| 15 | 60 | 59 | 62 | 61 | 62 | 62 | 63 | 64 | 62 | 64 | 63 | 62 | 62 | 63 | 61 | 61 | 59 |
| 18 | 60 | 58 | 61 | 60 | 63 | 61 | 62 | 64 | 62 | 62 | 62 | 62 | 63 | 61 | 59 | 59 | 58 |
| 21 | 58 | 56 | 58 | 59 | 60 | 60 | 62 | 62 | 63 | 61 | 62 | 62 | 59 | 59 | 60 | 58 | 56 |
| 24 | 55 | 54 | 58 | 57 | 58 | 59 | 60 | 61 | 60 | 61 | 60 | 59 | 59 | 59 | 55 | 58 | 54 |
| 27 | 54 | 50 | 53 | 55 | 57 | 57 | 58 | 60 | 60 | 58 | 59 | 60 | 57 | 55 | 57 | 54 | 52 |
| 30 | 51 | 51 | 52 | 55 | 54 | 55 | 56 | 57 | 59 | 57 | 57 | 56 | 55 | 55 | 52 | 51 | 50 |
| 33 | 49 | 48 | 49 | 53 | 53 | 53 | 55 | 57 | 57 | 57 | 56 | 56 | 53 | 52 | 51 | 50 | 46 |
| 36 | 46 | 45 | 47 | 50 | 53 | 53 | 53 | 55 | 55 | 55 | 54 | 52 | 52 | 50 | 48 | 46 | 45 |
| 39 | 43 | 44 | 43 | 46 | 50 | 52 | 52 | 54 | 54 | 53 | 53 | 51 | 49 | 48 | 47 | 44 | 42 |
| 42 | 40 | 42 | 42 | 43 | 48 | 51 | 51 | 51 | 53 | 51 | 51 | 50 | 49 | 46 | 44 | 40 | 40 |
| 45 | 37 | 39 | 39 | 43 | 46 | 48 | 50 | 50 | 50 | 51 | 50 | 47 | 46 | 45 | 42 | 39 | 36 |
| 48 | 35 | 37 | 39 | 39 | 43 | 46 | 48 | 49 | 50 | 49 | 50 | 48 | 44 | 41 | 38 | 36 | 35 |
| 51 | 31 | 34 | 38 | 39 | 42 | 45 | 46 | 48 | 47 | 48 | 46 | 46 | 42 | 39 | 36 | 34 | 32 |
| 54 | 29 | 32 | 35 | 36 | 40 | 42 | 46 | 46 | 48 | 46 | 46 | 42 | 41 | 38 | 34 | 32 | 28 |
| 57 | 25 | 28 | 32 | 35 | 38 | 40 | 44 | 45 | 46 | 45 | 44 | 43 | 39 | 36 | 31 | 28 | 25 |
| 60 | 23 | 27 | 30 | 34 | 36 | 39 | 41 | 44 | 44 | 44 | 42 | 39 | 36 | 33 | 29 | 27 | 23 |
| 63 | 20 | 24 | 28 | 32 | 34 | 36 | 41 | 42 | 42 | 41 | 39 | 37 | 34 | 31 | 28 | 25 | 21 |
| 66 | 18 | 21 | 26 | 29 | 33 | 36 | 38 | 39 | 40 | 40 | 38 | 36 | 33 | 29 | 26 | 22 | 18 |
| 69 | 16 | 18 | 23 | 28 | 30 | 33 | 37 | 38 | 37 | 38 | 35 | 33 | 30 | 26 | 23 | 18 | 15 |
| 72 | 13 | 17 | 22 | 25 | 29 | 32 | 35 | 36 | 35 | 37 | 34 | 30 | 27 | 26 | 21 | 17 | 12 |
| 75 | 10 | 15 | 19 | 23 | 27 | 30 | 34 | 35 | 34 | 35 | 32 | 30 | 27 | 24 | 19 | 15 | 10 |
| 78 | 8 | 12 | 17 | 21 | 25 | 28 | 30 | 32 | 32 | 33 | 30 | 28 | 26 | 21 | 17 | 13 | 8 |
| 81 | 6 | 11 | 15 | 19 | 23 | 25 | 29 | 29 | 30 | 30 | 28 | 26 | 22 | 19 | 16 | 11 | 6 |
| 84 | 4 | 9 | 14 | 17 | 20 | 24 | 26 | 27 | 28 | 27 | 26 | 24 | 21 | 16 | 13 | 9 | 4 |
| 87 | 3 | 7 | 11 | 15 | 18 | 21 | 24 | 25 | 26 | 25 | 25 | 22 | 18 | 16 | 11 | 7 | 3 |
| 90 | 2 | 6 | 11 | 14 | 18 | 20 | 25 | 23 | 24 | 23 | 23 | 20 | 18 | 15 | 10 | 6 | 2 |
| 93 | 3 | 7 | 11 | 15 | 18 | 21 | 21 | 22 | 22 | 19 | 18 | 17 | 15 | 14 | 10 | 6 | 3 |
| 96 | 3 | 6 | 11 | 14 | 18 | 21 | 21 | 21 | 21 | 20 | 18 | 16 | 14 | 13 | 10 | 6 | 2 |
| 99 | 3 | 6 | 10 | 13 | 17 | 19 | 21 | 20 | 20 | 19 | 17 | 15 | 14 | 12 | 9 | 5 | 2 |
| 102 | 3 | 6 | 10 | 13 | 16 | 18 | 20 | 19 | 19 | 18 | 16 | 14 | 13 | 11 | 8 | 4 | 2 |
| 105 | 2 | 6 | 9 | 13 | 16 | 18 | 18 | 18 | 18 | 17 | 15 | 13 | 11 | 10 | 7 | 4 | 1 |
| 108 | 2 | 5 | 9 | 12 | 14 | 16 | 17 | 18 | 17 | 16 | 15 | 13 | 10 | 8 | 6 | 3 | 1 |
| 111 | 2 | 5 | 8 | 11 | 13 | 15 | 17 | 17 | 16 | 15 | 14 | 12 | 9 | 7 | 5 | 3 | 1 |
| 114 | 2 | 5 | 7 | 11 | 12 | 14 | 15 | 16 | 15 | 15 | 13 | 11 | 9 | 7 | 5 | 2 | 1 |
| 117 | 2 | 4 | 7 | 9 | 12 | 13 | 14 | 15 | 15 | 14 | 13 | 11 | 9 | 6 | 4 | 2 | 1 |
| 120 | 1 | 4 | 7 | 9 | 11 | 13 | 14 | 14 | 14 | 13 | 12 | 10 | 8 | 6 | 4 | 2 | 1 |
| 123 | 1 | 4 | 6 | 9 | 10 | 12 | 13 | 13 | 13 | 13 | 11 | 10 | 8 | 6 | 3 | 2 | 1 |
| 126 | 1 | 3 | 6 | 8 | 10 | 11 | 12 | 12 | 12 | 12 | 11 | 9 | 7 | 5 | 3 | 2 | 1 |
| 129 | 1 | 3 | 5 | 7 | 9 | 10 | 12 | 11 | 11 | 11 | 10 | 8 | 7 | 5 | 3 | 2 | 1 |
| 132 | 1 | 3 | 5 | 7 | 8 | 9 | 10 | 11 | 10 | 10 | 9 | 8 | 6 | 5 | 3 | 2 | 1 |
| 135 | 1 | 3 | 4 | 6 | 8 | 8 | 10 | 10 | 10 | 9 | 8 | 7 | 6 | 4 | 3 | 1 | 1 |
| 138 | 1 | 2 | 4 | 6 | 7 | 8 | 9 | 9 | 9 | 8 | 8 | 7 | 6 | 4 | 2 | 1 | 1 |
| 141 | 1 | 2 | 4 | 5 | 6 | 8 | 8 | 8 | 8 | 8 | 7 | 6 | 5 | 4 | 2 | 1 | 1 |
| 144 | 1 | 2 | 4 | 5 | 6 | 7 | 7 | 7 | 7 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 |
| 147 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 7 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 |
| 150 | 1 | 1 | 3 | 4 | 4 | 5 | 6 | 6 | 6 | 6 | 5 | 4 | 4 | 3 | 2 | 1 | 0 |
| 153 | 0 | 1 | 2 | 3 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 3 | 2 | 2 | 1 | 0 |
| 156 | 0 | 1 | 2 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 2 | 1 | 1 | 0 |
| 159 | 0 | 1 | 2 | 2 | 3 | 3 | 3 | 4 | 4 | 4 | 3 | 3 | 2 | 2 | 1 | 1 | 0 |
| 162 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 1 | 1 | 0 | 0 |
| 165 | 0 | 0 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 0 | 0 |
| 168 | 0 | 0 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 0 | 0 |
| 171 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 |
| 174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |
| 177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

Table 2b. Luminous intensity values, azimuth 190-350°

Signature:

_________________________________

Print Name:

GH JOHN

_________________________________

Date:

13-05-2013

_________________________________

Partner / Director
Duly authorised to sign on behalf of:

Photometric and Optical Testing Services LLP